## BoQ1
Government eProcurement System Created By: Nirad Patra Created Date/Time: 07-May-2024 12:16 PM Tender Title: Provision of 25 KWp Solar power plant for Rourkela Airport, Rourkela Tender ID: 2024_AAI_189589_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: - Provision of 25 KWp Solar power plant for Rourkela Airport, Rourkela.
Contract No: - AAI/JSG/AGM(EE)/eNIT-02/2023 ( Tender Id : 2024_AAI_189589_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ALFA PROJECTS AND SERVICES PVT. LTD. (GSTN-21AAICA3834D1Z8) BID ID -689197 |  | POOJA BUILDCON CONSTRUCTION (GSTN-06AAWFP9068M1Z4) BID ID -690661 |  | Naturetech Infrastruture Pvt. Ltd.(GSTN-NA)--690545 |  | BHAGWATI KRUPA SOLAR POWER PRIVATE LIMITED(GSTN-NA)--683911 |  | PUNAM ENERGY PRIVATE LIMITED(GSTN-NA)--690251
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of monoparc solar modules ( each modules of minimum 540 Wp) for 25 Kwp (DC) output and suitable outdoor type inverter for 25 Kwp (DC) output solar system for existing car park area as per technical specification, site requirement and as per direction engineering-in-charge. | 1.00 | Job | 3933950.00 | 652990.00 | 652990.00 | 1980000.00 | 1980000.00 | 1100000.00 | 1100000.00 | 892335.00 | 892335.00 | 1442608.25 | 1442608.25 | 652990.00 | ALFA PROJECTS AND SERVICES PVT. LTD.
2.00 | i) Design, Fabrication, Supply & erection of GI structure and roof shade for item no.1 25Kwp solar system of minimum center main pillar height of 2.5 Mtr height and roof shade both side minimum length of 6.3 Mtr for existing car parking area suitable for wind pressure 180KM/hr including necessary excavation work, Civil foundation work for withstand wind speed of 180KM/Hr as per soil bearing capacity suitable for mounting of solar module of capacity 25KWp (DC) power system on roof. ii) Installation testing & commissioning of 25 KWp (DC) solar modules over the above structure including making of glare analysis as mentioned in Item No. 1 iii) Installation testing commissioning of Suitable outdoor type inverter system for the above solar system as mentioned in Item No. 1 iv) As per design requirement SITC outdoor type DC & AC distribution Panels , Earthing system, Lightning and Surge protection system, including necessary minimum 6.0 sqm Copper DC Cabling works in flexible pipe, LT power cabling works trough HDPE pipe in surface, road, hard rock area and ground as per site requirement including excavation ,road cutting work and making it good for output power injection up to existing Power House, Control Cables & Communication Cables, Cable Glands, power Cables, Grid islanding system, monitoring unit for the solar generation and identify the fault in the system, Bidirectional Metering units for net connectors, necessary connection & interconnection for successful commissioning of 25KWp solar system with necessary monitoring units for measure the solar generation on daily basis along with necessary electrical parameters as per direction of EIC and as per tender specification and site requirement. Note:-Defect liability period is 02 Years. | 1.00 | Job | 3933950.00 | 1522599.00 | 1522599.00 | 560000.00 | 560000.00 | 1430000.00 | 1430000.00 | 2082115.00 | 2082115.00 | 1442608.25 | 1442608.25 | 560000.00 | POOJA BUILDCON CONSTRUCTION
| Total in Figures |  |  |  |  | 2175589.00 |  | 2540000.00 |  | 2530000.00 |  | 2974450.00 |  | 2885216.50
Lowest Amount Quoted BY: ALFA PROJECTS AND SERVICES PVT. LTD.(2175589.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 25 KWp Solar power plant for Rourkela Airport, Rourkela Tender ID: 2024_AAI_189589_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ALFA PROJECTS AND SERVICES PVT. LTD. | 2175589.00 | L1
| 2 | Naturetech Infrastruture Pvt. Ltd. | 2530000.00 | L2
| 3 | POOJA BUILDCON CONSTRUCTION | 2540000.00 | L3
| 4 | PUNAM ENERGY PRIVATE LIMITED | 2885216.50 | L4
| 5 | BHAGWATI KRUPA SOLAR POWER PRIVATE LIMITED | 2974450.00 | L5