## BoQ1
Government eProcurement System Created By: SONAM NURBOO Created Date/Time: 16-Apr-2024 03:57 PM Tender Title: ARMO of Electrical and Mechanical Installations of operational areas including GLF system, UPS All Type of AC units Water Coolers RO systems Fire Hydrant System Fire Alarm and Detection System at Dehradun Airport for the year 2024 26 Tender ID: 2024_AAI_189677_1
Tender Inviting Authority: Assistant General Manager (Engg.-Elect.), AAI, Dehradun Airport
Name of Work: ARMO of Electrical & Mechanical Installations of operational areas including GLF system, UPS, All Type of AC units, Water Coolers/ RO systems, Fire Hydrant System, Fire Alarm & Detection System at Dehradun Airport for the year 2024-26.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -690942 |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)--690906 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--690923
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of Electrical & Mechanical Installations including Annual Operation and Maintenance of Ground Lighting Facilities, Perimeter Road Lighting, Hight Mast Lighting in operational Area, Fire Detection and Alarm system, Fire Fighting system, UPS, Water Treatment Plant, LT panels, CCRs, Switchrooms and other Electrical & Mechanical Installations at Technical cum ATC Building, Fire Station, Medical Center, DVOR/Glide Path/ Localizer shelters etc. involving repair and maintenance, including operation of AC units, Water Coolers, RO systems and Lifts; attending to complaints/ fault/ breakdowns and taking rectification action, ensuring serviceability/satisfactory working condition of the system, carrying-out Preventive maintenance and upkeeping of records/documentation etc. as specified on all days i/c Sundays and Holidays as per Agreement conditions/ terms & conditions of tender documents by providing/engaging manpower as mentioned in the SCC clause-12 with sufficient number of relievers throughtout the contract period. (NOTE: Shift timing will be decided by Engineering-in-charge or his representative as per the site requirement and flight operational hours.) | 24.00 | Month | 0.00 | 788003.00 | 18912072.00 | 745000.00 | 17880000.00 | 704555.00 | 16909320.00 | 16909320.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on as and when required basis.
2.10 | Highly-Skilled | 50.00 | Hours | 0.00 | 114.37 | 5718.50 | 175.00 | 8750.00 | 114.00 | 5700.00 | 5700.00 | ABHISHEK INTEGRATIONS LIMITED
2.20 | Skilled | 30.00 | Hours | 0.00 | 104.00 | 3120.00 | 145.00 | 4350.00 | 104.00 | 3120.00 | 3120.00 | ABHISHEK INTEGRATIONS LIMITED, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.30 | Semi-skilled | 20.00 | Hours | 0.00 | 88.60 | 1772.00 | 135.00 | 2700.00 | 89.00 | 1780.00 | 1772.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.40 | Un-skilled | 50.00 | Hours | 0.00 | 78.90 | 3945.00 | 125.00 | 6250.00 | 79.00 | 3950.00 | 3945.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
3.00 | Annual Comprehensive Maintenance of 2 Nos 125 KVA online UPS (Make-NUMERIC-LEGRAND), three phase in, three phase out IGBT based True on line double conversion type DSP based using VFI & PWM technology by OEM/authorized service agent of OEM / Specialized Agency and submission of servicing reports including all spares except batteries and power cable. All parameters shall be as per enclosed specifications (minimum one visit per month) and attending any nos. of breakdown calls as per terms and condition. (for 24 months) | 24.00 | Month | 0.00 | 35000.00 | 840000.00 | 35000.00 | 840000.00 | 16000.00 | 384000.00 | 384000.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Servicing/ maintenance of following servo voltage stabilizers by OEM / authorized service agent of OEM / Specialized Agency including submission of servicing reports as and when required. Servicing/maintenance of each stabilizers will be considered as 01 job (Job does not include supply of spares).
4.10 | 400 KVA- 3 Phase (Volina make) | 8.00 | Job | 0.00 | 12500.00 | 100000.00 | 4000.00 | 32000.00 | 5000.00 | 40000.00 | 32000.00 | JCC ENGINEERS PRIVATE LIMITED
4.20 | 7.5 / 8 KVA- Single Phase (make- Servokon) | 12.00 | Job | 0.00 | 8500.00 | 102000.00 | 3000.00 | 36000.00 | 1000.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Servicing/maintenance of 800 Amp rating C&S make Air Circuit Breakers installed in various panels in operational area at Dehradun Airport. Job include mandatory visit of Engineer/ Technicians of OEM/ authorized service agent at site and performing overhauling/ servicing of ACB's as per OEM's recommendation and attending to breakdowns as and when required. (Servicing/maintenance of each ACB will be considered as 01 job) | 30.00 | Job | 0.00 | 5500.00 | 165000.00 | 3000.00 | 90000.00 | 1000.00 | 30000.00 | 30000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Servicing/maintenance of LT panels/ APFC Panels installed in operational area at Dehradun Airport. Job include mandatory visit of Specialised Engineer/Technicians of OEM/ authorized service agent at site, and performing maintenance/ servicing of LT panels/ APFC Panels as per OEM's recommendation with minor repairs (without supply of any spare) and attending to breakdowns as and when required. (Servicing/maintenance of each panel will be considered as 01 job) | 5.00 | Job | 0.00 | 25000.00 | 125000.00 | 8000.00 | 40000.00 | 2000.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Annual Comprehensive maintenance contract including repair/replacement of all parts of Blue Star/ Voltas/ LG/ Lloyd/ Hitachi/ Carrier/Haier make AC units at different locations in Airport premises complete as required as per site requirement for following capacity & following type (Each one Set/Job per month).
7.10 | 1.5/2 Ton Split type (1-Ø,50Hz) (69 Nos.X 24 months = 1656 jobs.) | 1656.00 | Job | 0.00 | 3000.00 | 4968000.00 | 450.00 | 745200.00 | 200.00 | 331200.00 | 331200.00 | ABHISHEK INTEGRATIONS LIMITED
7.20 | 3 Ton Split type (3-Ø,50Hz) (2 Nos.X 24 months = 48 jobs.) | 48.00 | Job | 0.00 | 3500.00 | 168000.00 | 2000.00 | 96000.00 | 200.00 | 9600.00 | 9600.00 | ABHISHEK INTEGRATIONS LIMITED
7.30 | 3/3.5 Ton Cassette type (3-Ø,50Hz) (4 nos. X 24 months = 96 jobs.) | 96.00 | Job | 0.00 | 3500.00 | 336000.00 | 800.00 | 76800.00 | 1000.00 | 96000.00 | 76800.00 | JCC ENGINEERS PRIVATE LIMITED
7.40 | 3/3.5/4 Ton Tower type (3-Ø,50Hz) (34 nos. X 24 months = 816 jobs.) | 816.00 | Job | 0.00 | 3500.00 | 2856000.00 | 1200.00 | 979200.00 | 300.00 | 244800.00 | 244800.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Annual comprehensive maintenance contract including repair/replacement of all parts for Voltas/Usha/Blue Star make Water Cooler at different locations in airport premises complete as per site requirement for following capacity & make (Each one Set/Job per month).
8.10 | 40/80 ltrs Water Cooler (10 Nos. x 24 months= 240 JOB) | 240.00 | Job | 0.00 | 5500.00 | 1320000.00 | 300.00 | 72000.00 | 450.00 | 108000.00 | 72000.00 | JCC ENGINEERS PRIVATE LIMITED
8.20 | 60/120 ltrs Water Cooler (11 Nos. x 24 months= 264 JOB) | 264.00 | Job | 0.00 | 7500.00 | 1980000.00 | 350.00 | 92400.00 | 500.00 | 132000.00 | 92400.00 | JCC ENGINEERS PRIVATE LIMITED
9.00 | Annual Comprehensive maintenance contract including consumable items and all spare parts i/c. membrane etc. of ION-Exchange/Kent/Havells make RO unit at different locations in airport premises complete as per site requirement for following capacity & make (Each Job per month)
9.10 | 25 LPH RO unit (25 Nos. x 24 months = 600 JOB) | 600.00 | Job | 0.00 | 4500.00 | 2700000.00 | 350.00 | 210000.00 | 450.00 | 270000.00 | 210000.00 | JCC ENGINEERS PRIVATE LIMITED
10.00 | Dismantling, Shifting & Reinstallation of Split type air-conditioner unit of 1.5 / 2 / 3 Ton Capacity of Voltas/LG/Lloyd/Hitachi/Carrier make in airport premises (Job i/c piping work upto 2 feet, Gas charging etc complete as required ). | 20.00 | Job | 0.00 | 1500.00 | 30000.00 | 2500.00 | 50000.00 | 500.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Dismantling, Shifting & Reinstallation of Tower type air-conditioner unit of 3/3.5/4 Ton Capacity of Voltas/LG/Lloyd/Hitachi/Carrier make in airport premises (Job i/c piping work upto 2 feet, Gas charging etc complete as required ). | 10.00 | Job | 0.00 | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 500.00 | 5000.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Digging out the cable trench for the following size cable for fault rectification by removing out the faulty cable and detection of fault and re-laying the cable after rectification in the same trench with new sand cushioning and by using the same bricks as protective covering and refilling the trench complete as required.
12.10 | For LT cable upto 1.1 KV rating | 300.00 | Mtr | 0.00 | 250.00 | 75000.00 | 180.00 | 54000.00 | 100.00 | 30000.00 | 30000.00 | ABHISHEK INTEGRATIONS LIMITED
12.20 | For AFL cable upto 5 KV rating | 500.00 | Mtr | 0.00 | 300.00 | 150000.00 | 250.00 | 125000.00 | 100.00 | 50000.00 | 50000.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Lifting and Lowering of Submersible Pump of upto 7.5HP capacity below ground level upto 450 ft. including transportation,loading,unloading charges, bearing and greasing etc. complete as required. | 6.00 | Job | 0.00 | 15000.00 | 90000.00 | 7500.00 | 45000.00 | 1000.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Calibration of CCR & sensitivity of relay by OEM/OEM authorised agency/Specialised agency including submitting reports etc., complete as required excluding supply of spares of following CCRs- (1 visit will be considered as 01 job) (i) 30 KVA CCR (make- ATG)- 02 nos. (ii) 30 KW CCR (make- NASU)- 01 no. (iii) 7.5 KVA CCR (make- ATG)- 02 nos. (iv) 7.5 KW CCR (make- NASU)- 01 no. (v) 4 KVA CCR (make- ATG)- 05 nos. | 2.00 | Job | 0.00 | 375000.00 | 750000.00 | 75000.00 | 150000.00 | 8000.00 | 16000.00 | 16000.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Calibration of PAPI Clinometer (make: Thorn) with submission of calibration certificate. Clinometer should be pick up from AAI site and bring back in good condition after calibration. | 2.00 | Job | 0.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 20000.00 | 40000.00 | 40000.00 | JCC ENGINEERS PRIVATE LIMITED, ABHISHEK INTEGRATIONS LIMITED
16.00 | Inspection, servicing, setting, testing, adjustment, calibration and submission of calibration certificate of following instruments- (NOTE: Service/Visit/Job will be done only by OEM or OEM authorised dealers)
16.10 | Electronic IDMT Relay | 50.00 | Job | 0.00 | 4500.00 | 225000.00 | 3000.00 | 150000.00 | 800.00 | 40000.00 | 40000.00 | ABHISHEK INTEGRATIONS LIMITED
16.20 | Digital Voltmeter/Ammeter | 20.00 | Job | 0.00 | 4500.00 | 90000.00 | 800.00 | 16000.00 | 800.00 | 16000.00 | 16000.00 | JCC ENGINEERS PRIVATE LIMITED, ABHISHEK INTEGRATIONS LIMITED
16.30 | Digital Multifunction meter | 30.00 | Job | 0.00 | 4500.00 | 135000.00 | 2000.00 | 60000.00 | 800.00 | 24000.00 | 24000.00 | ABHISHEK INTEGRATIONS LIMITED
16.40 | Digital Power Factor meter | 4.00 | Job | 0.00 | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 800.00 | 3200.00 | 3200.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Carrying out /Making in-field measurement/testing of intensity, beam spread/coverage, orientation, chromaticity (4 C's i.e.- Configuration, Colors, Candelas and Coverage), luminous factor, setting of field alignment, toeing angle, elevation angle as per the requirement of site & ICAO/Civil Aviation Requirement (CAR) Section-4 Aerodrome standard & licensing series ‘B’ Part-I, for inset/ elevated type approach (SAPL), runway edge, runway end, threshold, PAPI airfields ground lights at Dehradun Airport, by using suitable/standard Testing Equipment system / frame Reader including submission of test reports etc. complete as required as per technical specification. | 2.00 | Job | 0.00 | 875000.00 | 1750000.00 | 325000.00 | 650000.00 | 445000.00 | 890000.00 | 650000.00 | JCC ENGINEERS PRIVATE LIMITED
18.00 | Carrying out Lux level measurement of Apron area of Dehradun Airport and adjustment of High-mast light fittings at suitable angle to achieve required lux level fixed on 11 nos. Apron Flood Lighting high-mast towers by any reputed/expert agency and submitting the LUX measurement report. (1 job each year) | 2.00 | Job | 0.00 | 25000.00 | 50000.00 | 35000.00 | 70000.00 | 22000.00 | 44000.00 | 44000.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Calibration of following instruments through any NABL certified laboratory including submission of calibration certificate-
19.10 | Digital earth tester (1kV) | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 800.00 | 1600.00 | 1600.00 | ABHISHEK INTEGRATIONS LIMITED
19.20 | Digital insulation tester | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 800.00 | 1600.00 | 1600.00 | ABHISHEK INTEGRATIONS LIMITED
19.30 | Digital multimeter (1000v) | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 800.00 | 1600.00 | 1600.00 | ABHISHEK INTEGRATIONS LIMITED
19.40 | Clamp meter (1kV, 1kA) | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 800.00 | 1600.00 | 1600.00 | ABHISHEK INTEGRATIONS LIMITED
19.50 | Lux Meter | 2.00 | Job | 0.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Visit of Specialized Authorized Engineer for checking of servicibility of addressable fire detection alarm panel which includes checking of healthiness of complete system, including both hardaware & software, reporting of faults/ deficiencies to E-I-C, programming of device (if required) and submitting the healthiness report to E-I-C at Dehradun Airport. | 2.00 | Visit | 0.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 6500.00 | 13000.00 | 13000.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Repairing, servicing of sluice/ butterfly valves/ NRV etc. of different sizes provided at various locations of fire hydrant and sprinkler system as and when required. (Item will be executed only if required) | 4.00 | Job | 0.00 | 9500.00 | 38000.00 | 1500.00 | 6000.00 | 500.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Repairing & servicing of following capacity pump sets after dismantling and replacing all necessary defective/wornout parts such as nut-bolts, rubber gasket, gland dori, rubber coupling, suitable bearings etc. and re-assembling the pump, making the pump set in perfect working condition as per good engineering practice complete in all respect as required at site. (Item will be executed only if required)
22.10 | Jockey Pump Set | 2.00 | Job | 0.00 | 10500.00 | 21000.00 | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
22.20 | Sprinkler Pump Set | 2.00 | Job | 0.00 | 12500.00 | 25000.00 | 15000.00 | 30000.00 | 8000.00 | 16000.00 | 16000.00 | ABHISHEK INTEGRATIONS LIMITED
22.30 | Hydrant pump | 2.00 | Job | 0.00 | 22500.00 | 45000.00 | 18000.00 | 36000.00 | 15000.00 | 30000.00 | 30000.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Testing of water samples collected from various areas of Dehradun Airport at Government approved laboratory and submission of analysis report. (Testing of one sample will be considered as one job) | 30.00 | Job | 0.00 | 3500.00 | 105000.00 | 3500.00 | 105000.00 | 2000.00 | 60000.00 | 60000.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Hiring of services of welder including welding machine (1 Job = 1 hour). | 10.00 | Job | 0.00 | 1650.00 | 16500.00 | 2500.00 | 25000.00 | 250.00 | 2500.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | Painting of Electrical Panels / Distribution boards / Equipments in position with Synthetic enamel paint by spray/ brush painting in two coats including scraping, cleaning of surface, painting of required nomenclature etc. as reqd. | 200.00 | Sq Mtr | 0.00 | 500.00 | 100000.00 | 300.00 | 60000.00 | 100.00 | 20000.00 | 20000.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Painting of following light poles with 2 coats of Aluminium paint of approved brand and manufacturer, along with one coat of primer including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No.
26.10 | 40 mm dia. G.I. pipe pole of length not exceeding 3 Mtr. | 1000.00 | Each | 0.00 | 450.00 | 450000.00 | 250.00 | 250000.00 | 170.00 | 170000.00 | 170000.00 | ABHISHEK INTEGRATIONS LIMITED
26.20 | 50 mm dia. G.I. pipe pole of length not exceeding 3 Mtr. | 520.00 | Each | 0.00 | 550.00 | 286000.00 | 300.00 | 156000.00 | 170.00 | 88400.00 | 88400.00 | ABHISHEK INTEGRATIONS LIMITED
26.30 | Tubular street light poles with 100mm base dia. of length not exceeding 11 Mtr. | 25.00 | Each | 0.00 | 850.00 | 21250.00 | 500.00 | 12500.00 | 950.00 | 23750.00 | 12500.00 | JCC ENGINEERS PRIVATE LIMITED
27.00 | Painting of Runway fittings, Taxiway fittings, Approach light fittings, and PAPI units with aviation yellow colour synthetic enamel painting of approved brand and manufacture with two or more coats using spary painting including dismantling, shifting of fitting to store and reinstalling after painting and numbering the fittings with black colour paint with letters size not less than 5cm etc complete as required. | 300.00 | Each | 0.00 | 550.00 | 165000.00 | 75.00 | 22500.00 | 30.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Painting of Fire Hydrant/ Sprinklar pipeline of different sizes installed inside/ outside of terminal building / Cargo Terminal with two or more coats of painting with synthetic enamel paint along with one coat of primer, including cleaning of surface with detergent etc of approved brand or as approved by engineer-in-charge as required.
28.10 | 40 mm Dia | 100.00 | Meter | 0.00 | 80.00 | 8000.00 | 35.00 | 3500.00 | 20.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
28.20 | 80 mm Dia | 100.00 | Meter | 0.00 | 100.00 | 10000.00 | 45.00 | 4500.00 | 20.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
28.30 | 100 mm Dia | 100.00 | Meter | 0.00 | 120.00 | 12000.00 | 85.00 | 8500.00 | 25.00 | 2500.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
28.40 | 150 mm Dia. | 100.00 | Meter | 0.00 | 140.00 | 14000.00 | 85.00 | 8500.00 | 25.00 | 2500.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
28.50 | 200 mm Dia. | 100.00 | Meter | 0.00 | 160.00 | 16000.00 | 105.00 | 10500.00 | 30.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Replacement of Vinyl Sticker sheet of Guidance signages in operational area suitable for Aviation signage boards. | 20.00 | Sq.Mtr | 0.00 | 3000.00 | 60000.00 | 2000.00 | 40000.00 | 6700.00 | 134000.00 | 40000.00 | JCC ENGINEERS PRIVATE LIMITED
30.00 | Rewinding of the following type of Fans & Pumps with copper wire of suitable size as required complete in all respect including replacement of bush, bearing, seal and other worn out spares, pasting of the sticker clearly mentioning date of rewinding etc. complete as required. (Dismantle copper wire, alignment, bearing etc. shall be kept by the contractor and need not to be returned & rewound motor will have minimum warranty period of 06 (Six) months)-
30.10 | Ceiling Fans/Wall Fan, 230V | 30.00 | Each | 0.00 | 850.00 | 25500.00 | 650.00 | 19500.00 | 250.00 | 7500.00 | 7500.00 | ABHISHEK INTEGRATIONS LIMITED
30.20 | Exhaust Fan | 10.00 | Each | 0.00 | 750.00 | 7500.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
30.30 | Desert cooler | 10.00 | Each | 0.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 250.00 | 2500.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
30.40 | 5/7.5 HP Submersible Pump Motor | 4.00 | Each | 0.00 | 10500.00 | 42000.00 | 5000.00 | 20000.00 | 1000.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
30.50 | Upto 5 HP Monoblock Pump Motor | 4.00 | Each | 0.00 | 10500.00 | 42000.00 | 6000.00 | 24000.00 | 1000.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
30.60 | 12.5 HP Monoblock Pump Motor | 1.00 | Each | 0.00 | 20000.00 | 20000.00 | 15000.00 | 15000.00 | 1000.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Supply of various items/spares (as per AAI specifications and approved makes) of electrical installations as and when required, including delivery at site of Dehradun Airport. The material should be supplied with proper invoice (with discount on basic price) and challan. The agency will be paid invoice plus 15% percentage of overhead profit (contractor profit). Value of this item is limited to Rs.5,00,000.00 (excluding GST) or as per direction of E-I-C. (Note: Rate to be quoted for percentage of Rs.5,00,000 (above or below)) Example- If agency desires to quote 5% above on Rs. 5,00,000.00, the rate column shall be filled as Rs.5,25,000.00 & If agency desires to quote 5% below on Rs.5,00,000.00, the rate column shall be filled as Rs.4,75,000.00 Note: For payment methodology refer to SCC point 48. | 1.00 | Job | 0.00 | 475000.00 | 475000.00 | 625000.00 | 625000.00 | 425000.00 | 425000.00 | 425000.00 | ABHISHEK INTEGRATIONS LIMITED
32.00 | Supply of 12V-180AH SMF VR lead acid batteries for DG Sets including less for old batteries (with buy-back of old battery). | 6.00 | Each | 0.00 | 14500.00 | 87000.00 | 25000.00 | 150000.00 | 15225.00 | 91350.00 | 87000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
33.00 | Supply HT straight through cable joint in AFL cable of 5 KV grade, copper conductor single core PVC insulated of sizes upto 16sqmm with cast resin compound including copper ferrulre and other jointing materials complete as per requirement. | 6.00 | Job | 0.00 | 12500.00 | 75000.00 | 1500.00 | 9000.00 | 1869.00 | 11214.00 | 9000.00 | JCC ENGINEERS PRIVATE LIMITED
34.00 | Supply of 150W, 6.6A bi-pin halogen lamp with inbuilt holder suitable for Thorn Make approach light 'El-AT' fittings (Make- OSRAM cat no.64361 HLX-Z 150W-15, model : PK30D or equivalent) | 40.00 | Each | 0.00 | 1250.00 | 50000.00 | 1500.00 | 60000.00 | 893.00 | 35720.00 | 35720.00 | ABHISHEK INTEGRATIONS LIMITED
35.00 | Supply of 150W, 6.6A bi-pin halogen lamp suitable for AMA make Runway Edge Light fittings (Make- Narva Airfield Lamp 6.6A 150W, Model- G6.35 58362 or equivalent) | 250.00 | Each | 0.00 | 1250.00 | 312500.00 | 650.00 | 162500.00 | 446.00 | 111500.00 | 111500.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Supply of 200W, 6.6A bi-pin halogen lamp with inbuilt holder suitable for Thorn Make PAPI UNIT PU3L (Make- OSRAM cat no.64382 HLX-C 200W-15, model : PK30D or equivalent) | 70.00 | Each | 0.00 | 1450.00 | 101500.00 | 1500.00 | 105000.00 | 893.00 | 62510.00 | 62510.00 | ABHISHEK INTEGRATIONS LIMITED
37.00 | Supply of Bi-Pin Holders suitable for the halogen lamps in AMA make Runway Edge Light fittings (suitable for halogen lamp Make- Narva Airfield Lamp 6.6A 150W, Model- G6.35 58362 or equivalent) | 50.00 | Each | 0.00 | 850.00 | 42500.00 | 350.00 | 17500.00 | 221.00 | 11050.00 | 11050.00 | ABHISHEK INTEGRATIONS LIMITED
38.00 | Supply of 180o Yellow (R/L) colour filter suitable for AMA make HIRL runway fittings. | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 2500.00 | 75000.00 | 1515.00 | 45450.00 | 45450.00 | ABHISHEK INTEGRATIONS LIMITED
39.00 | Supply of 180o Green (R/L) colour filter suitable for AMA make HIRL runway fittings. | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 2500.00 | 75000.00 | 1515.00 | 45450.00 | 45450.00 | ABHISHEK INTEGRATIONS LIMITED
40.00 | Supply of 180o Red (R/L) colour filter suitable for AMA make HIRL runway fittings | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 2500.00 | 75000.00 | 1515.00 | 45450.00 | 45450.00 | ABHISHEK INTEGRATIONS LIMITED
41.00 | Supply of 180o Clear (R/L) colour filter suitable for AMA make HIRL runway fittings | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 2500.00 | 75000.00 | 1515.00 | 45450.00 | 45450.00 | ABHISHEK INTEGRATIONS LIMITED
42.00 | Supply of 360o Blue outer cover lens suitable for AMA make MIRL Taxiway fittings | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 2800.00 | 84000.00 | 1515.00 | 45450.00 | 45450.00 | ABHISHEK INTEGRATIONS LIMITED
43.00 | Supply of 360o Clear inner lens suitable for AMA make HIRL Taxiway fittings | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 3000.00 | 90000.00 | 1515.00 | 45450.00 | 45450.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Supply of 360o Clear outer cover lens suitable for AMA make HIRL Taxiway fittings | 30.00 | Each | 0.00 | 2800.00 | 84000.00 | 1500.00 | 45000.00 | 1515.00 | 45450.00 | 45000.00 | JCC ENGINEERS PRIVATE LIMITED
45.00 | Supply of LED driver/convertor suitable for 10/15 Watt AMA make taxiway/turning pad/apron edge MIRL LED light fittings. | 30.00 | Each | 0.00 | 1850.00 | 55500.00 | 1500.00 | 45000.00 | 1263.00 | 37890.00 | 37890.00 | ABHISHEK INTEGRATIONS LIMITED
46.00 | Supply of following capacity 5 KV grade 50 Hz individual series to series Isolating Transformer encapsulated in polyster resin finally moulded with neoprene type rubber as specified in particular specification etc as required.(Make- As per approved list )
46.10 | 150W, 20A/6.6A | 25.00 | Each | 0.00 | 4000.00 | 100000.00 | 5000.00 | 125000.00 | 4148.00 | 103700.00 | 100000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.20 | 150W, 6.6A/6.6A | 25.00 | Each | 0.00 | 3950.00 | 98750.00 | 4200.00 | 105000.00 | 4148.00 | 103700.00 | 98750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.30 | 200W, 20A/6.6A | 25.00 | Each | 0.00 | 4200.00 | 105000.00 | 4500.00 | 112500.00 | 4200.00 | 105000.00 | 105000.00 | ABHISHEK INTEGRATIONS LIMITED, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.40 | 200W, 6.6A/6.6A | 25.00 | Each | 0.00 | 4000.00 | 100000.00 | 4500.00 | 112500.00 | 4200.00 | 105000.00 | 100000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
46.50 | 15W, 20A/6.6A | 25.00 | Each | 0.00 | 2850.00 | 71250.00 | 3000.00 | 75000.00 | 2468.00 | 61700.00 | 61700.00 | ABHISHEK INTEGRATIONS LIMITED
46.60 | 15W, 6.6A/6.6A | 25.00 | Each | 0.00 | 2350.00 | 58750.00 | 3000.00 | 75000.00 | 2468.00 | 61700.00 | 58750.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
47.00 | Supply of HRC fuses of following ratings and types for CCRs of different capacity as specified in particular specification etc as required.
47.10 | NH000 gG type- 20 Amps, 500V, 120kA - for 7.5KW NASU make CCR | 5.00 | Each | 0.00 | 750.00 | 3750.00 | 150.00 | 750.00 | 231.00 | 1155.00 | 750.00 | JCC ENGINEERS PRIVATE LIMITED
47.20 | Cylindrical gG/gL type- 50 Amps, 600 V, 120kA, 22*58 - for 30KVA ATG make CCR | 5.00 | Each | 0.00 | 650.00 | 3250.00 | 350.00 | 1750.00 | 236.00 | 1180.00 | 1180.00 | ABHISHEK INTEGRATIONS LIMITED
47.30 | Cylindrical gG/gL type- 30 Amps, 690 V, 120kA, 10*38 - for 4KVA ATG make CCR | 15.00 | Each | 0.00 | 550.00 | 8250.00 | 450.00 | 6750.00 | 65.00 | 975.00 | 975.00 | ABHISHEK INTEGRATIONS LIMITED
47.40 | Offset blade fuse gG type - 2 Amps, 415V, 80kA | 5.00 | Each | 0.00 | 450.00 | 2250.00 | 35.00 | 175.00 | 81.00 | 405.00 | 175.00 | JCC ENGINEERS PRIVATE LIMITED
48.00 | Supply of HT insulated tape (heavy duty) suitable for 5KV grade Cable | 20.00 | Each | 0.00 | 450.00 | 9000.00 | 650.00 | 13000.00 | 683.00 | 13660.00 | 9000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
49.00 | Supply of driver for existing LED signage board Suitable to operate inbuilt dual circuit having variable current 2.8 A to 6.6 Amp with auto changeover facility. The driver should be able to drive LED strips of 0.5 Watts Osram LED's assembled on aluminium PCB of size 700mm X 20mm and having 11 LED's per PCB for boards. from 5 strips to 20 strips. | 20.00 | Each | 0.00 | 12500.00 | 250000.00 | 4000.00 | 80000.00 | 6615.00 | 132300.00 | 80000.00 | JCC ENGINEERS PRIVATE LIMITED
50.00 | Supply of LED strip with high luminous long life typically 50,000 hrs type, 0.5 watts Osram LED's assembled on aluminum PCB of size 700mm X 20mm X 2mm and having 11 LED's per PCB for boards. (make- Poshdecor) At one end single non-reversible jack to be provided for easy replacement of LED without tools at site. | 250.00 | Each | 0.00 | 1250.00 | 312500.00 | 800.00 | 200000.00 | 536.00 | 134000.00 | 134000.00 | ABHISHEK INTEGRATIONS LIMITED
51.00 | Supply of 5KV grade plug and receptacle of following sizes-
51.10 | 16 Sqmm | 80.00 | Each | 0.00 | 550.00 | 44000.00 | 800.00 | 64000.00 | 341.00 | 27280.00 | 27280.00 | ABHISHEK INTEGRATIONS LIMITED
51.20 | 6 Sqmm | 80.00 | Each | 0.00 | 550.00 | 44000.00 | 800.00 | 64000.00 | 341.00 | 27280.00 | 27280.00 | ABHISHEK INTEGRATIONS LIMITED
52.00 | Supply of 25mm flexible PVC Drain pipe from indoor unit of Air conditioner. | 50.00 | Each | 0.00 | 85.00 | 4250.00 | 50.00 | 2500.00 | 16.00 | 800.00 | 800.00 | ABHISHEK INTEGRATIONS LIMITED
53.00 | Supply of ISI marked PVC casing-capping of 100 X 50mm size, 2mm thickness. | 50.00 | Meter | 0.00 | 448.00 | 22400.00 | 600.00 | 30000.00 | 605.00 | 30250.00 | 22400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
54.00 | Supply of refrigerent copper pipe of suitable size including insulation for suction & discharge line of following capacity air conditioners for interconnecting indoor and outdoor units etc. as required.
54.10 | 1.5 / 2 TR split type AC unit | 100.00 | Meter | 0.00 | 1250.00 | 125000.00 | 600.00 | 60000.00 | 893.00 | 89300.00 | 60000.00 | JCC ENGINEERS PRIVATE LIMITED
54.20 | 3 / 3.5 / 4 TR split/tower/cassette type AC unit | 100.00 | Meter | 0.00 | 1250.00 | 125000.00 | 800.00 | 80000.00 | 998.00 | 99800.00 | 80000.00 | JCC ENGINEERS PRIVATE LIMITED
55.00 | Execution of DSR Items (% rate above or below) All items covered under CPWD, DSR E&M-2022 upto an amount of Rs. 5,00,000/- excluding GST The bidder shall quote the rate in INR only for the job corresponding to the base rate (Rs. 5,00,000.00 as per proposed Estimate) and percentage (%) above / below shall be calculated by AAI based on quoted rate w.r.t Base rate and will be paid as per payment methodology given in SCC. For Example: If agency desires to quote 5% above on DSR-2022 rates, the rate column shall be filled as Rs.5,25,000.00 & If agency desires to quote 5% below on DSR-2022 rates, the rate column shall be filled as Rs.4,75,000.00 Note: Payment on DSR work shall be paid as per payment methodology given in SCC. | 1.00 | Job | 0.00 | 496000.00 | 496000.00 | 450000.00 | 450000.00 | 300000.00 | 300000.00 | 300000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 43418777.50 |  | 26995575.00 |  | 22889789.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(22889789.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations of operational areas including GLF system, UPS All Type of AC units Water Coolers RO systems Fire Hydrant System Fire Alarm and Detection System at Dehradun Airport for the year 2024 26 Tender ID: 2024_AAI_189677_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 22889789.00 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 26995575.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 43418777.50 | L3