## BoQ1
Government eProcurement System Created By: Nirad Patra Created Date/Time: 07-May-2024 12:07 PM Tender Title: Operation and Maintenance contract of E and M installations for two Years at Rourkela Airport, Rourkela Tender ID: 2024_AAI_189855_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: - Operation and Maintenance contract of E&M installations for two Years at Rourkela Airport, Rourkela.
Contract No: -AAI/JSG/AGM(EE)/eNIT-01/2024 ( Tender Id : 2024_AAI_189855_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TURBO POWER AND INFRASTRUCTURE (GSTN-09AAMFT5683N1Z5) BID ID -689515 |  | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -689851 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -690844 |  | M K ENTERPRISES (GSTN-27AMDPK7085L1ZJ) BID ID -690993 |  | M/s BHARAT ELECTRIC, NAGPUR (GSTN-27ALSPP1335N1ZG) BID ID -691054 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--691006
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for Operation and daily, preventive, breakdown maintenance of LT substation and Technical Block cum ATC Tower, Fire Station, ,DG sets and other Internal and External Electrical Installations of Terminal Building, Car Park, Approach Roads, High Masts lighting System, AC etc. and PAPI, CCRs, RC Desk, Landing -H, signages, Becon Lights and Windcones etc. , Split ACs, VRV System & Fire Hydrant system, Down Comers and analogue addressable fire detection & alarm system with all accessories / units /wiring viz like Pumps, Engines, Control Panel, valves , pipe lines, Alarm Panels, repeater panel,auto dialers,detectors, MCPs, hooters etc. for Terminal Building, ATC Tower and Fire Station (as detailed in the inventory)on all days including Sundays and holidays in three shifts etc. complete as required as per tender condition and as per direction of EIC. | 24.00 | Month | 3933950.00 | 147000.00 | 3528000.00 | 125000.00 | 3000000.00 | 157500.00 | 3780000.00 | 152555.00 | 3661320.00 | 185000.00 | 4440000.00 | 154222.00 | 3701328.00 | 3000000.00 | Youngmen Traders
2.00 | Job contract for quarterly preventive and unlimited breakdown maintenance of 2 nos. of 7.5 KW Micro processor based CCR including reparing cards, callibrating, minor spares etc. but excluding major spares viz cards, thyristors, fuses, contactors, transformers, relays, meters, display etc. etc. Make : Nasu Systems etc. complete as required as per tender condition and as per direction of EIC. |  |  | 3933950.00
2.10 | 1st Year (2024-2025) | 2.00 | Qtr. | 3933950.00 | 90000.00 | 180000.00 | 65000.00 | 130000.00 | 10000.00 | 20000.00 | 40000.00 | 80000.00 | 10000.00 | 20000.00 | 65000.00 | 130000.00 | 20000.00 | Manish Electricals, M/s BHARAT ELECTRIC, NAGPUR
2.20 | 2nd Year (2025-2026) | 2.00 | Qtr. | 3933950.00 | 90000.00 | 180000.00 | 70000.00 | 140000.00 | 10000.00 | 20000.00 | 40000.00 | 80000.00 | 10000.00 | 20000.00 | 72800.00 | 145600.00 | 20000.00 | Manish Electricals, M/s BHARAT ELECTRIC, NAGPUR
3.00 | Execution of any item of Delhi Schedule of Rates ( E&M) -2018 (internal &External electrical works) ( Guidance : if the quoted rate is Rs. 0.90 for this item, quoted amount shall be Rs. 90.00 for executing DSR-2018 items of amount Rs.100.00 ( calculating the rates of DSR excluding GST) OR if the quoted rate is Rs. 1.25 for this item, quoted amount shall be 125.00for executing DSR-2018 items of amount Rs.100.00 ( calculating the rates of DSR excluding GST) | 120000.00 | Each | 3933950.00 | .80 | 96000.00 | 1.00 | 120000.00 | .80 | 96000.00 | .85 | 102000.00 | .75 | 90000.00 | .95 | 114000.00 | 90000.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Job Contract for comprehensive maintenance contract and unlimited Breakdown Maintenance contract including spare parts, consumables, sundry materials of 1.5 TR / 2 TR Window / split /Cassette Airconditioing machines of diffrent makes along with all its accessories and anciliaries viz indoor unit, out door unit tc. including providing & charging refrigerent, insulation, gas and liquid lines, drain lines, replacement of defective Compressors / electronic board, blower motors, Voltage stabilizer etc. complete as required as per tender condition and as per direction of EIC. (Total 11 Nos. of AC 1.5 TR / 2 TR ) | 24.00 | Month | 3933950.00 | 10000.00 | 240000.00 | 1800.00 | 43200.00 | 5500.00 | 132000.00 | 2500.00 | 60000.00 | 5000.00 | 120000.00 | 3750.00 | 90000.00 | 43200.00 | Youngmen Traders
5.00 | Job contract for comprehensive maintenance contract and unlimited Break down maintenance contract for Voltas / Eureka forbes make water cooler cum purifier and Aqua Guard with all accessories like filters, compressors etc. complete as required. as per tender condition and as per direction of EIC. (Total 05 Nos. of Water Coolers and Aqua Guard. )(Replacement of filters as when as required) | 24.00 | Month | 3933950.00 | 8000.00 | 192000.00 | 500.00 | 12000.00 | 2500.00 | 60000.00 | 500.00 | 12000.00 | 1825.00 | 43800.00 | 3750.00 | 90000.00 | 12000.00 | Youngmen Traders, M K ENTERPRISES
6.00 | Supply and fixing of copper refrigerant piping of following size comprising suction and discharge pipes complete with suitable size PVC FR Cu wire & nitrile rubber insulation sleeves, brazing including providing of clamps etc. |  |  | 3933950.00
6.10 | Size 1/2" & 1/4" for 1.5 TR Air-conditioning complete as required. | 30.00 | Meter | 3933950.00 | 800.00 | 24000.00 | 750.00 | 22500.00 | 500.00 | 15000.00 | 650.00 | 19500.00 | 600.00 | 18000.00 | 265.00 | 7950.00 | 7950.00 | ABHISHEK INTEGRATIONS LIMITED
6.20 | Size 5/8" & 3/8" for 2.0/3.0 TR Air-conditioning complete as required. | 30.00 | Meter | 3933950.00 | 1000.00 | 30000.00 | 850.00 | 25500.00 | 650.00 | 19500.00 | 700.00 | 21000.00 | 700.00 | 21000.00 | 488.00 | 14640.00 | 14640.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Supply and fixing of 25 mm PVC drain pipe connection from indoor to outside of wall including bends,water seal materials & necessary accessories on surface / recess for drain water outlets of AC units etc. complete as required. | 39.00 | Meter | 3933950.00 | 70.00 | 2730.00 | 275.00 | 10725.00 | 90.00 | 3510.00 | 130.00 | 5070.00 | 100.00 | 3900.00 | 100.00 | 3900.00 | 2730.00 | M/S TURBO POWER AND INFRASTRUCTURE
8.00 | Dismentalling of 1.5/2.0 ton split A/Cs of different make and handedover to AAI store/ shift to other location within Airport permises in good condition etc complete as required. | 10.00 | Job | 3933950.00 | 500.00 | 5000.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 5000.00 | M/S TURBO POWER AND INFRASTRUCTURE, Manish Electricals, M K ENTERPRISES, ABHISHEK INTEGRATIONS LIMITED, M/s BHARAT ELECTRIC, NAGPUR
9.00 | Installation ,testing and commissioning of 1.5/2.0 ton split A/Cs of Different make including gas charging, pressure testing and minor civil works etc complete as required | 10.00 | Job | 3933950.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
10.00 | Repairing of hand dryer including transportation of same from site to work shop and taking back the same etc. complete as required. | 10.00 | Each | 3933950.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 5000.00 | M/S TURBO POWER AND INFRASTRUCTURE
11.00 | Rewinding, repairing and complete overhauling of mono-block motor pump set up to 10.0 H.P including transportation of same from site to work shop and taking back the same, testing / commissioning etc. complete as required. | 5.00 | Job | 3933950.00 | 500.00 | 2500.00 | 5500.00 | 27500.00 | 8000.00 | 40000.00 | 10000.00 | 50000.00 | 2500.00 | 12500.00 | 9500.00 | 47500.00 | 2500.00 | M/S TURBO POWER AND INFRASTRUCTURE
12.00 | Repairing & maintenance of earthing including Civil foundation of earth pit etc. complete as required. | 5.00 | Job | 3933950.00 | 15000.00 | 75000.00 | 750.00 | 3750.00 | 2000.00 | 10000.00 | 6000.00 | 30000.00 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 3750.00 | Youngmen Traders
13.00 | Rewinding, repairing of complete overhauling of exhaust/ ceiling fan including transportation of same from site to work shop and taking back the same, testing / commissioning etc. complete as required. | 20.00 | Job | 3933950.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 650.00 | 13000.00 | 700.00 | 14000.00 | 300.00 | 6000.00 | 450.00 | 9000.00 | 6000.00 | M/s BHARAT ELECTRIC, NAGPUR
| Total in Figures |  |  |  |  | 4595230.00 |  | 3578175.00 |  | 4264010.00 |  | 4194890.00 |  | 4825200.00 |  | 4406418.00
Lowest Amount Quoted BY: Youngmen Traders(3578175.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance contract of E and M installations for two Years at Rourkela Airport, Rourkela Tender ID: 2024_AAI_189855_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Youngmen Traders | 3578175.00 | L1
| 2 | M K ENTERPRISES | 4194890.00 | L2
| 3 | Manish Electricals | 4264010.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 4406418.00 | L4
| 5 | M/S TURBO POWER AND INFRASTRUCTURE | 4595230.00 | L5
| 6 | M/s BHARAT ELECTRIC, NAGPUR | 4825200.00 | L6