## BoQ1
Government eProcurement System Created By: Debashis Mondal Created Date/Time: 10-May-2024 12:01 PM Tender Title: SITC Electrically operated Sliding gates at Operational Area at NSCBI Airport Kolkata Tender ID: 2024_AAI_190056_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: SITC Electrically operated Sliding gates at Operational Area at NSCBI Airport, Kolkata.
Contract No: 2024_AAI_190056_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Lotus International (GSTN-07ACAPA7108H1Z4) BID ID -691619 |  | Technocrats Security Systems Pvt Ltd(GSTN-NA)--692015 |  | FORTUNA CONTROL AND AUTOMATIONS PVT LTD(GSTN-NA)--683727
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Fabricated Sliding Gate Length up to 9 Mtrs. (Made of Mild Steel, Type - Automatic / Manual) without support Structure. 30 feet (For 27 feet Opening) width x 6 feet Height Sliding Gate (as per site requirement and approved by EIC) made of MS with Fabrication / grinding with External grade 3-4 mm thick. | 2.00 | Nos. | 261310.00 | 250000.00 | 500000.00 | 360000.00 | 720000.00 | 450000.00 | 900000.00 | 500000.00 | Lotus International
2.00 | Epoxy painting (2 coats) with Pre Treatment for Water Proofing including Labour (at factory). | 300.00 | Sq.ft. | 421.00 | 250.00 | 75000.00 | 50.00 | 15000.00 | 30.00 | 9000.00 | 9000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
3.00 | Epoxy painting (1 coat Final at site). | 300.00 | Sq.ft. | 261.00 | 200.00 | 60000.00 | 50.00 | 15000.00 | 35.00 | 10500.00 | 10500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
4.00 | Supply of Fabrication 12 feet Support structure. (3 feet underground) height x 3 feet width Support structure (made of MS as per site requirement and approved by EIC ) with fabrication grinding x 1 sets. | 3.00 | Nos. | 34800.00 | 12000.00 | 36000.00 | 22500.00 | 67500.00 | 40000.00 | 120000.00 | 36000.00 | Lotus International
5.00 | Supply of Nylon Support wheels with Fittings. | 12.00 | Nos. | 3625.00 | 500.00 | 6000.00 | 750.00 | 9000.00 | 700.00 | 8400.00 | 6000.00 | Lotus International
6.00 | Supply of Heavy Duty Specially designed Wheels with 110 mm dia with 02 nos. Bearing. | 24.00 | Nos. | 5655.00 | 4500.00 | 108000.00 | 7500.00 | 180000.00 | 1200.00 | 28800.00 | 28800.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
7.00 | Supply of Rail Line as per site requirement of the sliding gate with Epoxy painting 40x75x40x6 mm U Channel with approx, 32 mm Rail. | 50.00 | Ft. | 1160.00 | 300.00 | 15000.00 | 300.00 | 15000.00 | 3600.00 | 180000.00 | 15000.00 | Lotus International, Technocrats Security Systems Pvt Ltd
8.00 | Supply of CAME/DAIRO/NEPTUNE/FAAC/LEAPTOR or equivalent make upto 1800 Kg. Weight Motor for Sliding Gate. KIT with Protection rating IP54, (Automation system with module 4 pinion, complete with control board, radio decoder and mechanical end stops for sliding gates of up to 1800 Kg / 3970 lb + Remote Controller + Flashing Lamp + Photocell Sensor etc, with CE certification. | 2.00 | Set | 150139.00 | 175000.00 | 350000.00 | 110000.00 | 220000.00 | 120000.00 | 240000.00 | 220000.00 | Technocrats Security Systems Pvt Ltd
9.00 | Supply of Galvanized rack in rolled steel length 1 Mtr. with Nut Bolts. | 25.00 | Mtr. | 2733.00 | 1500.00 | 37500.00 | 1000.00 | 25000.00 | 1500.00 | 37500.00 | 25000.00 | Technocrats Security Systems Pvt Ltd
10.00 | Designing of Gate, Supervision, Installation, Commissioning, Testing and demonstration charges of Sliding gate. | 2.00 | Job | 98600.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 25000.00 | 50000.00 | 30000.00 | Lotus International
11.00 | Supply of Push Button Panel for Sliding Gate | 2.00 | Each | 8490.00 | 500.00 | 1000.00 | 2500.00 | 5000.00 | 2500.00 | 5000.00 | 1000.00 | Lotus International
12.00 | Supply of following size XLPE insulated PVC sheathed, copper conductor armored cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 with upto date amendments. (a) 3 C x 2.5 sq mm Copper Armored Cable | 70.00 | Mtr. | 181.00 | 450.00 | 31500.00 | 150.00 | 10500.00 | 210.00 | 14700.00 | 10500.00 | Technocrats Security Systems Pvt Ltd
13.00 | Supply of following size XLPE insulated PVC sheathed, copper conductor armored cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 with upto date amendments. (b) 4 C x 1.5 sq mm Copper Armored Cable | 70.00 | Mtr. | 104.00 | 400.00 | 28000.00 | 200.00 | 14000.00 | 280.00 | 19600.00 | 14000.00 | Technocrats Security Systems Pvt Ltd
14.00 | Supply & Fixing of of 32 Amp, 415 V, 50 Hz, 10 kA,‘C’ Series , TP MCB Suitable for Motor and other Inductive loads. | 2.00 | Each | 6525.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 5000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD, Lotus International
15.00 | Supply and Fixing of TP MCB Enclosure Sheet Steel, Phosphatised, Powder Painted with Din Rail | 2.00 | Each | 4060.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 3100.00 | 6200.00 | 2000.00 | Technocrats Security Systems Pvt Ltd
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. --- upto 35 sq mm | 70.00 | Mtr. | 267.00 | 150.00 | 10500.00 | 1000.00 | 70000.00 | 100.00 | 7000.00 | 7000.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/ METAL pipe as required. upto 35 sq mm | 10.00 | Mtr. | 131.00 | 150.00 | 1500.00 | 1500.00 | 15000.00 | 150.00 | 1500.00 | 1500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD, Lotus International
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required upto 35 sq mm | 10.00 | Mtr. | 36.00 | 150.00 | 1500.00 | 800.00 | 8000.00 | 150.00 | 1500.00 | 1500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD, Lotus International
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required---- upto 35 sq mm. | 10.00 | Mtr. | 51.00 | 150.00 | 1500.00 | 1000.00 | 10000.00 | 150.00 | 1500.00 | 1500.00 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD, Lotus International
20.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. upto 35 sq mm (a) 3 C x 2.5 sq mm Copper Armored Cable | 4.00 | Each | 600.00 | 5000.00 | 20000.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 2000.00 | Technocrats Security Systems Pvt Ltd
21.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required. upto 35 sq mm (b) 4 C x 1.5 sq mm Copper Armored Cable | 4.00 | Each | 700.00 | 5000.00 | 20000.00 | 750.00 | 3000.00 | 2000.00 | 8000.00 | 3000.00 | Technocrats Security Systems Pvt Ltd
22.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 2.00 | Each | 11430.00 | 10000.00 | 20000.00 | 2250.00 | 4500.00 | 20000.00 | 40000.00 | 4500.00 | Technocrats Security Systems Pvt Ltd
23.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 20.00 | Meter | 257.00 | 2000.00 | 40000.00 | 75.00 | 1500.00 | 2000.00 | 40000.00 | 1500.00 | Technocrats Security Systems Pvt Ltd
24.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 20.00 | Meter | 63.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 500.00 | 10000.00 | 1000.00 | Technocrats Security Systems Pvt Ltd
| Total in Figures |  |  |  |  | 1408000.00 |  | 1480000.00 |  | 1748200.00
Lowest Amount Quoted BY: Lotus International(1408000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC Electrically operated Sliding gates at Operational Area at NSCBI Airport Kolkata Tender ID: 2024_AAI_190056_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Lotus International | 1408000.00 | L1
| 2 | Technocrats Security Systems Pvt Ltd | 1480000.00 | L2
| 3 | FORTUNA CONTROL AND AUTOMATIONS PVT LTD | 1748200.00 | L3