## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 16-Apr-2024 12:38 PM Tender Title: NGL-REPLACEMENT OF AC Tender ID: 2024_AAI_190462_1
TENDER INVITING AUTHORITY: ASSISTANT GENERAL MANAGER ENGG(E), AAI RHQ-NR, NATS COMPLEX, T-2 ROAD, IGI AIRPORT, NEW DELHI - 110037.
NAME OF WORK: REPLACEMENT OF OLD SPLIT & TOWER TYPE AC UNITS AT INRES CENTRE, NANGLOI, NEW DELHI.
TENDER ID NO.: 2024_AAI_190462_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | airfreeze (GSTN-07AKEPA8737A1ZK) BID ID -690237 |  | R K Electricals and Refrigeration (GSTN-07AGFPA3369K2ZC) BID ID -692277 |  | RefAir Technical Services (GSTN-07AAAPV0731D1Z4) BID ID -692594 |  | Pacific Depths (GSTN-07AAEPC7210N1ZU) BID ID -692656 |  | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -692874 |  | HONEY COLLECTION (GSTN-07ADPPT9971M1ZA) BID ID -692606 |  | LIFE STYLE INTERIORS (GSTN-08AEWPT8384E1ZJ) BID ID -692993
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 5 star rated Split type Airconditioners of 1.5 TR capacity fitted with hermetically sealed compressors operating on refrigerant R-32/ R-410A confirming to IS:1391 (part-2)/92 (except power consumption norms) suitable for operation on 230V, Single Phase, 50 HZ AC supply as per site requirement & capable of performing following functions (as per approved make list Mitshubishi, Haier, Carrier, Samsung, Voltas, Daikin, Bluestar, LG, Hitachi (Johnson), Havells) :- a) Cooling b) Dehumidifying c) Air Circulating d) Filtering | 26.00 | Nos. |  | 50000.00 | 1300000.00 | 41800.00 | 1086800.00 | 38600.00 | 1003600.00 | 35100.00 | 912600.00 | 36645.36 | 952779.36 | 36700.00 | 954200.00 | 34000.00 | 884000.00 | 884000.00 | LIFE STYLE INTERIORS
2.00 | Supply of 5 star rated Split type Airconditioners of 2.0 TR capacity fitted with hermetically sealed compressors operating on refrigerant R-32/ R-410A confirming to IS:1391 (part-2)/92 (except power consumption norms) suitable for operation on 230V, Single Phase, 50 HZ AC supply as per site requirement & capable of performing following functions (as per approved make list Mitshubishi, Haier, Carrier, Samsung, Voltas, Daikin, Bluestar, LG, Hitachi (Johnson), Havells) :- a) Cooling b) Dehumidifying c) Air Circulating d) Filtering | 7.00 | Nos. |  | 60000.00 | 420000.00 | 55200.00 | 386400.00 | 56900.00 | 398300.00 | 44500.00 | 311500.00 | 44457.86 | 311205.02 | 45200.00 | 316400.00 | 46800.00 | 327600.00 | 311205.02 | VOLKS ENERGIE PVT LTD
3.00 | Installation, Testing & Commissioning of Split type A/C units i/c fitting of indoor & outdoor unit at their locations, drilling holes in wall using suitable hardwares, ceiling supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit, making good the surface as per requirement of the site. | 33.00 | Job |  | 5000.00 | 165000.00 | 1770.00 | 58410.00 | 1400.00 | 46200.00 | 1500.00 | 49500.00 | 1500.00 | 49500.00 | 1500.00 | 49500.00 | 2000.00 | 66000.00 | 46200.00 | RefAir Technical Services
4.00 | Supply & Fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole & earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure on surface or in recess with chained metal cover for the socket outlet & complete with connections, testing & commissioning etc. as required. | 33.00 | Nos. |  | 2500.00 | 82500.00 | 1650.00 | 54450.00 | 940.00 | 31020.00 | 1500.00 | 49500.00 | 1000.00 | 33000.00 | 850.00 | 28050.00 | 1000.00 | 33000.00 | 28050.00 | HONEY COLLECTION
5.00 | Supply, Installation, Testing & Commissioning of 5 KVA, Automatic Voltage Stabilizer for Split AC's having operating voltage of 130 Volt to 270 Volt, 50Hz. | 33.00 | Job |  | 5000.00 | 165000.00 | 4800.00 | 158400.00 | 4000.00 | 132000.00 | 5800.00 | 191400.00 | 3559.32 | 117457.56 | 4000.00 | 132000.00 | 5500.00 | 181500.00 | 117457.56 | VOLKS ENERGIE PVT LTD
6.00 | Supply & Fixing of 3 Core x 2.5 Sq.mm PVC insulated sheathed copper conductor multi core industrial cable (flexible) of voltage upto 1100 volts as per IS 694:1990 up dated for different capacity A.C. units as per site condition. | 330.00 | Mtr. |  | 10.00 | 3300.00 | 180.00 | 59400.00 | 125.00 | 41250.00 | 110.00 | 36300.00 | 100.00 | 33000.00 | 100.00 | 33000.00 | 180.00 | 59400.00 | 3300.00 | airfreeze
7.00 | Supply & Fixing of 3 Core x 1.5 Sq.mm PVC insulated sheathed copper conductor multi core industrial cable (flexible) of voltage upto 1100 volts as per IS 694:1990 up dated for different capacity A.C. units as per site condition. | 330.00 | Mtr. |  | 10.00 | 3300.00 | 120.00 | 39600.00 | 90.00 | 29700.00 | 105.00 | 34650.00 | 100.00 | 33000.00 | 90.00 | 29700.00 | 80.00 | 26400.00 | 3300.00 | airfreeze
8.00 | Supply & Fixing of 25 mm dia size PVC drain pipe from the respective units i/c elbow & clamping on different surface like wall/ floor etc. i/c sealing the joints with making of openings as per site condition. | 330.00 | Mtr. |  | 10.00 | 3300.00 | 180.00 | 59400.00 | 70.00 | 23100.00 | 120.00 | 39600.00 | 100.00 | 33000.00 | 90.00 | 29700.00 | 130.00 | 42900.00 | 3300.00 | airfreeze
9.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply & return) with expanded polythene foam insulation tubing covering for Split type 1.5 & 2 TR A/C units. (Measurement of 1 R.Mtr. will include both supply & return Cu. Piping with insulation). | 330.00 | Mtr. |  | 10.00 | 3300.00 | 850.00 | 280500.00 | 650.00 | 214500.00 | 900.00 | 297000.00 | 650.00 | 214500.00 | 350.00 | 115500.00 | 1200.00 | 396000.00 | 3300.00 | airfreeze
10.00 | Dismantling of all sizes Split type Airconditioner units (i/c indoor & outdoor units) at various locations/ places i/c dismantling of old Copper Refrigerant piping (supply & return) with expanded polythene foam insulation tubing covering, drain pipe and shifting of all materials to AAI Stores etc. complete as required. | 26.00 | Job |  | 1000.00 | 26000.00 | 800.00 | 20800.00 | 500.00 | 13000.00 | 600.00 | 15600.00 | 500.00 | 13000.00 | 1000.00 | 26000.00 | 1000.00 | 26000.00 | 13000.00 | RefAir Technical Services, VOLKS ENERGIE PVT LTD
11.00 | Dismantling of all sizes Tower type Airconditioner units (i/c indoor & outdoor units) at various locations/ places i/c dismantling of existing old Copper Refrigerant piping (supply & return) with expanded polythene foam insulation tubing covering, drain pipe and shifting of all materials to AAI Stores etc. complete as required. | 5.00 | Job |  | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 700.00 | 3500.00 | 1000.00 | 5000.00 | 3500.00 | 17500.00 | 2500.00 | RefAir Technical Services
| Total in Figures |  |  |  |  | 2176700.00 |  | 2211660.00 |  | 1935170.00 |  | 1940650.00 |  | 1793941.94 |  | 1719050.00 |  | 2060300.00
Lowest Amount Quoted BY: HONEY COLLECTION(1719050.00)

## BOQ Summary
BOQ Summary Details Tender Title: NGL-REPLACEMENT OF AC Tender ID: 2024_AAI_190462_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | HONEY COLLECTION | 1719050.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1793941.94 | L2
| 3 | RefAir Technical Services | 1935170.00 | L3
| 4 | Pacific Depths | 1940650.00 | L4
| 5 | LIFE STYLE INTERIORS | 2060300.00 | L5
| 6 | airfreeze | 2176700.00 | L6
| 7 | R K Electricals and Refrigeration | 2211660.00 | L7