## BoQ1
Government eProcurement System Created By: Jyotirmoy Boruah Created Date/Time: 01-May-2024 11:55 AM Tender Title: Misc Minor Civil Capital Works at Rupsi Airport, Construction of structural Shed over DG Set, Store, Security room and Toilet Tender ID: 2024_AAI_190489_1
Tender Inviting Authority: AAI/NER/ENGGC/RUPSI/DGSHED/2023-24
Name of Work: Misc Minor Civil Capital Works at Rupsi Airport : Construction of structural Shed over DG Set, Store, Security room & Toilet
Contract No: 2024_AAI_190489_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRONOBESH KR GHOSH (GSTN-18AHOPG6396C3ZZ) BID ID -692177 |  | Sri Kajal Das (GSTN-18AILPD0306P1Z7) BID ID -693878 |  | H B ENTERPRISE(GSTN-NA)--695519
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m | 51.69 | Cum |  | 300.00 | 15507.00 | 500.00 | 25845.00 | 320.00 | 16540.80 | 15507.00 | PRONOBESH KR GHOSH
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 37.00 | Cum |  | 200.00 | 7400.00 | 200.00 | 7400.00 | 250.00 | 9250.00 | 7400.00 | PRONOBESH KR GHOSH, Sri Kajal Das
3.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:4 (1 cement : 4 coarse sand) | 7.77 | Cum |  | 8000.00 | 62160.00 | 8500.00 | 66045.00 | 6500.00 | 50505.00 | 50505.00 | H B ENTERPRISE
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth. 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 20 mm nominal size) level : | 4.00 | Cum |  | 6500.00 | 26000.00 | 6000.00 | 24000.00 | 6100.00 | 24400.00 | 24000.00 | Sri Kajal Das
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size) | 11.63 | Cum |  | 8500.00 | 98855.00 | 7000.00 | 81410.00 | 6400.00 | 74432.00 | 74432.00 | H B ENTERPRISE
6.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 6500.00 | Kg |  | 160.00 | 1040000.00 | 130.00 | 845000.00 | 105.00 | 682500.00 | 682500.00 | H B ENTERPRISE
7.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished welded type tubes | 8500.00 | Kg |  | 160.00 | 1360000.00 | 130.00 | 1105000.00 | 130.00 | 1105000.00 | 1105000.00 | Sri Kajal Das, H B ENTERPRISE
8.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level: 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 7.13 | Cum |  | 10000.00 | 71300.00 | 7800.00 | 55614.00 | 8200.00 | 58466.00 | 55614.00 | Sri Kajal Das
9.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work above plinth level upto Floor level V :1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 4.00 | Cum |  | 10000.00 | 40000.00 | 7800.00 | 31200.00 | 8500.00 | 34000.00 | 31200.00 | Sri Kajal Das
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Foundations, footings, bases of columns, etc. for mass concrete | 21.52 | Sqm |  | 500.00 | 10760.00 | 400.00 | 8608.00 | 270.00 | 5810.40 | 5810.40 | H B ENTERPRISE
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Lintels, beams, plinth beams, girders, bressumers and cantilevers | 60.40 | Sqm |  | 700.00 | 42280.00 | 400.00 | 24160.00 | 450.00 | 27180.00 | 24160.00 | Sri Kajal Das
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 21.00 | Sqm |  | 700.00 | 14700.00 | 400.00 | 8400.00 | 590.00 | 12390.00 | 8400.00 | Sri Kajal Das
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts | 100.00 | Sqm |  | 700.00 | 70000.00 | 400.00 | 40000.00 | 620.00 | 62000.00 | 40000.00 | Sri Kajal Das
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:4 (1 cement : 4 coarse sand) | 46.35 | Cum |  | 8000.00 | 370800.00 | 8500.00 | 393975.00 | 7800.00 | 361530.00 | 361530.00 | H B ENTERPRISE
15.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.Cement mortar 1:3 (1 cement :3 coarse sand) | 48.12 | Sqm |  | 1200.00 | 57744.00 | 900.00 | 43308.00 | 825.00 | 39699.00 | 39699.00 | H B ENTERPRISE
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more | 900.00 | Kg |  | 99.00 | 89100.00 | 90.00 | 81000.00 | 90.00 | 81000.00 | 81000.00 | Sri Kajal Das, H B ENTERPRISE
17.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more | 410.00 | Kg |  | 99.00 | 40590.00 | 90.00 | 36900.00 | 90.00 | 36900.00 | 36900.00 | Sri Kajal Das, H B ENTERPRISE
18.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 1.00 | Cum |  | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 2000.00 | PRONOBESH KR GHOSH
19.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 coarse sand). | 216.00 | Sqm |  | 350.00 | 75600.00 | 250.00 | 54000.00 | 250.00 | 54000.00 | 54000.00 | Sri Kajal Das, H B ENTERPRISE
20.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 216.00 | Sqm |  | 400.00 | 86400.00 | 270.00 | 58320.00 | 290.00 | 62640.00 | 58320.00 | Sri Kajal Das
21.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). | 50.00 | Kg |  | 700.00 | 35000.00 | 650.00 | 32500.00 | 450.00 | 22500.00 | 22500.00 | H B ENTERPRISE
22.00 | Providing and fixing aluminium sub frame work for windows,ventilators and any horizontal/vertical supports with extruded built up standard tubular sections of approved make conforming to IS: 733 and IS: 1285, fixed with dash fastener etc. of required dia and size as required as per site condition. | 25.00 | Kg |  | 700.00 | 17500.00 | 650.00 | 16250.00 | 340.00 | 8500.00 | 8500.00 | H B ENTERPRISE
23.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia : Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 | 15.00 | Mtr |  | 1200.00 | 18000.00 | 500.00 | 7500.00 | 800.00 | 12000.00 | 7500.00 | Sri Kajal Das
24.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter. 100 mm diameter pipe | 5.00 | Each |  | 300.00 | 1500.00 | 500.00 | 2500.00 | 480.00 | 2400.00 | 1500.00 | PRONOBESH KR GHOSH
25.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia. Sand cast iron S&S as per IS - 3989 | 5.00 | Each |  | 1000.00 | 5000.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 2500.00 | Sri Kajal Das, H B ENTERPRISE
26.00 | Providing and fixing double equal junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete : 100x100x100x100 mm. Sand cast iron S&S as per IS - 3989 | 2.00 | Each |  | 1200.00 | 2400.00 | 500.00 | 1000.00 | 820.00 | 1640.00 | 1000.00 | Sri Kajal Das
27.00 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm. Sand cast iron S&S as per IS - 3989 | 2.00 | Each |  | 800.00 | 1600.00 | 400.00 | 800.00 | 590.00 | 1180.00 | 800.00 | Sri Kajal Das
28.00 | Providing and fixing door piece, insertion rubber washer 3mm thick, bolts & nuts complete : 100 mm : Sand cast iron S&S as per IS - 3989 | 2.00 | Each |  | 100.00 | 200.00 | 500.00 | 1000.00 | 530.00 | 1060.00 | 200.00 | PRONOBESH KR GHOSH
29.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, 110 mm diameter | 43.00 | Mtr |  | 600.00 | 25800.00 | 300.00 | 12900.00 | 265.00 | 11395.00 | 11395.00 | H B ENTERPRISE
30.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. Coupler : 110 mm | 10.00 | Each |  | 400.00 | 4000.00 | 100.00 | 1000.00 | 105.00 | 1050.00 | 1000.00 | Sri Kajal Das
31.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. Single tee with door : 110x110x110 mm | 5.00 | Each |  | 500.00 | 2500.00 | 150.00 | 750.00 | 165.00 | 825.00 | 750.00 | Sri Kajal Das
32.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. Bend 87.5 degree: 110 mm bend | 5.00 | Each |  | 300.00 | 1500.00 | 150.00 | 750.00 | 125.00 | 625.00 | 625.00 | H B ENTERPRISE
33.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. Shoe : 110 mm Shoe | 9.00 | Each |  | 250.00 | 2250.00 | 150.00 | 1350.00 | 105.00 | 945.00 | 945.00 | H B ENTERPRISE
34.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. : 110 mm | 40.00 | each |  | 120.00 | 4800.00 | 200.00 | 8000.00 | 255.00 | 10200.00 | 4800.00 | PRONOBESH KR GHOSH
35.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc.: Exposed on wall. 20 mm dia nominal bore | 20.00 | Mtr |  | 400.00 | 8000.00 | 300.00 | 6000.00 | 310.00 | 6200.00 | 6000.00 | Sri Kajal Das
36.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : : Two or more coats on new work | 1000.00 | Sqm |  | 120.00 | 120000.00 | 150.00 | 150000.00 | 90.00 | 90000.00 | 90000.00 | H B ENTERPRISE
37.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 204.00 | Sqm |  | 100.00 | 20400.00 | 150.00 | 30600.00 | 110.00 | 22440.00 | 20400.00 | PRONOBESH KR GHOSH
38.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 371.00 | Sqm |  | 900.00 | 333900.00 | 850.00 | 315350.00 | 670.00 | 248570.00 | 248570.00 | H B ENTERPRISE
39.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm) | 20.00 | Meter |  | 800.00 | 16000.00 | 500.00 | 10000.00 | 480.00 | 9600.00 | 9600.00 | H B ENTERPRISE
40.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete :: Gutter (600 mm over all girth) | 36.00 | Meter |  | 800.00 | 28800.00 | 500.00 | 18000.00 | 1200.00 | 43200.00 | 18000.00 | Sri Kajal Das
41.00 | Providing and submitting the structural design and drawing of foundation and super structure etc. for the proposed Structural Shed over DG Sets at Rupsi Airport of plan area 18m X 13m and height 5m at eaves level. The structural design shall be done by a structural consultant. The contractor shall submit design and drawing to E-I-C after getting it vetted by NIT/IIT/ Govt. Engineering Colleges. If any clarification /alteration in design is required by the E-I-C, the same to be done without any additional charge . After the approval of structural design & drawing, a total of three (3) set of good for construction design and drawing showing all relevant details and duly signed by the consultant shall be submitted. Any geotechnical exploration, soil test, site survey required for the design shall be done within this scope and no additional payment shall be made for the same. Note: The contractor shall appoint the consultant for structural design with prior approval of E-I-C. | 1.00 | each |  | 20000.00 | 20000.00 | 80000.00 | 80000.00 | 110000.00 | 110000.00 | 20000.00 | PRONOBESH KR GHOSH
42.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).Sal wood | .05 | Cum |  | 100000.00 | 5000.00 | 80000.00 | 4000.00 | 105000.00 | 5250.00 | 4000.00 | Sri Kajal Das
43.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 8.00 | Each |  | 300.00 | 2400.00 | 200.00 | 1600.00 | 200.00 | 1600.00 | 1600.00 | Sri Kajal Das, H B ENTERPRISE
44.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters : 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 4.20 | Sqm |  | 2500.00 | 10500.00 | 3500.00 | 14700.00 | 1750.00 | 7350.00 | 7350.00 | H B ENTERPRISE
45.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 500.00 | per liter |  | 12.00 | 6000.00 | 10.00 | 5000.00 | 8.00 | 4000.00 | 4000.00 | H B ENTERPRISE
46.00 | Providing and fixing gun metal gate valve with C.I. wheel of approve quality (screwed end) :25 mm nominal bore | 2.00 | each |  | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 510.00 | 1020.00 | 1020.00 | H B ENTERPRISE
47.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : with ISI marked white solid plastic seat and lid | 1.00 | Each |  | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 5000.00 | Sri Kajal Das
48.00 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required. Single half stall urinal with 5 litre P.V.C. automatic flushing cistern | 1.00 | Each |  | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 14000.00 | 14000.00 | 5000.00 | PRONOBESH KR GHOSH
49.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require. White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps | 1.00 | each |  | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 3500.00 | H B ENTERPRISE
50.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.:flexible pipe 32 mm dia | 1.00 | each |  | 150.00 | 150.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | Sri Kajal Das, H B ENTERPRISE
51.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 1.00 | each |  | 1400.00 | 1400.00 | 1500.00 | 1500.00 | 2200.00 | 2200.00 | 1400.00 | PRONOBESH KR GHOSH
52.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insertfor top rail & bottom rail, paneling of 5 mm thick both side PVC sheet tobe fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm(5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, andjoined together with solvent cementadhesive. An additional 5 mm thickPVC strip of 20 mm widthis to be stuck on the interior side of the 'C'Channel using PVCsolvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing.30 mm thick plain PVC door shutters | 3.15 | Sqmt |  | 3500.00 | 11025.00 | 3500.00 | 11025.00 | 2500.00 | 7875.00 | 7875.00 | H B ENTERPRISE
53.00 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size,complete as per manufacturer’s specification and direction of Engineerin- Charge. | 4.85 | meter |  | 850.00 | 4122.50 | 500.00 | 2425.00 | 425.00 | 2061.25 | 2061.25 | H B ENTERPRISE
54.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conformingto IS : 15622 of approved make in colours such as White, Ivory, Grey,Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement :4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm includingpointing the joints with white cement and matching pigment etc.,complete. | 43.00 | Sqm |  | 1200.00 | 51600.00 | 900.00 | 38700.00 | 950.00 | 40850.00 | 38700.00 | Sri Kajal Das
55.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineerin- Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | 25.20 | Sqm |  | 1200.00 | 30240.00 | 1000.00 | 25200.00 | 1200.00 | 30240.00 | 25200.00 | Sri Kajal Das
56.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour.600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms | 1.00 | each |  | 700.00 | 700.00 | 600.00 | 600.00 | 620.00 | 620.00 | 600.00 | Sri Kajal Das
57.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931.15 mm nominal bore | 2.00 | each |  | 600.00 | 1200.00 | 1000.00 | 2000.00 | 540.00 | 1080.00 | 1080.00 | H B ENTERPRISE
58.00 | Providing and fixing C.P brass health faucetof approved make with 1.2 m flexible hose and Wall hook complete as per the Manufacturers Specification | 1.00 | each |  | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 850.00 | 850.00 | 850.00 | H B ENTERPRISE
59.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer. Using M.S. angels 40x40x6 mm for diagonal braces | 6.30 | sqm |  | 3500.00 | 22050.00 | 7000.00 | 44100.00 | 4800.00 | 30240.00 | 22050.00 | PRONOBESH KR GHOSH
60.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete | 34.65 | cum |  | 1500.00 | 51975.00 | 600.00 | 20790.00 | 1400.00 | 48510.00 | 20790.00 | Sri Kajal Das
61.00 | Providing and fixing 15 mm thick false ceiling tiles at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level on the existing frame work consisting of T-sections and Lsections suitably fixed according to tile size as per direction of Engineer-in-charge | 32.00 | sqm |  | 1750.00 | 56000.00 | 1200.00 | 38400.00 | 1500.00 | 48000.00 | 38400.00 | Sri Kajal Das
62.00 | Wiring for light point/fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed Steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required: (a) Group C. | 15.00 | Point |  | 1200.00 | 18000.00 | 680.00 | 10200.00 | 1350.00 | 20250.00 | 10200.00 | Sri Kajal Das
63.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: (i) 20mm | 60.00 | Meter |  | 150.00 | 9000.00 | 220.00 | 13200.00 | 290.00 | 17400.00 | 9000.00 | PRONOBESH KR GHOSH
64.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required: (ii) 25mm | 30.00 | Meter |  | 180.00 | 5400.00 | 285.00 | 8550.00 | 350.00 | 10500.00 | 5400.00 | PRONOBESH KR GHOSH
65.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (i) 3 x 1.5 sq. mm | 30.00 | Meter |  | 175.00 | 5250.00 | 80.00 | 2400.00 | 180.00 | 5400.00 | 2400.00 | Sri Kajal Das
66.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (ii) 3 x 2.5 sq. mm | 30.00 | Meter |  | 300.00 | 9000.00 | 120.00 | 3600.00 | 230.00 | 6900.00 | 3600.00 | Sri Kajal Das
67.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/ PVC conduit as required. (iii) 3 x 4 sq. mm | 30.00 | Meter |  | 340.00 | 10200.00 | 200.00 | 6000.00 | 250.00 | 7500.00 | 6000.00 | Sri Kajal Das
68.00 | Supplying and fixing suitable size Gl box with modular plate and cover in Front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connection etc. as required. | 8.00 | Each |  | 600.00 | 4800.00 | 300.00 | 2400.00 | 400.00 | 3200.00 | 2400.00 | Sri Kajal Das
69.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required and including 6-32 A SP, C- curve MCB, 10 KA-12 Nos and 63 A ,10 KA , FP C-curve MCB -1 No Complete as required. 4 way (4+12). | 1.00 | Each |  | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 5600.00 | 5600.00 | 5600.00 | H B ENTERPRISE
70.00 | Laying of one number PVC insulated and PVC sheated / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 12.00 | Meter |  | 150.00 | 1800.00 | 200.00 | 2400.00 | 40.00 | 480.00 | 480.00 | H B ENTERPRISE
71.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. (a) Upto 35 sq. mm. | 18.00 | Meter |  | 150.00 | 2700.00 | 200.00 | 3600.00 | 55.00 | 990.00 | 990.00 | H B ENTERPRISE
72.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required Upto 35 sq.mm | 30.00 | Meter |  | 300.00 | 9000.00 | 200.00 | 6000.00 | 300.00 | 9000.00 | 6000.00 | Sri Kajal Das
73.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1 KV grade as required. (a) 3.5 C X 25 Sq.mm. | 2.00 | Set |  | 300.00 | 600.00 | 2500.00 | 5000.00 | 300.00 | 600.00 | 600.00 | PRONOBESH KR GHOSH, H B ENTERPRISE
74.00 | Providing and fixing 6 SWG dia G.I wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 60.00 | Meter |  | 80.00 | 4800.00 | 60.00 | 3600.00 | 30.00 | 1800.00 | 1800.00 | H B ENTERPRISE
75.00 | Installation, testing and comissioning of pre-wired LED fitting/lowbay LED etc of all types (surface/recess), complete with all accessories and etc. directly on ceiling/ wall, including connection with 1.5 sq mm FRLC PVC insulated, stranded, copper conoductor, single core cable with flexible conduitsand coupler and earthing etc. as required. | 14.00 | Each |  | 500.00 | 7000.00 | 900.00 | 12600.00 | 160.00 | 2240.00 | 2240.00 | H B ENTERPRISE
76.00 | Supply of reccessed mounting type LED Lumanaires of size 600x600 mm having minimum system lumen output of 3200 lumens, maximum 36 watt input power, single piece, integral, powder coated pressure die-cast aluminium housing with sufficient nos. of high power LEDs with suitable lens to ensure uniform distribution of light, integral electronics power driver suitable for 230V+ 10%, 50Hz AC Supply, minimum ingress protection of IP20, thermal management with heat sinks complete as required as per technical specification of the item. | 8.00 | Each |  | 4000.00 | 32000.00 | 3000.00 | 24000.00 | 1350.00 | 10800.00 | 10800.00 | H B ENTERPRISE
77.00 | Supplying of following sizes of 1.1 kV grade multistrand aluminium conductor XLPE insulated and PVC sheathed armoured Heavy duty Power cable (as per IS : 7098:1988 with upto date amendments) complete as required as per specifications. (a) 3.5 core, 25 Sq.mm. | 60.00 | Each |  | 280.00 | 16800.00 | 500.00 | 30000.00 | 210.00 | 12600.00 | 12600.00 | H B ENTERPRISE
78.00 | Supply of 18-20W LED BATTEN type Luminaire of 4ft long having minimum system Lumen output of 1800 lumen , epoxy powder coated white CRCA housing for efficient dissipation equipped with high efficiency long life LED module to ensure better lumen output, Milky white, polycarbonate diffuser for glare-free efficient light distribution, elegantly designed white coloured end caps to enhance the aesthetic view of the fixture, integral electronic driver (SMPS based constant current supply) with output short-circuit protection, surge protection & other safety tests as per latest IS specification suitable for fixing directly on the wall / ceiling by mounting SS clips provided with the fixture complete as required as per technical specification of the item. | 6.00 | Each |  | 600.00 | 3600.00 | 500.00 | 3000.00 | 500.00 | 3000.00 | 3000.00 | Sri Kajal Das, H B ENTERPRISE
79.00 | Supply of 300mm sweep 900rpm,double ball bearing metal frame & metal blade exhaust fan(heavy duty) suitable for 230v, 50Hz, AC supply with bird screen protection. | 1.00 | Each |  | 3500.00 | 3500.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 2000.00 | H B ENTERPRISE
80.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. (As per DSR 2018 Item Code No. 1.50.1) | 1.00 | Each |  | 4500.00 | 4500.00 | 500.00 | 500.00 | 1050.00 | 1050.00 | 500.00 | Sri Kajal Das
81.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. (As per DSR 2018 Item Code No. 5.2) | 1.00 | Each |  | 6000.00 | 6000.00 | 3500.00 | 3500.00 | 6200.00 | 6200.00 | 3500.00 | Sri Kajal Das
82.00 | Supply of 2 TR, Highwall Split A/Cs, 5 star rating, Inverter Split Units with R410a / R-32 Gas. (Both indoor and outdoor units), complete with filters, DX cooling coils connected to DX condensing units,Condenser coil- Copper, including remote control operation for temperature adjuistment, indoor unit blower speed, swing adjustment, auto restart, sleep mode turbo mode, with LED display for temparalure i/c standard lengh of copper refrigerant pipe, copper electrical cable & drain pipe etc. Complete as per technical specifications. | 2.00 | Each |  | 74000.00 | 148000.00 | 75000.00 | 150000.00 | 75000.00 | 150000.00 | 148000.00 | PRONOBESH KR GHOSH
83.00 | Supply, installation, testing and commisssioning of water cooler cum purifier suitable for operation on 230 V, 50 Hz AC supply with RO + UV purification,minimum 60 ltrs storage capacity and minimum 40 LPH water flow rate through the faucets, etc. complete as per technical specification. | 1.00 | Each |  | 94000.00 | 94000.00 | 70000.00 | 70000.00 | 85000.00 | 85000.00 | 70000.00 | Sri Kajal Das
84.00 | Supply, fixing, testing and commisssioning of 5 KVA wall mounting type automatic electronic voltage stablizer suitable for split Air Conditioners single phase and auto voltage range of 180-270 V with high/low voltage cut off on delay etc complete as required. | 2.00 | Each |  | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 3800.00 | 7600.00 | 7600.00 | H B ENTERPRISE
85.00 | Installation testing and Commissioning of 2 TR High wall Split AC including making of necessary hole on concrete/brick wall and making good the same i/c providing suitable size PVC pipe for drawing the /drain pipe and wire etc. through the concrete/brick wall as required. | 2.00 | Job |  | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 10000.00 | PRONOBESH KR GHOSH, Sri Kajal Das
| Total in Figures |  |  |  |  | 4949158.50 |  | 4320625.00 |  | 4052029.45
Lowest Amount Quoted BY: H B ENTERPRISE(4052029.45)

## BOQ Summary
BOQ Summary Details Tender Title: Misc Minor Civil Capital Works at Rupsi Airport, Construction of structural Shed over DG Set, Store, Security room and Toilet Tender ID: 2024_AAI_190489_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | H B ENTERPRISE | 4052029.45 | L1
| 2 | Sri Kajal Das | 4320625.00 | L2
| 3 | PRONOBESH KR GHOSH | 4949158.50 | L3