## BoQ1
Government eProcurement System Created By: Sanjib Kumar Dey Created Date/Time: 22-Apr-2024 04:03 PM Tender Title: Modification of Residential Quarter into Guest House at New Quarter Residential Area SH Electrical Works Tender ID: 2024_AAI_190936_1
Tender Inviting Authority: AGM(E-E), AAI, RHQ, ER
Name of Work: Modification of Residential Quarter into Guest House at New Quarter Residential Area (SH: Electrical Works).
Contract No: AAI/ER/KOL/EE/NIT-12/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | K K ELECTRIC WORKS (GSTN-19AFYPK1005J1Z6) BID ID -688786 |  | MANNA ELECTRONICS AND ELECTRICAL WORKS (GSTN-19AALFM9363P2Z6) BID ID -692775 |  | M/s LEESHA ELECTRICALS (GSTN-27ABAPW8550C1ZK) BID ID -692822 |  | ANIRBAN ENTERPRISE (GSTN-19AHNPB5949D1Z6) BID ID -692892 |  | T K MAZUMDER (GSTN-19AADFT2150K1Z3) BID ID -692941 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -692952
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLSH PVC insulated copper conductor single core cable etc. as required.
1.10 | Group A | 32.00 | Point |  | 1075.00 | 34400.00 | 995.00 | 31840.00 | 1200.00 | 38400.00 | 850.00 | 27200.00 | 500.00 | 16000.00 | 1250.00 | 40000.00 | 16000.00 | T K MAZUMDER
1.20 | Group B | 176.00 | Point |  | 1230.00 | 216480.00 | 1150.00 | 202400.00 | 1400.00 | 246400.00 | 950.00 | 167200.00 | 623.00 | 109648.00 | 1420.00 | 249920.00 | 109648.00 | T K MAZUMDER
2.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.
2.10 | Group B | 10.00 | Point |  | 750.00 | 7500.00 | 700.00 | 7000.00 | 950.00 | 9500.00 | 750.00 | 7500.00 | 526.00 | 5260.00 | 950.00 | 9500.00 | 5260.00 | T K MAZUMDER
3.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 44.00 | Point |  | 1250.00 | 55000.00 | 1350.00 | 59400.00 | 1500.00 | 66000.00 | 1200.00 | 52800.00 | 736.00 | 32384.00 | 1500.00 | 66000.00 | 32384.00 | T K MAZUMDER
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required
4.10 | 2 x 1.5 sq. mm + 1 x 1.5 sq. mm earth wire | 200.00 | Metre |  | 280.00 | 56000.00 | 145.00 | 29000.00 | 200.00 | 40000.00 | 220.00 | 44000.00 | 149.00 | 29800.00 | 200.00 | 40000.00 | 29000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.20 | 2 x 2.5 sq. mm + 1 x 2.5 sq. mm earth wire | 450.00 | Metre |  | 325.00 | 146250.00 | 175.00 | 78750.00 | 300.00 | 135000.00 | 230.00 | 103500.00 | 195.00 | 87750.00 | 300.00 | 135000.00 | 78750.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.30 | 2 x 4 sq. mm + 1 x 4 sq. mm earth wire | 200.00 | Metre |  | 380.00 | 76000.00 | 229.00 | 45800.00 | 390.00 | 78000.00 | 270.00 | 54000.00 | 237.00 | 47400.00 | 390.00 | 78000.00 | 45800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
4.40 | 2 x 6 sq. mm + 1 x 6 sq. mm earth wire | 200.00 | Metre |  | 520.00 | 104000.00 | 275.50 | 55100.00 | 520.00 | 104000.00 | 325.00 | 65000.00 | 308.00 | 61600.00 | 520.00 | 104000.00 | 55100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
5.10 | 6 x 1.5 sq. mm | 100.00 | Metre |  | 170.00 | 17000.00 | 82.00 | 8200.00 | 140.00 | 14000.00 | 120.00 | 12000.00 | 126.00 | 12600.00 | 140.00 | 14000.00 | 8200.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.20 | 9 x 1.5 sq. mm | 120.00 | Metre |  | 260.00 | 31200.00 | 122.00 | 14640.00 | 175.00 | 21000.00 | 185.00 | 22200.00 | 178.00 | 21360.00 | 175.00 | 21000.00 | 14640.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.30 | 6 x 2.5 sq. mm | 200.00 | Metre |  | 240.00 | 48000.00 | 131.00 | 26200.00 | 200.00 | 40000.00 | 190.00 | 38000.00 | 198.00 | 39600.00 | 200.00 | 40000.00 | 26200.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.40 | 9 x 2.5 sq. mm | 60.00 | Metre |  | 370.00 | 22200.00 | 195.00 | 11700.00 | 275.00 | 16500.00 | 235.00 | 14100.00 | 277.00 | 16620.00 | 275.00 | 16500.00 | 11700.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.50 | 6 x 4 sq. mm | 200.00 | Metre |  | 360.00 | 72000.00 | 210.00 | 42000.00 | 250.00 | 50000.00 | 290.00 | 58000.00 | 398.00 | 79600.00 | 250.00 | 50000.00 | 42000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
5.60 | 9 x 4 sq. mm | 60.00 | Metre |  | 520.00 | 31200.00 | 310.00 | 18600.00 | 340.00 | 20400.00 | 350.00 | 21000.00 | 564.00 | 33840.00 | 340.00 | 20400.00 | 18600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
6.10 | 20 mm | 200.00 | Metre |  | 130.00 | 26000.00 | 77.00 | 15400.00 | 110.00 | 22000.00 | 110.00 | 22000.00 | 98.00 | 19600.00 | 110.00 | 22000.00 | 15400.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.20 | 25 mm | 150.00 | Metre |  | 155.00 | 23250.00 | 102.00 | 15300.00 | 150.00 | 22500.00 | 135.00 | 20250.00 | 111.50 | 16725.00 | 150.00 | 22500.00 | 15300.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
6.30 | 32 mm | 100.00 | Metre |  | 220.00 | 22000.00 | 142.00 | 14200.00 | 250.00 | 25000.00 | 175.00 | 17500.00 | 132.00 | 13200.00 | 250.00 | 25000.00 | 13200.00 | T K MAZUMDER
7.00 | Wiring for light / power plug with 2x4 sq mm FRLSH PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 No 4 sq.mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 200.00 | Metre |  | 385.00 | 77000.00 | 235.00 | 47000.00 | 400.00 | 80000.00 | 275.00 | 55000.00 | 245.70 | 49140.00 | 390.00 | 78000.00 | 47000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
8.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required.
8.10 | 4 Module (125mmX75mm) | 30.00 | Each |  | 295.00 | 8850.00 | 200.56 | 6016.80 | 210.00 | 6300.00 | 250.00 | 7500.00 | 85.70 | 2571.00 | 230.00 | 6900.00 | 2571.00 | T K MAZUMDER
8.20 | 6 Module (200mmX75mm) | 36.00 | Each |  | 350.00 | 12600.00 | 335.92 | 12093.12 | 380.00 | 13680.00 | 450.00 | 16200.00 | 119.00 | 4284.00 | 360.00 | 12960.00 | 4284.00 | T K MAZUMDER
8.30 | 8 Module (125mmX125mm) | 16.00 | Each |  | 392.00 | 6272.00 | 375.16 | 6002.56 | 575.00 | 9200.00 | 475.00 | 7600.00 | 151.00 | 2416.00 | 480.00 | 7680.00 | 2416.00 | T K MAZUMDER
8.40 | 12 Module (200mmX150mm) | 24.00 | Each |  | 470.00 | 11280.00 | 570.04 | 13680.96 | 650.00 | 15600.00 | 600.00 | 14400.00 | 184.00 | 4416.00 | 550.00 | 13200.00 | 4416.00 | T K MAZUMDER
9.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
9.10 | 5/6 A switch, | 82.00 | Each |  | 90.00 | 7380.00 | 69.60 | 5707.20 | 45.00 | 3690.00 | 105.00 | 8610.00 | 19.20 | 1574.40 | 50.00 | 4100.00 | 1574.40 | T K MAZUMDER
9.20 | 15/16 A switch | 60.00 | Each |  | 155.00 | 9300.00 | 153.60 | 9216.00 | 75.00 | 4500.00 | 175.00 | 10500.00 | 47.30 | 2838.00 | 75.00 | 4500.00 | 2838.00 | T K MAZUMDER
9.30 | 3 pin 5/6 A socket outlet | 75.00 | Each |  | 145.00 | 10875.00 | 225.60 | 16920.00 | 75.00 | 5625.00 | 135.00 | 10125.00 | 38.40 | 2880.00 | 80.00 | 6000.00 | 2880.00 | T K MAZUMDER
9.40 | 6 pin 15/16 A socket outlet | 60.00 | Each |  | 180.00 | 10800.00 | 225.60 | 13536.00 | 125.00 | 7500.00 | 275.00 | 16500.00 | 84.48 | 5068.80 | 130.00 | 7800.00 | 5068.80 | T K MAZUMDER
9.50 | Bell push | 24.00 | Each |  | 125.00 | 3000.00 | 163.96 | 3935.04 | 45.00 | 1080.00 | 250.00 | 6000.00 | 41.00 | 984.00 | 50.00 | 1200.00 | 984.00 | T K MAZUMDER
10.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 48.00 | Each |  | 415.00 | 19920.00 | 450.00 | 21600.00 | 450.00 | 21600.00 | 550.00 | 26400.00 | 125.40 | 6019.20 | 450.00 | 21600.00 | 6019.20 | T K MAZUMDER
11.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 50.00 | Each |  | 498.00 | 24900.00 | 930.00 | 46500.00 | 650.00 | 32500.00 | 650.00 | 32500.00 | 200.00 | 10000.00 | 650.00 | 32500.00 | 10000.00 | T K MAZUMDER
12.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 49.00 | Each |  | 330.00 | 16170.00 | 400.00 | 19600.00 | 550.00 | 26950.00 | 450.00 | 22050.00 | 200.00 | 9800.00 | 550.00 | 26950.00 | 9800.00 | T K MAZUMDER
13.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 30.00 | Each |  | 18.00 | 540.00 | 20.00 | 600.00 | 15.00 | 450.00 | 20.00 | 600.00 | 10.00 | 300.00 | 15.00 | 450.00 | 300.00 | T K MAZUMDER
14.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type Loadline, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer MCCB ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
14.10 | 4 way , Double door | 2.00 | Each |  | 9650.00 | 19300.00 | 9120.00 | 18240.00 | 6000.00 | 12000.00 | 5600.00 | 11200.00 | 6470.00 | 12940.00 | 6500.00 | 13000.00 | 11200.00 | ANIRBAN ENTERPRISE
15.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
15.10 | 8 Way, Double Door | 8.00 | Each |  | 2100.00 | 16800.00 | 1546.60 | 12372.80 | 1200.00 | 9600.00 | 2200.00 | 17600.00 | 1100.00 | 8800.00 | 1200.00 | 9600.00 | 8800.00 | T K MAZUMDER
15.20 | 16 way, Double Door | 8.00 | Each |  | 2750.00 | 22000.00 | 2395.50 | 19164.00 | 1850.00 | 14800.00 | 3000.00 | 24000.00 | 1680.00 | 13440.00 | 1850.00 | 14800.00 | 13440.00 | T K MAZUMDER
16.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
16.10 | Single pole | 130.00 | Each |  | 195.00 | 25350.00 | 193.50 | 25155.00 | 135.00 | 17550.00 | 145.00 | 18850.00 | 150.00 | 19500.00 | 135.00 | 17550.00 | 17550.00 | M/s LEESHA ELECTRICALS, surbhi association
16.20 | Single Pole & Neutral | 8.00 | Each |  | 595.00 | 4760.00 | 578.00 | 4624.00 | 350.00 | 2800.00 | 350.00 | 2800.00 | 416.00 | 3328.00 | 350.00 | 2800.00 | 2800.00 | M/s LEESHA ELECTRICALS, ANIRBAN ENTERPRISE, surbhi association
17.00 | Supplying and fixing 63 A rating, 240 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.Make- Havells or equivalent as per AAI approve make.
17.10 | Double Pole | 8.00 | Each |  | 900.00 | 7200.00 | 997.16 | 7977.28 | 550.00 | 4400.00 | 850.00 | 6800.00 | 1060.00 | 8480.00 | 550.00 | 4400.00 | 4400.00 | M/s LEESHA ELECTRICALS, surbhi association
18.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminalspreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required.
18.10 | 100 A, 25 KA,TP MCCB | 4.00 | Each |  | 4900.00 | 19600.00 | 7900.00 | 31600.00 | 4500.00 | 18000.00 | 3000.00 | 12000.00 | 3700.00 | 14800.00 | 4500.00 | 18000.00 | 12000.00 | ANIRBAN ENTERPRISE
19.00 | Supplying and fixing 3 pin, 5 A ceiling rose on the existing junction box/ wooden block including connections etc. as required. | 200.00 | Each |  | 45.00 | 9000.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 35.00 | 7000.00 | 35.00 | 7000.00 | 50.00 | 10000.00 | 6000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
20.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 20.00 | Each |  | 15.00 | 300.00 | 10.00 | 200.00 | 15.00 | 300.00 | 20.00 | 400.00 | 15.00 | 300.00 | 15.00 | 300.00 | 200.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
21.00 | Supply of 18 Watt Ultra slim surface mounting Round / Square LED Downlighter , having lumen output not less than 2200 Lumens with luminaire efficacy not less than 100 Lumens / watt, CCT from 3000K to 6500K, suitable for indoor applications complete as per NIT LED Techncial specificaitons. ( Similar to Make- Orient , Cat No. LDSER-18-C-V1/ LDSES-18-V1 or Equivalent as per AAI Approve make) | 44.00 | Each |  | 860.00 | 37840.00 | 715.00 | 31460.00 | 750.00 | 33000.00 | 800.00 | 35200.00 | 728.00 | 32032.00 | 750.00 | 33000.00 | 31460.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
22.00 | Supply of 18 Watt Indoor Surface mounted Integrated LED Lamp 4ft. long , having lumen output not less than 1800 Lumens with luminaire efficacy not less than 100 Lumens / watt, CCT from 3000K to 6000K, suitable for indoor applications complete as per NIT LED Techncial specificaitons. ( Similar to Make- Orient , Cat No. LBLN-18-C-SQ-AL or Equivalent as per AAI Approve make) | 26.00 | Each |  | 350.00 | 9100.00 | 245.50 | 6383.00 | 350.00 | 9100.00 | 215.00 | 5590.00 | 252.00 | 6552.00 | 350.00 | 9100.00 | 5590.00 | ANIRBAN ENTERPRISE
23.00 | Supply of 36 Watt Indoor Surface mounting back lit LED 2 x 2 having lumen output not less than 1800 Lumens with luminaire efficacy not less than 100 Lumens / watt, CCT from 3000K to 6000K, suitable for indoor applications complete as per NIT LED Techncial specificaitons. ( Similar to Make- Orient , Cat No. LTSAQ-36-C-V0 or Equivalent as per AAI Approve make ) | 24.00 | Each |  | 2030.00 | 48720.00 | 1595.50 | 38292.00 | 2500.00 | 60000.00 | 2200.00 | 52800.00 | 1442.00 | 34608.00 | 2500.00 | 60000.00 | 34608.00 | T K MAZUMDER
24.00 | Supply of Spot type LED metal Indoor Wall light 2W or more with LEDs of approved makes premium light. It has a system lumen output not less than 80 lumens with luminaire efficacy of not less than 100 lm/W, CCT of 2700-6500K and complete as per NIT LED Technical Specifications suitable for indoor applications. (Similar to Make- Philips Cat No. 919215850141 or Equivalent as per AAI Approve make). | 32.00 | Each |  | 125.00 | 4000.00 | 1127.50 | 36080.00 | 1750.00 | 56000.00 | 105.00 | 3360.00 | 1188.00 | 38016.00 | 1800.00 | 57600.00 | 3360.00 | ANIRBAN ENTERPRISE
25.00 | Supply of 60 watt LED street light luminaire of Pressure die-cast Al housing, IP66 protection, having minimum 4000 lumen output & minimum CCT from 5000K to 6500K i/c necessary electronic driver, high power LED lamp suitable to operate on 230V ac power supply with supply and fixing 50 mm of medium class G.I.bend on wall etc as per tender specifications complete as required. ( Similar to Make-Orient , Cat No. LSFS-060-C or Equivalent as per AAI Approve make). | 7.00 | Each |  | 2900.00 | 20300.00 | 2300.70 | 16104.90 | 2850.00 | 19950.00 | 2500.00 | 17500.00 | 2382.00 | 16674.00 | 3000.00 | 21000.00 | 16104.90 | MANNA ELECTRONICS AND ELECTRICAL WORKS
26.00 | Supply of 10 Watt LED Bollard light IP65 having lumen output not less than 1650 lumens with luminaire efficacy of not less than 110 lumens per watt, CCT from 3000K to 6000K, driver and accessories suitable for outdoor applications complete as per NIT LED Technical specifications. (Similar to Make-Orient, Cat. No.-LLCBL-10-W or Equivalent as per AAI Approve make). | 15.00 | Each |  | 4000.00 | 60000.00 | 2442.10 | 36631.50 | 3500.00 | 52500.00 | 4300.00 | 64500.00 | 2588.00 | 38820.00 | 3500.00 | 52500.00 | 36631.50 | MANNA ELECTRONICS AND ELECTRICAL WORKS
27.00 | Supply of 24 Watt Indoor Round shaped aluminum suspended luminaire 2 having lumen output not less than 1800 Lumens with luminaire efficacy not less than 100 Lumens / watt, CCT from 3000K to 6000K, suitable for indoor applications complete as per NIT LED Techncial specificaitons. ( Similar to Make- Orient , Cat No. LTSAQ-36-C-V0 or Equivalent as per AAI Approve make) | 15.00 | Each |  | 10050.00 | 150750.00 | 10000.00 | 150000.00 | 2850.00 | 42750.00 | 2100.00 | 31500.00 | 8400.00 | 126000.00 | 2900.00 | 43500.00 | 31500.00 | ANIRBAN ENTERPRISE
28.00 | Supply of 1200 mm sweep anti dust ceiling fan with remote high Speed fan complete as required suitable for operation on 220-240V, 50Hz, single phase power supply. Make- Crompton, Model- Silent Pro Enso or Equivalent as per AAI Approve make. | 33.00 | Each |  | 6900.00 | 227700.00 | 5250.00 | 173250.00 | 3500.00 | 115500.00 | 4900.00 | 161700.00 | 3000.00 | 99000.00 | 3500.00 | 115500.00 | 99000.00 | T K MAZUMDER
29.00 | Supply of following Exhaust fan as per AAI Technical specification complete as required suitable for operation on 220-240V, 50Hz, 1ph power supply.
29.10 | 300 mm sweep, Fibre body, with minimum 1000 rpm. (Similar to Make: Bajaj, Model-Maxima Dxl or Equivalent as per AAI Approve make) | 26.00 | Each |  | 1900.00 | 49400.00 | 1350.00 | 35100.00 | 1650.00 | 42900.00 | 1000.00 | 26000.00 | 1161.50 | 30199.00 | 1650.00 | 42900.00 | 26000.00 | ANIRBAN ENTERPRISE
30.00 | Supply of 10 ltr. Capacity, 2KW 5 star rated water heater of white colour complete as required suitable for operation on 220-240V, 50Hz, single phase power supply.(Similar to Make: Havells, Model-Monza Digi Cat No- GHWAMJSWH010 or equivalent) | 17.00 | Each |  | 8000.00 | 136000.00 | 10500.00 | 178500.00 | 7700.00 | 130900.00 | 7500.00 | 127500.00 | 7017.00 | 119289.00 | 7800.00 | 132600.00 | 119289.00 | T K MAZUMDER
31.00 | Design, Supply, Installation & Commissioning of LED Module ACP Glow sign board (size 15 Ft x 3.5 Ft ) fixing on the existing Building wall with Milky white Acrylic letter of suitable size for AIRPORT GUEST HOUSE with AAI Symbol as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and for LED as per NIT Technical specifications. | 1.00 | Job |  | 106000.00 | 106000.00 | 65000.00 | 65000.00 | 95000.00 | 95000.00 | 105000.00 | 105000.00 | 30000.00 | 30000.00 | 100000.00 | 100000.00 | 30000.00 | T K MAZUMDER
32.00 | Design, Supply, Installation & Commissioning of LED Module ACP Glow sign board (size 16 x 4 Ft ) fixing on a suitable size RCC Foundation with 2 ft height 4'' GI Pipe covered by steel pipe with Milky white Acrylic letter of suitable size for COMMUNITY CENTRE with AAI Symbol as per drawing attached and instruction of EIC. Make of ACP and Wire etc conforming to AAI approved make and for LED as per NIT Technical specifications. | 1.00 | Job |  | 145000.00 | 145000.00 | 82000.00 | 82000.00 | 99500.00 | 99500.00 | 135000.00 | 135000.00 | 40000.00 | 40000.00 | 100000.00 | 100000.00 | 40000.00 | T K MAZUMDER
33.00 | ITC of pre-wired, fluorescent fitting / compact fluorescent fitting/LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/wall, including connection with 1.5 sqmm FR PVC insulated copper conductor, single core cable and earthing etc. as required. | 148.00 | Each |  | 130.00 | 19240.00 | 90.00 | 13320.00 | 120.00 | 17760.00 | 75.00 | 11100.00 | 85.00 | 12580.00 | 120.00 | 17760.00 | 11100.00 | ANIRBAN ENTERPRISE
34.00 | ITC of 15W Bollard light in PCC including earth excavation and supply of foundation anchor bolts and nutts, cable entry pipe etc. as required. as per recommended drawing of OEM and instruction of EIC. | 15.00 | Each |  | 1500.00 | 22500.00 | 580.00 | 8700.00 | 300.00 | 4500.00 | 300.00 | 4500.00 | 280.00 | 4200.00 | 300.00 | 4500.00 | 4200.00 | T K MAZUMDER
35.00 | Installation of exhaust fan upto 300mm & water heater upto 10ltr.in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 42.00 | Each |  | 190.00 | 7980.00 | 180.00 | 7560.00 | 250.00 | 10500.00 | 150.00 | 6300.00 | 180.00 | 7560.00 | 250.00 | 10500.00 | 6300.00 | ANIRBAN ENTERPRISE
36.00 | Supply of 1 Phase, 1.5 TR Split type of 5 Star rating Inverter type Air- conditioners along with high wall type indoor unit suitable for operation on 230 ±10%, 50Hz, 1 Phase power supply (along with necessary wiring from nearest power source to the required outdoor and indoor units) having high EER Compressor with Indoor & Outdoor Copper coil refrigeration having aluminum fins firmly bonded to copper pipe and copper pipe insulation assembled in zinc coated steel frame with Eco friendly R-32 or equivalent Refrigerant Gas along with copper conductor PVC insulated PVC sheathed multicore power cable from indoor to outdoor unit. The indoor unit should have real time clock, operating facility from cordless remote, along with time and temperature display. Outdoor unit to be installed as directed by Engineer-in-Charge. Make – Daikin / Hitachi /Carrier | 25.00 | Each |  | 48500.00 | 1212500.00 | 35000.00 | 875000.00 | 34500.00 | 862500.00 | 32000.00 | 800000.00 | 32532.00 | 813300.00 | 35000.00 | 875000.00 | 800000.00 | ANIRBAN ENTERPRISE
37.00 | ITC of the following TR split type of Inverter Air conditioners along with Outdoor / Indoor unit suitable to operate on 230±10%, 50Hz, 1 Phase Power supply.
37.10 | 1.5 TR Split Inverter AC | 25.00 | Each |  | 3000.00 | 75000.00 | 1150.00 | 28750.00 | 1150.00 | 28750.00 | 1500.00 | 37500.00 | 3000.00 | 75000.00 | 1000.00 | 25000.00 | 25000.00 | surbhi association
38.00 | Supply and fixing of extra copper refrigerant piping complete with suction / liquid line, insulation (i.e.cunifoam with neoprene / rubber lining), and all the accessories i/c Control Cable as per site requirement as directed by Engineer-in-Charge.
38.10 | Suitable for 1.5 TR Split inverter AC along with its Control Cable | 50.00 | Mtr. |  | 1750.00 | 87500.00 | 900.00 | 45000.00 | 1200.00 | 60000.00 | 1500.00 | 75000.00 | 600.00 | 30000.00 | 1000.00 | 50000.00 | 30000.00 | T K MAZUMDER
39.00 | Supply and laying of 25mm dia PVC pipe to be used for drainage of condensate from indoor units to the nearest drain-port as directed by Engineer-in-Charge. | 100.00 | Mtr. |  | 130.00 | 13000.00 | 65.00 | 6500.00 | 95.00 | 9500.00 | 125.00 | 12500.00 | 35.00 | 3500.00 | 100.00 | 10000.00 | 3500.00 | T K MAZUMDER
40.00 | Supplying and fixing 20 Amps., 4 Module Surface mounted Starter along with ON/OFF push button & Plug top with Indicator, on surface complete with connections, testing and commissioning etc. as required (Similar to ACPU4M-BT of Wipro make or equivqlent ). | 25.00 | Each |  | 950.00 | 23750.00 | 715.00 | 17875.00 | 450.00 | 11250.00 | 900.00 | 22500.00 | 650.00 | 16250.00 | 450.00 | 11250.00 | 11250.00 | M/s LEESHA ELECTRICALS, surbhi association
41.00 | Supply ,Installation, testing ,commissioning of Water Purifier storage capacity of minimum 5.8 Ltrs, 7 stages purification or higher with Seperate Iron Remover (Ironil or equivalent) and having minimum 2(Two) nos. water Faucets 1no. for Normal waterand 1 no for Hot water suitable to operate on 230V, 1-phase,50Hz AC power supply with all accessories as required and meeting the Specification as Specified in Technical Specification. (Make - AQUAGUARD ;Model :- Aquaguard Rapid Hot & Ambient RO + UV + Taste Adjuster or Equivalent). | 8.00 | Each |  | 28500.00 | 228000.00 | 20500.00 | 164000.00 | 30000.00 | 240000.00 | 25000.00 | 200000.00 | 22258.00 | 178064.00 | 40000.00 | 320000.00 | 164000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
42.00 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 amended upto date.
42.10 | 3.5 Core, 25 Sq.mm. | 200.00 | Metre |  | 190.00 | 38000.00 | 186.00 | 37200.00 | 180.00 | 36000.00 | 142.00 | 28400.00 | 142.60 | 28520.00 | 180.00 | 36000.00 | 28400.00 | ANIRBAN ENTERPRISE
42.20 | 3.5 Core, 35 Sq.mm. | 100.00 | Metre |  | 230.00 | 23000.00 | 234.00 | 23400.00 | 200.00 | 20000.00 | 175.00 | 17500.00 | 175.90 | 17590.00 | 200.00 | 20000.00 | 17500.00 | ANIRBAN ENTERPRISE
42.30 | 3.5 Core, 95 Sq.mm. | 200.00 | Metre |  | 510.00 | 102000.00 | 535.00 | 107000.00 | 470.00 | 94000.00 | 400.00 | 80000.00 | 397.90 | 79580.00 | 470.00 | 94000.00 | 79580.00 | T K MAZUMDER
43.00 | Supply of following sizes of XLPE insulated PVC sheathed, copper conductor, armoured, power cable of 1.1 KV grade conforming to IS 7098 (Part I), 1988 amended upto date.
43.10 | 3C X 1.5 Sq.mm | 200.00 | Metre |  | 110.00 | 22000.00 | 111.00 | 22200.00 | 90.00 | 18000.00 | 70.00 | 14000.00 | 135.00 | 27000.00 | 100.00 | 20000.00 | 14000.00 | ANIRBAN ENTERPRISE
44.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size direct in ground including excavation, sand cushioning,protective covering and refilling the trench etc as required.
44.10 | Upto 35 sq. mm | 150.00 | Metre |  | 420.00 | 63000.00 | 180.00 | 27000.00 | 350.00 | 52500.00 | 310.00 | 46500.00 | 250.00 | 37500.00 | 350.00 | 52500.00 | 27000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
44.20 | Above 35 Sq.mm and upto 95 sq.mm | 150.00 | Metre |  | 430.00 | 64500.00 | 280.00 | 42000.00 | 350.00 | 52500.00 | 315.00 | 47250.00 | 250.00 | 37500.00 | 350.00 | 52500.00 | 37500.00 | T K MAZUMDER
45.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
45.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Metre |  | 75.00 | 3750.00 | 26.00 | 1300.00 | 40.00 | 2000.00 | 45.00 | 2250.00 | 38.00 | 1900.00 | 40.00 | 2000.00 | 1300.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
45.20 | Above 35 Sq.mm. and upto 95 sq.mm (clampad with 25x3mm MS flat clamp) | 50.00 | Metre |  | 150.00 | 7500.00 | 85.00 | 4250.00 | 65.00 | 3250.00 | 75.00 | 3750.00 | 55.00 | 2750.00 | 65.00 | 3250.00 | 2750.00 | T K MAZUMDER
46.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ STONEWARE/ METAL/CORRUGATED PIPE as required.
46.10 | Upto 35 sq. mm | 50.00 | Metre |  | 45.00 | 2250.00 | 12.00 | 600.00 | 35.00 | 1750.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 35.00 | 1750.00 | 600.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
46.20 | Above 35 Sq.mm. and upto 95 sq.mm | 50.00 | Metre |  | 70.00 | 3500.00 | 20.00 | 1000.00 | 60.00 | 3000.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 60.00 | 3000.00 | 1000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
47.00 | Supplying and making end termination with brass compression gland and Aluminum lugs for following size of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade as required.
47.10 | 3.5 Core 25 Sq.mm. | 20.00 | Sets |  | 325.00 | 6500.00 | 190.00 | 3800.00 | 350.00 | 7000.00 | 270.00 | 5400.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 3800.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
47.20 | 3.5 Core 35 Sq.mm. | 20.00 | Sets |  | 375.00 | 7500.00 | 320.00 | 6400.00 | 400.00 | 8000.00 | 300.00 | 6000.00 | 350.00 | 7000.00 | 400.00 | 8000.00 | 6000.00 | ANIRBAN ENTERPRISE
47.30 | 3.5 Core 95 Sq.mm. | 2.00 | Sets |  | 580.00 | 1160.00 | 360.00 | 720.00 | 800.00 | 1600.00 | 325.00 | 650.00 | 600.00 | 1200.00 | 800.00 | 1600.00 | 650.00 | ANIRBAN ENTERPRISE
48.00 | Supplying , Installation, Testing & Commissioning of out door type double door system LT Feeder Piller Panel, cubical type, made out of 2mm thick CRCA sheet ,with. IP 54 , free standing, floor mounting, dust and vermin proof, Weather proof, Compartmentalized, sutibale for operation on 3 phase and neutral, 415 V, 50 Hz AC system with aluminium busbars including internal wiring with suitable size wires/cable interconnection, bottom, cable entry provision duly powder coated painting etc, including with DMC/SMC bus bar sapports common GI earth bar of size 25mm X 5mm at the rear with earth stud including supplying and installation of following switchgears and accessories in the Panel and as per specification. Incoming:- i)1 Nos 200A, 36 KA FP, T/M release MCCB with rotary handel, spreader links & Auxillary Contact.ii)Digital Multifunctionm Meter with RS485 port, iii)RYB indication LED lamp set , iv) 2A SP 10KA MCB-4nos, iv) 250/5A 5VA Class 1 CT, v) Door interlock (i) Outgoing:- i) 1No. 160A, 25KA FP, with O/L , S/C and T/M release MCCB with rotary handel, spreader links & Auxillary Contact, ii) Door Interlock, iii) 2A SP 10KaA MCB-1nos, iv)RED and GREEN indicating LED lamp- 1each (ii) Outgoing:-4Nos. 100A, 25KA FP, with O/L , S/C and T/M release MCCB with rotary handel, spreader links & Auxillary Contact, ii) Door Interlock, iii) 2A SP 10KaA MCB-4nos, iv)RED and GREEN indicating LED lamp- 4 each (iii) Outgoing:-6 Nos.63A 25KA FP, with O/L , S/C and T/M release MCCBwith rotary handel, spreader links & Auxillary Contact, ii) Door Interlock, iii) 2A SP 10KaA MCB-6nos, iv)RED and GREEN indicating LED lamp- 6 each 415V, Four pole 250A aluminium bus bar with colour code & sleeves -1 Set | 1.00 | Sets |  | 305000.00 | 305000.00 | 265000.00 | 265000.00 | 210751.00 | 210751.00 | 225000.00 | 225000.00 | 195000.00 | 195000.00 | 200000.00 | 200000.00 | 195000.00 | T K MAZUMDER
49.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | 4.00 | Sets |  | 4000.00 | 16000.00 | 4700.00 | 18800.00 | 7000.00 | 28000.00 | 5500.00 | 22000.00 | 5500.00 | 22000.00 | 7000.00 | 28000.00 | 16000.00 | K K ELECTRIC WORKS
50.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 50.00 | Mtrs. |  | 180.00 | 9000.00 | 102.00 | 5100.00 | 125.00 | 6250.00 | 140.00 | 7000.00 | 200.00 | 10000.00 | 125.00 | 6250.00 | 5100.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
51.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc.as required. | 60.00 | Mtrs. |  | 1550.00 | 93000.00 | 380.48 | 22828.80 | 500.00 | 30000.00 | 480.00 | 28800.00 | 350.00 | 21000.00 | 500.00 | 30000.00 | 21000.00 | T K MAZUMDER
52.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 96.00 | Mtrs. |  | 145.00 | 13920.00 | 135.52 | 13009.92 | 200.00 | 19200.00 | 135.00 | 12960.00 | 130.00 | 12480.00 | 200.00 | 19200.00 | 12480.00 | T K MAZUMDER
53.00 | Excavation for foundation in soft soil including dressing of sides and ramming of bottoms, lift upto 1.5 m including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 metres. | 60.00 | Cum |  | 400.00 | 24000.00 | 280.00 | 16800.00 | 200.00 | 12000.00 | 150.00 | 9000.00 | 100.00 | 6000.00 | 200.00 | 12000.00 | 6000.00 | T K MAZUMDER
54.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 36.00 | Cum |  | 7300.00 | 262800.00 | 5500.00 | 198000.00 | 6000.00 | 216000.00 | 5500.00 | 198000.00 | 5150.00 | 185400.00 | 6000.00 | 216000.00 | 185400.00 | T K MAZUMDER
55.00 | Providing brick work (in width 225 mm or more) with F.P.S. bricks of class designation 7.5 in cement mortar 1:4 (1 cement : 4 coarse sand) at all levels. | 40.00 | Cum |  | 6000.00 | 240000.00 | 4500.00 | 180000.00 | 5000.00 | 200000.00 | 7000.00 | 280000.00 | 5500.00 | 220000.00 | 5000.00 | 200000.00 | 180000.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
56.00 | Providing 15mm thick cement plaster of mix 1:4 (1 cement : 4 fine sand) at all levels. | 120.00 | Sq.mm. |  | 300.00 | 36000.00 | 185.00 | 22200.00 | 225.00 | 27000.00 | 300.00 | 36000.00 | 170.00 | 20400.00 | 225.00 | 27000.00 | 20400.00 | T K MAZUMDER
57.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required
57.10 | 50mm dia | 48.00 | meter |  | 710.00 | 34080.00 | 500.01 | 24000.48 | 700.00 | 33600.00 | 650.00 | 31200.00 | 600.00 | 28800.00 | 700.00 | 33600.00 | 24000.48 | MANNA ELECTRONICS AND ELECTRICAL WORKS
57.20 | 80mm dia | 36.00 | meter |  | 1050.00 | 37800.00 | 700.75 | 25227.00 | 950.00 | 34200.00 | 950.00 | 34200.00 | 900.00 | 32400.00 | 1000.00 | 36000.00 | 25227.00 | MANNA ELECTRONICS AND ELECTRICAL WORKS
58.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 50.00 | Cum |  | 1200.00 | 60000.00 | 800.00 | 40000.00 | 450.00 | 22500.00 | 900.00 | 45000.00 | 100.00 | 5000.00 | 500.00 | 25000.00 | 5000.00 | T K MAZUMDER
| Total in Figures |  |  |  |  | 5492217.00 |  | 4146613.36 |  | 4407786.00 |  | 4200545.00 |  | 3595030.40 |  | 4494470.00
Lowest Amount Quoted BY: T K MAZUMDER(3595030.40)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Residential Quarter into Guest House at New Quarter Residential Area SH Electrical Works Tender ID: 2024_AAI_190936_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | T K MAZUMDER | 3595030.40 | L1
| 2 | MANNA ELECTRONICS AND ELECTRICAL WORKS | 4146613.36 | L2
| 3 | ANIRBAN ENTERPRISE | 4200545.00 | L3
| 4 | M/s LEESHA ELECTRICALS | 4407786.00 | L4
| 5 | surbhi association | 4494470.00 | L5
| 6 | K K ELECTRIC WORKS | 5492217.00 | L6