## BoQ1
Government eProcurement System Created By: Arun Kumar Created Date/Time: 24-Apr-2024 10:28 AM Tender Title: REPLACEMENT OF 30KVA DG SETS AT DVOR STATIONS Tender ID: 2024_AAI_191037_1
TENDER INVITING AUTHORITY: ASSISTANT GENERAL MANAGER ENGG(E), AAI RHQ-NR, NATS COMPLEX, T-2 ROAD, IGI AIRPORT, NEW DELHI - 110037.
NAME OF WORK: Replacement of Old 30 KVA D.G. Sets installed at DVOR Stations (Sampla, Sakras, Chillarki, Aligarh & Sikandrabad).
TENDER ID NO.: 2024_AAI_191037_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HIMALAYA GENERATORS (GSTN-09AEDPA0988G1ZL) BID ID -693203 |  | FUJI TECHNICAL SERVICES PVT. LTD. (GSTN-27AAACF1784F1ZQ) BID ID -693516 |  | Messers Rajesh Gawde (GSTN-23AFHPG7133A1Z4) BID ID -693645 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -693654 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -693657 |  | Shiva Enterprises(GSTN-NA)--693626 |  | Virtus Techno(GSTN-NA)--693421 |  | Edge Telecom Pvt Ltd(GSTN-NA)--693590
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of "Silent Type" DG set along with AMF panel comprising One (1) No. Alternator suitable for generating 24 KW / 30 KVA power at 0.8 pf, 415 V, 3 phase, 50 Hz, 1500RPM, self excited, self regulated & self ventilated with brushless excitation & conforming to latest CPCB 4+ requirements in all complete as required. [Location: DVOR Stations Sampla, Sakras, Chillarki, Aligarh & Sikandrabad]. Multi cylinder, turbo charged water/coolant cooled diesel engine developing suitable BHP at 1500 rpm, suitable for above alternator & complete with all accessories i.e. base frame, fly wheel, air cleaner, coupling, starting equipment, arm/AVM pads, batteries, radiator, speed governing mechanism to keep correct frequency at all operating conditions well within limits laid down in relevant BS/IS for class AI governing with amended upto date & anti-vibration pads, batteries etc. complete as required. One (1) No. in-built fuel tank complete with connecting pipe, valves, fuel level indicator device, base plate etc. & having capacity as per OEM standard complete as required. 12V/24V DC starting system comprising of starter motors, voltage regulator & arrangement for initial excitation with suitable nos. of batteries in complete as required. Accoustic & weather proof enclosure with arrangement for fresh air intake for cooling of engine & alternator, extraction, discharging hot air into the atmosphere complete as per specifications. | 8.00 | Job |  | 725000.00 | 5800000.00 | 709500.00 | 5676000.00 | 718750.00 | 5750000.00 | 812500.00 | 6500000.00 | 670000.00 | 5360000.00 | 565000.00 | 4520000.00 | 750000.00 | 6000000.00 | 640000.00 | 5120000.00 | 4520000.00 | Shiva Enterprises
2.00 | Earthing with copper earth plate 600mm x 600mm x 3 mm thick i/c accessories & providing masonary enclosure with cover plate having locking arrangement & watering pipe of 2.7 mtr. long etc. with charcoal/ coke & salt as required. | 32.00 | Set |  | 11000.00 | 352000.00 | 33000.00 | 1056000.00 | 17125.00 | 548000.00 | 16000.00 | 512000.00 | 15000.00 | 480000.00 | 22500.00 | 720000.00 | 16200.00 | 518400.00 | 17000.00 | 544000.00 | 352000.00 | HIMALAYA GENERATORS
3.00 | Supplying & laying 25mm x 5mm Copper strip at 0.50 mtr. below ground as strip electrode i/c connection / terminating with nut, bolt, spring washer etc. as required. (jointing shall be done by overlapping & with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 96.00 | Mtr. |  | 1000.00 | 96000.00 | 3300.00 | 316800.00 | 1513.00 | 145248.00 | 1200.00 | 115200.00 | 1250.00 | 120000.00 | 1550.00 | 148800.00 | 1380.00 | 132480.00 | 1800.00 | 172800.00 | 96000.00 | HIMALAYA GENERATORS
4.00 | Providing & fixing 25mm x 5mm copper strip in 40mm dia G.I. pipe from earth electrode i/c connection with brass nut, bolt, stpring washer excavation & re-filling etc. as required. | 96.00 | Mtr. |  | 1250.00 | 120000.00 | 3080.00 | 295680.00 | 1500.00 | 144000.00 | 1450.00 | 139200.00 | 1650.00 | 158400.00 | 1875.00 | 180000.00 | 1380.00 | 132480.00 | 2500.00 | 240000.00 | 120000.00 | HIMALAYA GENERATORS
5.00 | Providing & fixing 25mm x 5mm copper strip on surface or in recess for connections etc. as required. | 48.00 | Mtr. |  | 1000.00 | 48000.00 | 2860.00 | 137280.00 | 1500.00 | 72000.00 | 1200.00 | 57600.00 | 1250.00 | 60000.00 | 1440.00 | 69120.00 | 1380.00 | 66240.00 | 1500.00 | 72000.00 | 48000.00 | HIMALAYA GENERATORS
6.00 | Dismantling of existing old DG sets [Location: DVOR Stations Sampla, Sakras, Chillarki, Aligarh & Sikandrabad] along with their cable/ gland etc. complete with all accessories, fitting etc. i/c shifting of the dismantled DG sets with to AAI store complete with transporting & crane for loading and unloading etc. complete as required as per the direction of E-I-C. | 8.00 | Job |  | 10000.00 | 80000.00 | 55000.00 | 440000.00 | 18750.00 | 150000.00 | 10000.00 | 80000.00 | 15000.00 | 120000.00 | 16500.00 | 132000.00 | 24000.00 | 192000.00 | 18000.00 | 144000.00 | 80000.00 | HIMALAYA GENERATORS, Manish Electricals
| Total in Figures |  |  |  |  | 6496000.00 |  | 7921760.00 |  | 6809248.00 |  | 7404000.00 |  | 6298400.00 |  | 5769920.00 |  | 7041600.00 |  | 6292800.00
Lowest Amount Quoted BY: Shiva Enterprises(5769920.00)

## BOQ Summary
BOQ Summary Details Tender Title: REPLACEMENT OF 30KVA DG SETS AT DVOR STATIONS Tender ID: 2024_AAI_191037_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Shiva Enterprises | 5769920.00 | L1
| 2 | Edge Telecom Pvt Ltd | 6292800.00 | L2
| 3 | Awasthi Electric Works | 6298400.00 | L3
| 4 | HIMALAYA GENERATORS | 6496000.00 | L4
| 5 | Messers Rajesh Gawde | 6809248.00 | L5
| 6 | Virtus Techno | 7041600.00 | L6
| 7 | Manish Electricals | 7404000.00 | L7
| 8 | FUJI TECHNICAL SERVICES PVT. LTD. | 7921760.00 | L8