## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 02-Apr-2024 05:19 PM Tender Title: Provision of Split AC Fans and allied works for New Cargo Terminal Building at JPNI Airport Patna Tender ID: 2024_AAI_191251_1
Tender Inviting Authority: Airports Authority of India, JPNI Airport Patna.
Name of Work: Provision of Split AC's,Fans and allied works for New Cargo Terminal Building at JPNI Airport,Patna.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S AMAR ENTERPRISES (GSTN-20AAMFA2722R1ZE) BID ID -690591 |  | M/S COOL CONTROL (GSTN-10ALLPK6251D1ZJ) BID ID -690604 |  | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -690994 |  | ANIL KUMAR(GSTN-NA)--690486 |  | ruhienterprises(GSTN-NA)--690441
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of inverter type, hi-wall mounted type 2.0 TR split air-conditioner, BEE 5 star rating with high energy efficient compressor,copper condenser coil, cordless remote, suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase AC supply,top-up with non CFC refrigerant,capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. The job includes refrigerant piping, piping insulation & cabling work up to 3.0 Mtrs etc. as required. | 7.00 | Each |  | 49000.00 | 343000.00 | 41000.00 | 287000.00 | 54752.23 | 383265.61 | 47000.00 | 329000.00 | 48000.00 | 336000.00 | 287000.00 | M/S COOL CONTROL
2.00 | Supply of wall mounted Air Circulator fan of size 450mm Sweep,Minimum Air delivery 150CMM,1400 RPM,Body & Blade made of metallic,,three speed control,aerodynamically designed three blade system,thermal overload protection of motor,noise level less than 65 dB and suitable to works on 230 V, 50Hz, AC supply with complete assembly etc. complete as requiredModel:Turbo Force,Make:Havells or equivalent. | 16.00 | Each |  | 8000.00 | 128000.00 | 7010.00 | 112160.00 | 5353.39 | 85654.24 | 6000.00 | 96000.00 | 4500.00 | 72000.00 | 72000.00 | ruhienterprises
3.00 | Supply of 450mm Sweep wall fan,minimum Air Delivery 110CMM,1400 RPM,aerodynamically designed three blade system,thermal overload protection of motor,noise level less than 65 dB and suitable to works on 230 V, 50Hz, AC supply with complete assembly etc. complete as requiredModel:V3,Make:Havells or equivalent. | 7.00 | Each |  | 6000.00 | 42000.00 | 5630.00 | 39410.00 | 5353.39 | 37473.73 | 5000.00 | 35000.00 | 5500.00 | 38500.00 | 35000.00 | ANIL KUMAR
4.00 | Supply of 450mm Sweep Pedestal fan,minimum Air Delivery 110CMM,1400 RPM,Body & Blade made of metallic,three speed control,aerodynamically designed three blade system,thermal overload protection of motor,noise level less than 65 dB and suitable to works on 230 V, 50Hz, ACC supply with complete assembly etc. complete as required.Model:V3,Make:Havells or equivalent. | 2.00 | Each |  | 7000.00 | 14000.00 | 6250.00 | 12500.00 | 5900.00 | 11800.00 | 6000.00 | 12000.00 | 8500.00 | 17000.00 | 11800.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply of 1x30W LED flood light luminaries,CCT 5700K, cool day light with all accessories including matt grey/black powder coated pressure die-cast aluminium alloy housing having effective heat sink for heat dissipation,heat resitant toughened tempered glass with gasket and SS clips to ensure ingress protection,LED's are provide with secondary lens optics to get optimum optical performance, driver designed with built in surge voltage,open/short circuit protections ,MS mounting bracket fixed on housing for aiming adjustment and suitable to works 230V,50 AC Hz supply etc complete as per tender specifications. | 12.00 | Each |  | 1700.00 | 20400.00 | 1470.00 | 17640.00 | 1450.00 | 17400.00 | 1200.00 | 14400.00 | 2500.00 | 30000.00 | 14400.00 | ANIL KUMAR
6.00 | Installation, testing and commissioning of 2.0 TR split inverter A/C i/c supply & fixing of MS base frame/platform duly epoxy painted for outdoor units,leak testing of entire system,charging of refigerant gas in the unit,making good the surface etc. complete as per requirement of site. | 7.00 | Job |  | 2000.00 | 14000.00 | 1810.00 | 12670.00 | 2200.00 | 15400.00 | 1000.00 | 7000.00 | 2500.00 | 17500.00 | 7000.00 | ANIL KUMAR
7.00 | Supply & fixing of extra refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical PVC flexible cable of suitable size copper conductor from indoor to outdoor suitable for 2.0 TR Air conditioner with laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 45.00 | Mtr |  | 1100.00 | 49500.00 | 765.00 | 34425.00 | 800.00 | 36000.00 | 500.00 | 22500.00 | 650.00 | 29250.00 | 22500.00 | ANIL KUMAR
8.00 | Installation, testing and commissioning of Air Circulator/Wall fan on wall surface upto 450mm Sweep including electrical connection etc. complete as required. | 23.00 | Job |  | 150.00 | 3450.00 | 100.00 | 2300.00 | 700.00 | 16100.00 | 100.00 | 2300.00 | 300.00 | 6900.00 | 2300.00 | ANIL KUMAR, M/S COOL CONTROL
9.00 | Installation,Testing & commisssioning of 30W LED flood light luminaries with all accessories on the suitable provision of MS structure/GI Pipe to be mounted on wall surface with making suitable arrangement for fixing with nuts-bolts or welding/driling including making electrical connection etc. for proper illumination of exising city side main retro-reflective signage of new cargo building complete as required as per direction of EIC. | 12.00 | Job |  | 300.00 | 3600.00 | 250.00 | 3000.00 | 700.00 | 8400.00 | 100.00 | 1200.00 | 200.00 | 2400.00 | 1200.00 | ANIL KUMAR
10.00 | Supply and fixing of following drain pipe with all accessories i.e tee,coupler,bending etc i/c chiselling,tiles cutting and making good of wall/tiles or laying on surface with suitable metal clamping etc complete as per requirement of site.
10.10 | 25 mm dia flexible PVC Pipe | 30.00 | Mtr |  | 50.00 | 1500.00 | 65.00 | 1950.00 | 100.00 | 3000.00 | 50.00 | 1500.00 | 20.00 | 600.00 | 600.00 | ruhienterprises
10.20 | 32 mm dia hard UPVC Pipe | 20.00 | Mtr |  | 50.00 | 1000.00 | 105.00 | 2100.00 | 130.00 | 2600.00 | 50.00 | 1000.00 | 30.00 | 600.00 | 600.00 | ruhienterprises
11.00 | Supply and fixing of 25 amps, 240 volts, SPN modular type, socket outlet, enclosed plug top along with 25 amps "C" curve, SP, MCB, in sheet steel enclosure on surface or in recess etc complete with connections, testing and commissioning etc. as required. | 7.00 | Each |  | 600.00 | 4200.00 | 790.00 | 5530.00 | 950.00 | 6650.00 | 600.00 | 4200.00 | 650.00 | 4550.00 | 4200.00 | ANIL KUMAR, M/S AMAR ENTERPRISES
12.00 | Supplying and fixing following way, horizontal type, three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
12.10 | 4 way, Double door | 1.00 | Each |  | 3000.00 | 3000.00 | 3210.00 | 3210.00 | 2786.00 | 2786.00 | 3000.00 | 3000.00 | 4500.00 | 4500.00 | 2786.00 | VOLKS ENERGIE PVT LTD
13.00 | Supply and fixing following rating & poles, 240/415 volts, "C" curve, 10 KA, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required.
13.10 | Triple pole and neutral(40A) | 1.00 | Each |  | 1500.00 | 1500.00 | 1300.00 | 1300.00 | 900.00 | 900.00 | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 900.00 | VOLKS ENERGIE PVT LTD
13.20 | Single pole (10A to 32A) | 4.00 | Each |  | 200.00 | 800.00 | 195.00 | 780.00 | 140.00 | 560.00 | 100.00 | 400.00 | 140.00 | 560.00 | 400.00 | ANIL KUMAR
14.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor cable conforming to IS 7098 (Part 1) amended upto date etc as required.
14.10 | 3.5C x 25 Sq.mm | 50.00 | Mtr |  | 200.00 | 10000.00 | 235.00 | 11750.00 | 140.00 | 7000.00 | 200.00 | 10000.00 | 220.00 | 11000.00 | 7000.00 | VOLKS ENERGIE PVT LTD
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
15.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 30.00 | Mtr |  | 40.00 | 1200.00 | 40.00 | 1200.00 | 30.00 | 900.00 | 25.00 | 750.00 | 30.00 | 900.00 | 750.00 | ANIL KUMAR
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
16.10 | Upto 35 sq. mm | 20.00 | Mtr |  | 30.00 | 600.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 25.00 | 500.00 | 30.00 | 600.00 | 500.00 | ANIL KUMAR, M/S COOL CONTROL
17.00 | Supply and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
17.10 | 3.5C x 25 Sq.mm | 2.00 | Mtr |  | 300.00 | 600.00 | 275.00 | 550.00 | 800.00 | 1600.00 | 250.00 | 500.00 | 250.00 | 500.00 | 500.00 | ruhienterprises, ANIL KUMAR
18.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class Steel conduit complete as required
18.10 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 200.00 | Mtr |  | 250.00 | 50000.00 | 280.00 | 56000.00 | 284.00 | 56800.00 | 250.00 | 50000.00 | 240.00 | 48000.00 | 48000.00 | ruhienterprises
18.20 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Mtr |  | 300.00 | 30000.00 | 345.00 | 34500.00 | 324.00 | 32400.00 | 300.00 | 30000.00 | 350.00 | 35000.00 | 30000.00 | ANIL KUMAR, M/S AMAR ENTERPRISES
18.30 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 50.00 | Mtr |  | 350.00 | 17500.00 | 420.00 | 21000.00 | 309.00 | 15450.00 | 450.00 | 22500.00 | 450.00 | 22500.00 | 15450.00 | VOLKS ENERGIE PVT LTD
19.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
19.10 | 1 or 2 Module (75mmX75mm) | 16.00 | Each |  | 300.00 | 4800.00 | 230.00 | 3680.00 | 300.00 | 4800.00 | 200.00 | 3200.00 | 90.00 | 1440.00 | 1440.00 | ruhienterprises
19.20 | 3 Module (100mmX75mm) | 10.00 | Each |  | 300.00 | 3000.00 | 270.00 | 2700.00 | 500.00 | 5000.00 | 250.00 | 2500.00 | 120.00 | 1200.00 | 1200.00 | ruhienterprises
20.00 | Supply and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
20.10 | 10 amps switch | 26.00 | Each |  | 90.00 | 2340.00 | 65.00 | 1690.00 | 100.00 | 2600.00 | 60.00 | 1560.00 | 70.00 | 1820.00 | 1560.00 | ANIL KUMAR
20.20 | 3 pin 10 amp socket outlet | 26.00 | Each |  | 100.00 | 2600.00 | 115.00 | 2990.00 | 100.00 | 2600.00 | 110.00 | 2860.00 | 70.00 | 1820.00 | 1820.00 | ruhienterprises
21.00 | Supply and fixing of following sizes of steel conduit along with accessories in surface/recess/welding withexisting structure including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
21.10 | 25 mm | 80.00 | Mtr |  | 150.00 | 12000.00 | 210.00 | 16800.00 | 304.00 | 24320.00 | 175.00 | 14000.00 | 95.00 | 7600.00 | 7600.00 | ruhienterprises
22.00 | Supply of power cable of 1.1KV grade of following sizes copper conductor PVC insulated PVC sheathed un-armoured power cable confirming to IS:694 with upto date ammendments etc complete as required.
22.10 | 3C x 1.5 sqmm | 100.00 | Mtr |  | 70.00 | 7000.00 | 55.00 | 5500.00 | 110.00 | 11000.00 | 50.00 | 5000.00 | 60.00 | 6000.00 | 5000.00 | ANIL KUMAR
23.00 | Laying of one number unarmoured PVC insulated and PVC sheathed cable of 1.1 kV grade upto size 10 Sqmm in the existing RCC/GI/HUME/METAL/HDPE/Conduit pipe/open trench/tay etc. complete as required. | 100.00 | Mtr |  | 10.00 | 1000.00 | 13.00 | 1300.00 | 80.00 | 8000.00 | 10.00 | 1000.00 | 30.00 | 3000.00 | 1000.00 | ANIL KUMAR, M/S AMAR ENTERPRISES
24.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 50.00 | Mtr |  | 20.00 | 1000.00 | 25.00 | 1250.00 | 30.00 | 1500.00 | 25.00 | 1250.00 | 20.00 | 1000.00 | 1000.00 | ruhienterprises, M/S AMAR ENTERPRISES
25.00 | Supply & fixing of slotted type rectangular PVC casing-caping of size 100mmx100mm on wall surface with fixing accessories etc complete as required. | 40.00 | Mtr |  | 100.00 | 4000.00 | 85.00 | 3400.00 | 350.00 | 14000.00 | 30.00 | 1200.00 | 250.00 | 10000.00 | 1200.00 | ANIL KUMAR
| Total in Figures |  |  |  |  | 777590.00 |  | 700785.00 |  | 816959.58 |  | 677520.00 |  | 713940.00
Lowest Amount Quoted BY: ANIL KUMAR(677520.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Split AC Fans and allied works for New Cargo Terminal Building at JPNI Airport Patna Tender ID: 2024_AAI_191251_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANIL KUMAR | 677520.00 | L1
| 2 | M/S COOL CONTROL | 700785.00 | L2
| 3 | ruhienterprises | 713940.00 | L3
| 4 | M/S AMAR ENTERPRISES | 777590.00 | L4
| 5 | VOLKS ENERGIE PVT LTD | 816959.58 | L5