## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 22-Apr-2024 11:34 AM Tender Title: Modification and renovation of Mandir at INA Colony, Safdarjung Airport. SH - Electrical works Tender ID: 2024_AAI_191432_1
Tender Inviting Authority: Asstt.Gen.Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003.
Name of Work: Modification and renovation of Mandir at INA Colony, Safdarjung Airport. SH-Electrical Works.
Contract No: AAI/SAP/Engg.(E)/INA/Mandir/2023-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRONTO TEL PRIVATE LIMITED (GSTN-07AAICP1083B1ZQ) BID ID -692289 |  | EXTRATECH INDIA AUTOMATION PVT. LTD. (GSTN-07AAECE9254B1ZS) BID ID -693222
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: CCTV
2.00 | Supply, Installation, Testing & Commissioning of 5MP Dome Camera IP Network TDN Low-Light IR varifocal Dome Camera, 1/2.8" CMOS or better, 5MP (2592 x 1944) @ 30fps or better, triple stream at various resolution & Frame Rates, Min. Illumination required 0.005 lux (color), 0 Lux IR On, 4 IR LEDs, Smart IR with upto 50m IR distance, Auto ICR (Infrared Cut Filter) 120dB True WDR, S/N Ratio 50db, Shutter Speed 1/8 - 1/32,000; Adavance Video Compression technology such as H.265, H.264 & MJPEG , Varifocal Lens 2.7mm-13.5mm, Field of View FoV H:90°, V:62°, BLC, HLC, WDR, 3DNR, White Balance - Auto/ Manual, Minimum Edge Intelligence Video Analytics : Video Motion Detection, Tampering, Loitering, Intrusion, & People Counting, 4 Privacy Mask, 8 Region Of Intreset, Defog, HTTPS, IP Filter, TLS1.2, AES- 128/256, SSH/Telnet closed, Stream Encryption, 2- Way Audio Full Duplex Line IN/Out, 256GB SD card support, Alarm: 1In/1out, PoE (802.3 af) and 12V DC, Max 5W, IP 66/67 & IK10 with Die Cast Aluminium Housing, Having Operating temp range : –40°C to 60° C. Certifications: ONVIF Profile S/G/T Compliant, UL/CSA 62368-1, CE (EN 50130-4), FCC Part 15, EN 55032, RoHS (EN63000) & NDAA Section 889 compliant. | 11.00 | Each | 100.00 | 26000.00 | 286000.00 | 18702.00 | 205722.00 | 205722.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
3.00 | Supply, Installation, Testing & Commissioning of 5MP BULLET Camera IP Network TDN Low-Light IR BULLET Camera, 1/2.8" CMOS or better, 5MP (2592 x 1944) @ 30fps or better, triple stream at various resolution & Frame Rates, Min. Illumination required 0.005 lux (color), 0 Lux IR On, 4 IR LEDs, Smart IR with upto 60m IR distance, Auto ICR (Infrared Cut Filter) 120dB True WDR, S/N Ratio 50db, Shutter Speed 1/8 - 1/32,000; Adavance Video Compression technology such as H.265, H.264 & MJPEG , varifocal lens 2.7mm-13.5mm, Field of View FoV H:90°, V:62°, BLC, HLC, WDR, 3DNR, White Balance - Auto/ Manual, Minimum Edge Intelligence Video Analytics : Video Motion Detection, Tampering, Loitering, Intrusion, & People Counting, 4 Privacy Mask, 8 Region Of Intreset, Defog, HTTPS, IP Filter, TLS1.2, AES- 128/256, SSH/Telnet closed, Stream Encryption, 2- Way Audio Full Duplex Line IN/Out, 256GB SD card support, Alarm: 1In/1out, PoE (802.3 af) and 12V DC, Max 5W, IP 66/67 & IK10 with Die Cast Aluminium Housing, Having Operating temp range : –40°C to 60° C. Certifications: ONVIF Profile S/G/T Compliant, UL/CSA 62368-1, CE (EN 50130- 4), FCC Part 15, EN 55032, RoHS (EN63000) & NDAA Section 889 compliant. | 29.00 | Each | 100.00 | 26500.00 | 768500.00 | 14125.00 | 409625.00 | 409625.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
4.00 | Supply , Installation , Testing and commissioning of 64 Channel NVR (Network Video Recorder) Embedded Linux based for recording upto 64CH at D1 960fps with 08 nos. SATA HDDs minimum 80TB storage or more (recording requirement all cameras recording at D1, 25fps for 30 days), RAID Support RAID1/5/6, H.265 HEVC/H.264/MJPEG codec decoding, Front Panel with LEDs Indication for Power & HDDs Status, 3 nos. USB, ONVIF S, Time Sync with NTP, Encrypted Streaming & Control, 2- Way Audio Line & Out, PTZ Operation Pan, Tilt, Zoom, Support, Pre & Post Alarm Recording Support, Recording/ Evidence Clip Export to USB, 16 Channel Synchronous Playback, Playback control i.e Play, Pause, Stop, Fast Forward, Backward, Speed Control, Timeline & Zoom; Snapshot, Web Client, Central Monitoring Software, iPhone; iPad; Android based Mobile clients, 02HDMI & 01VGA Output, 08 On Board HDDS each up to 10TB, Alarm Input (06 nos.), Alarm Output (02 nos.), 16 POE Ports, 256 Mbps throughput, NDAA Section 889 Compliant, Operating Temperature –10°C to 55°C, Certification : Certifications: ONVIF compliant, UL/CSA 62368-1, CE (EN 50130- 4), FCC Part 15, EN 55032, NDAA & RoHS(EN63000) compliant. Including fixing accessories and cable termination with required connectors/Jack, complete in all respect as per instruction of engineer incharge. | 1.00 | Each | 10.00 | 280000.00 | 280000.00 | 153285.00 | 153285.00 | 153285.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
5.00 | Supply , Installation , Testing and commissioning of 32 Channel NVR (Network Video Recorder) Embedded Linux based for recording upto 32CH at D1 960fps with 04 nos. SATA HDDs minimum 40TB storage or more (recording requirement all cameras recording at D1, 25fps for 30 days), H.265 HEVC/H.264/MJPEG codec decoding, Front Panel with LEDs Indication for Power & HDDs Status, 3 nos. USB, ONVIF S, Time Sync with NTP, Encrypted Streaming & Control, 2-Way Audio Line & Out, PTZ Operation Pan, Tilt, Zoom, Support, Pre & Post Alarm Recording Support, Recording/Evidence Clip Export to USB, 16 Channel Synchronous Playback, Playback control i.e Play, Pause, Stop, Fast Forward, Backward, Speed Control, Timeline & Zoom; Snapshot, Web Client, Central Monitoring Software, iPhone; iPad; Android based Mobile clients, 02HDMI & 01VGA Output, 04 On Board HDDS each up to 10TB, Alarm Input (06 nos.), Alarm Output (02 nos.), 16 POE Ports, 256 Mbps throughput, NDAA Section 889 Compliant, Operating Temperature –10°C to 55°C, Certification : Certifications: ONVIF compliant, UL/CSA 62368-1, CE (EN 50130-4), FCC Part 15, EN 55032, NDAA & RoHS (EN63000) compliant. Including fixing accessories and cable termination with required connectors/Jack, complete in all respect as per instruction of engineer in-charge. | 1.00 | Each | 10.00 | 190000.00 | 190000.00 | 128255.00 | 128255.00 | 128255.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
6.00 | Supply , Installation , Testing and commissioning of 8 Channel NVR (Network Video Recorder) Embadded Linux based for recording upto 8CH @ 1080P with 02 nos. SATA HDDs minimum 20TB storage or more (recording requirement all cameras recording at, 25fps for 30 days), H.265 HEVC/H.264/MJPEG codec decoding, Front Control Pannel with LEDs Indication, 4 nos. USB, ONVIF S, Time Sync with NTP, Encrypted Streaming & Control, 2-Way Audio Line & Out, PTZ Operation Pan, Tilt, Zoom, Support, Pre & Post Alarm Recording Support, Recording/Evidance Clip Export to USB, 8 Channel Syncronous Playback, Playback control i.e Play, Pause, Stop, Fast Forward, Backward, Timeline & Zoom; Snapshot, Web Client, Central Monitoring Software, iPhone; iPad; Android based Mobile clients, 01HDMI & 01VGA Output, 02 On Board HDDS each up to 10TB, Alarm Input (04 nos.), Alarm Output (01 nos.), 64 Mbps throughput, NDAA Section 889 Compliant, Operating Temperature –10°C to 55°C, Certification : Certifications: ONVIF compliant, UL/CSA 62368-1, CE (EN 50130-4), FCC Part 15, EN 55032, NDAA & RoHS (EN63000) compliant.including fixing accessories and cable termination with required connectors/Jack, complete in all respect as per instruction of engineer in-charge. | 1.00 | Each | 10.00 | 90000.00 | 90000.00 | 38703.00 | 38703.00 | 38703.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
7.00 | Supply of 8 Port Edge Level Industrial Grade Layer 3 GIGABIT POE Switch with 2 SFP Module for Fibre fibre connectivity. | 10.00 | Each | 10.00 | 18500.00 | 185000.00 | 19210.00 | 192100.00 | 185000.00 | PRONTO TEL PRIVATE LIMITED
8.00 | Supply, Installation, Testing and commissioning of 8 TB Surveillance HDD for data recording. | 4.00 | Each | 10.00 | 22500.00 | 90000.00 | 17515.00 | 70060.00 | 70060.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
9.00 | Supply, installation, testing & commissioning of 42", Commercial Display Screen for 24x7 Operational support. | 1.00 | Each | 10.00 | 60000.00 | 60000.00 | 50850.00 | 50850.00 | 50850.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
10.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
10.01 | 20 mm | 250.00 | Mtr | 100.00 | 40.00 | 10000.00 | 28.00 | 7000.00 | 7000.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
10.02 | 25 mm | 1000.00 | Mtr | 100.00 | 40.00 | 40000.00 | 34.00 | 34000.00 | 34000.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
11.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/recessed steel/ PVC conduit as required.
11.01 | 4 pair UTP CAT 6-1 run of Cable | 400.00 | Mtr | 100.00 | 30.00 | 12000.00 | 27.00 | 10800.00 | 10800.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
11.02 | 4 pair UTP CAT 6-2 run of Cable | 350.00 | Mtr | 100.00 | 40.00 | 14000.00 | 54.00 | 18900.00 | 14000.00 | PRONTO TEL PRIVATE LIMITED
11.03 | 4 pair UTP CAT 6-3 run of Cable | 250.00 | Mtr | 10.00 | 50.00 | 12500.00 | 81.00 | 20250.00 | 12500.00 | PRONTO TEL PRIVATE LIMITED
12.00 | Supply & fixing of CCTV Eqipment Rack (6 U) 600x600, MM D WITH FRONT STEEL HEX PRFSINGLE DOOR, REAR STTEL HEX PRF DUAL DOOR , WITH 3POINT LOCK AND KEY, REMOVABLE SIDE PANEL, POWDER COATED WOOD BLACK STR EP ULTRA COAT including Patch Panel, Cable Manager, accessories, etc. complete as per specifications. | 7.00 | Each | 10.00 | 6000.00 | 42000.00 | 5085.00 | 35595.00 | 35595.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
13.00 | Supplying and laying of 6-Fibre single mode armoured optical cable | 500.00 | Mtr | 10.00 | 60.00 | 30000.00 | 40.00 | 20000.00 | 20000.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
14.00 | Supply & fixing of rackmount fully loaded LIU with 6LC duplex adapter for fiber | 9.00 | Each | 10.00 | 6000.00 | 54000.00 | 3955.00 | 35595.00 | 35595.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
15.00 | Supply, installation, testing & commissioning of 2KVA Online UPS having power backup of Min 30 Minutes to powerup CCTV Setup. | 1.00 | Each | 10.00 | 32500.00 | 32500.00 | 40115.00 | 40115.00 | 32500.00 | PRONTO TEL PRIVATE LIMITED
16.00 | SH-II: PA System
17.00 | Supply, installation, testing & commissioning of Digital Power Amplifier of Minimum 480W capable of delivering required power output, built-in fan for temperature control, built in line matching transformer distortion typically 0.03% @ 1 KHz, Hum and Noise 90 dB below rated output, Complete as required. | 1.00 | Each | 100.00 | 60000.00 | 60000.00 | 36725.00 | 36725.00 | 36725.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
18.00 | Supply, installation, testing & commissioning of Pre Amplifier / Mixing Amplifer 240W with minimum 4 inputs for call station, with front panel selection for BGM/ USB / Mic' & call selection Complete as required | 1.00 | Each | 100.00 | 40000.00 | 40000.00 | 23730.00 | 23730.00 | 23730.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
19.00 | Supply, installation, testing & commissioning of Out door loud speaker Minimum 30- 40W capacity, Complete as required | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 3831.00 | 15324.00 | 15324.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
20.00 | Supply, installation, testing & commissioning of Ceiling Mount / Indoor Speaker minimum 20-30W Capacity, Complete as required | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 3831.00 | 15324.00 | 15324.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
21.00 | Supply, installation, testing & commissioning of Wireless Mic, Complete as required | 2.00 | Each | 10.00 | 25000.00 | 50000.00 | 33900.00 | 67800.00 | 50000.00 | PRONTO TEL PRIVATE LIMITED
22.00 | Supply, installation, testing & commissioning of Handheld / Stand Mic , Complete as required | 2.00 | Each | 10.00 | 25000.00 | 50000.00 | 33900.00 | 67800.00 | 50000.00 | PRONTO TEL PRIVATE LIMITED
23.00 | Supply and laying of Wire with 2 core 24/.2 mm PVC insulated twisted copper conductor wires in existing conduit/ trunking as required. | 200.00 | Mtr | 10.00 | 60.00 | 12000.00 | 40.00 | 8000.00 | 8000.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
24.00 | SH-III: SITC of AC
25.00 | Supply Installation Testing Commissioning of Inverter Type Tower AC unit of Capacity not less than 4.0 Tr having air-cooled outdoor units and floor mounted tower type indoor suitable for cooling only including stand made of 50x50x3mm MS angle for indoor unit. The unit shall work even at 50°C ambient temperature without tripping. The unit shall be suitable to work on 400V+/-10%, 3 Phase, 50Hz AC power supply. The unit shall be filled with the first charge of the refrigerant R-410a and ready for use as required. The quoted price shall be inclusive of remote lifting shifting at site complete in all respects upto the satisfaction of engineer-in-charge. | 4.00 | Nos | 100.00 | 200000.00 | 800000.00 | 187206.00 | 748824.00 | 748824.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
26.00 | Supply, Installation, testing and commissioning including vaccumiazation and Nitrogen testing of following nominal sizes of soft/ hard drawn copper refrigerant piping for VRV/ VRF system, complete with fittings, with suitable adjustable ring type hanger supports, jointing/ brazing including accessories, insulated with XPLE tubular insulation with sleeves sections of specified thickness as given below for Suction and Liquid lines, all accessories as per specifications etc. as required:
26.01 | 9.5 mm dia (OD) (Softdrawn) pipe with 13 mm Tube insulation as per OEM specification. | 40.00 | Rmt | 100.00 | 1000.00 | 40000.00 | 459.00 | 18360.00 | 18360.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
26.02 | 15.86 mm dia (OD) (Softdrawn) pipe with 19 mm Tube insulation as per OEM specification. | 40.00 | Rmt | 10.00 | 2000.00 | 80000.00 | 808.00 | 32320.00 | 32320.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
27.00 | Supply Installation Testing and Commissioning Providing and fixing rigid CPVC piping complete with fittings, supports as per specifications and duly insulated with 9 mm thick closed cell nitrile rubber insulation
27.01 | 32 mm | 50.00 | Rmt | 100.00 | 200.00 | 10000.00 | 424.00 | 21200.00 | 10000.00 | PRONTO TEL PRIVATE LIMITED
28.00 | Supply of Power Cable of following sizes XLPE insulated cable ODU and IDUs from electrical panel. The cost shall included all necessary supports, clamps etc as necessary as required.
28.01 | 3 C x 2.5 Sqmm (Copper Flexible for IDUs) | 60.00 | Rmt | 100.00 | 200.00 | 12000.00 | 102.00 | 6120.00 | 6120.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
28.02 | 4 C x 4.0 Sqmm (Copper Flexible for ODUs) | 100.00 | Rmt | 10.00 | 250.00 | 25000.00 | 234.00 | 23400.00 | 23400.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
28.03 | 2C x 1.5 sqmm/1.0 sqmm (Copper flexible for IDU to ODU ) control cable | 60.00 | Rmt | 10.00 | 90.00 | 5400.00 | 113.00 | 6780.00 | 5400.00 | PRONTO TEL PRIVATE LIMITED
29.00 | Supply and installation following size of preforated Hot Dipped Galvanised Iron cable tray (Galvanisation thickness not less than 50 microns) with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspeneders including G.I. bolts & nuts,support etc.as required.
29.01 | 150 mm width X 50 mm depth X 1.6 mm thickness | 40.00 | Rmt | 100.00 | 250.00 | 10000.00 | 497.00 | 19880.00 | 10000.00 | PRONTO TEL PRIVATE LIMITED
30.00 | Supply & installation of hot dip galvanized iron cover for following size of perforated type cable trays, (galvanisation not less than 50 microns) including G.I. bolts & nuts, all labour and materials, as per approved drawings, specifications of this tender and directions of Engineer-in-charge.
30.01 | 150 mm width X 50 mm depth X 1.6 mm thickness | 40.00 | Rmt | 100.00 | 250.00 | 10000.00 | 407.00 | 16280.00 | 10000.00 | PRONTO TEL PRIVATE LIMITED
31.00 | Supplying and fixing 2 amps to 5 amps TPN rating 415 volts, "C" curve, miniature circuit breaker suitable for inductive load & Metal enclouser complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 10.00 | 260.00 | 1040.00 | 622.00 | 2488.00 | 1040.00 | PRONTO TEL PRIVATE LIMITED
32.00 | Supplying and fixing weatherproof enclosure on surface/ recess along with 40 amps 415 volts “C” curve FP MCB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 10.00 | 600.00 | 2400.00 | 2373.00 | 9492.00 | 2400.00 | PRONTO TEL PRIVATE LIMITED
33.00 | Fabricating, Providing and fixing M.S. iron frame fabricated with M.S. C-channel of size 100 mm x 50 mm x 6 mm (thick) for resting the condenser unit on the roof/ floor of the building duly supported from the bottom as required including painting and grouting the framework with cement concrete etc. complete as required. | 8.00 | Each | 10.00 | 250.00 | 2000.00 | 3955.00 | 31640.00 | 2000.00 | PRONTO TEL PRIVATE LIMITED
34.00 | SH-IV: Cables & DB
35.00 | Supply of following sizes of Aluminium Power Cables, multistranded conductor, XLPE Insulated, Armoured, FRLS at outer sheathed, 1100V grade as per IS 7098(Part 1) 1988 with upto date amendments.
35.01 | 3.5 core, 35 Sq.mm | 100.00 | Mtr | 100.00 | 400.00 | 40000.00 | 198.00 | 19800.00 | 19800.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
36.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
36.01 | Upto 35 sq. mm | 70.00 | Mtr | 100.00 | 50.00 | 3500.00 | 62.00 | 4340.00 | 3500.00 | PRONTO TEL PRIVATE LIMITED
37.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
37.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 20.00 | Mtr | 100.00 | 50.00 | 1000.00 | 73.00 | 1460.00 | 1000.00 | PRONTO TEL PRIVATE LIMITED
38.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
38.01 | 3½ X 35 sq. mm (32mm) | 4.00 | Each | 100.00 | 1000.00 | 4000.00 | 113.00 | 452.00 | 452.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
39.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required.
39.01 | 8 way (4 + 24), Double door | 1.00 | Each | 100.00 | 3000.00 | 3000.00 | 10170.00 | 10170.00 | 3000.00 | PRONTO TEL PRIVATE LIMITED
40.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for tripple pole and neutral, sheet steel, Vertical MCB distribution board, 415 volts, on surface/ recess, complete with testing and commissioning etc. | 1.00 | Each | 100.00 | 1000.00 | 1000.00 | 1356.00 | 1356.00 | 1000.00 | PRONTO TEL PRIVATE LIMITED
41.00 | Supplying and fixing FP sheet steel enclosure on surface/ recess along with following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders including drilling holes and making connections etc. as required.
41.01 | 63A, 30 KA, 4 Pole | 1.00 | Each | 100.00 | 660.00 | 660.00 | 6780.00 | 6780.00 | 660.00 | PRONTO TEL PRIVATE LIMITED
42.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required.
42.01 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 70.00 | Mtr | 100.00 | 80.00 | 5600.00 | 158.00 | 11060.00 | 5600.00 | PRONTO TEL PRIVATE LIMITED
43.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 5.00 | Cum | 100.00 | 1000.00 | 5000.00 | 2260.00 | 11300.00 | 5000.00 | PRONTO TEL PRIVATE LIMITED
44.00 | SH-V: Light Fixtures & Fans
45.00 | Supply of IP20 linear recessed LED light, housing made up of extruded aluminium with PMMA milky Diffuser with Energy efficient LEDs having diffused wide beam angle for uniform lighting with system power 20W. System efficacy >100lm/W, CRI > 80, direct light emission, 240V constant current driver. CCT -4000K, Internal wiring along with Electronic Driver having an in built Surge Protection. Similar to Eveready ARISTOCRAT R LEDRLL020I4(4ft) or HAVELLS DESTELLO RECESSED DESTG250LR25WLED or Equivalent | 14.00 | Each | 100.00 | 11900.00 | 166600.00 | 4520.00 | 63280.00 | 63280.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
46.00 | Supply of IP20 COB recessed mounted LED downlighter, housing made up of pressure die cast aluminium with opal clear acrylic Diffuser having 36° beam angle with system power 8W. Luminous flux of luminaire 1000 lm, system efficacy >100lm/W, CRI > 80, direct light emission, 240V constant current driver. Power Factor >0.9, THD <10% & CCT -4000K, Internal wiring along with Electronic Driver having an in built Surge Protection. Similar to Eveready HILITE LEDDNC008I4-01 or HAVELLS UNECO FIXED DOWN LIGHT UNECOFIXDLR8WLED or Equivalent | 20.00 | Each | 100.00 | 5000.00 | 100000.00 | 1356.00 | 27120.00 | 27120.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
47.00 | Supply of IP20 LED surface mounted 350-360° adjustable focus light, housing made up of pressure die cast aluminium with opal clear acrylic Diffuser having 38° beam angle with system power 8W. System efficacy >100lm/W, CRI > 80, direct light emission, 240V constant current driver. CCT -4000K, Internal wiring along with Electronic Driver having an in built Surge Protection. Similar to Eveready Surface Mounted Adjustable Luminaire or HAVELLS UNECO SNOOT UNECOSNOOTDLR8WLED or Equivalent | 18.00 | Each | 100.00 | 4000.00 | 72000.00 | 1413.00 | 25434.00 | 25434.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
48.00 | Supply of IP20 surface mounted RGB controlled LED batten, housing made up of co-extruded with opal polycarbonate Diffuser with Energy efficient LEDs having diffused wide beam angle for uniform lighting with system power 20W. System efficacy >80lm/W, direct light emission, 240V constant current driver. Power Factor >0.9, THD <15% & CCT -RGB, Internal wiring along with Electronic Driver having an in built Surge Protection. Similar to Eveready RGB Controlled LED Batten or Equivalent | 12.00 | Each | 100.00 | 1000.00 | 12000.00 | 1300.00 | 15600.00 | 12000.00 | PRONTO TEL PRIVATE LIMITED
49.00 | Supply and fixing of IP65 flexible rope light, silicon tube covering LED strip to comply IP with system power 8W per meter, CRI > 80, CCT -3000K with electronic driver line neutral protection. Similar to Eveready LEDRPL008I3 or Equivalent | 100.00 | Mtr | 100.00 | 500.00 | 50000.00 | 254.00 | 25400.00 | 25400.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
50.00 | Supply of Driver for above mentioned IP65 flexible rope light including connections etc. as required. | 4.00 | Each | 100.00 | 5000.00 | 20000.00 | 565.00 | 2260.00 | 2260.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
51.00 | Supply of 4 feet long wall mounted, 18-22W range cool milky white LED tube light fixture complete having inbuilt electronic driver alongwith 4 feet long retrofit type T8 LED tube light lamp with aluminium heat sink including internal wiring etc. complete with all accessories as per specifications of tender. | 4.00 | Each | 100.00 | 1000.00 | 4000.00 | 565.00 | 2260.00 | 2260.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
52.00 | 36 W fully diffused Recess mounting LED light fixture of size 2' X 2' made of CRCA sheet steel duly powder coated, min 100 lm/W, CRI min 80. | 40.00 | Each | 100.00 | 3000.00 | 120000.00 | 3955.00 | 158200.00 | 120000.00 | PRONTO TEL PRIVATE LIMITED
53.00 | Supply of 35-40W LED post top fitting having high pressure powder coated die cast aluminium housing with top cover and high impact poly corbonate or acrylic protector/ diffuser and suitable built in LED Driver etc as required. (Make: Halonix, Model no. HLPT-03-40-CW or equivalent Philips/Havells/Bajaj). | 30.00 | Each | 100.00 | 3500.00 | 105000.00 | 9605.00 | 288150.00 | 105000.00 | PRONTO TEL PRIVATE LIMITED
54.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, safety rope, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.85, Air delivery minimum 215 CMM, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. (Make: Havells Enticer BLDC FHCEG5SPWH48 or equivalent as per EIC) | 8.00 | Each | 100.00 | 7400.00 | 59200.00 | 6213.00 | 49704.00 | 49704.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
55.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 88.00 | Each | 100.00 | 200.00 | 17600.00 | 283.00 | 24904.00 | 17600.00 | PRONTO TEL PRIVATE LIMITED
56.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 8.00 | Each | 100.00 | 500.00 | 4000.00 | 226.00 | 1808.00 | 1808.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
57.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
57.10 | Upto 450 mm sweep | 2.00 | Each | 100.00 | 500.00 | 1000.00 | 1130.00 | 2260.00 | 1000.00 | PRONTO TEL PRIVATE LIMITED
58.00 | Supply of customized extension board on wooden frame with 02 Nos. 15/16 Amps sockets controlled by separate 15/16 Amps. switches & 02 Nos. 5/6 Amps sockets controlled by separate 5/6 Amps. switches on phenolic sheet, 2.5 sqmm. 40/76, 3core copper flexible cable of lenght 10m with 3 pin plug top suitable for 240V, 50 Hz, single phase supply. | 5.00 | Each | 100.00 | 2500.00 | 12500.00 | 1695.00 | 8475.00 | 8475.00 | EXTRATECH INDIA AUTOMATION PVT. LTD.
| Total in Figures |  |  |  |  | 4250000.00 |  | 3403915.00
Lowest Amount Quoted BY: EXTRATECH INDIA AUTOMATION PVT. LTD.(3403915.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification and renovation of Mandir at INA Colony, Safdarjung Airport. SH - Electrical works Tender ID: 2024_AAI_191432_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | EXTRATECH INDIA AUTOMATION PVT. LTD. | 3403915.00 | L1
| 2 | PRONTO TEL PRIVATE LIMITED | 4250000.00 | L2