## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 01-May-2024 12:29 PM Tender Title: Annual Operation and Maintenance of E and M installations of 33 KV New substation and NTB at LBSI Airport Varanasi.(2024-2026) Tender ID: 2024_AAI_191475_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Annual Operation and Maintenance of E & M installations of 33 KV New substation and NTB at LBSI Airport Varanasi.(2024-2026)
Contract No: 2024_AAI_191475_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Brady Services Pvt. Ltd. (GSTN-07AABCB4175F1ZW) BID ID -693373 |  | NATIONAL SAFETY ENGINEERS (GSTN-07ADCPT3599E3Z6) BID ID -694000 |  | SAURABH ENTERPRISES(GSTN-NA)--693428 |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)--693577
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD-A: Operation & Maintenance Periodical Maintenance and operation of electrical and mechanical installations involving operation, repairs and maintenance, attending to complaints/faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records/ documents etc under this contract on all working days including saturdays,Sundays and holidays as per tender specifications, terms & conditions by supplying to following minimum number of man power. (a) Supervisor -Highly Skilled - 06 Nos. (i.e. 01 No. round the clock on all days in every week for substation and 01 No. round the clock on all days in every week for New terminal Building , Reliever shall be provided on weekly off). (b) Electrician - Skilled - 07 Nos. (ie 01 No. in general shift for preventive maintenance on all days in every week for New Terminal building,01 No. round the clock on all days in every week for New terminal Building & 01 No. round the clock on all working days including Sunday and holiday for Substation , Reliever shall be provided on weekly off,). (c) Wireman - Semi skilled - 03 Nos. ( i.e 01 No. round the clock on all days in every week for New Terminal Building , Releiver shall be provided on weekly off. (d) Lift/escalator operator - Semi Skilled - 08 Nos. (i.e. 01 No. round the clock on all days in every week for domestic SHA &01 No. round the clock on all days in every week for domestic arrival and 01 number in general shift for international arrival and 01 number in general shift for international departure, Reliever Shall be Provided on Weekly Off). (e) Helper - Unskilled - 07 Nos. (i.e. 01 No. in general shift for preventive maintenance on all days in every week for New Terminal building,01 No. round the clock on all days in every week for New terminal Building & 01 No. round the clock on all days in every week for substation , Reliever shall be provided on weekly off). | 24.00 | Month |  | 830048.00 | 19921152.00 | 809000.00 | 19416000.00 | 760826.00 | 18259824.00 | 725000.00 | 17400000.00 | 17400000.00 | JCC ENGINEERS PRIVATE LIMITED
2.00 | SUB HEAD-B: Misc. R&M Works Painting of 10 mtr high, MS car parking light poles after scrapping existing paint with emery/sand paper, applying primer on rusted part of pole, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooch surface and even shade,numbering etc complete as required. | 4.00 | Each |  | 50.00 | 200.00 | 1500.00 | 6000.00 | 10.00 | 40.00 | 100.00 | 400.00 | 40.00 | SAURABH ENTERPRISES
3.00 | Painting of 6 mtr high, MS car parking light poles after scrapping existing paint with emery/sand paper, applying primer, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooch surface and even shade,numbering etc complete as required. | 124.00 | Each |  | 50.00 | 6200.00 | 1400.00 | 173600.00 | 9.00 | 1116.00 | 50.00 | 6200.00 | 1116.00 | SAURABH ENTERPRISES
4.00 | Painting upto 3 mtr high, MS poles/Channel etc (installed for signages) after scrapping existing paint with emery/sand paper, applying primer, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooch surface and even shade etc complete as required. | 40.00 | Each |  | 50.00 | 2000.00 | 1000.00 | 40000.00 | 10.00 | 400.00 | 50.00 | 2000.00 | 400.00 | SAURABH ENTERPRISES
5.00 | Spray Painting of sheet metal enclosures such as feeder pillars, distribution boards, Electrical panels,Fire Hydrant Box with two coats of approved paint & shade including cleaning of surface, etc. as required. | 150.00 | Sqm |  | 50.00 | 7500.00 | 100.00 | 15000.00 | 1.00 | 150.00 | 100.00 | 15000.00 | 150.00 | SAURABH ENTERPRISES
6.00 | Inspection and Oil sample Testing of Transformer oil for 1600 KVA, 33/0.415 KV Transformer etc. complete as required.(Oil sample Testing). | 24.00 | Job |  | 1200.00 | 28800.00 | 4000.00 | 96000.00 | 10.00 | 240.00 | 500.00 | 12000.00 | 240.00 | SAURABH ENTERPRISES
7.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil for 1600 KVA ,33/0.415 Kv Transformer(Oil Dehydration). | 17000.00 | Ltr. |  | 4.00 | 68000.00 | 12.00 | 204000.00 | 5.00 | 85000.00 | 4.00 | 68000.00 | 68000.00 | Brady Services Pvt. Ltd., JCC ENGINEERS PRIVATE LIMITED
8.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil for 1600 KVA ,33/0.415 Kv Transformer(Topping up of Transformer Oil). | 300.00 | Ltr. |  | 55.00 | 16500.00 | 190.00 | 57000.00 | 10.00 | 3000.00 | 100.00 | 30000.00 | 3000.00 | SAURABH ENTERPRISES
9.00 | Supply of Panel lock 25mm with key grove. | 250.00 | Each |  | 20.00 | 5000.00 | 150.00 | 37500.00 | 10.00 | 2500.00 | 10.00 | 2500.00 | 2500.00 | SAURABH ENTERPRISES, JCC ENGINEERS PRIVATE LIMITED
10.00 | Supply of panel lock 25mm with knob. | 100.00 | Each |  | 22.50 | 2250.00 | 125.00 | 12500.00 | 10.00 | 1000.00 | 10.00 | 1000.00 | 1000.00 | SAURABH ENTERPRISES, JCC ENGINEERS PRIVATE LIMITED
11.00 | Supply of sealed maintenance free 12V battery of rating 180AH for DG set. | 6.00 | Each |  | 16000.00 | 96000.00 | 14000.00 | 84000.00 | 10.00 | 60.00 | 12000.00 | 72000.00 | 60.00 | SAURABH ENTERPRISES
12.00 | Supply of sealed maintenance free 12V, 100AH battery ( for DC Power Supply Panel). | 12.00 | Each |  | 13250.00 | 159000.00 | 10000.00 | 120000.00 | 10.00 | 120.00 | 6500.00 | 78000.00 | 120.00 | SAURABH ENTERPRISES
13.00 | Supply of Indian National Flags of size 20 feet x 30 feet as per IS: 1-1968 latest, hand spun from clean carded cotton, handloom manufactured. | 12.00 | Each |  | 18000.00 | 216000.00 | 30000.00 | 360000.00 | 10.00 | 120.00 | 6500.00 | 78000.00 | 120.00 | SAURABH ENTERPRISES
14.00 | SUB HEAD-C(HT panel/LT panel) Annual Servicing/Maintenance Contract of Kirloskar make SF6 breaker model : FP 73D S36, 33 KV, Current 1250Amp,Complete testing and calibration of 33 KV HT Panel relay and CT (secondary injection), dismantling, cleaning of breaker & contacts, oiling of all joint rollers, repairing, replacement of damaged parts, if any, re-assembling the same after preventive maintenance, testing and commissioning complete Six monthly visit including attending break down call as and when required.(a) Incommer-01 number(b)Out going-04 number. The work to be carried out through authorised service dealer of OEM,s. | 4.00 | Job/Visit |  | 3500.00 | 14000.00 | 20000.00 | 80000.00 | 1.00 | 4.00 | 2000.00 | 8000.00 | 4.00 | SAURABH ENTERPRISES
15.00 | SF 6 Gas Top- up and recheck of Gas Pressure of Kirloskar make 33KV SF6 each breaker through authorised delaer of OEM. | 4.00 | Job |  | 12750.00 | 51000.00 | 4500.00 | 18000.00 | 10.00 | 40.00 | 12000.00 | 48000.00 | 40.00 | SAURABH ENTERPRISES
16.00 | Supply of 33 kv insulator as and when required during the service/ maintenance contract. | 15.00 | Each |  | 600.00 | 9000.00 | 2000.00 | 30000.00 | 10.00 | 150.00 | 1000.00 | 15000.00 | 150.00 | SAURABH ENTERPRISES
17.00 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories includinglugs suitable for following size of 3 core, XLPE aluminiumconductor cable of 33 kV grade as required.(300 Sqmm). | 4.00 | Job |  | 6000.00 | 24000.00 | 8800.00 | 35200.00 | 10.00 | 40.00 | 10000.00 | 40000.00 | 40.00 | SAURABH ENTERPRISES
18.00 | Supply and installation of Panel Space Heater with thermostat controller, 200W. | 10.00 | Each |  | 250.00 | 2500.00 | 1800.00 | 18000.00 | 10.00 | 100.00 | 200.00 | 2000.00 | 100.00 | SAURABH ENTERPRISES
19.00 | Annual servicing/ maintenance contract of Air circuit breakers Make- GE & ABB of different capacities by complete racking out/ dismantling, cleaning of breaker & contacts, oiling of all joint rollers, repairing, replacement of damaged parts, if any, re-assembling the same after preventive maintenance , testing and commissioning complete 06 monthly visit as per OEM,s recommendation including attending break down calls as and when required. The work to be carried out through authorised service dealer of OEM,s. (supply of spare not included in AMC, will be paid separately. | 54.00 | Job |  | 3500.00 | 189000.00 | 8000.00 | 432000.00 | 10.00 | 540.00 | 1000.00 | 54000.00 | 540.00 | SAURABH ENTERPRISES
20.00 | Supply of spares required during the services/ maintenance of ACB make GE/ABB of different capacities for amount Rs.300000.00 (exclusive of GST) as per prevailing list price in support. The agency has to quote discounted price on price list for supply of spares (for example if the quoted rate for this item is Rs0.90 then the value of Rs. 300000 .00 will be Rs.2,70,000.00. The quoted price should not be above the price list.). | 300000.00 | Each |  | .37 | 111000.00 | .80 | 240000.00 | .18 | 54000.00 | .40 | 120000.00 | 54000.00 | SAURABH ENTERPRISES
21.00 | SH:D DSR Works Rate for Each one rupee Value of work executed from the CPWD DSR (E&M) 2022 Electrical rates.{For example if the quoted rate for this item is Rs.0.90 then the executed DSR-2022 (Electrical) schedule works of value Rs.200000.00 at DSR-2022 (Electrical ) rates, the quoted amount will be Rs.180000.00.And if quoted rate for this item is Rs.1.25 then quoted amount for the same will be Rs.250000.00} . | 200000.00 | Each |  | .38 | 76000.00 | .80 | 160000.00 | .18 | 36000.00 | .50 | 100000.00 | 36000.00 | SAURABH ENTERPRISES
| Total in Figures |  |  |  |  | 21005102.00 |  | 21634800.00 |  | 18444444.00 |  | 18152100.00
Lowest Amount Quoted BY: JCC ENGINEERS PRIVATE LIMITED(18152100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance of E and M installations of 33 KV New substation and NTB at LBSI Airport Varanasi.(2024-2026) Tender ID: 2024_AAI_191475_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JCC ENGINEERS PRIVATE LIMITED | 18152100.00 | L1
| 2 | SAURABH ENTERPRISES | 18444444.00 | L2
| 3 | Brady Services Pvt. Ltd. | 21005102.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 21634800.00 | L4