## BoQ1
Government eProcurement System Created By: PRIYANKA SHARMA Created Date/Time: 04-Jun-2024 06:35 PM Tender Title: Miscellaneous Civil works involved in Car Park at B.M. Airport, Ranchi Tender ID: 2024_AAI_192063_1
Tender Inviting Authority: AGM (Engg.-Civil), AAI, B.M.Airport, Ranchi.
Name of Work: Miscellaneous Civil works involved in Car Park at B.M.Airport, Ranchi.
Contract No: 2024_AAI_ 192063 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KISHOR SAHU (GSTN-20AOKPS9390F1ZN) BID ID -696892 |  | M/s Brajesh Kumar Sinha (GSTN-20ALDPS6057K1ZZ) BID ID -700727 |  | M/S DAROGA SINGH CONSTRUCTION COMPANY (GSTN-20AALFD6255D1ZT) BID ID -702089 |  | Proficio Engineering And Construction Pvt. Ltd. (GSTN-07AAHCP4985D2Z5) BID ID -702173 |  | M/S VIKASH KUMAR(GSTN-NA)--701797 |  | M/S GALAXEE(GSTN-NA)--700959 |  | M/S KUMAR CONSTRUCTION(GSTN-NA)--702079
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Note: The tender rate should be inclusive of all taxes, duties, cess, fee , royalty charges etc. levied under any statute but exclusive of GST.
1.01 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. : For thickness of tiles 10 mm to 25 mm | 90.00 | Sqm | 0.00 | 43.00 | 3870.00 | 35.00 | 3150.00 | 60.00 | 5400.00 | 50.00 | 4500.00 | 30.00 | 2700.00 | 50.00 | 4500.00 | 15.00 | 1350.00 | 1350.00 | M/S KUMAR CONSTRUCTION
1.02 | Dismantling tile work in walls laid in cement mortar including stacking material within 50 metres lead. : For thickness of tiles 10 mm to 25 mm. | 170.00 | Sqm | 0.00 | 50.00 | 8500.00 | 35.00 | 5950.00 | 80.00 | 13600.00 | 40.00 | 6800.00 | 20.00 | 3400.00 | 30.00 | 5100.00 | 25.00 | 4250.00 | 3400.00 | M/S VIKASH KUMAR
1.03 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | 3.00 | Each | 0.00 | 95.00 | 285.00 | 65.00 | 195.00 | 60.00 | 180.00 | 1000.00 | 3000.00 | 50.00 | 150.00 | 100.00 | 300.00 | 80.00 | 240.00 | 150.00 | M/S VIKASH KUMAR
1.04 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 3.00 | Each |  | 75.00 | 225.00 | 28.00 | 84.00 | 35.00 | 105.00 | 100.00 | 300.00 | 50.00 | 150.00 | 80.00 | 240.00 | 50.00 | 150.00 | 84.00 | M/s Brajesh Kumar Sinha
1.05 | Dismantling of all kinds of bib cock including accessories complete and stacking of usable dismantled materials including disposal of waste materials / malba all complete as per the direction of Engineer in charge. | 7.00 | Each |  | 15.00 | 105.00 | 10.00 | 70.00 | 50.00 | 350.00 | 50.00 | 350.00 | 10.00 | 70.00 | 10.00 | 70.00 | 20.00 | 140.00 | 70.00 | M/s Brajesh Kumar Sinha, M/S GALAXEE, M/S VIKASH KUMAR
1.06 | Dismantling Counter Wash Basins of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 8.00 | Each |  | 60.00 | 480.00 | 40.00 | 320.00 | 55.00 | 440.00 | 200.00 | 1600.00 | 50.00 | 400.00 | 50.00 | 400.00 | 50.00 | 400.00 | 320.00 | M/s Brajesh Kumar Sinha
1.07 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 25.00 | Cum |  | 1950.00 | 48750.00 | 250.00 | 6250.00 | 800.00 | 20000.00 | 1700.00 | 42500.00 | 1400.00 | 35000.00 | 1500.00 | 37500.00 | 500.00 | 12500.00 | 6250.00 | M/s Brajesh Kumar Sinha
1.08 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 10.00 | Cum |  | 3000.00 | 30000.00 | 600.00 | 6000.00 | 1500.00 | 15000.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 600.00 | 6000.00 | 6000.00 | M/s Brajesh Kumar Sinha, M/S KUMAR CONSTRUCTION
1.09 | Dismantling granite stone work manually/ by mechanical means including stacking of serviceable and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | 6.00 | Sqm |  | 27.00 | 162.00 | 300.00 | 1800.00 | 60.00 | 360.00 | 200.00 | 1200.00 | 15.00 | 90.00 | 30.00 | 180.00 | 200.00 | 1200.00 | 90.00 | M/S VIKASH KUMAR
1.10 | Removal of mirror including all fittings , frames and fixtures including stacking of serviceable materials and disposal of unserviceable materials complete as per the direction of Engineer in charge. | 5.00 | Sqm |  | 17.00 | 85.00 | 25.00 | 125.00 | 40.00 | 200.00 | 100.00 | 500.00 | 5.00 | 25.00 | 10.00 | 50.00 | 50.00 | 250.00 | 25.00 | M/S VIKASH KUMAR
1.11 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 8.00 | Each |  | 200.00 | 1600.00 | 300.00 | 2400.00 | 300.00 | 2400.00 | 250.00 | 2000.00 | 150.00 | 1200.00 | 300.00 | 2400.00 | 100.00 | 800.00 | 800.00 | M/S KUMAR CONSTRUCTION
1.12 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. :In cement mortar | 30.00 | Cum |  | 1600.00 | 48000.00 | 350.00 | 10500.00 | 950.00 | 28500.00 | 1200.00 | 36000.00 | 900.00 | 27000.00 | 500.00 | 15000.00 | 100.00 | 3000.00 | 3000.00 | M/S KUMAR CONSTRUCTION
1.13 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: Channels, angles, tees and flats | 2400.00 | Kg |  | 1.55 | 3720.00 | 6.00 | 14400.00 | 1.00 | 2400.00 | 2.00 | 4800.00 | 1.00 | 2400.00 | 2.00 | 4800.00 | 10.00 | 24000.00 | 2400.00 | M/S VIKASH KUMAR, M/S DAROGA SINGH CONSTRUCTION COMPANY
1.14 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 25.00 | Cum |  | 180.00 | 4500.00 | 450.00 | 11250.00 | 150.00 | 3750.00 | 250.00 | 6250.00 | 200.00 | 5000.00 | 200.00 | 5000.00 | 100.00 | 2500.00 | 2500.00 | M/S KUMAR CONSTRUCTION
1.15 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 3.00 | Kg |  | 225.00 | -675.00 | 600.00 | -1800.00 | 300.00 | -900.00 | 400.00 | -1200.00 | 200.00 | -600.00 | 350.00 | -1050.00 | 500.00 | -1500.00 | -1800.00 | M/s Brajesh Kumar Sinha
1.16 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, paneled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 160.00 | Kg |  | 1.50 | -240.00 | 75.00 | -12000.00 | 15.00 | -2400.00 | 50.00 | -8000.00 | 2.00 | -320.00 | 200.00 | -32000.00 | 20.00 | -3200.00 | -32000.00 | M/S GALAXEE
1.17 | Deduct for taking away of steel work in Angles,pipes, frames, shutters, trusses, channels, beams, Tee, bolts, washers etc. and similar items received from dismantling including loading from as and where basis. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 3000.00 | Kg |  | 29.00 | -87000.00 | 37.00 | -111000.00 | 40.00 | -120000.00 | 35.00 | -105000.00 | 20.00 | -60000.00 | 25.00 | -75000.00 | 20.00 | -60000.00 | -120000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.18 | Providing & fixing of white vitreous china tankless single piece wall mounted type water closet (Jaquar ONS-WHT-10851S300UFSMTL or approved equivalent) with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed type flush cistern (Jaquar JCS-WHT-2400 or equivalent ) along with Flush Control Plates (Jaquar JCP-CHR-102415) including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-In-charge. | 8.00 | Each |  | 31900.00 | 255200.00 | 19500.00 | 156000.00 | 35000.00 | 280000.00 | 30000.00 | 240000.00 | 28000.00 | 224000.00 | 30000.00 | 240000.00 | 37000.00 | 296000.00 | 156000.00 | M/s Brajesh Kumar Sinha
1.19 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make complete as per direction Engineer in charge. Health Faucet Set of Jaquar (ALD- 573 ) or equivalent make. | 8.00 | Each |  | 1090.00 | 8720.00 | 1980.00 | 15840.00 | 700.00 | 5600.00 | 650.00 | 5200.00 | 1000.00 | 8000.00 | 1200.00 | 9600.00 | 1300.00 | 10400.00 | 5200.00 | Proficio Engineering And Construction Pvt. Ltd.
1.20 | Providing and fixing of following C.P. Brass fittings and fixture of approved make completer as per direction Engineer in charge. Two way quarter turn bib cock 15mm nominal bore of approved make (Jaquar or equivalent) complete as per direction of Engineer-in-charge. | 8.00 | Each |  | 900.00 | 7200.00 | 930.00 | 7440.00 | 700.00 | 5600.00 | 650.00 | 5200.00 | 1000.00 | 8000.00 | 1800.00 | 14400.00 | 2200.00 | 17600.00 | 5200.00 | Proficio Engineering And Construction Pvt. Ltd.
1.21 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 8 litres concealed flushing cistern of make (Jaquar JCS-WHT-2400 or equivalent ) including with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. (Hindware or approved equivalent) pan of size approx. 580x440 mm with integral type foot rests. | 1.00 | Each |  | 11000.00 | 11000.00 | 1980.00 | 1980.00 | 11000.00 | 11000.00 | 8000.00 | 8000.00 | 9000.00 | 9000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 1980.00 | M/s Brajesh Kumar Sinha
1.22 | Providng & Fixing off white vitreous china urinal basin (Jaquar URS-WHT-13255/URS-WHT-13253N or equivalent) of size approx 610 X 390 X 370 mm suitable for wall mounted with Urinal Sensor (Jaquar SNR-CHR-51097/SNR-STL-51083 or equivalent ) operated touchless automatic flushing system having pre & post flushing system including fixing to wall with suitable brackets , painting of fittings and brackets, cutting and making good the walls and floors wherever required complete as per direction of Engineer-in-charge. | 3.00 | Each |  | 14700.00 | 44100.00 | 14500.00 | 43500.00 | 15000.00 | 45000.00 | 14500.00 | 43500.00 | 14000.00 | 42000.00 | 15000.00 | 45000.00 | 12000.00 | 36000.00 | 36000.00 | M/S KUMAR CONSTRUCTION
1.23 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 5000.00 | Kg |  | 92.00 | 460000.00 | 77.00 | 385000.00 | 65.00 | 325000.00 | 72.00 | 360000.00 | 79.00 | 395000.00 | 90.00 | 450000.00 | 70.00 | 350000.00 | 325000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.24 | Providing & Fixing vitreous china Thin rim Table Top rectangular shape , size 550x400 mm approx wash basin with 32 mm dia C.P. brass waste, C.I. brackets and all other fittings but excluding the cost of pillar cock , including painting of fittings and brackets, cutting and making good the walls/slab as required etc all complete as per direction of Engineer in charge White colour (Jaquar or equivalent) | 8.00 | Each |  | 6000.00 | 48000.00 | 1030.00 | 8240.00 | 6000.00 | 48000.00 | 5000.00 | 40000.00 | 5000.00 | 40000.00 | 8000.00 | 64000.00 | 11000.00 | 88000.00 | 8240.00 | M/s Brajesh Kumar Sinha
1.25 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make complete as per direction Engineer in charge. Bottle Trap 32 mm (Jaquar or equivalent) | 8.00 | Each |  | 1000.00 | 8000.00 | 2450.00 | 19600.00 | 1000.00 | 8000.00 | 950.00 | 7600.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 3000.00 | 24000.00 | 7600.00 | Proficio Engineering And Construction Pvt. Ltd.
1.26 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar or equivalent make complete as per direction Engineer in charge. Soap dispenser Push Button Type -800ml capacity (Jaquar/Euronics or equivalent) | 8.00 | Each |  | 900.00 | 7200.00 | 800.00 | 6400.00 | 1100.00 | 8800.00 | 950.00 | 7600.00 | 900.00 | 7200.00 | 1200.00 | 9600.00 | 1600.00 | 12800.00 | 6400.00 | M/s Brajesh Kumar Sinha
1.27 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board : 610x510 mm bowl depth 200 mm | 1.00 | Each |  | 4500.00 | 4500.00 | 3200.00 | 3200.00 | 4500.00 | 4500.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 3000.00 | M/S VIKASH KUMAR
1.28 | Providng and fixing stainless steel handicap grab rail in the toilets/Terminal Building etc. Complete as per direction of Engineer-in-charge. | 1.00 | Each |  | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 1250.00 | 1250.00 | 1300.00 | 1300.00 | 1100.00 | 1100.00 | 1300.00 | 1300.00 | 1300.00 | 1300.00 | 1100.00 | M/S VIKASH KUMAR
1.29 | Providng and fixing stainless steel vertical swing handicap grab bar in the toilets/Terminal Building etc. Complete as per direction of Engineer-in-charge. Stainless steel vertical swing handicap grab bar (Euronics/Jaquar or equivalent) | 1.00 | Each |  | 4500.00 | 4500.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 4700.00 | 4700.00 | 4100.00 | 4100.00 | 5500.00 | 5500.00 | 1400.00 | 1400.00 | 1400.00 | M/S KUMAR CONSTRUCTION
1.30 | Providing and fixing of following C.P. Brass fittings and fixture of make Jaquar or equivalent complete as per direction Engineer in charge. : Auto Closing System/Pressmatic Pillar Cock (Jaquar PRS-CHR-031 or equivalent ) | 8.00 | Each |  | 1800.00 | 14400.00 | 900.00 | 7200.00 | 1800.00 | 14400.00 | 2450.00 | 19600.00 | 1800.00 | 14400.00 | 2000.00 | 16000.00 | 2900.00 | 23200.00 | 7200.00 | M/s Brajesh Kumar Sinha
1.31 | Providing and fixing of following C.P. Brass fittings and fixture of approved make completer as per direction Engineer in charge. | 20.00 | Each |  | 400.00 | 8000.00 | 480.00 | 9600.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 100.00 | 2000.00 | 500.00 | 10000.00 | 2500.00 | 50000.00 | 2000.00 | M/S VIKASH KUMAR
1.32 | Providing and fixing of Stainless steel Paper Dispenser of make Euronics or approved equivalent make alongwith all fittings and fixture all complete as per direction Engineer in charge. Stainless steel Paper dispenser - (Euronics make or equivalent) | 2.00 | Each |  | 2800.00 | 5600.00 | 3800.00 | 7600.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 4200.00 | 8400.00 | 1200.00 | 2400.00 | 2400.00 | M/S KUMAR CONSTRUCTION
1.33 | Providing and fixing of CP Brass toilet paper holder (Euronics or equivalent) i/c fixing with CP Brass screws complete as per direction of Engineer-in-Charge. | 7.00 | Each |  | 560.00 | 3920.00 | 750.00 | 5250.00 | 750.00 | 5250.00 | 550.00 | 3850.00 | 700.00 | 4900.00 | 1000.00 | 7000.00 | 1100.00 | 7700.00 | 3850.00 | Proficio Engineering And Construction Pvt. Ltd.
1.34 | Providing and laying vitrified Digital ceramic floor tiles (Kashmir Marfil kajaria Tile or approved equivalent in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. : Size of Tile 600x600 mm | 100.00 | Sqm |  | 910.00 | 91000.00 | 1000.00 | 100000.00 | 1150.00 | 115000.00 | 1050.00 | 105000.00 | 1075.00 | 107500.00 | 1200.00 | 120000.00 | 1200.00 | 120000.00 | 91000.00 | KISHOR SAHU
1.35 | Providing and laying vitrified Digital ceramic Wall tiles (Lenox Brown-Johnson Tiles or approved equivalent in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. : Size of Tile 600x300 mm | 210.00 | Sqm |  | 880.00 | 184800.00 | 980.00 | 205800.00 | 1150.00 | 241500.00 | 950.00 | 199500.00 | 1000.00 | 210000.00 | 1100.00 | 231000.00 | 1000.00 | 210000.00 | 184800.00 | KISHOR SAHU
1.36 | Providing and laying Glazed vitrified Feature Wall tiles (Somany tiles moroccan tinzit bianco or approved equivalent in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. : Size of Tile 600x600 mm | 20.00 | Sqm |  | 950.00 | 19000.00 | 105.00 | 2100.00 | 1200.00 | 24000.00 | 1150.00 | 23000.00 | 1175.00 | 23500.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 2100.00 | M/s Brajesh Kumar Sinha
1.37 | Providing & fixing Urinal Partitions of High pressure Laminate with Marble texture laminate having standard dimension of 1200 mm Height x 450 -500 mm Width and 12 mm thickness (Greenlam Sturdo of Greenlam Industries Ltd /Titan Series of Merino Industries/ Greenply or approved equivalent) Panel starts 500-600 mm above ground level, complete with compact Laminate Board: 12 mm thick Compact Laminate (Greenlam Sturdo of Greenlam Industries Ltd /Titan Series of Merino Industries/ Greenply or approved equivalent) made as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard and should be heat, bacteria, water, chemical, scratch and impact resistant 12 mm thick solid compact laminate panels as per approved texture/shade. The product should have Green Guard Certificate. Including all accessories as per approval and direction of Engineer-in-Charge Modesty panels will be fixed with right angle bracket which will provided in stainless steel grade-304. (a) Right Angle Bracket b) Screws & Wall Plugs. Hardware & Fixing : All screws will of 304 Grade in stainless steel with satin finish & panel will be supported by right angle brackets & will be used to hold the panels with a clearance height upto 500-600 mm. The work includes all accessories, machineries, tools etc., complete as per direction of Engineer-in-charge. | 3.00 | Each |  | 5000.00 | 15000.00 | 3400.00 | 10200.00 | 5300.00 | 15900.00 | 5000.00 | 15000.00 | 5500.00 | 16500.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 10200.00 | M/s Brajesh Kumar Sinha
1.38 | Providing and fixing custom made bevelled edge rectangular mirror of superior glass of Saint Gobain or approved equivalent of size approx 2100mm x 600mm complete with 6mm thick hard board ground fixed to SS Cleats with C.P. brass screw and washers etc all complete as as per direction of Engineer-In-charge. | 12.00 | Each |  | 2350.00 | 28200.00 | 1600.00 | 19200.00 | 2500.00 | 30000.00 | 2100.00 | 25200.00 | 2100.00 | 25200.00 | 2500.00 | 30000.00 | 1200.00 | 14400.00 | 14400.00 | M/S KUMAR CONSTRUCTION
1.39 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red : Area of slab over 0.50 sqm | 10.00 | Sqm |  | 4750.00 | 47500.00 | 2900.00 | 29000.00 | 2800.00 | 28000.00 | 4000.00 | 40000.00 | 3500.00 | 35000.00 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 25000.00 | M/S KUMAR CONSTRUCTION
1.40 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. : Granite work. | 10.00 | Metre |  | 460.00 | 4600.00 | 250.00 | 2500.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 1000.00 | M/S GALAXEE
1.41 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board | 90.00 | Sqm |  | 1500.00 | 135000.00 | 1090.00 | 98100.00 | 1000.00 | 90000.00 | 1200.00 | 108000.00 | 1150.00 | 103500.00 | 1500.00 | 135000.00 | 850.00 | 76500.00 | 76500.00 | M/S KUMAR CONSTRUCTION
1.42 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 30.00 | Cum |  | 5700.00 | 171000.00 | 4880.00 | 146400.00 | 4700.00 | 141000.00 | 4800.00 | 144000.00 | 5500.00 | 165000.00 | 6800.00 | 204000.00 | 5000.00 | 150000.00 | 141000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.43 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 20.00 | Cum |  | 6000.00 | 120000.00 | 4900.00 | 98000.00 | 4800.00 | 96000.00 | 5000.00 | 100000.00 | 6000.00 | 120000.00 | 7500.00 | 150000.00 | 5200.00 | 104000.00 | 96000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.44 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 130.00 | Sqm |  | 190.00 | 24700.00 | 300.00 | 39000.00 | 260.00 | 33800.00 | 190.00 | 24700.00 | 210.00 | 27300.00 | 250.00 | 32500.00 | 250.00 | 32500.00 | 24700.00 | KISHOR SAHU, Proficio Engineering And Construction Pvt. Ltd.
1.45 | 15 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 230.00 | Sqm |  | 200.00 | 46000.00 | 400.00 | 92000.00 | 275.00 | 63250.00 | 210.00 | 48300.00 | 220.00 | 50600.00 | 300.00 | 69000.00 | 260.00 | 59800.00 | 46000.00 | KISHOR SAHU
1.46 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 200.00 | Sqm |  | 80.00 | 16000.00 | 90.00 | 18000.00 | 95.00 | 19000.00 | 30.00 | 6000.00 | 100.00 | 20000.00 | 125.00 | 25000.00 | 90.00 | 18000.00 | 6000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.47 | Providing and fixing Stained Glass Portrait of Man/Women portrait/landscape paintings printed on 10mm thick premium quality toughened clear glass, scratch resistant Heat treated of Saint Gobain or equivalent with 3M Scotchcal 3650-114 or equivalent Graphic Film latex printed necessary fittings/fixtures and the glass should be fixed to the wall with SS Cleats /C.P. brass screw and washers etc complete in all respects as per the directions and satisfaction of Engineer-in-charge. Note: The sample of design for stained glass portrait shall be got approved by the Engineer - in charge. | 20.00 | Sqm |  | 12500.00 | 250000.00 | 5000.00 | 100000.00 | 9500.00 | 190000.00 | 11000.00 | 220000.00 | 11000.00 | 220000.00 | 15000.00 | 300000.00 | 4500.00 | 90000.00 | 90000.00 | M/S KUMAR CONSTRUCTION
1.48 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. : Two coats | 190.00 | Sqm |  | 85.00 | 16150.00 | 100.00 | 19000.00 | 110.00 | 20900.00 | 100.00 | 19000.00 | 80.00 | 15200.00 | 80.00 | 15200.00 | 100.00 | 19000.00 | 15200.00 | M/S GALAXEE, M/S VIKASH KUMAR
1.49 | Providing and fixing factory made P.V.C. door frame of size 50x47 mm with awall thickness of 5 mm, made out of extruded 5mm rigid PVC foam sheet, mitred at corners and joined with 2 Nos of 150 mm long brackets of 15x15 mm M.S. square tube, the vertical door frame profiles to be reinforced with 19x19 mm M.S. square tube of 19 gauge, EPDM rubber gasket weather seal to be provided through out the frame. The door frame to be fixed to the wall using M.S. screws of 65/100 mm size, complete as per manufacturer’s specification and direction of Engineer-in-Charge. | 40.00 | Metre |  | 400.00 | 16000.00 | 400.00 | 16000.00 | 360.00 | 14400.00 | 300.00 | 12000.00 | 250.00 | 10000.00 | 400.00 | 16000.00 | 450.00 | 18000.00 | 10000.00 | M/S VIKASH KUMAR
1.50 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC ‘C’ channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the ‘C’ Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer’s specification & drawing. : 30 mm thick pre laminated PVC door shutters | 20.00 | Sqm |  | 3050.00 | 61000.00 | 1400.00 | 28000.00 | 2250.00 | 45000.00 | 2700.00 | 54000.00 | 2000.00 | 40000.00 | 3000.00 | 60000.00 | 2500.00 | 50000.00 | 28000.00 | M/s Brajesh Kumar Sinha
1.51 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 150x10 mm | 18.00 | Each |  | 200.00 | 3600.00 | 100.00 | 1800.00 | 230.00 | 4140.00 | 150.00 | 2700.00 | 180.00 | 3240.00 | 250.00 | 4500.00 | 50.00 | 900.00 | 900.00 | M/S KUMAR CONSTRUCTION
1.52 | Providing and fixing bright finished brass handles with screws etc. complete: : 125 mm | 18.00 | Each |  | 190.00 | 3420.00 | 350.00 | 6300.00 | 230.00 | 4140.00 | 150.00 | 2700.00 | 100.00 | 1800.00 | 200.00 | 3600.00 | 100.00 | 1800.00 | 1800.00 | M/S VIKASH KUMAR, M/S KUMAR CONSTRUCTION
1.53 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 2.00 | Each |  | 700.00 | 1400.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 950.00 | 1900.00 | 700.00 | 1400.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 1000.00 | M/s Brajesh Kumar Sinha
1.54 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | Per Litre |  | 8.10 | 16200.00 | 11.00 | 22000.00 | 9.00 | 18000.00 | 5.50 | 11000.00 | 8.00 | 16000.00 | 10.00 | 20000.00 | 9.00 | 18000.00 | 11000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.55 | Providing and fixing PTMT Ball cock of approved quality, colour and make complete with Epoxy coated aluminium rod with L.P./ H.P.H.D. plastic ball.: 25 mm nominal bore, 120 mm long, weighing not less than 198 gms | 1.00 | Each |  | 300.00 | 300.00 | 98.00 | 98.00 | 450.00 | 450.00 | 450.00 | 450.00 | 350.00 | 350.00 | 500.00 | 500.00 | 500.00 | 500.00 | 98.00 | M/s Brajesh Kumar Sinha
1.56 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 1.00 | Each |  | 450.00 | 450.00 | 300.00 | 300.00 | 600.00 | 600.00 | 500.00 | 500.00 | 400.00 | 400.00 | 600.00 | 600.00 | 1000.00 | 1000.00 | 300.00 | M/s Brajesh Kumar Sinha
1.57 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 100.00 | Kg |  | 415.00 | 41500.00 | 1000.00 | 100000.00 | 450.00 | 45000.00 | 350.00 | 35000.00 | 450.00 | 45000.00 | 525.00 | 52500.00 | 400.00 | 40000.00 | 35000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.58 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 100.00 | Kg |  | 450.00 | 45000.00 | 1050.00 | 105000.00 | 530.00 | 53000.00 | 400.00 | 40000.00 | 475.00 | 47500.00 | 550.00 | 55000.00 | 400.00 | 40000.00 | 40000.00 | M/S KUMAR CONSTRUCTION, Proficio Engineering And Construction Pvt. Ltd.
1.59 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.: Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 30.00 | Sqm |  | 800.00 | 24000.00 | 1450.00 | 43500.00 | 1050.00 | 31500.00 | 1050.00 | 31500.00 | 950.00 | 28500.00 | 600.00 | 18000.00 | 800.00 | 24000.00 | 18000.00 | M/S GALAXEE
1.60 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.: 15 mm nominal dia Pipes | 40.00 | Metre |  | 145.00 | 5800.00 | 250.00 | 10000.00 | 380.00 | 15200.00 | 320.00 | 12800.00 | 250.00 | 10000.00 | 400.00 | 16000.00 | 300.00 | 12000.00 | 5800.00 | KISHOR SAHU
1.61 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. : 20 mm nominal dia Pipes. | 60.00 | Metre |  | 195.00 | 11700.00 | 275.00 | 16500.00 | 460.00 | 27600.00 | 375.00 | 22500.00 | 260.00 | 15600.00 | 500.00 | 30000.00 | 310.00 | 18600.00 | 11700.00 | KISHOR SAHU
1.62 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. : 32 mm nominal dia Pipes | 40.00 | Metre |  | 300.00 | 12000.00 | 300.00 | 12000.00 | 600.00 | 24000.00 | 475.00 | 19000.00 | 350.00 | 14000.00 | 600.00 | 24000.00 | 400.00 | 16000.00 | 12000.00 | KISHOR SAHU, M/s Brajesh Kumar Sinha
1.63 | Providing and fixing soil, waste and vent pipes : 100 mm dia : Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 30.00 | Metre |  | 790.00 | 23700.00 | 800.00 | 24000.00 | 1100.00 | 33000.00 | 1050.00 | 31500.00 | 700.00 | 21000.00 | 1000.00 | 30000.00 | 300.00 | 9000.00 | 9000.00 | M/S KUMAR CONSTRUCTION
1.64 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 20.00 | Metre |  | 395.00 | 7900.00 | 750.00 | 15000.00 | 450.00 | 9000.00 | 450.00 | 9000.00 | 400.00 | 8000.00 | 450.00 | 9000.00 | 700.00 | 14000.00 | 7900.00 | KISHOR SAHU
1.65 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 11000.00 | 11000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 10500.00 | 10500.00 | 8000.00 | 8000.00 | 10000.00 | 10000.00 | 6000.00 | 6000.00 | 6000.00 | M/S KUMAR CONSTRUCTION
1.66 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 21000.00 | 21000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 19000.00 | 19000.00 | 15000.00 | 15000.00 | 25000.00 | 25000.00 | 80000.00 | 80000.00 | 15000.00 | M/s Brajesh Kumar Sinha, M/S VIKASH KUMAR, M/S DAROGA SINGH CONSTRUCTION COMPANY
1.67 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. : All kinds of soil | 1000.00 | Cum |  | 105.00 | 105000.00 | 90.00 | 90000.00 | 170.00 | 170000.00 | 65.00 | 65000.00 | 125.00 | 125000.00 | 125.00 | 125000.00 | 150.00 | 150000.00 | 65000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.68 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | 1480.00 | Sqm |  | 90.00 | 133200.00 | 85.00 | 125800.00 | 120.00 | 177600.00 | 150.00 | 222000.00 | 45.00 | 66600.00 | 200.00 | 296000.00 | 12.00 | 17760.00 | 17760.00 | M/S KUMAR CONSTRUCTION
1.69 | Excavating, supplying, stacking and filling of local earth (including royalty) by mechanical transport upto a lead of 5km also including ramming and watering of the earth in layers not exceeding 20 cm in foundation trenches, plinth, sides of foundation etc. complete for all lift. | 280.00 | Cum |  | 550.00 | 154000.00 | 360.00 | 100800.00 | 300.00 | 84000.00 | 500.00 | 140000.00 | 500.00 | 140000.00 | 600.00 | 168000.00 | 200.00 | 56000.00 | 56000.00 | M/S KUMAR CONSTRUCTION
1.70 | Taking out existing kerb stones of all types from footpath/ central verge, including removal of mortar etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 50.00 | Metre |  | 50.00 | 2500.00 | 50.00 | 2500.00 | 35.00 | 1750.00 | 25.00 | 1250.00 | 40.00 | 2000.00 | 30.00 | 1500.00 | 100.00 | 5000.00 | 1250.00 | Proficio Engineering And Construction Pvt. Ltd.
1.71 | Laying at or near ground level old kerb stones of all types in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement : 3 coarse sand), including making joints with or without grooves (thickness of joints, except at sharp curve, shall not be more than 5 mm), including making drainage opening wherever required etc. complete as per direction of Engineer-in-charge. (Length finished kerb edging shall be measured for payment). (Old kerb stones shall be supplied by the department free of cost) | 50.00 | Metre |  | 100.00 | 5000.00 | 300.00 | 15000.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 80.00 | 4000.00 | 100.00 | 5000.00 | 220.00 | 11000.00 | 3000.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.72 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 65.00 | Cum |  | 1800.00 | 117000.00 | 1000.00 | 65000.00 | 1600.00 | 104000.00 | 1500.00 | 97500.00 | 1100.00 | 71500.00 | 2000.00 | 130000.00 | 600.00 | 39000.00 | 39000.00 | M/S KUMAR CONSTRUCTION
1.73 | Providing & laying in position cement concrete of specific grade excluding the cost of centering & shuttering - All works upto plinth level : 1:4:8 (1 Cement : 4 coarse sand derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 172.00 | Cum |  | 4500.00 | 774000.00 | 3140.00 | 540080.00 | 3500.00 | 602000.00 | 3800.00 | 653600.00 | 4800.00 | 825600.00 | 5000.00 | 860000.00 | 4900.00 | 842800.00 | 540080.00 | M/s Brajesh Kumar Sinha
1.74 | Providing & laying in position cement concrete of specific grade excluding the cost of centering & shuttering - All works upto plinth level : 1:1½:3 (1 Cement : 1½ coarse sand derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 85.00 | Cum |  | 5550.00 | 471750.00 | 4650.00 | 395250.00 | 5300.00 | 450500.00 | 5300.00 | 450500.00 | 6500.00 | 552500.00 | 6000.00 | 510000.00 | 5500.00 | 467500.00 | 395250.00 | M/s Brajesh Kumar Sinha
1.75 | Providing & laying in position cement concrete of specific grade excluding the cost of centering & shuttering - All works upto plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 10.00 | Cum |  | 5500.00 | 55000.00 | 4600.00 | 46000.00 | 4950.00 | 49500.00 | 4800.00 | 48000.00 | 6300.00 | 63000.00 | 5500.00 | 55000.00 | 5200.00 | 52000.00 | 46000.00 | M/s Brajesh Kumar Sinha
1.76 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level : Concrete of M30 grade with minimum cement content of 350 kg /cum | 40.00 | Cum |  | 6300.00 | 252000.00 | 4740.00 | 189600.00 | 5800.00 | 232000.00 | 5500.00 | 220000.00 | 7000.00 | 280000.00 | 8000.00 | 320000.00 | 5800.00 | 232000.00 | 189600.00 | M/s Brajesh Kumar Sinha
1.77 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 100.00 | Sqm |  | 225.00 | 22500.00 | 250.00 | 25000.00 | 230.00 | 23000.00 | 150.00 | 15000.00 | 200.00 | 20000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 15000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.78 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform | 25.00 | Sqm |  | 350.00 | 8750.00 | 350.00 | 8750.00 | 230.00 | 5750.00 | 200.00 | 5000.00 | 350.00 | 8750.00 | 700.00 | 17500.00 | 300.00 | 7500.00 | 5000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.79 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 20.00 | Sqm |  | 290.00 | 5800.00 | 400.00 | 8000.00 | 230.00 | 4600.00 | 200.00 | 4000.00 | 325.00 | 6500.00 | 500.00 | 10000.00 | 300.00 | 6000.00 | 4000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.80 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. : 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 930.00 | Sqm |  | 670.00 | 623100.00 | 660.00 | 613800.00 | 700.00 | 651000.00 | 700.00 | 651000.00 | 900.00 | 837000.00 | 850.00 | 790500.00 | 1000.00 | 930000.00 | 613800.00 | M/s Brajesh Kumar Sinha
1.81 | Supplying and fixing C.I. cover without frame for manholes : 560 mm diameter C.I. cover (heavy duty) the weight of the cover to be not less than 108 kg | 3.00 | Each |  | 6000.00 | 18000.00 | 3000.00 | 9000.00 | 7000.00 | 21000.00 | 5000.00 | 15000.00 | 6000.00 | 18000.00 | 15000.00 | 45000.00 | 3000.00 | 9000.00 | 9000.00 | M/s Brajesh Kumar Sinha, M/S KUMAR CONSTRUCTION
1.82 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.: In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 4650.00 | Kg |  | 100.00 | 465000.00 | 78.00 | 362700.00 | 82.00 | 381300.00 | 95.00 | 441750.00 | 105.00 | 488250.00 | 100.00 | 465000.00 | 90.00 | 418500.00 | 362700.00 | M/s Brajesh Kumar Sinha
1.83 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. : Hot finished welded type tubes | 1770.00 | Kg |  | 109.00 | 192930.00 | 82.00 | 145140.00 | 85.00 | 150450.00 | 105.00 | 185850.00 | 110.00 | 194700.00 | 125.00 | 221250.00 | 100.00 | 177000.00 | 145140.00 | M/s Brajesh Kumar Sinha
1.84 | Providing corrugated G.S. sheet roofing including vertical / curved surface fixed with polymer coated J or L hooks, bolts and nuts 8 mm diameter with bitumen and G.I. limpet washers or with G.I. limpet washers filled with white lead, including a coat of approved steel primer and two coats of approved paint on overlapping of sheets complete (up to any pitch in horizontal/ vertical or curved surfaces), excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. : 0.80 mm thick with zinc coating not less than 275 gm/m.² | 75.00 | Sqm |  | 975.00 | 73125.00 | 950.00 | 71250.00 | 750.00 | 56250.00 | 800.00 | 60000.00 | 1000.00 | 75000.00 | 1200.00 | 90000.00 | 900.00 | 67500.00 | 56250.00 | M/S DAROGA SINGH CONSTRUCTION COMPANY
1.85 | Providing & fixing UV stabilised fiberglass reinforced plastic sheet roofing up to any pitch, including fixing with polymer coated ‘J’ or ‘L’ hooks, bolts & nuts 8 mm dia. G.I plain/bitumen washers complete but excluding the cost of purlins, rafters, trusses etc. The sheets shall be manufactured out of 2400 TEX panel rovigs incorporating minimum 0.3% ultra-violet stabiliser in resin system under approximately 2400 psi and hot cured. They shall be of uniform pigmentation and thickness without air pockets nd shall conform to IS 10192 and IS 12866.The sheets shall be opaque or translucent, clear or pigmented, textured or smooth as specified. | 450.00 | Sqm |  | 1100.00 | 495000.00 | 790.00 | 355500.00 | 1150.00 | 517500.00 | 600.00 | 270000.00 | 900.00 | 405000.00 | 1000.00 | 450000.00 | 2100.00 | 945000.00 | 270000.00 | Proficio Engineering And Construction Pvt. Ltd.
1.86 | Manufacturing, supplying and fixing retro reflective overhead signage boards made up of 2 mm thick aluminium sheet, face to be fully covered with high intensity and encapsulated lens type heat activated retro reflective sheeting conforming to type - III of ASTM-D-4956-01 as approved by Engineer-in-charge, letters, borders etc. as per IRC : 67-2001 in silver white with blue colour back ground and with high intensity grade, pasted on substrate by pressure sensitive adhesive backing which shall be activated by applying pressure conforming to class II of ASTM-D-4956-01 and fixing the same to the plate of structural frame work by means of suitable sized aluminium alloys, rivets or bolts & nuts @ 300 mm centre to centre all along the periphery as well as in two vertical rows along with theft resistant measures, including the cost of painting with two or more coats of epoxy paint in grey colour on the back side of aluminium sheet including appropriate priming coat. The rate includes the cost of rounding off the corners, lowering down the structural frame work from the gantry, fixing and erecting the same in position all complete as per drawings, specification and direction of the engineer-incharge.(Structural frame work including M.S. plate to be provided separately. Rectangular area of the sheet only shall be measured for payment). : Overhead informatory road signage | 80.00 | Sqm |  | 4100.00 | 328000.00 | 650.00 | 52000.00 | 5500.00 | 440000.00 | 3800.00 | 304000.00 | 3800.00 | 304000.00 | 4500.00 | 360000.00 | 1500.00 | 120000.00 | 52000.00 | M/s Brajesh Kumar Sinha
1.87 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. : New work (Two or more coats) | 1400.00 | Sqm |  | 200.00 | 280000.00 | 68.00 | 95200.00 | 160.00 | 224000.00 | 150.00 | 210000.00 | 200.00 | 280000.00 | 125.00 | 175000.00 | 100.00 | 140000.00 | 95200.00 | M/s Brajesh Kumar Sinha
1.88 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS : 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc. complete. : Old work (One or more coats) | 120.00 | Sqm |  | 95.00 | 11400.00 | 58.00 | 6960.00 | 100.00 | 12000.00 | 110.00 | 13200.00 | 100.00 | 12000.00 | 100.00 | 12000.00 | 80.00 | 9600.00 | 6960.00 | M/s Brajesh Kumar Sinha
1.89 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : One or more coats on Old work. | 1465.00 | Sqm |  | 70.00 | 102550.00 | 65.00 | 95225.00 | 100.00 | 146500.00 | 55.00 | 80575.00 | 60.00 | 87900.00 | 70.00 | 102550.00 | 70.00 | 102550.00 | 80575.00 | Proficio Engineering And Construction Pvt. Ltd.
1.90 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 185.00 | Sqm |  | 90.00 | 16650.00 | 70.00 | 12950.00 | 80.00 | 14800.00 | 75.00 | 13875.00 | 110.00 | 20350.00 | 95.00 | 17575.00 | 90.00 | 16650.00 | 12950.00 | M/s Brajesh Kumar Sinha
1.91 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 5.00 | Sqm |  | 2150.00 | 10750.00 | 4000.00 | 20000.00 | 2300.00 | 11500.00 | 1700.00 | 8500.00 | 1900.00 | 9500.00 | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 8500.00 | Proficio Engineering And Construction Pvt. Ltd.
1.92 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). : Second class teak wood. | .15 | Cum |  | 140000.00 | 21000.00 | 149000.00 | 22350.00 | 95000.00 | 14250.00 | 110000.00 | 16500.00 | 80000.00 | 12000.00 | 125000.00 | 18750.00 | 90000.00 | 13500.00 | 12000.00 | M/S VIKASH KUMAR
| Total in Figures |  |  |  |  | 7172832.00 |  | 5498697.00 |  | 6761415.00 |  | 6376250.00 |  | 7143605.00 |  | 7952315.00 |  | 7107940.00
Lowest Amount Quoted BY: M/s Brajesh Kumar Sinha(5498697.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil works involved in Car Park at B.M. Airport, Ranchi Tender ID: 2024_AAI_192063_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Brajesh Kumar Sinha | 5498697.00 | L1
| 2 | Proficio Engineering And Construction Pvt. Ltd. | 6376250.00 | L2
| 3 | M/S DAROGA SINGH CONSTRUCTION COMPANY | 6761415.00 | L3
| 4 | M/S KUMAR CONSTRUCTION | 7107940.00 | L4
| 5 | M/S VIKASH KUMAR | 7143605.00 | L5
| 6 | KISHOR SAHU | 7172832.00 | L6
| 7 | M/S GALAXEE | 7952315.00 | L7