## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 29-Apr-2024 12:08 PM Tender Title: Reconfiguration of Terminal Building at Calicut International Airport SH SITC of Escalator for NIAB Tender ID: 2024_AAI_192201_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Reconfiguration of Terminal Building at Calicut International Airport. SH: SITC of Escalator for NIAB.
Contract No: <2024_AAI_192201_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd (GSTN-33AAACJ0838Q1ZD) BID ID -695468 |  | OMEGA ELEVATORS (GSTN-24ADFPD4986L1Z9) BID ID -696687
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply,fabrication, installation, testing & commissioning of monolithic step reversible type escalator (including overses freight & landing charges etc)with an inclination of 30 deg from horizontal for ascending and descending passenger service from ground floor to first floor having 5.40 metre vertical height and with three horizontal steps on top and down sides and step width of 1.0 mtr. and having side glass wall, all safety devices and bottom shall be covered with stainless steel (1 mm thick) and suitable for indoor installation complete as per technical specification. The escalator shall have a capacity of 6000 persons/hour at a linear speed of 0.5 M/Sec. operating on 3 phase, 415 volts, 50 Hz AC supply. The escalator unit shall be compatible with BMS protocols.Necessary communication card/ hardware/software shall be provided for this by the manufacturer. | 1.00 | Job |  | 2860170.00 | 2860170.00 | 5500000.00 | 5500000.00 | 2860170.00 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 2860170.00 |  | 5500000.00
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(2860170.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building at Calicut International Airport SH SITC of Escalator for NIAB Tender ID: 2024_AAI_192201_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 2860170.00 | L1
| 2 | OMEGA ELEVATORS | 5500000.00 | L2