## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 06-May-2024 05:14 PM Tender Title: Provision of flag mast Tender ID: 2024_AAI_192628_1
Tender Inviting Authority: AGM(E-E)
Name of Work: Provision of 30.5 m High National Flag in premises at AAI-RHQ Office at Mumbai.
Contract No: 2024_AAI_192628_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Bajaj Electricals Limited (GSTN-27AAACB2484Q1Z8) BID ID -696072 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -696086 |  | Ramesh Electrical and Mechanical Works (GSTN-27ACKPS7682J1ZQ) BID ID -696287 |  | OM POWER SYSTEMS (GSTN-27AADFO2182J1Z5) BID ID -696328 |  | SKYLINE ENGINEERS (GSTN-27APZPD0679L1Z4) BID ID -696462 |  | SYNERGY LIGHTING SOLUTIONS(GSTN-NA)--696089 |  | S.R.Electricals(GSTN-NA)--695859
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Supply, Installation, Erection, Testsing, Commissioning of 30.5M high Flag Mast. Mast Shaft shall be in three telescopic sections (with base plate welded to bottom section), hot dip galvanised steel externally & internally and suitable for wind velocity as per IS 875 (but not less than 50 m/s ) along with special type dome and lightning finial (Mast shall be suitable for Indian Tri Color Flag Size 30Ft X 20Ft as per given technical specifications) including other assemblies as required with following accessories etc as per specifications: a) Supply and installation of twin dome LED aviation obstruction lights with 3Cx2.5 sqmmcopper condictor armourd cable with complete arrangement as per ICAO Specifications. b) System for Raising and lowering mechanism consisting of flag with double drum winch assembly, head frame assembly on top with self lubricating bearing, stainless steel wire ropes of minimum 6 mm. dia (Grade 316) etc. designed to operate with integral electric driven power tool motor of 2 hp capacity and also for manual operation. c) Providing and fixing of foundation bolts of M30 X 850 size manufactured from special steel along with nuts, washers, suitable size anchor plate and template, etc,as required. d) Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity with soil testing report ( 10T/SQM) at site at suitable depth and of suitable size with all materials and labour.This item also covers the charges towards vetting of the foundation design (as submitted by OEM). e) PU painting of High mast shaft with a coating of etch primer, primer and PU paint f) Supply, Installation,Testing and Commisioning of suitable size dust & vermin proof, IP 65, out door type, floor mounted Feeder Pillar Panel on cement concrete foundation, MS channel mounting frame of 50mm x 50mm x 5 mm thick MS Angle and 0.5 m long legs of same size foundation, fabricated with 14 SWG CRCA sheet steel complete with 3 mm thick detachable gland plate and front hinged door locking arrangment, totally enclosed, duly powder coated of approved shade as per manufacturer drawings/SLD, provision for bottom cable entry, panel shall also have common Al strip of 25 mm x 5 mm size at the rear with two numbers of earth studs and including wiring, interconnection with suitable size copper wire with the following switch gears complete as required. The Panel shall have 2KVA online UPS suitable to work on 200v-230v, 50Hz input and 230v, 50Hz out put along with SMF VRLA batteries to provide minimum 30 minutes back up time and as per technical specification, preferred make list etc including other desired accessories mentioned in technical specifications as required. UPS and battery shall be accomodated in separate compartment of control panel with proper air ventilation. INCOMER : - (a) Four Pole MCB 50 A, 10 KA, C Curve - 2 Nos. with 4 X 63 A Aluminium busbar with insulation sleeves (R,Y,B,N) (b) Manual Changeover Switch, 63 A-1 No. (c) Digital Multifuntion Meter -1 Nos. with set of suitable size CTs. (d) Phase indication LED lamps RYB, ON & OFF with suitable SPMCB - 02 Set OUT GOING : - (a) 6A, 10 KA, C Curve, SPMCB-1 No. (b) 10 A, 10 KA, C Curve, SPMCB-1 No. (c) 25 A, 10 KA, C Curve, SPMCB-1 No. (d) 5/15 A Switch Socket- 1 No. (e) Control system for raising/lowering of Flag-01 No. alongwith contactors and 16 A TP MCB including additional wired remote control for raising/lowering of Flag (f) Suitable capacity overload protection relay and single phase preventer. (g) 12A TP Contractor operated through 24 Hours Timer Switch for the for the automatic switching of luminaries alongwith auto/manual selector switch | 1.00 | Job |  | 851584.00 | 851584.00 | 1250000.00 | 1250000.00 | 1162304.00 | 1162304.00 | 1140423.00 | 1140423.00 | 1000000.00 | 1000000.00 | 850000.00 | 850000.00 | 825000.00 | 825000.00 | 825000.00 | S.R.Electricals
2.00 | Design, supply, installation,erection, testing & commsissioning of 5 mtrs. height Hot Dip Galvanized Octagonal continuously tapered pole with suitable arrangement to mount maximum 2 nos. of flood light fittings at top, suitable for wind velocity as per IS 875 (but not less than 50 m/sec.), fabricated out of 3 mm thick high tensile sheet steel in single piece construction having 130mm bottom, 70 mm top, suitable for installation on a precast foundation with supply of 4 nos. of foundation bolts & anchor plate, rigid flange plate (200x200x12mm min.) welded with the base of pole for fixing on foundation bolts complete as required for structural stability as specified, weather proof and vandal resistant door flush with the exterior surface with connector for loop in loop out cable terminations, including supply of 6A, 10kA, SP, C series, MCB for each fixture connections, earthing bolts for continuous earth connection, erecting the same on cement concrete foundation with a concrete mixture of 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size) foundation which also includes excavation and refilling etc. complete as required as per specification. | 2.00 | Job |  | 28832.00 | 57664.00 | 15000.00 | 30000.00 | 34830.00 | 69660.00 | 21232.00 | 42464.00 | 15000.00 | 30000.00 | 11000.00 | 22000.00 | 10000.00 | 20000.00 | 20000.00 | S.R.Electricals
3.00 | Supply of Flood light LED fitting with minimum output of 38500 lumens and minimum 110 Lumens/Watt,for 230V Single Phase AC supply, 50Hz, PF>0.95, CRI>70, CCT - 5700K, Life of fitting not less than 50000 hrs complete as required. Luminaire should have high pressure die cast Alminium/standard alloy housing with surge protection system > 4KV. Luminaire should have proper thermal management. Min IP protection should be IP65. It shall meet as per technical specification enclosed with tender complete in all respect as required as per direction and satisfication of Engineer-Incharge. | 6.00 | Nos |  | 10361.00 | 62166.00 | 15000.00 | 90000.00 | 17574.00 | 105444.00 | 18795.00 | 112770.00 | 16000.00 | 96000.00 | 17000.00 | 102000.00 | 18000.00 | 108000.00 | 62166.00 | Bajaj Electricals Limited
4.00 | Supply of 160 GSM national flag of size 30Ft X 20Ft in 100% knitted polyester , with reinforced super-strong nylon webbing on all 3 sides & rope/toggle sleeve complete as per relevant IS. | 12.00 | Nos |  | 11656.00 | 139872.00 | 15000.00 | 180000.00 | 12867.00 | 154404.00 | 25189.00 | 302268.00 | 8000.00 | 96000.00 | 24000.00 | 288000.00 | 44000.00 | 528000.00 | 96000.00 | SKYLINE ENGINEERS
5.00 | Installation, testing and commissioning of LED Flood light fitting with all accessories with mounting arrangement as required on existing 5 mtr. high octagonal pole including wiring with 3Cx 2.5 sq.mm flexible PVC insulated copper conductor cable from the light fixture to control box through the pole. | 4.00 | Job |  | 771.00 | 3084.00 | 350.00 | 1400.00 | 4800.00 | 19200.00 | 414.00 | 1656.00 | 500.00 | 2000.00 | 500.00 | 2000.00 | 3000.00 | 12000.00 | 1400.00 | jaydeep agency corporation
6.00 | Supply of size 1.1 kv grade, XLPE insulated and PVC sheathed aluminimum conductor armoured cable conforming to IS:7098 (part 1) 1988 with up to date ammendments.
6.10 | 4C X 35 sqmm | 164.00 | Mtr |  | 330.00 | 54120.00 | 300.00 | 49200.00 | 502.00 | 82328.00 | 339.00 | 55596.00 | 250.00 | 41000.00 | 220.00 | 36080.00 | 200.00 | 32800.00 | 32800.00 | S.R.Electricals
7.00 | Supply of size 1.1 kv grade, XLPE insulated and PVC sheathed copper conductor unarmoured cable conforming to IS:7098 (part 1) 1988 with up to date ammendments.
7.10 | 3C X 2.5 sqmm | 84.00 | Mtr |  | 163.00 | 13692.00 | 180.00 | 15120.00 | 133.00 | 11172.00 | 183.00 | 15372.00 | 100.00 | 8400.00 | 150.00 | 12600.00 | 90.00 | 7560.00 | 7560.00 | S.R.Electricals
8.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
8.10 | Upto 35 sq. mm | 4.00 | Mtr |  | 69.00 | 276.00 | 25.00 | 100.00 | 120.00 | 480.00 | 39.00 | 156.00 | 20.00 | 80.00 | 50.00 | 200.00 | 20.00 | 80.00 | 80.00 | S.R.Electricals, SKYLINE ENGINEERS
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable 1.1 KV grade of following size in the existing RCC / HUME / METAL/DWC pipe as reqd.
9.10 | Upto 35 sq. mm | 92.00 | Mtr |  | 69.00 | 6348.00 | 25.00 | 2300.00 | 120.00 | 11040.00 | 39.00 | 3588.00 | 30.00 | 2760.00 | 25.00 | 2300.00 | 20.00 | 1840.00 | 1840.00 | S.R.Electricals
10.00 | Laying & fixing of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of following size on cable tray as required.
10.10 | Upto 35 sq. mm (Clamped with 1mm thick saddle) | 14.00 | Mtr |  | 116.00 | 1624.00 | 25.00 | 350.00 | 150.00 | 2100.00 | 53.00 | 742.00 | 30.00 | 420.00 | 60.00 | 840.00 | 20.00 | 280.00 | 280.00 | S.R.Electricals
11.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
11.10 | Upto 35 sq. mm (Clamped with 1mm thick saddle) | 34.00 | Mtr |  | 116.00 | 3944.00 | 25.00 | 850.00 | 150.00 | 5100.00 | 53.00 | 1802.00 | 50.00 | 1700.00 | 60.00 | 2040.00 | 30.00 | 1020.00 | 850.00 | jaydeep agency corporation
12.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
12.10 | 4 X 35 sq. mm (32mm) | 4.00 | Job |  | 1002.00 | 4008.00 | 275.00 | 1100.00 | 350.00 | 1400.00 | 690.00 | 2760.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 500.00 | 2000.00 | 1100.00 | jaydeep agency corporation
13.00 | Supply of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II etc complete as required.
13.10 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 92.00 | Mtr |  | 79.00 | 7268.00 | 125.00 | 11500.00 | 137.00 | 12604.00 | 210.00 | 19320.00 | 80.00 | 7360.00 | 150.00 | 13800.00 | 160.00 | 14720.00 | 7268.00 | Bajaj Electricals Limited
14.00 | Laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
14.10 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 92.00 | Mtr |  | 177.00 | 16284.00 | 50.00 | 4600.00 | 222.00 | 20424.00 | 83.00 | 7636.00 | 100.00 | 9200.00 | 85.00 | 7820.00 | 20.00 | 1840.00 | 1840.00 | S.R.Electricals
15.00 | Earthing with G.I. earth pipe (B- Class) 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 2.00 | Job |  | 13105.00 | 26210.00 | 5950.00 | 11900.00 | 16344.00 | 32688.00 | 19302.00 | 38604.00 | 8000.00 | 16000.00 | 3000.00 | 6000.00 | 15000.00 | 30000.00 | 6000.00 | SYNERGY LIGHTING SOLUTIONS
16.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 203.00 | Mtr |  | 31.00 | 6293.00 | 38.00 | 7714.00 | 41.00 | 8323.00 | 230.00 | 46690.00 | 25.00 | 5075.00 | 20.00 | 4060.00 | 50.00 | 10150.00 | 4060.00 | SYNERGY LIGHTING SOLUTIONS
| Total in Figures |  |  |  |  | 1254437.00 |  | 1656134.00 |  | 1698671.00 |  | 1791847.00 |  | 1317195.00 |  | 1350940.00 |  | 1595290.00
Lowest Amount Quoted BY: Bajaj Electricals Limited(1254437.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of flag mast Tender ID: 2024_AAI_192628_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bajaj Electricals Limited | 1254437.00 | L1
| 2 | SKYLINE ENGINEERS | 1317195.00 | L2
| 3 | SYNERGY LIGHTING SOLUTIONS | 1350940.00 | L3
| 4 | S.R.Electricals | 1595290.00 | L4
| 5 | jaydeep agency corporation | 1656134.00 | L5
| 6 | Ramesh Electrical and Mechanical Works | 1698671.00 | L6
| 7 | OM POWER SYSTEMS | 1791847.00 | L7