## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 12-Apr-2024 05:55 PM Tender Title: SITC of PAPI, Signages, Approach Fittings, SAPL At Kalaburagi Airport Tender ID: 2024_AAI_192639_1
Tender Inviting Authority: The Asst General Manager(Engg-E), AAI, Kalaburagi Airport.
Name of Work: SITC of PAPI, Signages, Approach Fittings, SAPL at Kalaburagi Airport
Contract No: 2024_AAI_192639_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited (GSTN-27AAACA1016F1ZE) BID ID -693527 |  | M/s LEESHA ELECTRICALS (GSTN-27ABAPW8550C1ZK) BID ID -693763 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -693773 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -693827 |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)--693653
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 03 lamp, 04 leg, Precision Approach Path Indicator unit (PAPI) with totally corrosion proof material, totally enclosed dust and vermin proof IP 54 enclose made of phosphate aluminium alloy with powder coated painting in aviation yellow, vertically adjustable legs, support legs and mounting plates are of special aluminium alloy and are totally frangible, checking stick, spirit level, Tool kit set and all accessories i/c three sets of anodized aluminium reflectors, toughened front glass, clear lens, Red dichroic filter, 6.6 amps secondary lead up to 03 mtr length, Air filter, lamp holder, four number 6.6 amp. 200 W Halogen lamp with life 1000 hrs, designed for wind load up to 200 kms/hrs. & heat sink etc. complete as required as per ICAO & FAA standard with latest amendment. | 2.00 | Set | 0.00 | 360000.00 | 720000.00 | 421500.00 | 843000.00 | 497000.00 | 994000.00 | 590000.00 | 1180000.00 | 501108.00 | 1002216.00 | 720000.00 | AMA Private Limited
2.00 | Installation, testing and commissioning of PAPI System (08 units) along with all its accessories i/c replacement of, bases for checking stick, taking level & setting right angles (minimum 03 times) by Total Station / Theodolite, excavation, fitting, fixing, cleaning, marking, earthing, connecting, providing pipe for secondary leads, painting and ground calibration of the system as per latest ICAO standard.etc. complete as required. | 2.00 | Set | 0.00 | 60000.00 | 120000.00 | 63500.00 | 127000.00 | 63000.00 | 126000.00 | 75000.00 | 150000.00 | 56000.00 | 112000.00 | 112000.00 | vardhman Airport solutions pvt. Ltd.
3.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal / coke and salt as required. | 12.00 | Each | 0.00 | 7000.00 | 84000.00 | 7450.00 | 89400.00 | 8000.00 | 96000.00 | 7500.00 | 90000.00 | 7995.00 | 95940.00 | 84000.00 | AMA Private Limited
4.00 | Providing and laying G.I. tape 32 mm X 6 mm from earth electrode directly in ground as required. | 60.00 | Mtr | 0.00 | 550.00 | 33000.00 | 495.00 | 29700.00 | 400.00 | 24000.00 | 700.00 | 42000.00 | 193.00 | 11580.00 | 11580.00 | vardhman Airport solutions pvt. Ltd.
5.00 | Supply of internally illuminated LED based guidance signboards mandatory and informative sign Boards of various sizes and depth not less than 100mm made out of 4mm thick UV coated poly carbonate sheet at front facia having the requirrede details as per attached drawing on self-adhesive vinyl film of 3m make or equivalant and pasted inside of the polycarbonate sheet and body made of 2mm thick anodised aluminium profile reinforced by 50mmx50mm Aluminium/Aluminium Alloy structure on other five sides suitable to mount on Alu. leg having dia 50mm OD along with CI base and breakable coupling.Uniformally illuminated with adequete No. of LED strips led life not less than 60,000hrs with suitable rated LED driver to operate with input supply of 2.8 A -6.6 A series CCR circuit or 220 VAC without flickering , with all required accessories. signboard IP rating-IP66.as required. | 12.00 | Sq Mtr | 0.00 | 34000.00 | 408000.00 | 28450.00 | 341400.00 | 38000.00 | 456000.00 | 37000.00 | 444000.00 | 36862.00 | 442344.00 | 341400.00 | M/s LEESHA ELECTRICALS
6.00 | Installation,Testing and Commissioning of mandatory /information signboards including foundations connections etc as required. | 12.00 | Sq Mtr | 0.00 | 5500.00 | 66000.00 | 9500.00 | 114000.00 | 6000.00 | 72000.00 | 7000.00 | 84000.00 | 10080.00 | 120960.00 | 66000.00 | AMA Private Limited
7.00 | Supply of Unidirectional elevated type high intensity AMA APN Approach Light Fitting suitable for use with 200W 6.6A halogen lamp complete with all accessories including lamp and clear or green spreader lens and CI base plate etc as required. | 40.00 | Each | 0.00 | 6700.00 | 268000.00 | 5850.00 | 234000.00 | 8000.00 | 320000.00 | 11500.00 | 460000.00 | 8034.00 | 321360.00 | 234000.00 | M/s LEESHA ELECTRICALS
8.00 | Installation, testing and commissioning of approach fitting including setting of TOED-IN angle with measuring tool as per ICAO and CAR norms and submission of test report and giving training to AAI staff etc as required. | 34.00 | Job | 0.00 | 1000.00 | 34000.00 | 150.00 | 5100.00 | 700.00 | 23800.00 | 400.00 | 13600.00 | 224.00 | 7616.00 | 5100.00 | M/s LEESHA ELECTRICALS
9.00 | Carrying out in field test for measurement of intensity, beam spread and orientation (4 Cs i.e - Configuration, Colour, Candelas and Coverage) upto correction of fittings till passing of field tests for elevated type runway edge, threshold, runway end, SAPL and other AGL including PAPI lights by using vehicle mounted mobile testing equipment as per ICAO/CAR requirements including submission of test reports etc. complete all as required.(Edge elevated A & B a) PAPI Unit - 08 Unit b)Runway Edge Light Elevated Type High Intensity Fitting A- 98 Nos,B-100 Nos c) CKT-A (Runway Inset End Light Fitting) 09 Side - A- 06 Nos,B-06 Nos d) CKT-A (Inset Type Runway End cum Threshold Light Fitting) (27 Side) - A- 06 Nos,B-06 Nos e) Bi-directional Inset Type High Intensity Runway Edge Light Fitting - 10 Nos f)Elevated Threshold fittings 09 side- 20 Nos g) Inset Type Approach Light Fitting (Thorn Make) (Runway 09 Starting) - 04 Nos h) Elevated Type Approach Light Fitting (AMA Make) (Runway 27 Starting) - 30 Nos | 1.00 | Job | 0.00 | 255000.00 | 255000.00 | 310000.00 | 310000.00 | 395758.00 | 395758.00 | 290000.00 | 290000.00 | 224000.00 | 224000.00 | 224000.00 | vardhman Airport solutions pvt. Ltd.
| Total in Figures |  |  |  |  | 1988000.00 |  | 2093600.00 |  | 2507558.00 |  | 2753600.00 |  | 2338016.00
Lowest Amount Quoted BY: AMA Private Limited(1988000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of PAPI, Signages, Approach Fittings, SAPL At Kalaburagi Airport Tender ID: 2024_AAI_192639_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMA Private Limited | 1988000.00 | L1
| 2 | M/s LEESHA ELECTRICALS | 2093600.00 | L2
| 3 | vardhman Airport solutions pvt. Ltd. | 2338016.00 | L3
| 4 | Techno Electricals | 2507558.00 | L4
| 5 | Manish Electricals | 2753600.00 | L5