## BoQ1
Government eProcurement System Created By: anil kumar Created Date/Time: 21-Jun-2024 05:14 PM Tender Title: Renovation of quarters type A and B in AAI residential colony at M.P. Airports, Udaipur Tender ID: 2024_AAI_192790_1
Tender Inviting Authority: Airports Authority of India
Name of Work:Renovation of quarters (type A & B) in AAI residential colony at M.P. Airport, Udaipur.
Contract No: AAI/UDR/SM(E-C)/W-145/24-25/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RAJKUMAR AGRWAL (GSTN-23AAYPA8214G2ZQ) BID ID -703540 |  | Lok Shail Enterprises (GSTN-08ACXPK9891L1ZA) BID ID -708659 |  | M/s Mahalaxmi Construction (GSTN-08AHTPP6837E1ZQ) BID ID -708663 |  | M/s New India Builders(GSTN-NA)--708605
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 1040.00 | Each |  | 200.00 | 208000.00 | 172.00 | 178880.00 | 237.00 | 246480.00 | 300.00 | 312000.00 | 178880.00 | Lok Shail Enterprises
2.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 340.00 | sqm |  | 1400.00 | 476000.00 | 1800.00 | 612000.00 | 2233.00 | 759220.00 | 3200.00 | 1088000.00 | 476000.00 | RAJKUMAR AGRWAL
3.00 | Providing and fixing magnetic catcher of approved quality in flush door, including fixing with necessary screws etc. complete. Double strip (horizontal type) | 270.00 | Each |  | 50.00 | 13500.00 | 50.00 | 13500.00 | 38.00 | 10260.00 | 100.00 | 27000.00 | 10260.00 | M/s Mahalaxmi Construction
4.00 | Providing and fixing wire gauge shutters using galvanized M.S. wire gauge of average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm, for doors, windows and clerestory windows with hinges and necessary screws : 35 mm thick shutters with ISI marked M.S. pressed butt hinges bright finished of required size Kiln Second class teak wood. | 220.00 | sqm |  | 4000.00 | 880000.00 | 500.00 | 110000.00 | 4513.00 | 992860.00 | 3500.00 | 770000.00 | 110000.00 | Lok Shail Enterprises
5.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality 1.0 mm thick | 680.00 | Sqm |  | 500.00 | 340000.00 | 1000.00 | 680000.00 | 808.00 | 549440.00 | 800.00 | 544000.00 | 340000.00 | RAJKUMAR AGRWAL
6.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 540.00 | Each |  | 260.00 | 140400.00 | 180.00 | 97200.00 | 238.00 | 128520.00 | 280.00 | 151200.00 | 97200.00 | Lok Shail Enterprises
7.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125mm | 540.00 | Each |  | 120.00 | 64800.00 | 80.00 | 43200.00 | 71.00 | 38340.00 | 150.00 | 81000.00 | 38340.00 | M/s Mahalaxmi Construction
8.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 830.00 | Sqm |  | 1900.00 | 1577000.00 | 3272.00 | 2715760.00 | 2730.00 | 2265900.00 | 3000.00 | 2490000.00 | 1577000.00 | RAJKUMAR AGRWAL
9.00 | Providing edge moulding to 18 mm thick marble / granite stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 70.00 | Metre |  | 200.00 | 14000.00 | 100.00 | 7000.00 | 428.00 | 29960.00 | 150.00 | 10500.00 | 7000.00 | Lok Shail Enterprises
10.00 | Providing and fixing PVC Door Frame of size 50x47 mm with a wall thickness of 5 mm (± 0.2 mm), made out of single piece extruded PVC profile, with mitred cut joints and joint with 2 nos of PVC bracket of size 190 mm x 100 mm long arms of cross section size 35 x 15 mm & self driven self taping screws, the vertical door profiles to be reinforced with 40x20 mm M.S. rectangular tube of 0.8 mm , including providing EPDM rubber gasket weather seal throughout the frame, including jointing 5 mm PVC frame strip with PVC solvent cement on the back of the profile. The door frame to be fixed to the wall using 8 x100 mm long anchor fasteners complete, all as per manufacturer's specification and direction of Engineer -in- charge. | 330.00 | Metre |  | 300.00 | 99000.00 | 600.00 | 198000.00 | 271.00 | 89430.00 | 900.00 | 297000.00 | 89430.00 | M/s Mahalaxmi Construction
11.00 | 35 mm thick factory made Solid panel PVC Door shutter, made out of single piece extruded soild PVC profiles, 5 mm (± 0.2 mm) thick, having styles & rails (except lock rail) of size 95 mmx 35 mm x 5 mm, out of which 75 mm shall be flat and 20 mm shall be tapered (on both side), having one side thickness of 15 mm integrally extruded on the hinge side of the profile for better screw holding power, including reinforcing with MS tube of size 40 mm X 20 mm x 1 mm, joints of styles & rails to be mitered cut & joint with the help of PVC solvent cement, self driven self tapping screws & M.S. rectangular pipes bracket of size 190 mm X 100 mm of cross section size 35 mm x 17 mm x 1 mm at each corner. Single piece extruded 5 mm thick solid PVC Lock rail of size 115 mm x 35 mm, out of which 75 mm to be flat and 20 mm to be tapered at both ends, having 15 mm solid core in middle of rail section integrally extruded, fixing the styles & rails with the help of solvent and self driven self tapping screws of 125 mm x 11 mm, including providing 5 mm Single piece solid PVC extruded sheet inserted in the door as panel, all complete as per manufacturer's specification and direction of Engineerin-charge. Decorative finish (wood grained finish) | 110.00 | Sqm |  | 3500.00 | 385000.00 | 2500.00 | 275000.00 | 3648.00 | 401280.00 | 3000.00 | 330000.00 | 275000.00 | Lok Shail Enterprises
12.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 2400.00 | Kg |  | 100.00 | 240000.00 | 75.00 | 180000.00 | 142.00 | 340800.00 | 115.00 | 276000.00 | 180000.00 | Lok Shail Enterprises
13.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1400.00 | Kg |  | 435.00 | 609000.00 | 472.00 | 660800.00 | 713.00 | 998200.00 | 560.00 | 784000.00 | 609000.00 | RAJKUMAR AGRWAL
14.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1200.00 | Kg |  | 500.00 | 600000.00 | 472.00 | 566400.00 | 713.00 | 855600.00 | 560.00 | 672000.00 | 566400.00 | Lok Shail Enterprises
15.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 240.00 | Sqm |  | 800.00 | 192000.00 | 720.00 | 172800.00 | 1150.00 | 276000.00 | 600.00 | 144000.00 | 144000.00 | M/s New India Builders
16.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 200.00 | Kg |  | 500.00 | 100000.00 | 600.00 | 120000.00 | 722.00 | 144400.00 | 500.00 | 100000.00 | 100000.00 | RAJKUMAR AGRWAL, M/s New India Builders
17.00 | Providing and fixing fly proof stainless steel grade 304 wire gauge, windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. With 2nd class teak wood beading 62X19 mm | 200.00 | Sqm |  | 1200.00 | 240000.00 | 720.00 | 144000.00 | 946.00 | 189200.00 | 1000.00 | 200000.00 | 144000.00 | Lok Shail Enterprises
18.00 | Providing and fixing expansion hold fasteners on C.C. /R.C.C./Brick masonry surface backing including drilling necessary holes and the cost of bolt etc complete. Wedge expansion type. Fastener with threaded dia 12 mm | 1350.00 | Each |  | 50.00 | 67500.00 | 25.00 | 33750.00 | 71.00 | 95850.00 | 150.00 | 202500.00 | 33750.00 | Lok Shail Enterprises
19.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead | 690.00 | sqm |  | 30.00 | 20700.00 | 50.00 | 34500.00 | 24.00 | 16560.00 | 120.00 | 82800.00 | 16560.00 | M/s Mahalaxmi Construction
20.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead.For thickness of tiles 10 mm to 25 mm | 1940.00 | sqm |  | 40.00 | 77600.00 | 50.00 | 97000.00 | 48.00 | 93120.00 | 120.00 | 232800.00 | 77600.00 | RAJKUMAR AGRWAL
21.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 fine sand) | 2130.00 | sqm |  | 260.00 | 553800.00 | 227.00 | 483510.00 | 235.00 | 500550.00 | 250.00 | 532500.00 | 483510.00 | Lok Shail Enterprises
22.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size of Tile 600 x 600 mm. | 150.00 | sqm |  | 1200.00 | 180000.00 | 1100.00 | 165000.00 | 1145.00 | 171750.00 | 990.00 | 148500.00 | 148500.00 | M/s New India Builders
23.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 500x500 mm | 1010.00 | sqm |  | 1100.00 | 1111000.00 | 1000.00 | 1010000.00 | 1188.00 | 1199880.00 | 990.00 | 999900.00 | 999900.00 | M/s New India Builders
24.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in- charge. Size of Tile 500x500 mm | 1010.00 | sqm |  | 150.00 | 151500.00 | 50.00 | 50500.00 | 143.00 | 144430.00 | 240.00 | 242400.00 | 50500.00 | Lok Shail Enterprises
25.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 1120.00 | sqm |  | 900.00 | 1008000.00 | 880.00 | 985600.00 | 1045.00 | 1170400.00 | 990.00 | 1108800.00 | 985600.00 | Lok Shail Enterprises
26.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the wallsetc 15 mm nominal dia Pipes | 260.00 | sqm |  | 350.00 | 91000.00 | 220.00 | 57200.00 | 143.00 | 37180.00 | 250.00 | 65000.00 | 37180.00 | M/s Mahalaxmi Construction
27.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 260.00 | Metre |  | 400.00 | 104000.00 | 250.00 | 65000.00 | 166.00 | 43160.00 | 300.00 | 78000.00 | 43160.00 | M/s Mahalaxmi Construction
28.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 300.00 | Kg |  | 120.00 | 36000.00 | 80.00 | 24000.00 | 114.00 | 34200.00 | 115.00 | 34500.00 | 24000.00 | Lok Shail Enterprises
29.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.45 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 30.00 | Sqm |  | 700.00 | 21000.00 | 700.00 | 21000.00 | 713.00 | 21390.00 | 1200.00 | 36000.00 | 21000.00 | RAJKUMAR AGRWAL, Lok Shail Enterprises
30.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 32.00 | Each |  | 7000.00 | 224000.00 | 6000.00 | 192000.00 | 5700.00 | 182400.00 | 6000.00 | 192000.00 | 182400.00 | M/s Mahalaxmi Construction
31.00 | Providing and fixing Health faucet cera make as per satisfaction of EIC. | 52.00 | Each |  | 600.00 | 31200.00 | 1000.00 | 52000.00 | 808.00 | 42016.00 | 700.00 | 36400.00 | 31200.00 | RAJKUMAR AGRWAL
32.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 156.00 | Each |  | 400.00 | 62400.00 | 1200.00 | 187200.00 | 765.00 | 119340.00 | 1000.00 | 156000.00 | 62400.00 | RAJKUMAR AGRWAL
33.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. : 15 mm nominal bore | 104.00 | Each |  | 500.00 | 52000.00 | 1027.00 | 106808.00 | 627.00 | 65208.00 | 1000.00 | 104000.00 | 52000.00 | RAJKUMAR AGRWAL
34.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 52.00 | Each |  | 200.00 | 10400.00 | 1172.00 | 60944.00 | 176.00 | 9152.00 | 1500.00 | 78000.00 | 9152.00 | M/s Mahalaxmi Construction
35.00 | Providing and fixing Piller cock ( cera or equivalent make) as per satisfaction of EIC. | 52.00 | Each |  | 800.00 | 41600.00 | 1500.00 | 78000.00 | 998.00 | 51896.00 | 2000.00 | 104000.00 | 41600.00 | RAJKUMAR AGRWAL
36.00 | Providing and fixing 18mm thick both sides Pre-laminated cement bonded wood particle board as per IS : 15786:2008 of approved brand and shade with suitable full threaded steel screws etc. in partitions, boxes, shelves, racks and cupboard, kitchen cabinet under kitchen counter etc. all complete as per direction of Engineer-in-charge (Note: Fittings to be paid separately). 18 mm thick | 156.00 | Sqm |  | 1000.00 | 156000.00 | 1127.00 | 175812.00 | 1188.00 | 185328.00 | 1200.00 | 187200.00 | 156000.00 | RAJKUMAR AGRWAL
37.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 100mm | 312.00 | Each |  | 100.00 | 31200.00 | 107.00 | 33384.00 | 67.00 | 20904.00 | 150.00 | 46800.00 | 20904.00 | M/s Mahalaxmi Construction
38.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete : 75x47x1.80 mm | 416.00 | Each |  | 50.00 | 20800.00 | 80.00 | 33280.00 | 71.00 | 29536.00 | 110.00 | 45760.00 | 20800.00 | RAJKUMAR AGRWAL
39.00 | Providing and laying Vitrified tiles in floor with different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS : 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 392.00 | sqm |  | 1000.00 | 392000.00 | 972.00 | 381024.00 | 1188.00 | 465696.00 | 990.00 | 388080.00 | 381024.00 | Lok Shail Enterprises
40.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. Size of Tile 600x600 mm | 392.00 | sqm |  | 150.00 | 58800.00 | 72.00 | 28224.00 | 176.00 | 68992.00 | 240.00 | 94080.00 | 28224.00 | Lok Shail Enterprises
41.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade: New work (Two or more coats applied @ 1.43 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 100.00 | sqm |  | 150.00 | 15000.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 293.99 | 29399.00 | 9000.00 | M/s Mahalaxmi Construction
42.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 150.00 | sqm |  | 400.00 | 60000.00 | 327.00 | 49050.00 | 350.00 | 52500.00 | 350.00 | 52500.00 | 49050.00 | Lok Shail Enterprises
43.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 150.00 | sqm |  | 100.00 | 15000.00 | 127.00 | 19050.00 | 105.00 | 15750.00 | 150.00 | 22500.00 | 15000.00 | RAJKUMAR AGRWAL
44.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 150.00 | sqm |  | 150.00 | 22500.00 | 72.00 | 10800.00 | 71.00 | 10650.00 | 150.00 | 22500.00 | 10650.00 | M/s Mahalaxmi Construction
45.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 333.00 | sqm |  | 200.00 | 66600.00 | 90.00 | 29970.00 | 119.00 | 39627.00 | 200.00 | 66600.00 | 29970.00 | Lok Shail Enterprises
46.00 | Deduct for taking away C.P. brass/Brass bib cock, stop cock, long body bib cock, angle valve, ball valve, C.P. wash basin waste coupling and the like received from dismantling. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 150.00 | Kg. |  | 218.00 | -32700.00 | 218.00 | -32700.00 | 218.00 | -32700.00 | 218.00 | -32700.00 | -32700.00 | RAJKUMAR AGRWAL, M/s New India Builders, Lok Shail Enterprises, M/s Mahalaxmi Construction
47.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, etc. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 250.00 | Kg. |  | 18.00 | -4500.00 | 18.00 | -4500.00 | 18.00 | -4500.00 | 18.00 | -4500.00 | -4500.00 | RAJKUMAR AGRWAL, M/s New India Builders, Lok Shail Enterprises, M/s Mahalaxmi Construction
48.00 | Deduct for taking away of PVC connections, PVC flushing cistern with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 100.00 | Kg. |  | 18.00 | -1800.00 | 18.00 | -1800.00 | 18.00 | -1800.00 | 18.00 | -1800.00 | -1800.00 | RAJKUMAR AGRWAL, M/s New India Builders, Lok Shail Enterprises, M/s Mahalaxmi Construction
49.00 | Deduct for taking away of aluminum butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates, frames, shutters, partition, tubular sections etc. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 150.00 | Kg. |  | 118.00 | -17700.00 | 118.00 | -17700.00 | 118.00 | -17700.00 | 118.00 | -17700.00 | -17700.00 | RAJKUMAR AGRWAL, M/s New India Builders, Lok Shail Enterprises, M/s Mahalaxmi Construction
50.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 7211.00 | Kg. |  | 28.00 | -201908.00 | 28.00 | -201908.00 | 28.00 | -201908.00 | 28.00 | -201908.00 | -201908.00 | RAJKUMAR AGRWAL, M/s New India Builders, Lok Shail Enterprises, M/s Mahalaxmi Construction
51.00 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 3670.00 | Kg. |  | 5.00 | -18350.00 | 5.00 | -18350.00 | 5.00 | -18350.00 | 5.00 | -18350.00 | -18350.00 | RAJKUMAR AGRWAL, M/s New India Builders, Lok Shail Enterprises, M/s Mahalaxmi Construction
| Total in Figures |  |  |  |  | 10583342.00 |  | 10972188.00 |  | 12935397.00 |  | 13389261.00
Lowest Amount Quoted BY: RAJKUMAR AGRWAL(10583342.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of quarters type A and B in AAI residential colony at M.P. Airports, Udaipur Tender ID: 2024_AAI_192790_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAJKUMAR AGRWAL | 10583342.00 | L1
| 2 | Lok Shail Enterprises | 10972188.00 | L2
| 3 | M/s Mahalaxmi Construction | 12935397.00 | L3
| 4 | M/s New India Builders | 13389261.00 | L4