## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 09-May-2024 06:04 PM Tender Title: Reconfiguration of Terminal Building at Calicut International Airport SH Electrical Works Tender ID: 2024_AAI_192940_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Reconfiguration of Terminal Building at Calicut International Airport. SH: Electrical Works.
Contract No: <2024_AAI_192940_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -696282 |  | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD (GSTN-32AAAAU0170E1Z4) BID ID -697008 |  | LINSTA SERVICES (GSTN-32BMKPS6907H1ZS) BID ID -698089 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -698151 |  | STERLING AND WILSON PRIVATE LIMITED(GSTN-NA)--698145
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of indoor recess mounted 15Watts LED down light fixture(White) with pressure die-cast aluminium housing powder coated, high efficiency diffuser, LED lamp, constant current electronic driver, high efficiency white reflector, prewired complete with all necessary accessories suitable for operation of 230 V, 50Hz AC supply as required ( Bajaj BPSLR 15W WH or equivalent Havells/ Surya/ Thorn make ) The luminaire shall have a minimum efficacy of 95 lumens/ watt and minimum lumen out put of 1000 lm. | 150.00 | Each |  | 710.00 | 106500.00 | 1142.14 | 171321.00 | 1200.00 | 180000.00 | 2200.00 | 330000.00 | 1300.00 | 195000.00 | 106500.00 | MPC ELECTRICALS AND ENGINEERS
2.00 | Supply of recess LED lights of 30-36W and having luminous efficacy of minimum 100-120 lm/W,die cast powder coated housing , driver,prewired complete with all necessary accessories suitable for operation of 230 V, 50Hz AC supply as required etc. complete as required.(WIPRO CRCO10R038HP57G1L5 or equivalent ) | 220.00 | Each |  | 2060.00 | 453200.00 | 3366.30 | 740586.00 | 1900.00 | 418000.00 | 3600.00 | 792000.00 | 2120.00 | 466400.00 | 418000.00 | LINSTA SERVICES
3.00 | Supply of 36W , Inverter LED Panel Luminaire of size 2 feet x 2 feet with internal Li-Ion Battery , system efficacy minimum 100 lm/w,, CRI ≥ 80,THD ≤10, surge protection ≥ 3 kV, P.F ≥ 0.95,suitable for operation on 230 V+ 10%, 50 Hz, Single phase AC supply complete with IP 20 protection suitable for fixing including suitable frame , fixing and other accessories etc., complete as required and suitable for recess mouting. | 30.00 | Each |  | 3500.00 | 105000.00 | 4156.35 | 124690.50 | 6500.00 | 195000.00 | 5000.00 | 150000.00 | 5350.00 | 160500.00 | 105000.00 | MPC ELECTRICALS AND ENGINEERS
4.00 | Installation, testing and commissioning of 2x2 LED Light fixture with suitable MS support frame of size 600 x 600 mm duly powder coated per fitting in gypsum false ceiling with necessary holes for connecting hooks/chain including supply of suitable length of chain & hook with all accessories including connections with 1.5 Sqmm cable,metal flexible conduit, cable connectors complete etc as required. | 250.00 | Job |  | 530.00 | 132500.00 | 1161.03 | 290257.50 | 250.00 | 62500.00 | 75.00 | 18750.00 | 250.00 | 62500.00 | 18750.00 | jaydeep agency corporation
5.00 | Installation, testing and commissioning of LED down light fitting of all types complete with all accessories, lamps etc. on false ceiling with direct clipping including connection with 1.5 sq. mm PVC insulated FRLS copper conductor single core cable in flexible MS conduit and earthing etc. as required. | 150.00 | Job |  | 170.00 | 25500.00 | 204.96 | 30744.00 | 200.00 | 30000.00 | 75.00 | 11250.00 | 230.00 | 34500.00 | 11250.00 | jaydeep agency corporation
6.00 | Supplying and Installation of 3kAV online UPS with IGBT- PWM switching technolagy suitable to operate with input voltage of 180 V to 260 V AC supply and output of 230 V +/- 1% AC . UPS shallbe supplyed along with suitable battery bank ( SMF battery providing 30 mins backup ( min battery bank capacity :26 Ah x 8 Nos ) along with suitable capacity incoming and outgoing cable each of 5 M lenght and suitable DC cables for battery bank etc complete as required | 5.00 | Job |  | 71000.00 | 355000.00 | 67125.63 | 335628.15 | 105000.00 | 525000.00 | 125000.00 | 625000.00 | 66000.00 | 330000.00 | 330000.00 | STERLING AND WILSON PRIVATE LIMITED
7.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS PVC conduit as required a) 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 120.00 | Meter |  | 152.00 | 18240.00 | 148.04 | 17764.80 | 110.00 | 13200.00 | 175.00 | 21000.00 | 160.00 | 19200.00 | 13200.00 | LINSTA SERVICES
8.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class FRLS PVC conduit as required a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 1000.00 | Meter |  | 260.00 | 260000.00 | 183.74 | 183740.00 | 120.00 | 120000.00 | 225.00 | 225000.00 | 180.00 | 180000.00 | 120000.00 | LINSTA SERVICES
9.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 250.00 | Meter |  | 260.00 | 65000.00 | 235.80 | 58950.00 | 140.00 | 35000.00 | 275.00 | 68750.00 | 220.00 | 55000.00 | 35000.00 | LINSTA SERVICES
10.00 | Wiring for circuit/ submain wiring along with earth wire with the following size of FR PVC insulated copper conductor, single core cable in surface/ recessed FRLS PVC conduit as required. 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 120.00 | Meter |  | 440.00 | 52800.00 | 394.65 | 47358.00 | 350.00 | 42000.00 | 375.00 | 45000.00 | 440.00 | 52800.00 | 42000.00 | LINSTA SERVICES
11.00 | Wiring for light point/fan point/ exhaust fan point/ call bell point with 1.5 sqmm FRSL PVC insulated copper conductor single core cable in surface / recessed PVC conduit(FRLS), with modular piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 20.00 | Job |  | 920.00 | 18400.00 | 1399.19 | 27983.80 | 1400.00 | 28000.00 | 1580.00 | 31600.00 | 2500.00 | 50000.00 | 18400.00 | MPC ELECTRICALS AND ENGINEERS
12.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit(FRLS), and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 400.00 | Job |  | 620.00 | 248000.00 | 672.12 | 268848.00 | 700.00 | 280000.00 | 500.00 | 200000.00 | 1290.00 | 516000.00 | 200000.00 | jaydeep agency corporation
13.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 72.00 | Job |  | 125.00 | 9000.00 | 89.29 | 6428.88 | 140.00 | 10080.00 | 125.00 | 9000.00 | 170.00 | 12240.00 | 6428.88 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
14.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 75.00 | Job |  | 125.00 | 9375.00 | 146.23 | 10967.25 | 220.00 | 16500.00 | 175.00 | 13125.00 | 240.00 | 18000.00 | 9375.00 | MPC ELECTRICALS AND ENGINEERS
15.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amps switch | 22.00 | Job |  | 170.00 | 3740.00 | 140.07 | 3081.54 | 250.00 | 5500.00 | 195.00 | 4290.00 | 250.00 | 5500.00 | 3081.54 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
16.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 amp socket outlet | 22.00 | Job |  | 290.00 | 6380.00 | 205.47 | 4520.34 | 270.00 | 5940.00 | 250.00 | 5500.00 | 260.00 | 5720.00 | 4520.34 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
17.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75mm) | 28.00 | Job |  | 260.00 | 7280.00 | 242.26 | 6783.28 | 180.00 | 5040.00 | 200.00 | 5600.00 | 125.00 | 3500.00 | 3500.00 | STERLING AND WILSON PRIVATE LIMITED
18.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100mmX75mm) | 20.00 | Job |  | 260.00 | 5200.00 | 262.30 | 5246.00 | 210.00 | 4200.00 | 250.00 | 5000.00 | 160.00 | 3200.00 | 3200.00 | STERLING AND WILSON PRIVATE LIMITED
19.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 4 Module (125mmX75mm) | 20.00 | Job |  | 350.00 | 7000.00 | 283.09 | 5661.80 | 220.00 | 4400.00 | 285.00 | 5700.00 | 195.00 | 3900.00 | 3900.00 | STERLING AND WILSON PRIVATE LIMITED
20.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 22.00 | Job |  | 350.00 | 7700.00 | 391.76 | 8618.72 | 450.00 | 9900.00 | 345.00 | 7590.00 | 240.00 | 5280.00 | 5280.00 | STERLING AND WILSON PRIVATE LIMITED
21.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc as required. 8 Module (125mmX125mm) | 20.00 | Job |  | 440.00 | 8800.00 | 422.08 | 8441.60 | 520.00 | 10400.00 | 385.00 | 7700.00 | 300.00 | 6000.00 | 6000.00 | STERLING AND WILSON PRIVATE LIMITED
22.00 | SITC of 25Watts, 3000K professional 5Mtr LED strip IP 65 rating along with IP 65 driver | 80.00 | Meter |  | 2500.00 | 200000.00 | 1046.07 | 83685.60 | 2000.00 | 160000.00 | 400.00 | 32000.00 | 2000.00 | 160000.00 | 32000.00 | jaydeep agency corporation
23.00 | Supply and fixing suitable size GI box with modular plate & cover in front on surface or in recess, including providing & fixing 6 pin 16A & 6 A modular socket outlet and 16 A modular switch, connection etc as required. | 34.00 | Job |  | 710.00 | 24140.00 | 614.13 | 20880.42 | 800.00 | 27200.00 | 1000.00 | 34000.00 | 750.00 | 25500.00 | 20880.42 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
24.00 | Supply & Fixing of 6A Bell Push with Indicator(1 Module) | 4.00 | Job |  | 170.00 | 680.00 | 171.61 | 686.44 | 300.00 | 1200.00 | 400.00 | 1600.00 | 200.00 | 800.00 | 680.00 | MPC ELECTRICALS AND ENGINEERS
25.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including loose wire box, earthing etc. as required. (But without MCB/RCCB/Isolator) 4 way (8 + 12), Double door | 5.00 | Job |  | 4400.00 | 22000.00 | 4468.39 | 22341.95 | 4500.00 | 22500.00 | 6000.00 | 30000.00 | 8000.00 | 40000.00 | 22000.00 | MPC ELECTRICALS AND ENGINEERS
26.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including loose wire box, earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (4 + 18), Double door | 3.00 | Job |  | 4400.00 | 13200.00 | 4516.78 | 13550.34 | 5500.00 | 16500.00 | 6500.00 | 19500.00 | 9500.00 | 28500.00 | 13200.00 | MPC ELECTRICALS AND ENGINEERS
27.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including loose wire box, earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | 5.00 | Job |  | 6200.00 | 31000.00 | 5285.56 | 26427.80 | 6900.00 | 34500.00 | 7500.00 | 37500.00 | 12500.00 | 62500.00 | 26427.80 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
28.00 | Supplying and fixing 5A to 32 A rating, 240/415V, 10kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc as required. Single Pole | 160.00 | Job |  | 134.00 | 21440.00 | 194.66 | 31145.60 | 240.00 | 38400.00 | 200.00 | 32000.00 | 250.00 | 40000.00 | 21440.00 | MPC ELECTRICALS AND ENGINEERS
29.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required 63 A | 13.00 | Job |  | 3050.00 | 39650.00 | 3140.86 | 40831.18 | 3900.00 | 50700.00 | 5000.00 | 65000.00 | 5000.00 | 65000.00 | 39650.00 | MPC ELECTRICALS AND ENGINEERS
30.00 | Supplying and fixing 63 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole | 13.00 | Job |  | 2060.00 | 26780.00 | 1969.39 | 25602.07 | 2000.00 | 26000.00 | 4000.00 | 52000.00 | 2500.00 | 32500.00 | 25602.07 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
31.00 | Supplying and fixing 20A rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. double pole | 10.00 | Job |  | 800.00 | 8000.00 | 610.24 | 6102.40 | 650.00 | 6500.00 | 500.00 | 5000.00 | 860.00 | 8600.00 | 5000.00 | jaydeep agency corporation
32.00 | Supplying and fixing 5 A to 32 A rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole | 4.00 | Job |  | 1070.00 | 4280.00 | 986.43 | 3945.72 | 1200.00 | 4800.00 | 2500.00 | 10000.00 | 1200.00 | 4800.00 | 3945.72 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
33.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four pole | 4.00 | Job |  | 1430.00 | 5720.00 | 1315.07 | 5260.28 | 1500.00 | 6000.00 | 3100.00 | 12400.00 | 1800.00 | 7200.00 | 5260.28 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
34.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Job |  | 3500.00 | 14000.00 | 5748.74 | 22994.96 | 3800.00 | 15200.00 | 3500.00 | 14000.00 | 4500.00 | 18000.00 | 14000.00 | MPC ELECTRICALS AND ENGINEERS, jaydeep agency corporation
35.00 | Dismantling of existing 2md modules, GI box along with modular base & cover plate, modular switches in recess etc including making good the surface. | 10.00 | Job |  | 100.00 | 1000.00 | 114.50 | 1145.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 200.00 | 2000.00 | 500.00 | jaydeep agency corporation
36.00 | Dismantling of existing 3md modules, GI box along with modular base & cover plate, modular switches in recess etc including making good the surface. | 10.00 | Job |  | 100.00 | 1000.00 | 114.50 | 1145.00 | 150.00 | 1500.00 | 50.00 | 500.00 | 200.00 | 2000.00 | 500.00 | jaydeep agency corporation
37.00 | Dismantling of existing 4md / 6md modules, GI box along with modular base & cover plate, modular switches in recess etc including making good the surface. | 10.00 | Job |  | 100.00 | 1000.00 | 143.13 | 1431.30 | 150.00 | 1500.00 | 50.00 | 500.00 | 200.00 | 2000.00 | 500.00 | jaydeep agency corporation
38.00 | Dismantling of existing 8 md modules, GI box along with modular base & cover plate, modular switches in recess etc including making good the surface. | 10.00 | Job |  | 100.00 | 1000.00 | 171.75 | 1717.50 | 150.00 | 1500.00 | 50.00 | 500.00 | 300.00 | 3000.00 | 500.00 | jaydeep agency corporation
39.00 | Dismantling of existing 12 md modules, GI box along with modular base & cover plate, modular switches in recess etc including making good the surface. | 10.00 | Job |  | 100.00 | 1000.00 | 171.75 | 1717.50 | 150.00 | 1500.00 | 50.00 | 500.00 | 400.00 | 4000.00 | 500.00 | jaydeep agency corporation
40.00 | Dismantling of existing 6 Way TPN vertical type DB including removal of MCB , RCCB , RCBO , cable gland , cable termination , cable loose wire box , cable end box etc complete as required and handing over to AAI 6 way | 2.00 | Job |  | 500.00 | 1000.00 | 1145.00 | 2290.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 1000.00 | 2000.00 | 200.00 | jaydeep agency corporation
41.00 | Dismantling of existing 8 Way TPN vertical type DB including removal of MCB , RCCB , RCBO , cable gland , cable termination , cable loose wire box , cable end box etc complete as required and handing over to AAI 8 way | 2.00 | Job |  | 500.00 | 1000.00 | 1145.00 | 2290.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 1000.00 | 2000.00 | 200.00 | jaydeep agency corporation
42.00 | Dismantling of existing 12 Way TPN vertical type DB including removal of MCB , RCCB , RCBO , cable gland , cable termination , cable loose wire box , cable end box etc complete as required and handing over to AAI 12 way | 2.00 | Job |  | 500.00 | 1000.00 | 1145.00 | 2290.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 1000.00 | 2000.00 | 200.00 | jaydeep agency corporation
43.00 | Dismantling of metal pipe conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required | 100.00 | Job |  | 50.00 | 5000.00 | 68.70 | 6870.00 | 45.00 | 4500.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 4500.00 | LINSTA SERVICES
44.00 | Supply and fixing of Hooter cum LED strobe light suitable for operation on 230V AC / 12-24 V DC of minimum 80dB sound output which can be installed on wall etc complete as required. | 2.00 | Each |  | 710.00 | 1420.00 | 8260.00 | 16520.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 1420.00 | MPC ELECTRICALS AND ENGINEERS
45.00 | Installation of wash room panel (Hand drier cum tissue dispenser unit) of Euronics make , model KMR33A complete in recess / surface as applicable including connections with power supply flexible cable with plug top upto length upto 2m with earthing etc. complete as required. | 4.00 | Job |  | 2060.00 | 8240.00 | 64900.00 | 259600.00 | 3000.00 | 12000.00 | 150.00 | 600.00 | 2000.00 | 8000.00 | 600.00 | jaydeep agency corporation
46.00 | Supply and installation of Hand drier with stainless steel body, touch free activation , auto-cutoff , heater element , suitable for 230 V AC supply complete in recess / surface as applicable including connections with power supply flexible cable with plug top upto length upto 2m with earthing etc. complete as required. | 9.00 | Job |  | 6200.00 | 55800.00 | 23600.00 | 212400.00 | 12600.00 | 113400.00 | 6000.00 | 54000.00 | 9000.00 | 81000.00 | 54000.00 | jaydeep agency corporation
47.00 | Supply of XLPE insulated PVC inner sheathed, armoured aluminium conductor underground power cable of 1.1 KV grade of following size conforming to IS:7098(Part-I) 1988, with upto date amendments etc., complete as required. 4C x 25 Sq.mm | 650.00 | Meter |  | 305.00 | 198250.00 | 221.74 | 144131.00 | 700.00 | 455000.00 | 300.00 | 195000.00 | 220.00 | 143000.00 | 143000.00 | STERLING AND WILSON PRIVATE LIMITED
48.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 540.00 | Meter |  | 26.00 | 14040.00 | 40.08 | 21643.20 | 50.00 | 27000.00 | 25.00 | 13500.00 | 86.00 | 46440.00 | 13500.00 | jaydeep agency corporation
49.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 35.00 | Meter |  | 26.00 | 910.00 | 40.08 | 1402.80 | 45.00 | 1575.00 | 25.00 | 875.00 | 50.00 | 1750.00 | 875.00 | jaydeep agency corporation
50.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 25 sq. mm (28mm) | 26.00 | Job |  | 260.00 | 6760.00 | 334.63 | 8700.38 | 350.00 | 9100.00 | 200.00 | 5200.00 | 1300.00 | 33800.00 | 5200.00 | jaydeep agency corporation
51.00 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray cable tray with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc as required. 300 mm width X 50 mm depth X 1.6 mm thickness | 300.00 | Meter |  | 800.00 | 240000.00 | 1673.99 | 502197.00 | 1150.00 | 345000.00 | 1000.00 | 300000.00 | 1100.00 | 330000.00 | 240000.00 | MPC ELECTRICALS AND ENGINEERS
52.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 1300.00 | Meter |  | 35.00 | 45500.00 | 39.61 | 51493.00 | 60.00 | 78000.00 | 28.00 | 36400.00 | 60.00 | 78000.00 | 36400.00 | jaydeep agency corporation
53.00 | SITC of three phase 3 Ton cassette type Inverter split Air conditioner with cordless remote control and one number outdoor condensing unit comprising of suitable compressor for operation on three phase, 50Hz, AC power supply including fixing the out door unit on an angle iron frame from ceiling as per site requirement and fixing of indoor unit on angles/supports to the beams/structures complete etc as required including initial gas charging. Excluding wiring and piping. | 4.00 | Job |  | 107000.00 | 428000.00 | 108805.66 | 435222.64 | 152300.00 | 609200.00 | 120000.00 | 480000.00 | 124000.00 | 496000.00 | 428000.00 | MPC ELECTRICALS AND ENGINEERS
54.00 | Supply, Laying and fixing of copper pipe (both inlet and outlet) with thermal insulation (min size 3/4 inch), drain pipe of suitable dia and interconnection with indoor and outdoor unit suitable for 3Ton cassette type split type Air conditioner. | 144.00 | Meter |  | 1250.00 | 180000.00 | 1177.84 | 169608.96 | 1300.00 | 187200.00 | 775.00 | 111600.00 | 2600.00 | 374400.00 | 111600.00 | jaydeep agency corporation
55.00 | Supplying, Installing, testing and commissioning of INLINE FANS suitable for installing in any position in vertical or horizontal ducts( Direct driven tube Axial fan) . The casing shall be suitable to reduce the noise levels and constructed to proper materials . The fan shall be with suitable curve impeller fitted with maintenance free internal /external rotor motor. The motor shall be suitable for 220 +- 10% Volt Single Phase 50Hz AC supply. Quoted price shall be inclusive of electronic speed regulator and wiring between fan and speed regulator for single phase fans inclusive of all taxes, duties etc. The interconnection of cabinet fan with duct / plenum etc shall be carried out using suitable canvas materials and connection plates / cleat etc complete as required. The fan shall have low sound level , the sound level should not be more than 70dB at three metre distance. Minimum External Static pressure of fan shall be 20mm of Hg. 1500CFM | 2.00 | Job |  | 29000.00 | 58000.00 | 56603.88 | 113207.76 | 35000.00 | 70000.00 | 40000.00 | 80000.00 | 63000.00 | 126000.00 | 58000.00 | MPC ELECTRICALS AND ENGINEERS
56.00 | Supplying, Installing, testing and commissioning of INLINE FANS suitable for installing in any position in vertical or horizontal ducts ( Direct driven tube Axial fan) . The casing shall be suitable to reduce the noise levels and constructed to proper materials . The fan shall be with suitable curve impeller fitted with maintenance free internal /external rotor motor. The motor shall be suitable for 220 +- 10% Volt Single Phase 50Hz AC supply. Quoted price shall be inclusive of electronic speed regulator and wiring between fan and speed regulator for single phase fans inclusive of all taxes, duties etc. The interconnection of cabinet fan with duct / plenum etc shall be carried out using suitable canvas materials and connection plates / cleat etc complete as required. The fan shall have low sound level , the sound level should not be more than 70dB at three metre distance. Minimum External Static pressure of fan shall be 20mm of Hg. 2500CFM | 2.00 | Job |  | 33500.00 | 67000.00 | 59594.05 | 119188.10 | 45000.00 | 90000.00 | 50000.00 | 100000.00 | 69000.00 | 138000.00 | 67000.00 | MPC ELECTRICALS AND ENGINEERS
57.00 | Supplying, Installing, testing and commissioning of INLINE FANS suitable for installing in any position in vertical or horizontal ducts (Exhaust fan). The casing shall be double skin, internally acoustically lined and constructed of galvanized steel. The fan shall be DIDW with forward curve impeller fitted with maintenance free external rotor motor. The motor shall be suitable for 220 +- 10% Volt Single Phase 50Hz AC supply. Quoted price shall be inclusive of electronic speed regulator and wiring between fan and speed regulator for single phase fans inclusive of all taxes, duties etc. Incase of 3 phase fans quoted price shall be inclusive of DOL starter panel with cabling between starter panel and fan. The interconnection of cabinet fan with duct / plenum etc shall be carried out using suitable canvas materials and connection plates / cleat etc complete as required. The fan shall have low sound level , the sound level should not be more than 60 dB at three metre distance. Minimum External Static pressure of fan shall be 20mm of Hg. 1500 CFM | 2.00 | Job |  | 33500.00 | 67000.00 | 26307.07 | 52614.14 | 40000.00 | 80000.00 | 55000.00 | 110000.00 | 65000.00 | 130000.00 | 52614.14 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
58.00 | Supplying, Installing, testing and commissioning of INLINE FANS suitable for installing in any position in vertical or horizontal ducts (Exhaust fan). The casing shall be double skin, internally acoustically lined and constructed of galvanized steel. The fan shall be DIDW with forward curve impeller fitted with maintenance free external rotor motor. The motor shall be suitable for 220 +- 10% Volt Single Phase 50Hz AC supply. Quoted price shall be inclusive of electronic speed regulator and wiring between fan and speed regulator for single phase fans inclusive of all taxes, duties etc. Incase of 3 phase fans quoted price shall be inclusive of DOL starter panel with cabling between starter panel and fan. The interconnection of cabinet fan with duct / plenum etc shall be carried out using suitable canvas materials and connection plates / cleat etc complete as required. The fan shall have low sound level , the sound level should not be more than 60 dB at three metre distance. Minimum External Static pressure of fan shall be 20mm of Hg. 2500 CFM | 2.00 | Job |  | 33500.00 | 67000.00 | 39553.93 | 79107.86 | 50000.00 | 100000.00 | 60000.00 | 120000.00 | 65000.00 | 130000.00 | 67000.00 | MPC ELECTRICALS AND ENGINEERS
59.00 | Supplying, installing, testing and commissioning of horizontal FAN COIL UNITS, blow through type, each complete with 3 rows deep chilled water coil, one or more 3 speed centrifugal fans, cleanable metalic filters, main condensate drain pans, casing, coil piping connections, through copper pipes, condensate drain connections, wiring, control wiring in conduit upto thermostat boxes. All fan coil units shall be suitable for 230 + 6% volts, 50 cycles, single phase power supply. Fan Coil Units shall be of 3TR and 1200CFM refrigeration capacities | 10.00 | Job |  | 35000.00 | 350000.00 | 52510.24 | 525102.40 | 61000.00 | 610000.00 | 40000.00 | 400000.00 | 80000.00 | 800000.00 | 350000.00 | MPC ELECTRICALS AND ENGINEERS
60.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.60 mm sheet | 400.00 | SQM |  | 1070.00 | 428000.00 | 942.96 | 377184.00 | 1150.00 | 460000.00 | 900.00 | 360000.00 | 1800.00 | 720000.00 | 360000.00 | jaydeep agency corporation
61.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.80 mm sheet | 16.00 | SQM |  | 1070.00 | 17120.00 | 1145.19 | 18323.04 | 1200.00 | 19200.00 | 1000.00 | 16000.00 | 2200.00 | 35200.00 | 16000.00 | jaydeep agency corporation
62.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 1.00 mm sheet | 6.00 | SQM |  | 1250.00 | 7500.00 | 1296.76 | 7780.56 | 1100.00 | 6600.00 | 4000.00 | 24000.00 | 3600.00 | 21600.00 | 6600.00 | LINSTA SERVICES
63.00 | Supplying and fixing of 25mm thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber (Class "O") insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. | 200.00 | SQM |  | 1340.00 | 268000.00 | 739.19 | 147838.00 | 700.00 | 140000.00 | 500.00 | 100000.00 | 1310.00 | 262000.00 | 100000.00 | jaydeep agency corporation
64.00 | Supplying & fixing of powder coated extruded aluminium Return Air Grills / Diffuser but without volume control dampers complete as required. | 29.00 | SQM |  | 13400.00 | 388600.00 | 10443.24 | 302853.96 | 7500.00 | 217500.00 | 8000.00 | 232000.00 | 15500.00 | 449500.00 | 217500.00 | LINSTA SERVICES
65.00 | Supplying, installation, testing & commissioning of sprinkler flexible pipe (UL Listed) of stainless steel complete with 15 NPT on reducer thread with maximum working pressure of 175 PSI test pressure of 875 PSI (Burst) with branch line (Inlet) 25mm NPT male thread to sprinkler head (Outlet) 15mm NPT female thread with reducer, nipple, 2 side brackets,center bracket, stockbar of 1000MM length complete as required, the job also includes the dismantling of existing sprinklers. | 72.00 | Job |  | 1700.00 | 122400.00 | 1360.54 | 97958.88 | 2200.00 | 158400.00 | 3000.00 | 216000.00 | 3000.00 | 216000.00 | 97958.88 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD
66.00 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water piping inside / outside the building (with necessary clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc.) duly insulated with fire retardant quality expanded polystrene moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) wrapping with polythene faced hessain and finally applying 0.60mm aluminium sheet cladding complete with type3 , grade 1 roofing feltstrip(as per IS:1322 as amended up to date ) at joints repairing of damage to building etc. as per specifications and as required complete in all respect. 100mm dia.(50mm thick insulation) pipe M.S. 'C' class as per IS : 1239 | 280.00 | Meter |  | 3080.00 | 862400.00 | 3310.41 | 926914.80 | 3100.00 | 868000.00 | 2500.00 | 700000.00 | 3400.00 | 952000.00 | 700000.00 | jaydeep agency corporation
67.00 | Supplying, laying/ fixing, testing and commissioning of following nominal sizes of chilled water piping inside / outside the building (with necessary clamps, vibration isolators and fittings but excluding valves, strainers, gauges etc.) duly insulated with fire retardant quality expanded polystrene moulded pipe section of density 20 kg/cu.m after a thick coat of cold setting adhesive (CPRX compound) wrapping with polythene faced hessain and finally applying 0.60mm aluminium sheet cladding complete with type3 , grade 1 roofing feltstrip(as per IS:1322 as amended up to date ) at joints repairing of damage to building etc. as per specifications and as required complete in all respect. 32mm dia.(50mm thick insulation) pipe M.S. 'C' class as per IS : 1239 | 80.00 | Meter |  | 1430.00 | 114400.00 | 1560.80 | 124864.00 | 1290.00 | 103200.00 | 1500.00 | 120000.00 | 2050.00 | 164000.00 | 103200.00 | LINSTA SERVICES
68.00 | Supplying, fixing, testing and commissioning of following valves, strainers, gauges in the chilled water piping duly insulated to the same specifications as the connected piping and adequately supported as per specifications. BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & O- Ring PN 16 pressure rating for chilled water circulation as specified 100mm dia | 6.00 | Job |  | 5300.00 | 31800.00 | 7610.98 | 45665.88 | 5000.00 | 30000.00 | 10000.00 | 60000.00 | 9000.00 | 54000.00 | 30000.00 | LINSTA SERVICES
69.00 | Supplying, fixing, testing and commissioning of following valves, strainers, gauges in the chilled water piping duly insulated to the same specifications as the connected piping and adequately supported as per specifications. BUTTERFLY VALVE (MANUAL) with C I body SS Disc, Nitrile Rubber Seal & O- Ring PN 16 pressure rating for chilled water circulation as specified 40mm dia | 20.00 | Job |  | 3500.00 | 70000.00 | 5098.56 | 101971.20 | 3000.00 | 60000.00 | 10000.00 | 200000.00 | 6000.00 | 120000.00 | 60000.00 | LINSTA SERVICES
70.00 | Supply and laying of 2 x 1.5 sq.mm. FRLS armoured cable, 600 / 1000V rated with annealed copper conductor, as per applicable IS standards, on surface / recess/ on channel/ cable tray/above false ceiling. As per IS 7098 (Part 1) 1988. | 600.00 | Meter |  | 350.00 | 210000.00 | 152.22 | 91332.00 | 150.00 | 90000.00 | 150.00 | 90000.00 | 150.00 | 90000.00 | 90000.00 | LINSTA SERVICES, STERLING AND WILSON PRIVATE LIMITED, jaydeep agency corporation
71.00 | Supplying and fixing single headed internal hydrant valve with instantaneous Gunmetal coupling of 63 mm dia with cast iron wheel ISI marked conforming to IS 5290 (Type -A) with blank Gunmetal/Stainless Steel cap and chain as required | 4.00 | Job |  | 6200.00 | 24800.00 | 9357.40 | 37429.60 | 10500.00 | 42000.00 | 20000.00 | 80000.00 | 9000.00 | 36000.00 | 24800.00 | MPC ELECTRICALS AND ENGINEERS
72.00 | Supply and fixing hose cabinet box of size 750mm x 600 mm x 250mm made of 16 Gauge MS CRCA sheet with double door etc complete as required. | 4.00 | Job |  | 7100.00 | 28400.00 | 7176.76 | 28707.04 | 6900.00 | 27600.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 27600.00 | LINSTA SERVICES
73.00 | Supplying and fixing 63 mm dia, 15 m long RRL hose pipe with 63 mm dia male and female couplings duly bound with GI wire, rivets etc. conforming to IS 636 (type-A) as required- Gun Metal | 8.00 | Job |  | 4400.00 | 35200.00 | 5581.40 | 44651.20 | 6500.00 | 52000.00 | 15000.00 | 120000.00 | 14000.00 | 112000.00 | 35200.00 | MPC ELECTRICALS AND ENGINEERS
74.00 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills / Diffuser with aluminium volume control dampers as per specifications. | 19.00 | SQM |  | 17000.00 | 323000.00 | 15215.33 | 289091.27 | 13000.00 | 247000.00 | 10000.00 | 190000.00 | 23500.00 | 446500.00 | 190000.00 | jaydeep agency corporation
75.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 100 mm dia | 180.00 | Meter |  | 2600.00 | 468000.00 | 2254.98 | 405896.40 | 2150.00 | 387000.00 | 2200.00 | 396000.00 | 2600.00 | 468000.00 | 387000.00 | LINSTA SERVICES
76.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 65 mm dia MS 'C ' Class Pipe | 170.00 | Meter |  | 1070.00 | 181900.00 | 1444.32 | 245534.40 | 1400.00 | 238000.00 | 1700.00 | 289000.00 | 2150.00 | 365500.00 | 181900.00 | MPC ELECTRICALS AND ENGINEERS
77.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 50 mm dia MS 'C ' Class Pipe | 120.00 | Meter |  | 800.00 | 96000.00 | 1151.68 | 138201.60 | 1300.00 | 156000.00 | 1200.00 | 144000.00 | 1500.00 | 180000.00 | 96000.00 | MPC ELECTRICALS AND ENGINEERS
78.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 40 mm dia MS 'C ' Class Pipe | 120.00 | Meter |  | 530.00 | 63600.00 | 921.58 | 110589.60 | 850.00 | 102000.00 | 950.00 | 114000.00 | 1300.00 | 156000.00 | 63600.00 | MPC ELECTRICALS AND ENGINEERS
79.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 32 mm dia MS 'C ' Class Pipe | 110.00 | Meter |  | 440.00 | 48400.00 | 759.92 | 83591.20 | 750.00 | 82500.00 | 750.00 | 82500.00 | 1100.00 | 121000.00 | 48400.00 | MPC ELECTRICALS AND ENGINEERS
80.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 25 mm dia MS 'C ' Class Pipe | 120.00 | Meter |  | 440.00 | 52800.00 | 657.26 | 78871.20 | 650.00 | 78000.00 | 600.00 | 72000.00 | 1100.00 | 132000.00 | 52800.00 | MPC ELECTRICALS AND ENGINEERS
81.00 | Providing, fixing, testing & commissioning of 15mm size quartzoid bulb type sprinklers, of rating 68 degree C. pendent with required accessories etc. complete in all respects as required by the standard specifications. | 100.00 | Each |  | 920.00 | 92000.00 | 520.38 | 52038.00 | 650.00 | 65000.00 | 1500.00 | 150000.00 | 500.00 | 50000.00 | 50000.00 | STERLING AND WILSON PRIVATE LIMITED
82.00 | Cutting and reducing length of MS pipes for sprinkler system of various sizes (from 25mm dia 'C' Class Pipe to 65mm dia 'C' Class Pipe ) including welding and paiting of welded portion with two or more coats of synthetic enamel paint of required shades complete as required | 100.00 | Job |  | 260.00 | 26000.00 | 354.00 | 35400.00 | 150.00 | 15000.00 | 2500.00 | 250000.00 | 2510.00 | 251000.00 | 15000.00 | LINSTA SERVICES
83.00 | Supplying, fixing, testing and commissioning of butterfly valve of PN 1.6 rating with bronze/gunmetal seat duly ISI marked complete with nuts, bolts, washers, gaskets conforming to IS 13095 of following sizes as required : 65mm | 4.00 | Job |  | 3800.00 | 15200.00 | 6195.00 | 24780.00 | 4500.00 | 18000.00 | 20000.00 | 80000.00 | 5800.00 | 23200.00 | 15200.00 | MPC ELECTRICALS AND ENGINEERS
84.00 | Supply , Installation , Testing & Commissioning of normal water bottling stations cum water fountain with chiller unit suitable for wall mounting. The unit shall have a capacity of 30LPH (each) , UV sterilization unit , mechanically activated water flow , adjustable thermostat , storage tank , pressure pumps capacity as per site requirement , stainless steel body, chilling unit suitable for R134a refrigerant etc complete as required. The unit shall be suitable for 230V , 50Hz power supply. | 3.00 | Job |  | 260000.00 | 780000.00 | 174404.00 | 523212.00 | 280000.00 | 840000.00 | 150000.00 | 450000.00 | 48000.00 | 144000.00 | 144000.00 | STERLING AND WILSON PRIVATE LIMITED
85.00 | Supply , Installation , Testing & Commissioning of cold water bottling stations with chiller unit suitable for wall mounting. The unit shall have a capacity of 30LPH , UV sterilization unit , mechanically activated water flow , adjustable thermostat , storage tank , pressure pumps as per site requirement , stainless steel body, chilling unit suitable for R134a refrigerant etc complete as required. The unit shall be suitable for 230V , 50Hz power supply. | 3.00 | Job |  | 170000.00 | 510000.00 | 174404.00 | 523212.00 | 183000.00 | 549000.00 | 100000.00 | 300000.00 | 44000.00 | 132000.00 | 132000.00 | STERLING AND WILSON PRIVATE LIMITED
86.00 | Supplying and fixing of Stainless steel structure with 1mm thickness , SS 304 grade mat finish with 25 x 25 mm GI Tube with door etc complete as required as pre site for covering the water fountain and bottling unit including nessasary support , fixing materials to ground / wall / partition etc as per instructions of AAI | 10.00 | SQM |  | 1430.00 | 14300.00 | 7562.74 | 75627.40 | 1350.00 | 13500.00 | 10000.00 | 100000.00 | 9200.00 | 92000.00 | 13500.00 | LINSTA SERVICES
| Total in Figures |  |  |  |  | 9396245.00 |  | 10333630.69 |  | 10281135.00 |  | 9932630.00 |  | 11489530.00
Lowest Amount Quoted BY: MPC ELECTRICALS AND ENGINEERS(9396245.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building at Calicut International Airport SH Electrical Works Tender ID: 2024_AAI_192940_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MPC ELECTRICALS AND ENGINEERS | 9396245.00 | L1
| 2 | jaydeep agency corporation | 9932630.00 | L2
| 3 | LINSTA SERVICES | 10281135.00 | L3
| 4 | URALUNGAL LABAOUR CONTRACT CO OPERATIVE SOCIETY LTD | 10333630.69 | L4
| 5 | STERLING AND WILSON PRIVATE LIMITED | 11489530.00 | L5