## BoQ1
Government eProcurement System Created By: anil kumar Created Date/Time: 08-Jul-2024 06:07 PM Tender Title: Installation of new stand alone MSSR for replacement of standalone MSSR at M.P. Airport, Udaipur. S.H. Civil works including electrical internal wiring works Tender ID: 2024_AAI_193051_1
Tender Inviting Authority: Sr. Manager(Engg.-Civil), AAI, M.P. Airport, Udaipur
Name of Work: Installation of new stand alone MSSR for replacement of stand alone MSSR at M.P. Airport, Udaipur. S.H.: Civil works including electrical internal wiring works
Contract No: AAI/UDR/SM(E-C)/W-146/23-24/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | TARUN ELECTRICALS (GSTN-08ANCPM5157F1Z0) BID ID -703795 |  | Khairati Lal (GSTN-07ABBPL9082B1ZT) BID ID -707730 |  | MUDIT CONSTRUCTIONS(GSTN-NA)--709119 |  | SAI BHAVANI INFRABUILD PRIVATE LIMITED(GSTN-NA)--708670
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of materials by Mechanical Transport including loading,unloading and stacking of materials, lead upto 3km. Earth | 5970.00 | Cum | 0.00 | 100.00 | 597000.00 | 160.00 | 955200.00 | 172.00 | 1026840.00 | 274.00 | 1635780.00 | 597000.00 | TARUN ELECTRICALS
2.00 | Carriage of materials by Mechanical Transport including loading,unloading and stacking of materials, lead upto 3km. Excavated rock | 1970.00 | Cum | 0.00 | 100.00 | 197000.00 | 200.00 | 394000.00 | 227.00 | 447190.00 | 450.00 | 886500.00 | 197000.00 | TARUN ELECTRICALS
3.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in- Charge: All kinds of soil | 240.00 | Sqm | 0.00 | 40.00 | 9600.00 | 98.00 | 23520.00 | 127.00 | 30480.00 | 130.00 | 31200.00 | 9600.00 | TARUN ELECTRICALS
4.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 7088.00 | Cum | 0.00 | 100.00 | 708800.00 | 160.00 | 1134080.00 | 127.00 | 900176.00 | 150.00 | 1063200.00 | 708800.00 | TARUN ELECTRICALS
5.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. | 1970.00 | Cum | 0.00 | 100.00 | 197000.00 | 98.00 | 193060.00 | 172.00 | 338840.00 | 500.00 | 985000.00 | 193060.00 | Khairati Lal
6.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 483.00 | Cum | 0.00 | 125.00 | 60375.00 | 160.00 | 77280.00 | 172.00 | 83076.00 | 300.00 | 144900.00 | 60375.00 | TARUN ELECTRICALS
7.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m Ordinary rock | 98.00 | Cum | 0.00 | 300.00 | 29400.00 | 1500.00 | 147000.00 | 627.00 | 61446.00 | 700.00 | 68600.00 | 29400.00 | TARUN ELECTRICALS
8.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 190.00 | Metre | 0.00 | 100.00 | 19000.00 | 250.00 | 47500.00 | 200.00 | 38000.00 | 352.00 | 66880.00 | 19000.00 | TARUN ELECTRICALS
9.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 1613.00 | Cum | 0.00 | 100.00 | 161300.00 | 100.00 | 161300.00 | 100.00 | 161300.00 | 199.00 | 320987.00 | 161300.00 | TARUN ELECTRICALS, Khairati Lal, MUDIT CONSTRUCTIONS
10.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kind of soil | 210.00 | Cum | 0.00 | 100.00 | 21000.00 | 100.00 | 21000.00 | 50.00 | 10500.00 | 130.00 | 27300.00 | 10500.00 | MUDIT CONSTRUCTIONS
11.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 250.00 | Cum | 0.00 | 1500.00 | 375000.00 | 2000.00 | 500000.00 | 1500.00 | 375000.00 | 2124.00 | 531000.00 | 375000.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
12.00 | Excavating holes more than 0.10 cum & upto 0.5 cum including getting out the excavated soil, then returning the soil as required in layers not exceeding 20cm in depth, including consolidating each deposited layer by ramming, watering etc, disposing of surplus excavated soil, as directed within a lead of 50 m and lift upto 1.5 m. All kinds of soil | 22.00 | Each | 0.00 | 100.00 | 2200.00 | 200.00 | 4400.00 | 100.00 | 2200.00 | 85.00 | 1870.00 | 1870.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement: 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 61.00 | Cum | 0.00 | 5700.00 | 347700.00 | 5800.00 | 353800.00 | 6000.00 | 366000.00 | 7900.00 | 481900.00 | 347700.00 | TARUN ELECTRICALS
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). | 447.00 | Cum | 0.00 | 3500.00 | 1564500.00 | 3800.00 | 1698600.00 | 4800.00 | 2145600.00 | 7200.00 | 3218400.00 | 1564500.00 | TARUN ELECTRICALS
15.00 | Providing and laying cement concrete in retaining walls, return walls, walls (any thickness) including attached pilasters, columns, piers, abutments, pillars, posts, struts, buttresses, string or lacing courses, parapets, coping, bed blocks, anchor blocks, plain window sills, fillets, sunken floor etc., up to floor five level, excluding the cost of centering, shuttering and finishing : 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 7.00 | Cum | 0.00 | 5500.00 | 38500.00 | 8600.00 | 60200.00 | 8000.00 | 56000.00 | 9900.00 | 69300.00 | 38500.00 | TARUN ELECTRICALS
16.00 | Providing and laying damp-proof course 50mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand(zone-III) : 4 graded stone aggregate 20mm nominal size). | 10.00 | Sqm | 0.00 | 330.00 | 3300.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 3300.00 | TARUN ELECTRICALS
17.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 120.00 | Sqm | 0.00 | 400.00 | 48000.00 | 600.00 | 72000.00 | 500.00 | 60000.00 | 750.00 | 90000.00 | 48000.00 | TARUN ELECTRICALS
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level. Concrete of M25 grade with minimum cement content of 330 kg /cum | 75.00 | Cum | 0.00 | 5000.00 | 375000.00 | 7150.00 | 536250.00 | 9000.00 | 675000.00 | 9500.00 | 712500.00 | 375000.00 | TARUN ELECTRICALS
19.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level. Concrete of M25 grade with minimum cement content of 330 kg /cum | 16.00 | Cum | 0.00 | 5500.00 | 88000.00 | 9800.00 | 156800.00 | 9000.00 | 144000.00 | 9900.00 | 158400.00 | 88000.00 | TARUN ELECTRICALS
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete. | 678.00 | Sqm | 0.00 | 200.00 | 135600.00 | 200.00 | 135600.00 | 400.00 | 271200.00 | 395.00 | 267810.00 | 135600.00 | TARUN ELECTRICALS, Khairati Lal
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 120.00 | Sqm | 0.00 | 350.00 | 42000.00 | 750.00 | 90000.00 | 750.00 | 90000.00 | 850.00 | 102000.00 | 42000.00 | TARUN ELECTRICALS
22.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform. | 870.00 | Sqm | 0.00 | 400.00 | 348000.00 | 700.00 | 609000.00 | 700.00 | 609000.00 | 760.00 | 661200.00 | 348000.00 | TARUN ELECTRICALS
23.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 1624.00 | Sqm | 0.00 | 300.00 | 487200.00 | 700.00 | 1136800.00 | 600.00 | 974400.00 | 760.00 | 1234240.00 | 487200.00 | TARUN ELECTRICALS
24.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts. | 1264.00 | Sqm | 0.00 | 350.00 | 442400.00 | 800.00 | 1011200.00 | 700.00 | 884800.00 | 700.00 | 884800.00 | 442400.00 | TARUN ELECTRICALS
25.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Stairs, (excluding landings) except spiral-staircases. | 130.00 | Sqm | 0.00 | 450.00 | 58500.00 | 800.00 | 104000.00 | 900.00 | 117000.00 | 780.00 | 101400.00 | 58500.00 | TARUN ELECTRICALS
26.00 | Centering and shuttering including strutting, propping etc. and removal of form for Edges of slabs and breaks in floors and walls Under 20 cm wide | 520.00 | Metre | 0.00 | 80.00 | 41600.00 | 190.00 | 98800.00 | 100.00 | 52000.00 | 210.00 | 109200.00 | 41600.00 | TARUN ELECTRICALS
27.00 | Centering and shuttering including strutting, propping etc. and removal of form for Weather shade, Chajjas, corbels etc., including edges | 90.00 | Sqm | 0.00 | 450.00 | 40500.00 | 800.00 | 72000.00 | 1000.00 | 90000.00 | 952.00 | 85680.00 | 40500.00 | TARUN ELECTRICALS
28.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landing, beams and balconies (Plan area to be measured). | 770.00 | Sqm | 0.00 | 130.00 | 100100.00 | 318.00 | 244860.00 | 150.00 | 115500.00 | 385.00 | 296450.00 | 100100.00 | TARUN ELECTRICALS
29.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 128281.50 | Kg. | 0.00 | 70.00 | 8979705.00 | 90.00 | 11545335.00 | 85.00 | 10903927.50 | 90.00 | 11545335.00 | 8979705.00 | TARUN ELECTRICALS
30.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 82600.00 | Kg. | 0.00 | 70.00 | 5782000.00 | 94.00 | 7764400.00 | 85.00 | 7021000.00 | 90.00 | 7434000.00 | 5782000.00 | TARUN ELECTRICALS
31.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M30 grade with minimum cement content of 350 kg /cum. | 250.00 | Cum | 0.00 | 5500.00 | 1375000.00 | 7400.00 | 1850000.00 | 8872.00 | 2218000.00 | 8100.00 | 2025000.00 | 1375000.00 | TARUN ELECTRICALS
32.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M40 grade with minimum cement content of 390 kg/cum. | 250.00 | Cum | 0.00 | 5550.00 | 1387500.00 | 9200.00 | 2300000.00 | 8872.00 | 2218000.00 | 8100.00 | 2025000.00 | 1387500.00 | TARUN ELECTRICALS
33.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M30 grade with minimum cement content of 350 kg /cum. | 200.00 | Cum | 0.00 | 5500.00 | 1100000.00 | 9000.00 | 1800000.00 | 9000.00 | 1800000.00 | 1020.00 | 204000.00 | 204000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
34.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M40 grade with minimum cement content of 390 kg /cum. | 340.00 | Cum | 0.00 | 5500.00 | 1870000.00 | 10500.00 | 3570000.00 | 8500.00 | 2890000.00 | 10500.00 | 3570000.00 | 1870000.00 | TARUN ELECTRICALS
35.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 340.00 | Quintal | 0.00 | 600.00 | 204000.00 | 600.00 | 204000.00 | 500.00 | 170000.00 | 774.00 | 263160.00 | 170000.00 | MUDIT CONSTRUCTIONS
36.00 | Extra for R.C.C./ B.M.C/ R.M.C. work above floor V level for each four floors or part thereof. | 130.00 | Cum | 0.00 | 600.00 | 78000.00 | 700.00 | 91000.00 | 300.00 | 39000.00 | 360.00 | 46800.00 | 39000.00 | MUDIT CONSTRUCTIONS
37.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 330.00 | Cum | 0.00 | 4500.00 | 1485000.00 | 6600.00 | 2178000.00 | 5000.00 | 1650000.00 | 7200.00 | 2376000.00 | 1485000.00 | TARUN ELECTRICALS
38.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 608.00 | Cum | 0.00 | 5500.00 | 3344000.00 | 8600.00 | 5228800.00 | 6000.00 | 3648000.00 | 7400.00 | 4499200.00 | 3344000.00 | TARUN ELECTRICALS
39.00 | Extra for brick work / AAC block masonry / Tile brick masonry in superstructure above floor V level, for each four floors or part thereof by mechanical means. | 160.00 | Cum | 0.00 | 500.00 | 80000.00 | 300.00 | 48000.00 | 200.00 | 32000.00 | 170.00 | 27200.00 | 27200.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
40.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand). | 100.00 | Sqm | 0.00 | 650.00 | 65000.00 | 900.00 | 90000.00 | 850.00 | 85000.00 | 1125.00 | 112500.00 | 65000.00 | TARUN ELECTRICALS
41.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 100.00 | Sqm | 0.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 100.00 | 10000.00 | 105.00 | 10500.00 | 10000.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
42.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Raj Nagar Plain white marble/ Udaipur green marble/ Zebra black marble Area of slab over 0.50 sqm | 60.00 | Sqm | 0.00 | 2800.00 | 168000.00 | 3200.00 | 192000.00 | 2772.00 | 166320.00 | 3080.00 | 184800.00 | 166320.00 | MUDIT CONSTRUCTIONS
43.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 50.00 | Sqm | 0.00 | 2800.00 | 140000.00 | 4800.00 | 240000.00 | 3500.00 | 175000.00 | 5200.00 | 260000.00 | 140000.00 | TARUN ELECTRICALS
44.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 100.00 | Metre | 0.00 | 70.00 | 7000.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 520.00 | 52000.00 | 7000.00 | TARUN ELECTRICALS
45.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 4.00 | Each | 0.00 | 100.00 | 400.00 | 800.00 | 3200.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 400.00 | TARUN ELECTRICALS
46.00 | Stone tile (polished) work for wall lining over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete. 8mm thick Raj nagar plain white marble/ Udaipur green marble/ Zebra black marble | 60.00 | Sqm | 0.00 | 2000.00 | 120000.00 | 2800.00 | 168000.00 | 2500.00 | 150000.00 | 3200.00 | 192000.00 | 120000.00 | TARUN ELECTRICALS
47.00 | Stone tile (polished) work for wall lining over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and cement slurry @ 3.3 kg/sqm including pointing in white cement complete. 18mm thick Granite of any colour and shade | 70.00 | Sqm | 0.00 | 2000.00 | 140000.00 | 3400.00 | 238000.00 | 2500.00 | 175000.00 | 3618.00 | 253260.00 | 140000.00 | TARUN ELECTRICALS
48.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 50.00 | Sqm | 0.00 | 1500.00 | 75000.00 | 3000.00 | 150000.00 | 2500.00 | 125000.00 | 3500.00 | 175000.00 | 75000.00 | TARUN ELECTRICALS
49.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 50.00 | Sqm | 0.00 | 300.00 | 15000.00 | 400.00 | 20000.00 | 500.00 | 25000.00 | 463.00 | 23150.00 | 15000.00 | TARUN ELECTRICALS
50.00 | Providing and fixing fly proof galvanized M.S. wire gauge to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia 0.63 mm all complete. With second class teak wood beading 62X19 mm | 100.00 | Sqm | 0.00 | 1200.00 | 120000.00 | 1260.00 | 126000.00 | 1000.00 | 100000.00 | 1400.00 | 140000.00 | 100000.00 | MUDIT CONSTRUCTIONS
51.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 19.00 | Each | 0.00 | 1500.00 | 28500.00 | 1200.00 | 22800.00 | 1000.00 | 19000.00 | 1126.00 | 21394.00 | 19000.00 | MUDIT CONSTRUCTIONS
52.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: 125x75x4 mm | 76.00 | Each | 0.00 | 35.00 | 2660.00 | 170.00 | 12920.00 | 200.00 | 15200.00 | 160.00 | 12160.00 | 2660.00 | TARUN ELECTRICALS
53.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 38.00 | Each | 0.00 | 150.00 | 5700.00 | 400.00 | 15200.00 | 200.00 | 7600.00 | 270.00 | 10260.00 | 5700.00 | TARUN ELECTRICALS
54.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 40.00 | Each | 0.00 | 150.00 | 6000.00 | 100.00 | 4000.00 | 200.00 | 8000.00 | 116.00 | 4640.00 | 4000.00 | Khairati Lal
55.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 40.00 | Each | 0.00 | 150.00 | 6000.00 | 50.00 | 2000.00 | 200.00 | 8000.00 | 70.00 | 2800.00 | 2000.00 | Khairati Lal
56.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 110 mm | 50.00 | Each | 0.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 200.00 | 10000.00 | 60.00 | 3000.00 | 2500.00 | Khairati Lal
57.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. | 20.00 | Each | 0.00 | 70.00 | 1400.00 | 100.00 | 2000.00 | 200.00 | 4000.00 | 75.00 | 1500.00 | 1400.00 | TARUN ELECTRICALS
58.00 | Providing and fixing factory made panel PVC door shutter consisting of frame made out of M.S. tubes of 19 gauge thickness and size of 19 mm x 19 mm for styles and 15x15 mm for top & bottom rails. M.S. frame shall have a coat of steel primers of approved make and manufacture. M.S. frame covered with 5 mm thick heat moulded PVC 'C' channel of size 30 mm thickness, 70 mm width out of which 50 mm shall be flat and 20 mm shall be tapered in 45 degree angle on both side forming styles and 5 mm thick, 95 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered in 45 degree on the inner side to form top and bottom rail and 115 mm wide PVC sheet out of which 75 mm shall be flat and 20 mm shall be tapered on both sides to form lock rail. Top, bottom and lock rails shall be provided both side of the panel. 10 mm (5 mm x 2 ) thick, 20 mm wide cross PVC sheet be provided as gap insert for top rail & bottom rail, paneling of 5 mm thick both side PVC sheet to be fitted in the M.S. frame welded/ sealed to the styles & rails with 7 mm (5 mm+2 mm) thick x 15 mm wide PVC sheet beading on inner side, and joined together with solvent cement adhesive. An additional 5 mm thick PVC strip of 20 mm width is to be stuck on the interior side of the 'C' Channel using PVC solvent adhesive etc. complete as per direction of Engineer-in-charge, manufacturer's specification & drawing. 30 mm thick pre laminated PVC door shutters | 10.00 | Sqm | 0.00 | 2200.00 | 22000.00 | 4000.00 | 40000.00 | 2500.00 | 25000.00 | 3670.00 | 36700.00 | 22000.00 | TARUN ELECTRICALS
59.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 50.00 | Sqm | 0.00 | 1200.00 | 60000.00 | 750.00 | 37500.00 | 700.00 | 35000.00 | 900.00 | 45000.00 | 35000.00 | MUDIT CONSTRUCTIONS
60.00 | Providing and fixing PVC Door Frame of size 50x47 mm with a wall thickness of 5 mm (± 0.2 mm), made out of single piece extruded PVC profile, with mitred cut joints and joint with 2 nos of PVC bracket of size 190 mm x 100 mm long arms of cross section size 35 x 15 mm & self driven self taping screws, the vertical door profiles to be reinforced with 40x20 mm M.S. rectangular tube of 0.8 mm , including providing EPDM rubber gasket weather seal throughout the frame, including jointing 5 mm PVC frame strip with PVC solvent cement on the back of the profile. The door frame to be fixed to the wall using 8 x100 mm long anchor fasteners complete, all as per manufacturer's specification and direction of Engineer -in- charge. | 20.00 | Metre | 0.00 | 550.00 | 11000.00 | 600.00 | 12000.00 | 500.00 | 10000.00 | 575.00 | 11500.00 | 10000.00 | MUDIT CONSTRUCTIONS
61.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 956.00 | Kg | 0.00 | 85.00 | 81260.00 | 105.00 | 100380.00 | 100.00 | 95600.00 | 120.00 | 114720.00 | 81260.00 | TARUN ELECTRICALS
62.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1347.00 | Kg | 0.00 | 85.00 | 114495.00 | 116.00 | 156252.00 | 100.00 | 134700.00 | 135.00 | 181845.00 | 114495.00 | TARUN ELECTRICALS
63.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.20 mm M.S. laths with 1.20 mm thick top cover | 50.00 | Sqm | 0.00 | 3000.00 | 150000.00 | 4000.00 | 200000.00 | 3000.00 | 150000.00 | 3308.00 | 165400.00 | 150000.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
64.00 | Providing and fixing ball bearing for rolling shutters. | 20.00 | Each | 0.00 | 800.00 | 16000.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 490.00 | 9800.00 | 8000.00 | Khairati Lal, MUDIT CONSTRUCTIONS
65.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area | 9.50 | Sqm | 0.00 | 2000.00 | 19000.00 | 2000.00 | 19000.00 | 1200.00 | 11400.00 | 1280.00 | 12160.00 | 11400.00 | MUDIT CONSTRUCTIONS
66.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in- charge, (area of grill to be measured). | 13.00 | Sqm | 0.00 | 820.00 | 10660.00 | 1000.00 | 13000.00 | 600.00 | 7800.00 | 760.00 | 9880.00 | 7800.00 | MUDIT CONSTRUCTIONS
67.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile B Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | 90.00 | Metre | 0.00 | 5704.00 | 513360.00 | 500.00 | 45000.00 | 500.00 | 45000.00 | 570.00 | 51300.00 | 45000.00 | Khairati Lal, MUDIT CONSTRUCTIONS
68.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 7187.00 | Kg | 0.00 | 90.00 | 646830.00 | 160.00 | 1149920.00 | 100.00 | 718700.00 | 150.00 | 1078050.00 | 646830.00 | TARUN ELECTRICALS
69.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete. | 1000.00 | Kg. | 0.00 | 90.00 | 90000.00 | 118.00 | 118000.00 | 100.00 | 100000.00 | 123.00 | 123000.00 | 90000.00 | TARUN ELECTRICALS
70.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works. | 7030.00 | Kg. | 0.00 | 85.00 | 597550.00 | 160.00 | 1124800.00 | 100.00 | 703000.00 | 172.00 | 1209160.00 | 597550.00 | TARUN ELECTRICALS
71.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube. | 1120.00 | Kg. | 0.00 | 120.00 | 134400.00 | 160.00 | 179200.00 | 100.00 | 112000.00 | 195.00 | 218400.00 | 112000.00 | MUDIT CONSTRUCTIONS
72.00 | 62 mm thick cement concrete flooring with concrete hardener topping, under layer 50 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) and top layer 12mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate, 6mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacture’s specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 490.00 | Sqm | 0.00 | 600.00 | 294000.00 | 850.00 | 416500.00 | 800.00 | 392000.00 | 1055.00 | 516950.00 | 294000.00 | TARUN ELECTRICALS
73.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick | 70.00 | Sqm | 0.00 | 1800.00 | 126000.00 | 1600.00 | 112000.00 | 1200.00 | 84000.00 | 1949.00 | 136430.00 | 84000.00 | MUDIT CONSTRUCTIONS
74.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 33.00 | Sqm | 0.00 | 1800.00 | 59400.00 | 1800.00 | 59400.00 | 1500.00 | 49500.00 | 2355.00 | 77715.00 | 49500.00 | MUDIT CONSTRUCTIONS
75.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the Zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Double charge vitrified tile polished finish of size (1) Size of Tile 600 x 600 mm | 370.00 | Sqm | 0.00 | 950.00 | 351500.00 | 1200.00 | 444000.00 | 1000.00 | 370000.00 | 1454.00 | 537980.00 | 351500.00 | TARUN ELECTRICALS
76.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the Zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size (1) Size of Tile 600 x 600 mm | 30.00 | Sqm | 0.00 | 950.00 | 28500.00 | 1200.00 | 36000.00 | 1000.00 | 30000.00 | 1465.00 | 43950.00 | 28500.00 | TARUN ELECTRICALS
77.00 | Providing and laying Double charge Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 210.00 | Sqm | 0.00 | 1200.00 | 252000.00 | 1600.00 | 336000.00 | 1000.00 | 210000.00 | 1800.00 | 378000.00 | 210000.00 | MUDIT CONSTRUCTIONS
78.00 | Providing and fixing removable raised/false access flooring with system and its components of approved make for different plenum height with possible height adjustment upto 50 mm, comprising of modular load bearing floor panels supported on G.I. rectangular stinger frame work and G.I. Pedestal etc. all complete, as per the architectural drawings, as specified and as directed by Engineer-in-charge consisting of: (a) Providing at required spacing to form modular framework, pedestals made out of GI tube of thickness minimum 2 mm and 25 mm outer diameter, fully welded on to the G.I. Base plate of size 100mm x 100mm x 3mm at the bottom of the pedestal tube, G.I. pedestal head of size 75mmx75mmx3.5 mm welded with GI fully threaded stud 16mm outer diameter with two GI Check nuts screwed on the stud for level adjustment upto 50mm, locking and stabilizing the pedestal head in position at the required level. The pedestals shall be fixed to the subfloor (base) through base plate using epoxy based adhesive of approved make or the machine screw with rawl plug. (b) Stringers system in all steel construction hot dipped galvanized of rectangular size 570x20x30x0.80mm thick having holes at both ends for securing the stringers on to the pedestal head using fully threaded screws ensuring maximum lateral stability in all directions, the grid formed by the pedestal and stringer assembly shall receive the floor panel, this system shall provide adequate solid, rigid support for access floor panel, the system shall provide a minimum clear uninterrupted clearance between the bottom of the floor for electrical conduits and wiring etc. all complete as per the architectural drawings, as specified and as directed by the Engineer-in-charge. (c) Providing and fixing Access Floor panel of 600x600x32 mm medium grade Filled Steel anti static high pressure Lamination of 800H grade (FS800H). Access Floor panel shall be steel welded construction with an enclosed bottom pan with uniform pattern of 64 hemispherical cones. The top and bottom plates of Steel Gauges: top 0.6 mm and bottom 0.7 mm fused spot welded together (minimum 64 welds in each dome and 20 welds along each flange). The panel should be Corroresist epoxy coated for lifetime rust protection and cavity formed by the top and bottom plate is filled with Pyrogrip noncombustible Portland cementitious core mixed with lightweight foaming compound. The access floor shall be factory finished with Anti-static High Pressure laminate with Non Warp technology upto 1mm thickness for superior adhesion and Surface flatness within 0.75mm.The panel is to withstand a Concentrated Load of 363 kgs applied on area 25mm x 25mm without collapse in the centre of the panel which is placed on four steel blocks. The panel will withstand and Uniformly Distributed Load (UDL) minimum 1250 kg/sqm and an impact load of 50kg all complete as per the approved manufacturers specification and as per the direction of Engineer-in-charge. All specification must be printed on the side of the panel to ensure the quality of the product. 300 mm Finished Floor Height (FFH). | 130.00 | Sqm | 0.00 | 4500.00 | 585000.00 | 5500.00 | 715000.00 | 5000.00 | 650000.00 | 5624.00 | 731120.00 | 585000.00 | TARUN ELECTRICALS
79.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete | 20.00 | Each | 0.00 | 300.00 | 6000.00 | 260.00 | 5200.00 | 200.00 | 4000.00 | 290.00 | 5800.00 | 4000.00 | MUDIT CONSTRUCTIONS
80.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 191.00 | Metre | 0.00 | 157.00 | 29987.00 | 400.00 | 76400.00 | 300.00 | 57300.00 | 377.00 | 72007.00 | 29987.00 | TARUN ELECTRICALS
81.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 40.00 | Each | 0.00 | 175.00 | 7000.00 | 120.00 | 4800.00 | 100.00 | 4000.00 | 150.00 | 6000.00 | 4000.00 | MUDIT CONSTRUCTIONS
82.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. shoe (Plain) 110 mm shoe | 20.00 | Each | 0.00 | 157.00 | 3140.00 | 120.00 | 2400.00 | 100.00 | 2000.00 | 130.00 | 2600.00 | 2000.00 | MUDIT CONSTRUCTIONS
83.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 68.00 | Each | 0.00 | 60.00 | 4080.00 | 360.00 | 24480.00 | 300.00 | 20400.00 | 370.00 | 25160.00 | 4080.00 | TARUN ELECTRICALS
84.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 20.00 | Each | 0.00 | 90.00 | 1800.00 | 54.00 | 1080.00 | 50.00 | 1000.00 | 54.00 | 1080.00 | 1000.00 | MUDIT CONSTRUCTIONS
85.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required | 616.00 | Sqm | 0.00 | 650.00 | 400400.00 | 700.00 | 431200.00 | 650.00 | 400400.00 | 738.00 | 454608.00 | 400400.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
86.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand). | 3654.00 | Sqm | 0.00 | 210.00 | 767340.00 | 300.00 | 1096200.00 | 200.00 | 730800.00 | 333.00 | 1216782.00 | 730800.00 | MUDIT CONSTRUCTIONS
87.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix :1:4 (1 cement: 4 fine sand) | 570.00 | Sqm | 0.00 | 230.00 | 131100.00 | 400.00 | 228000.00 | 250.00 | 142500.00 | 425.00 | 242250.00 | 131100.00 | TARUN ELECTRICALS
88.00 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement : 5 coarse sand) finished with a top layer 6 mm thick cement plaster 1:6 (1 cement : 6 fine sand). | 1349.00 | Sqm | 0.00 | 250.00 | 337250.00 | 490.00 | 661010.00 | 300.00 | 404700.00 | 518.00 | 698782.00 | 337250.00 | TARUN ELECTRICALS
89.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand). | 1070.00 | Sqm | 0.00 | 170.00 | 181900.00 | 270.00 | 288900.00 | 200.00 | 214000.00 | 300.00 | 321000.00 | 181900.00 | TARUN ELECTRICALS
90.00 | Pebble dash plaster upto 10 m height above ground level with a mixture of washed pebble or crushed stone 6 mm to 12.5 mm nominal size, dashed over and including fresh plaster in two layers under layer 12 mm cement plaster 1:4 (1 cement : 4 coarse sand) and top layer 10 mm cement plaster with cement mortar 1:3 (1 cement : 3 fine sand) mixed with 10% finely grounded hydrated lime by volume of cement. | 3770.00 | Sqm | 0.00 | 850.00 | 3204500.00 | 618.00 | 2329860.00 | 500.00 | 1885000.00 | 450.00 | 1696500.00 | 1696500.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
91.00 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | 1150.00 | Sqm | 0.00 | 140.00 | 161000.00 | 90.00 | 103500.00 | 100.00 | 115000.00 | 80.00 | 92000.00 | 92000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
92.00 | Finishing walls with textured exterior paint of required shade : New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm. | 4840.00 | Sqm | 0.00 | 150.00 | 726000.00 | 200.00 | 968000.00 | 80.00 | 387200.00 | 180.00 | 871200.00 | 387200.00 | MUDIT CONSTRUCTIONS
93.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm). | 1493.00 | Sqm | 0.00 | 80.00 | 119440.00 | 130.00 | 194090.00 | 80.00 | 119440.00 | 150.00 | 223950.00 | 119440.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
94.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 763.00 | Sqm | 0.00 | 80.00 | 61040.00 | 190.00 | 144970.00 | 100.00 | 76300.00 | 220.00 | 167860.00 | 61040.00 | TARUN ELECTRICALS
95.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 3510.00 | Sqm | 0.00 | 80.00 | 280800.00 | 100.00 | 351000.00 | 100.00 | 351000.00 | 150.00 | 526500.00 | 280800.00 | TARUN ELECTRICALS
96.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two coats | 3510.00 | Sqm | 0.00 | 80.00 | 280800.00 | 130.00 | 456300.00 | 80.00 | 280800.00 | 130.00 | 456300.00 | 280800.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
97.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres. | 1060.00 | Sqm | 0.00 | 80.00 | 84800.00 | 160.00 | 169600.00 | 50.00 | 53000.00 | 218.00 | 231080.00 | 53000.00 | MUDIT CONSTRUCTIONS
98.00 | Providing and fixing concertina coil fencing with punched tape concertina coil 600 mm dia 10 metre openable length ( total length 90 m), having 50 nos rounds per 6 metre length, upto 3 m height of wall with existing angle iron 'Y' shaped placed 2.4 m or 3.00 m apart and with 9 horizontal R.B.T. reinforced barbed wire, stud tied with G.I. staples and G.I. clips to retain horizontal, including necessary bolts or G.I. barbed wire tied to angle iron, all complete as per direction of Engineer-in-charge, with reinforced barbed tape(R.B.T.) / Spring core (2.5mm thick) wire of high tensile strength of 165 kg/ sq.mm with tape (0.52 mm thick) and weight 43.478 gm/ metre (cost of M.S. angle, C.C. blocks shall be paid separately) | 220.00 | Metre | 0.00 | 270.00 | 59400.00 | 310.00 | 68200.00 | 300.00 | 66000.00 | 370.00 | 81400.00 | 59400.00 | TARUN ELECTRICALS
99.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved s;ze, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 1270.00 | Sqm | 0.00 | 650.00 | 825500.00 | 700.00 | 889000.00 | 600.00 | 762000.00 | 790.00 | 1003300.00 | 762000.00 | MUDIT CONSTRUCTIONS
100.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 29.00 | Cum | 0.00 | 8500.00 | 246500.00 | 10000.00 | 290000.00 | 7000.00 | 203000.00 | 10120.00 | 293480.00 | 203000.00 | MUDIT CONSTRUCTIONS
101.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 810.00 | Cum | 0.00 | 2500.00 | 2025000.00 | 1800.00 | 1458000.00 | 1500.00 | 1215000.00 | 1000.00 | 810000.00 | 810000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
102.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paverfinisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 610.00 | Cum | 0.00 | 2500.00 | 1525000.00 | 2200.00 | 1342000.00 | 1500.00 | 915000.00 | 1800.00 | 1098000.00 | 915000.00 | MUDIT CONSTRUCTIONS
103.00 | Construction of dry lean cement concrete sub base over a prepared sub-grade with coarse and fine aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineerin- charge | 310.00 | Cum | 0.00 | 3300.00 | 1023000.00 | 3800.00 | 1178000.00 | 2000.00 | 620000.00 | 3500.00 | 1085000.00 | 620000.00 | MUDIT CONSTRUCTIONS
104.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 7000.00 | 7000.00 | 10000.00 | 10000.00 | 6700.00 | 6700.00 | 2000.00 | TARUN ELECTRICALS
105.00 | Providing and fixing white vitreous china (European type W.C. pan) extended wall mounting water closet of size 780x370x690 mm of approved shape including providing & fixing white vitreous china cistern with dual flush fitting, of flushing capacity 3 litre/ 6 litre (adjustable to 4 litre/ 8 litres), including seat cover, and cistern fittings, nuts, bolts and gasket etc complete. | 2.00 | Each | 0.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 6500.00 | 13000.00 | 13000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
106.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a pair of 15 mm C.P. brass pillar taps. | 3.00 | Each | 0.00 | 1500.00 | 4500.00 | 2200.00 | 6600.00 | 5000.00 | 15000.00 | 2600.00 | 7800.00 | 4500.00 | TARUN ELECTRICALS
107.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink with drain board 510x1040 mm bowl depth 250 mm | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 6900.00 | 6900.00 | 5000.00 | TARUN ELECTRICALS, Khairati Lal
108.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 5.00 | Each | 0.00 | 150.00 | 750.00 | 100.00 | 500.00 | 100.00 | 500.00 | 120.00 | 600.00 | 500.00 | Khairati Lal, MUDIT CONSTRUCTIONS
109.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 10.00 | Each | 0.00 | 80.00 | 800.00 | 50.00 | 500.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 500.00 | Khairati Lal, SAI BHAVANI INFRABUILD PRIVATE LIMITED
110.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 6.00 | Each | 0.00 | 1200.00 | 7200.00 | 1400.00 | 8400.00 | 1000.00 | 6000.00 | 1600.00 | 9600.00 | 6000.00 | MUDIT CONSTRUCTIONS
111.00 | Providing and fixing toilet paper holder : C.P. brass | 5.00 | Each | 0.00 | 555.00 | 2775.00 | 600.00 | 3000.00 | 1000.00 | 5000.00 | 800.00 | 4000.00 | 2775.00 | TARUN ELECTRICALS
112.00 | Providing and fixing soil, waste and vent pipes : 100 mm dia Sand cast iron S&S pipe as per IS : 1729 | 10.00 | Metre | 0.00 | 1400.00 | 14000.00 | 896.00 | 8960.00 | 1000.00 | 10000.00 | 1150.00 | 11500.00 | 8960.00 | Khairati Lal
113.00 | Providing and fixing PTMT towel ring trapezoidal shape 215 mm long, 200 mm wide with minimum distances of 37 mm from wall face with concealed fittings arrangement of approved quality and colour, weighing not less than 88 gms. | 3.00 | Each | 0.00 | 450.00 | 1350.00 | 200.00 | 600.00 | 500.00 | 1500.00 | 230.00 | 690.00 | 600.00 | Khairati Lal
114.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mmsizes respectively with automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps complete,including painting of fittings and cutting and making good the walls and floors wherever required : One urinal basin with 5 litre PVC automatic flushing cistern. | 3.00 | Each | 0.00 | 4500.00 | 13500.00 | 15000.00 | 45000.00 | 5000.00 | 15000.00 | 15000.00 | 45000.00 | 13500.00 | TARUN ELECTRICALS
115.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 15.00 | Metre | 0.00 | 270.00 | 4050.00 | 250.00 | 3750.00 | 200.00 | 3000.00 | 330.00 | 4950.00 | 3000.00 | MUDIT CONSTRUCTIONS
116.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 30.00 | Metre | 0.00 | 325.00 | 9750.00 | 350.00 | 10500.00 | 250.00 | 7500.00 | 400.00 | 12000.00 | 7500.00 | MUDIT CONSTRUCTIONS
117.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the wallsetc 15 mm nominal dia Pipes | 30.00 | Metre | 0.00 | 280.00 | 8400.00 | 360.00 | 10800.00 | 300.00 | 9000.00 | 490.00 | 14700.00 | 8400.00 | TARUN ELECTRICALS
118.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc 20 mm nominal dia Pipes | 20.00 | Metre | 0.00 | 280.00 | 5600.00 | 450.00 | 9000.00 | 350.00 | 7000.00 | 530.00 | 10600.00 | 5600.00 | TARUN ELECTRICALS
119.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal dia Pipes | 100.00 | Metre | 0.00 | 480.00 | 48000.00 | 460.00 | 46000.00 | 500.00 | 50000.00 | 560.00 | 56000.00 | 46000.00 | Khairati Lal
120.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 4.00 | Each | 0.00 | 580.00 | 2320.00 | 300.00 | 1200.00 | 1000.00 | 4000.00 | 460.00 | 1840.00 | 1200.00 | Khairati Lal
121.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 5.00 | Each | 0.00 | 250.00 | 1250.00 | 80.00 | 400.00 | 50.00 | 250.00 | 90.00 | 450.00 | 250.00 | MUDIT CONSTRUCTIONS
122.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 5.00 | Each | 0.00 | 650.00 | 3250.00 | 200.00 | 1000.00 | 500.00 | 2500.00 | 194.00 | 970.00 | 970.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
123.00 | Constructing masonry Chamber 30x30x50 cm inside, in brick work in cement mortar 1:4 (1 cement :4 coarse sand) for stop cock, with C. I. surface box 100x100 x75 mm (inside) with hinged cover fixed in cement concrete slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand : 10 graded stone aggregate 40mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5. | 5.00 | Each | 0.00 | 4500.00 | 22500.00 | 2000.00 | 10000.00 | 10000.00 | 50000.00 | 1990.00 | 9950.00 | 9950.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
124.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 3000.00 | per litre | 0.00 | 11.00 | 33000.00 | 10.00 | 30000.00 | 12.00 | 36000.00 | 12.00 | 36000.00 | 30000.00 | Khairati Lal
125.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 :15 mm nominal bore | 8.00 | Each | 0.00 | 650.00 | 5200.00 | 500.00 | 4000.00 | 1000.00 | 8000.00 | 500.00 | 4000.00 | 4000.00 | Khairati Lal, SAI BHAVANI INFRABUILD PRIVATE LIMITED
126.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 2.00 | Each | 0.00 | 1200.00 | 2400.00 | 600.00 | 1200.00 | 1000.00 | 2000.00 | 800.00 | 1600.00 | 1200.00 | Khairati Lal
127.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 10.00 | Each | 0.00 | 450.00 | 4500.00 | 500.00 | 5000.00 | 1000.00 | 10000.00 | 580.00 | 5800.00 | 4500.00 | TARUN ELECTRICALS
128.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 180x150 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 20.00 | Each | 0.00 | 1400.00 | 28000.00 | 2000.00 | 40000.00 | 1000.00 | 20000.00 | 2800.00 | 56000.00 | 20000.00 | MUDIT CONSTRUCTIONS
129.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe. | 30.00 | Metre | 0.00 | 1500.00 | 45000.00 | 900.00 | 27000.00 | 1000.00 | 30000.00 | 994.00 | 29820.00 | 27000.00 | Khairati Lal
130.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 15.00 | Each | 0.00 | 14000.00 | 210000.00 | 8600.00 | 129000.00 | 12000.00 | 180000.00 | 12770.00 | 191550.00 | 129000.00 | Khairati Lal
131.00 | Extra for depth for manholes : Size 90x80 cm With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 5.00 | Metre | 0.00 | 1500.00 | 7500.00 | 6000.00 | 30000.00 | 500.00 | 2500.00 | 8825.00 | 44125.00 | 2500.00 | MUDIT CONSTRUCTIONS
132.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each | 0.00 | 25000.00 | 25000.00 | 22000.00 | 22000.00 | 30000.00 | 30000.00 | 26860.00 | 26860.00 | 22000.00 | Khairati Lal
133.00 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of grade M-25 of specified diameter and length below the pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap etc. by percussion drilling using Direct mud circulation (DMC) or Bailer and chisel technique by tripod and mechanical Winch Machine all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap). 600 mm dia piles | 1080.00 | Metre | 0.00 | 5000.00 | 5400000.00 | 4200.00 | 4536000.00 | 3200.00 | 3456000.00 | 3630.00 | 3920400.00 | 3456000.00 | MUDIT CONSTRUCTIONS
134.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 1610.00 | kg | 0.00 | 495.00 | 796950.00 | 500.00 | 805000.00 | 500.00 | 805000.00 | 540.00 | 869400.00 | 796950.00 | TARUN ELECTRICALS
135.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 830.00 | kg | 0.00 | 495.00 | 410850.00 | 500.00 | 415000.00 | 500.00 | 415000.00 | 650.00 | 539500.00 | 410850.00 | TARUN ELECTRICALS
136.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 30.00 | Sqm. | 0.00 | 900.00 | 27000.00 | 1400.00 | 42000.00 | 1115.00 | 33450.00 | 1116.00 | 33480.00 | 27000.00 | TARUN ELECTRICALS
137.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 120.00 | Sqm. | 0.00 | 1100.00 | 132000.00 | 1400.00 | 168000.00 | 1000.00 | 120000.00 | 1506.00 | 180720.00 | 120000.00 | MUDIT CONSTRUCTIONS
138.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness. | 20.00 | Each | 0.00 | 3500.00 | 70000.00 | 3000.00 | 60000.00 | 2000.00 | 40000.00 | 2824.00 | 56480.00 | 40000.00 | MUDIT CONSTRUCTIONS
139.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 193.00 | Metre | 0.00 | 80.00 | 15440.00 | 78.00 | 15054.00 | 100.00 | 19300.00 | 97.00 | 18721.00 | 15054.00 | Khairati Lal
140.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 4.00 | Each | 0.00 | 900.00 | 3600.00 | 800.00 | 3200.00 | 500.00 | 2000.00 | 529.00 | 2116.00 | 2000.00 | MUDIT CONSTRUCTIONS
141.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 563.10 | Sqm | 0.00 | 600.00 | 337860.00 | 700.00 | 394170.00 | 600.00 | 337860.00 | 690.00 | 388539.00 | 337860.00 | TARUN ELECTRICALS, MUDIT CONSTRUCTIONS
142.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. Note:- (1) The elevational area of the scaffolding shall be measured for payment purpose. (2) The payment will be made once only for execution of all items for such works. | 9350.00 | Sqm | 0.00 | 80.00 | 748000.00 | 200.00 | 1870000.00 | 172.00 | 1608200.00 | 340.00 | 3179000.00 | 748000.00 | TARUN ELECTRICALS
143.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991, in true horizontal level suspended on interlocking metal powder coated T-Grid of hot dipped galvanised iron section of 0.40 mm thick on Silhouette profile,rotary stiched double webbed white with 6mm reveal profile white/black),comprising of main-T runners of size 15x42mm of length 3000 mm, cross - T of size 15x42 mm of length 1200 mm and secondary intermediate cross- T of size 15x42 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x2 mm. Galvanised iron perimeter wall angle of size 22x19x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of the Engineer-in-Charge. With 15 mm thick integral densified micro edge light weight calcium silicate false ceiling tiles | 278.00 | Sqm | 0.00 | 2600.00 | 722800.00 | 2500.00 | 695000.00 | 4.00 | 1112.00 | 2650.00 | 736700.00 | 1112.00 | MUDIT CONSTRUCTIONS
144.00 | Providing and laying Pavement Quality Concrete (PQC) produced in a batching and mixing plant having a Characteristic flexural strength i.e. flexural strength of 4.1 MPa at 28 days using Ordinary Portland cement of 43grade conforming as per relevant IS codes to be mixed at site, with 0.5% Super plasticizer by mass of cementitious material, fine aggregate graded stone aggregates of 40 mm nominal size in appropriate proportion as per specification and job mix formula, laid in panels as per drawings/design as approved by the Engineer-In-Charge using Slip Form Paver or Fixed form paver including anti friction layer, joint filler board, making necessary provision for expansion, dummy and construction joint including filling with Polysulphide sealant of approved make, curing and making profile, complete as per direction of Engineer-in-Charge and specifications. The item for execution shall include all operations making pavement for intended use but not limited to following: (i) Polyethylene sheet (White in color) of thickness 400 micron conforming to IS: 2508 with 6mm thick fine sand layer. (ii) Providing and laying in position for expansion joint, 25mm thick pre-cut Synthetic joint filler board of approved make conforming to IS:1838(part 3)-2011, 45 mm from top (to be removed at the time of filling of Polysulphide sealant). (iii) Mechanically cutting dummy joints 3mm wide x 1/3rd thickness of slab which is subsequently widened to 10mm for the top 25mm depth and construction joints 10mm wide x 25mm deep as per specification. (iv) Providing and laying in position Polysulphide sealant of approved make conforming to BS-5212-1990 or IS: 11433-1995 in expansion/ construction / dummy joints including rounding off edges, applying 2 coats of approved primer compatible with the brand of Polysulphide and preparing the surface and applying masking tape along the edge of joint to prevent accidental spillage of sealant on top surface and to give neat finish to the sealant and removing the masking tape after application of sealant etc. as per the details below: (a) Expansion Joints of size 25 mm wide and 10 mm deep over 30mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications and sketch at Appendix-‘A’. (b) Construction Joints of size 10 mm wide and 10 mm deep over 12mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications and sketch at Appendix-‘A’. (c) Dummy Joints of size 10 mm wide and 10 mm deep over 12 mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications and sketch at Appendix-‘A’. (v) Making profile as per DGCA CAR, panel drawing showing dummy, construction, expansion joints location. Note: (i) Areas inaccessible to paving equipment shall be constructed by manual/hand guided method. Areas in which manual/hand guided methods of construction become indispensable shall be got approved by the Engineer-in-Charge in writing in advance. (ii) The quantity of cement, type of cement and super plasticizer for one Cum of finished concrete specified are for tendering purpose only. The contractor shall quote his rates assuming quantity of OPC cement as 360 Kg/Cum. In addition, if the actual quantity of cement & super plasticizer required as per laboratory mix design varies from the quantity assumed above, necessary cost adjustment for deviation in the quantity of cement and super plasticizer as per mix design, if any, shall be done as per the rate of cement and super plasticizer in actual supply voucher from manufacturer/authorized dealer at the time of execution. In the case of authorized distributor, the rate may be authenticated by the manufacturer. The rate of cement and super plasticizer exclusive of GST shall only be considered for payment. | 690.00 | Cum | 0.00 | 5500.00 | 3795000.00 | 7000.00 | 4830000.00 | 4000.00 | 2760000.00 | 4400.00 | 3036000.00 | 2760000.00 | MUDIT CONSTRUCTIONS
145.00 | Lettering with Synthtic enamal paint of approved brand and manufacture | 2400.00 | per letter per cm height | 0.00 | 2.00 | 4800.00 | 3.50 | 8400.00 | 4.00 | 9600.00 | 5.00 | 12000.00 | 4800.00 | TARUN ELECTRICALS
146.00 | Providing and fixing HDPE pipe complete with fittings and clamps, i/c cutting etc.complete as per direction of Engineer-In-Charge (a) 160 mm outer dia | 80.00 | Metre | 0.00 | 1000.00 | 80000.00 | 200.00 | 16000.00 | 200.00 | 16000.00 | 220.00 | 17600.00 | 16000.00 | Khairati Lal, MUDIT CONSTRUCTIONS
147.00 | Providing, laying and jointing unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC SWR pipe conforming to IS : 13592 Type A, of approved brand, including testing of joints etc. complete : 160 mm pipe | 80.00 | Metre | 0.00 | 1000.00 | 80000.00 | 500.00 | 40000.00 | 80.00 | 6400.00 | 590.00 | 47200.00 | 6400.00 | MUDIT CONSTRUCTIONS
148.00 | Providing, laying and jointing unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC SWR pipe conforming to IS : 13592 Type A, of approved brand, including testing of joints etc. complete: 110 mm pipe | 30.00 | Metre | 0.00 | 1500.00 | 45000.00 | 260.00 | 7800.00 | 80.00 | 2400.00 | 280.00 | 8400.00 | 2400.00 | MUDIT CONSTRUCTIONS
149.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of unplasticised Rigid PVC SWR pipes including bed concrete as per standard design :110 mm diameter unplasticised Rigid PVC SWR pipe | 30.00 | Metre | 0.00 | 250.00 | 7500.00 | 260.00 | 7800.00 | 200.00 | 6000.00 | 280.00 | 8400.00 | 6000.00 | MUDIT CONSTRUCTIONS
150.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of unplasticised Rigid PVC SWR pipes including bed concrete as per standard design :160 mm diameter unplasticised Rigid PVC SWR pipe | 80.00 | Metre | 0.00 | 250.00 | 20000.00 | 350.00 | 28000.00 | 500.00 | 40000.00 | 460.00 | 36800.00 | 20000.00 | TARUN ELECTRICALS
151.00 | Providing detailed architectural and structural design, drawings with detailing for the MSSR Building cum RCC radar antenna tower (Height 25m approx.). Design should be based on latest BIS codes and standard engineering practice. The design shall be prepared by qualified and registered structural consultant, approved by Engineer-in-charge, all complete as per Drawing of the MSSR Building cum RCC radar antenna tower. The design shall be vetted and approved from Govt. EngineerCollege/NIT/IIT. The agency shall be solely responsible for the adequacy and structural safety of the proposed structure. After approval of structural design & drawing 5 (Five) set of good for construction design & drawing showing all relevant details shall be submitted duly signed by consultant. | 1.00 | Job | 0.00 | 220000.00 | 220000.00 | 318000.00 | 318000.00 | 200000.00 | 200000.00 | 240000.00 | 240000.00 | 200000.00 | MUDIT CONSTRUCTIONS
152.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required - Group C | 90.00 | Point | 0.00 | 1300.00 | 117000.00 | 1440.00 | 129600.00 | 1500.00 | 135000.00 | 1500.00 | 135000.00 | 117000.00 | TARUN ELECTRICALS
153.00 | Wiring for twin control light point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. | 10.00 | Point | 0.00 | 1800.00 | 18000.00 | 875.00 | 8750.00 | 1500.00 | 15000.00 | 1600.00 | 16000.00 | 8750.00 | Khairati Lal
154.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required | 250.00 | Meter | 0.00 | 433.00 | 108250.00 | 350.00 | 87500.00 | 300.00 | 75000.00 | 350.00 | 87500.00 | 75000.00 | MUDIT CONSTRUCTIONS
155.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 200.00 | Meter | 0.00 | 662.00 | 132400.00 | 530.00 | 106000.00 | 500.00 | 100000.00 | 500.00 | 100000.00 | 100000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
156.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 300.00 | Meter | 0.00 | 327.00 | 98100.00 | 265.00 | 79500.00 | 250.00 | 75000.00 | 250.00 | 75000.00 | 75000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
157.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2X2.5 sq.mm + 1 X 2.5 sq. mm earth wire | 250.00 | Meter | 0.00 | 369.00 | 92250.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 300.00 | 75000.00 | 75000.00 | Khairati Lal, SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
158.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2X4 sq. mm +1 X 4 sq. mm earth wire | 50.00 | Meter | 0.00 | 428.00 | 21400.00 | 345.00 | 17250.00 | 300.00 | 15000.00 | 350.00 | 17500.00 | 15000.00 | MUDIT CONSTRUCTIONS
159.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 10 sq. mm + 1X6 sq. mm earth wire | 40.00 | Meter | 0.00 | 710.00 | 28400.00 | 570.00 | 22800.00 | 600.00 | 24000.00 | 600.00 | 24000.00 | 22800.00 | Khairati Lal
160.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 1 x1.5 sq. mm | 50.00 | Meter | 0.00 | 45.00 | 2250.00 | 36.00 | 1800.00 | 30.00 | 1500.00 | 30.00 | 1500.00 | 1500.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
161.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 2x1.5 sq. mm | 30.00 | Meter | 0.00 | 70.00 | 2100.00 | 56.00 | 1680.00 | 60.00 | 1800.00 | 50.00 | 1500.00 | 1500.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
162.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3x1.5 sq. mm | 30.00 | Meter | 0.00 | 95.00 | 2850.00 | 75.00 | 2250.00 | 81.00 | 2430.00 | 80.00 | 2400.00 | 2250.00 | Khairati Lal
163.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 2x2.5 sq. mm | 50.00 | Meter | 0.00 | 98.00 | 4900.00 | 80.00 | 4000.00 | 85.00 | 4250.00 | 80.00 | 4000.00 | 4000.00 | Khairati Lal, SAI BHAVANI INFRABUILD PRIVATE LIMITED
164.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3x2.5 sq. mm | 30.00 | Meter | 0.00 | 137.00 | 4110.00 | 110.00 | 3300.00 | 100.00 | 3000.00 | 120.00 | 3600.00 | 3000.00 | MUDIT CONSTRUCTIONS
165.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 4x2.5 sq.mm | 30.00 | Meter | 0.00 | 177.00 | 5310.00 | 140.00 | 4200.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 4200.00 | Khairati Lal
166.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 2x4 sq. mm | 50.00 | Meter | 0.00 | 147.00 | 7350.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 6000.00 | Khairati Lal, SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
167.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required 3x4 sq.mm | 40.00 | Meter | 0.00 | 206.00 | 8240.00 | 165.00 | 6600.00 | 150.00 | 6000.00 | 180.00 | 7200.00 | 6000.00 | MUDIT CONSTRUCTIONS
168.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 4 Pair | 100.00 | Meter | 0.00 | 54.00 | 5400.00 | 45.00 | 4500.00 | 40.00 | 4000.00 | 45.00 | 4500.00 | 4000.00 | MUDIT CONSTRUCTIONS
169.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/ recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 200.00 | Meter | 0.00 | 223.00 | 44600.00 | 180.00 | 36000.00 | 1800.00 | 360000.00 | 170.00 | 34000.00 | 34000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
170.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/ recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 25 mm | 200.00 | Meter | 0.00 | 256.00 | 51200.00 | 210.00 | 42000.00 | 200.00 | 40000.00 | 200.00 | 40000.00 | 40000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
171.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A Switch | 50.00 | Each | 0.00 | 103.00 | 5150.00 | 83.00 | 4150.00 | 80.00 | 4000.00 | 80.00 | 4000.00 | 4000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
172.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 2 way 5/6 A switch | 10.00 | Each | 0.00 | 148.00 | 1480.00 | 118.00 | 1180.00 | 120.00 | 1200.00 | 120.00 | 1200.00 | 1180.00 | Khairati Lal
173.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 5.00 | Each | 0.00 | 156.00 | 780.00 | 125.00 | 625.00 | 120.00 | 600.00 | 120.00 | 600.00 | 600.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
174.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 A socket outlet | 20.00 | Each | 0.00 | 122.00 | 2440.00 | 98.00 | 1960.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 1960.00 | Khairati Lal
175.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet | 5.00 | Each | 0.00 | 148.00 | 740.00 | 118.00 | 590.00 | 100.00 | 500.00 | 120.00 | 600.00 | 500.00 | MUDIT CONSTRUCTIONS
176.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate as required. | 20.00 | Each | 0.00 | 369.00 | 7380.00 | 295.00 | 5900.00 | 300.00 | 6000.00 | 300.00 | 6000.00 | 5900.00 | Khairati Lal
177.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mmX75 mm) | 30.00 | Each | 0.00 | 298.00 | 8940.00 | 240.00 | 7200.00 | 200.00 | 6000.00 | 200.00 | 6000.00 | 6000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
178.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module (100 mmX75 mm) | 20.00 | Each | 0.00 | 327.00 | 6540.00 | 262.00 | 5240.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 4000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
179.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 4 Module (125mmX75mm) | 10.00 | Each | 0.00 | 343.00 | 3430.00 | 275.00 | 2750.00 | 275.00 | 2750.00 | 250.00 | 2500.00 | 2500.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
180.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 6 Module (200mmX75mm) | 10.00 | Each | 0.00 | 402.00 | 4020.00 | 438.00 | 4380.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 3000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
181.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connection etc. as required. | 15.00 | Each | 0.00 | 477.00 | 7155.00 | 382.00 | 5730.00 | 350.00 | 5250.00 | 350.00 | 5250.00 | 5250.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
182.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRL Sont on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connection etc. as required. | 20.00 | Each | 0.00 | 586.00 | 11720.00 | 470.00 | 9400.00 | 400.00 | 8000.00 | 400.00 | 8000.00 | 8000.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
183.00 | Supplying and fixing 3 pin, 5A ceiling rose on the existing junction box/ wooden block including connection etc as required. | 80.00 | Each | 0.00 | 87.00 | 6960.00 | 70.00 | 5600.00 | 60.00 | 4800.00 | 65.00 | 5200.00 | 4800.00 | MUDIT CONSTRUCTIONS
184.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN cable in the existing surface/ recessed steel / PVC conduit as required. 1 run of Cable | 50.00 | Meter | 0.00 | 57.00 | 2850.00 | 46.00 | 2300.00 | 50.00 | 2500.00 | 48.00 | 2400.00 | 2300.00 | Khairati Lal
185.00 | Wiring for group controlled (looped) light poing/ fan point/exhaust fan point/call bell point (without independent switch etc.) with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc as required. - Group C | 15.00 | Point | 0.00 | 1094.00 | 16410.00 | 875.00 | 13125.00 | 750.00 | 11250.00 | 900.00 | 13500.00 | 11250.00 | MUDIT CONSTRUCTIONS
186.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 2 nos, 3 pin 5/6 A modular socket outlets and 2 nos 5/6 A modular switches, connection etc. as required. (For light plugs to be use in non residential buildings) | 15.00 | Each | 0.00 | 676.00 | 10140.00 | 540.00 | 8100.00 | 500.00 | 7500.00 | 550.00 | 8250.00 | 7500.00 | MUDIT CONSTRUCTIONS
187.00 | Supplying & fixing suitable size GI box with modular plate and cover in front on surface or in recess i/c providing and fixing 25 A modular socket outlet and 25 A modular SP MCB, "C" curve including connection, painting etc. as required. | 10.00 | Each | 0.00 | 727.00 | 7270.00 | 582.00 | 5820.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 5000.00 | MUDIT CONSTRUCTIONS
188.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnetions, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator). 6 way, Double door | 4.00 | Each | 0.00 | 2206.00 | 8824.00 | 1765.00 | 7060.00 | 1850.00 | 7400.00 | 1880.00 | 7520.00 | 7060.00 | Khairati Lal
189.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 6 way (4+18), Double door | 8.00 | Each | 0.00 | 2265.00 | 18120.00 | 4000.00 | 32000.00 | 4000.00 | 32000.00 | 4300.00 | 34400.00 | 18120.00 | TARUN ELECTRICALS
190.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way (4 + 24), Double door | 8.00 | Each | 0.00 | 2795.00 | 22360.00 | 4800.00 | 38400.00 | 5000.00 | 40000.00 | 5000.00 | 40000.00 | 22360.00 | TARUN ELECTRICALS
191.00 | Supplying and fixing of following ways surface/recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 As tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB's (but without MCB's and incommer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) 8 way (4 + 24), Double door | 2.00 | Each | 0.00 | 10000.00 | 20000.00 | 8135.00 | 16270.00 | 8000.00 | 16000.00 | 8900.00 | 17800.00 | 16000.00 | MUDIT CONSTRUCTIONS
192.00 | Supplying and fixing 5A to 32 A rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 60.00 | Each | 0.00 | 125.00 | 7500.00 | 205.00 | 12300.00 | 200.00 | 12000.00 | 220.00 | 13200.00 | 7500.00 | TARUN ELECTRICALS
193.00 | Supplying and fixing 5A to 32 A rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 15.00 | Each | 0.00 | 250.00 | 3750.00 | 525.00 | 7875.00 | 500.00 | 7500.00 | 500.00 | 7500.00 | 3750.00 | TARUN ELECTRICALS
194.00 | Supplying and fixing 5A to 32 A rating, 240/415 volts, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole and neutral | 20.00 | Each | 0.00 | 784.00 | 15680.00 | 982.00 | 19640.00 | 1000.00 | 20000.00 | 1000.00 | 20000.00 | 15680.00 | TARUN ELECTRICALS
195.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 100.00 | Each | 0.00 | 7.00 | 700.00 | 10.00 | 1000.00 | 10.00 | 1000.00 | 12.00 | 1200.00 | 700.00 | TARUN ELECTRICALS
196.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mili Aeres in the existing MCB DB complete with connections, testing and commissioning etc. as required. 25A | 4.00 | Each | 0.00 | 1500.00 | 6000.00 | 2070.00 | 8280.00 | 2000.00 | 8000.00 | 2200.00 | 8800.00 | 6000.00 | TARUN ELECTRICALS
197.00 | Supplying and fixing DP sheet steel enclosure on surface/recess along with 25/32A 240 volts "C" curve DP MCB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 0.00 | 1169.00 | 4676.00 | 935.00 | 3740.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 3740.00 | Khairati Lal
198.00 | Supplying and fixing TP sheet steel enclosure on surface/ recess along with 16/25/32A 415 volts "C" curve TP MCB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 0.00 | 1592.00 | 6368.00 | 1275.00 | 5100.00 | 1300.00 | 5200.00 | 1400.00 | 5600.00 | 5100.00 | Khairati Lal
199.00 | Supplying and fixing Cable End boxes (IP 43) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess complete with testing and commissioning etc. as required. For 6way, Double door SPN MCB DB | 8.00 | Each | 0.00 | 752.00 | 6016.00 | 602.00 | 4816.00 | 600.00 | 4800.00 | 630.00 | 5040.00 | 4800.00 | MUDIT CONSTRUCTIONS
200.00 | Supplying and fixing Cable End boxes (IP 43) suitable for following single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess complete with testing and commissioning etc. as required. For 8 way, Double door SPN MCB DB | 8.00 | Each | 0.00 | 832.00 | 6656.00 | 666.00 | 5328.00 | 700.00 | 5600.00 | 650.00 | 5200.00 | 5200.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
201.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for following tripple pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface; recess, complete with testing and commissioning etc. For 6 way, Double door TPN MCB DB | 8.00 | Each | 0.00 | 1124.00 | 8992.00 | 900.00 | 7200.00 | 900.00 | 7200.00 | 850.00 | 6800.00 | 6800.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
202.00 | Supplying and fixing Cable End Boxes (IP 43) suitable for following tripple pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface; recess, complete with testing and commissioning etc. For 8 way, Double door TPN MCB DB | 8.00 | Each | 0.00 | 1340.00 | 10720.00 | 1072.00 | 8576.00 | 1150.00 | 9200.00 | 1005.00 | 8040.00 | 8040.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED
203.00 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 6.00 | Set | 0.00 | 4367.00 | 26202.00 | 5978.00 | 35868.00 | 5000.00 | 30000.00 | 6160.00 | 36960.00 | 26202.00 | TARUN ELECTRICALS
204.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and atering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 4.00 | Set | 0.00 | 8939.00 | 35756.00 | 11200.00 | 44800.00 | 10000.00 | 40000.00 | 11800.00 | 47200.00 | 35756.00 | TARUN ELECTRICALS
205.00 | Supplying and laying 6 SWG G.l. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with Gl thimble etc. as required. | 100.00 | Meter | 0.00 | 25.00 | 2500.00 | 41.00 | 4100.00 | 35.00 | 3500.00 | 40.00 | 4000.00 | 2500.00 | TARUN ELECTRICALS
206.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 meter below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 50.00 | Meter | 0.00 | 714.00 | 35700.00 | 800.00 | 40000.00 | 800.00 | 40000.00 | 840.00 | 42000.00 | 35700.00 | TARUN ELECTRICALS
207.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.l. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 20.00 | Meter | 0.00 | 1019.00 | 20380.00 | 125.00 | 2500.00 | 1350.00 | 27000.00 | 1350.00 | 27000.00 | 2500.00 | Khairati Lal
208.00 | Providing and fixing 25 mm X 5 mm G.l. strip in 40 mm dia G.l. pipe from earth electrode including connection with G.l. nut, bolt, spring, washer excavation and re-filling etc. as required. | 100.00 | Meter | 0.00 | 391.00 | 39100.00 | 565.00 | 56500.00 | 600.00 | 60000.00 | 600.00 | 60000.00 | 39100.00 | TARUN ELECTRICALS
209.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 50.00 | Meter | 0.00 | 1400.00 | 70000.00 | 930.00 | 46500.00 | 1000.00 | 50000.00 | 1000.00 | 50000.00 | 46500.00 | Khairati Lal
210.00 | Providing and fixing 25 mm X 5 mm G.l. strip on surface or in recess for connections etc. as required. | 30.00 | Meter | 0.00 | 160.00 | 4800.00 | 195.00 | 5850.00 | 190.00 | 5700.00 | 200.00 | 6000.00 | 4800.00 | TARUN ELECTRICALS
211.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing as required. | 50.00 | Meter | 0.00 | 60.00 | 3000.00 | 56.00 | 2800.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 2500.00 | SAI BHAVANI INFRABUILD PRIVATE LIMITED, MUDIT CONSTRUCTIONS
| Total in Figures |  |  |  |  | 64493382.00 |  | 81927664.00 |  | 68692637.50 |  | 82215276.00
Lowest Amount Quoted BY: TARUN ELECTRICALS(64493382.00)

## BOQ Summary
BOQ Summary Details Tender Title: Installation of new stand alone MSSR for replacement of standalone MSSR at M.P. Airport, Udaipur. S.H. Civil works including electrical internal wiring works Tender ID: 2024_AAI_193051_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TARUN ELECTRICALS | 64493382.00 | L1
| 2 | MUDIT CONSTRUCTIONS | 68692637.50 | L2
| 3 | Khairati Lal | 81927664.00 | L3
| 4 | SAI BHAVANI INFRABUILD PRIVATE LIMITED | 82215276.00 | L4