## BoQ1
Government eProcurement System Created By: RAJEEV GUPTA Created Date/Time: 21-May-2024 12:05 PM Tender Title: ARMO of E and M Installations at Kanpur Airport 2024-25 Tender ID: 2024_AAI_193201_1
Tender Inviting Authority: AGM (E-E)
Name of Work: ARMO of Electrical & Mechanical installations of New Terminal Building at Kanpur Airport for the year 2024-25
Contract No: 2024_AAI_193201_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration (GSTN-09AAGFA4646N1Z1) BID ID -698383 |  | M/S TURBO POWER AND INFRASTRUCTURE (GSTN-09AAMFT5683N1Z5) BID ID -698969 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -699008 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -699065 |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)--698889 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--697098 |  | M/S HIGH TECH POWER SYSTEM(GSTN-NA)--698597
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Routine Maintenance of electrical & mechanical installations of New terminal building at Kanpur Airport i/c GLF lighting, Trolley Gate, Baggage Handling system, Lift, UPS, Street lights, Fire alarm System etc. i/c attending the day to day complaints on all days i/c Sunday and Holiday by providing the Highly skilled (supervisor), skilled, Semi-skilled & unskilled man power as mentioned in special condition of contract, tools & tackles and attending the break-down and preventive maintenance as per detail specifications enclosed. 1. Supervisor (Highly skilled) -01 Nos 2. Electrician/wireman (Skilled)-02 Nos 3. Operator (Semi- skilled)-05 Nos Note- Shift timing will be decided by Engineer In charge or Representative as per the site requirement and flight operation | 12.00 | month |  | 172894.00 | 2074728.00 | 160500.00 | 1926000.00 | 229318.00 | 2751816.00 | 255650.00 | 3067800.00 | 300000.00 | 3600000.00 | 212497.00 | 2549964.00 | 160000.00 | 1920000.00 | 1920000.00 | M/S HIGH TECH POWER SYSTEM
2.00 | Operation of 3 x 625 KVA DG sets along with synchronous panel, sandwich bus duct, HT panel, Transformers, LT panels, battery charger, Solar power plant installed and Firefighting system, WTP and STP installed in Pump house at Kanpur Airport i/c attending the day to day complaints on all days i/c Sunday and Holiday by providing the Skilled, semi-skilled & unskilled manpower as mentioned in special condition of contract, tools & tackles and attending the break-down and preventive maintenance as per detail specifications enclosed. 1. Electrician/wireman (Skilled)-04 Nos 2. Operator (Semi- skilled)-03 Nos 3. Helper (Unskilled)- 04Nos Note- Shift timing will be decided by Engineer In charge or Representative as per the site requirement and flight operation | 12.00 | month |  | 226714.00 | 2720568.00 | 200300.00 | 2403600.00 | 300833.00 | 3609996.00 | 324560.00 | 3894720.00 | 375000.00 | 4500000.00 | 276215.00 | 3314580.00 | 200000.00 | 2400000.00 | 2400000.00 | M/S HIGH TECH POWER SYSTEM
3.00 | Provision of 01 (One) No. data entry operator (skilled)cum office assistant for day-to-day office work, computer typing, tender, SAP and other office work as per direction of Engineer -in charge. | 12.00 | month |  | 22604.00 | 271248.00 | 18200.00 | 218400.00 | 31140.00 | 373680.00 | 28000.00 | 336000.00 | 40000.00 | 480000.00 | 31894.00 | 382728.00 | 18000.00 | 216000.00 | 216000.00 | M/S HIGH TECH POWER SYSTEM
4.00 | B-check servicing including supply of B check kit of Fire DG engine of capacity 80 HP Model No. 3GT11T (Make: Greaves Cotton Ltd.) as per OEM recommendations or site requirement. B check shall be done as and when required. B check material details are attached in Special condition of contract of tender document. | 2.00 | Job |  | 5000.00 | 10000.00 | 60150.00 | 120300.00 | 70000.00 | 140000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 60000.00 | 120000.00 | 10000.00 | Anoop Refrigeration
5.00 | Finishing with enamel paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface etc. complete as required. (On steel work) | 700.00 | sqmtr |  | 96.00 | 67200.00 | 60.00 | 42000.00 | 160.00 | 112000.00 | 260.00 | 182000.00 | 200.00 | 140000.00 | 250.00 | 175000.00 | 50.00 | 35000.00 | 35000.00 | M/S HIGH TECH POWER SYSTEM
6.00 | Percentage above or below on the rates of Electrical DSR-2022 (CPWD) items worth totaling to Rs. 3,00,000.00 for Execution of misc. items on requirement basis. The Rates quoted shall be without GST. (Note: the firm has to quote/upload the percentage above / below on Rs. 3,00,000/- For Example: if desired to quote 5% above on DSR-2022 rates, the rate column shall be filled as 315000/-. If desired to quote 5% below on DSR-2022 rates, the rate column shall be filled as 285000/-) | 1.00 | L.S. |  | 105000.00 | 105000.00 | 5000.00 | 5000.00 | 300000.00 | 300000.00 | 310000.00 | 310000.00 | 350000.00 | 350000.00 | 300000.00 | 300000.00 | 1000.00 | 1000.00 | 1000.00 | M/S HIGH TECH POWER SYSTEM
| Total in Figures |  |  |  |  | 5248744.00 |  | 4715300.00 |  | 7287492.00 |  | 7805520.00 |  | 9090000.00 |  | 6742272.00 |  | 4692000.00
Lowest Amount Quoted BY: M/S HIGH TECH POWER SYSTEM(4692000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Kanpur Airport 2024-25 Tender ID: 2024_AAI_193201_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S HIGH TECH POWER SYSTEM | 4692000.00 | L1
| 2 | M/S TURBO POWER AND INFRASTRUCTURE | 4715300.00 | L2
| 3 | Anoop Refrigeration | 5248744.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 6742272.00 | L4
| 5 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 7287492.00 | L5
| 6 | Manish Electricals | 7805520.00 | L6
| 7 | JCC ENGINEERS PRIVATE LIMITED | 9090000.00 | L7