## BoQ1
Government eProcurement System Created By: Arun Kumar Majhi Created Date/Time: 24-Apr-2024 01:36 PM Tender Title: Works contract for carrying out Monitoring, Operations, repairing and Modification of all MEP installations at New ATC Tower and Technical Block for the period of one year. Tender ID: 2024_AAI_193291_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA, ENGINEERING WING (Elect.), RHQ-ER, NSCBI AIRPORT, KOLKATA 700052
Name of Work: Works contract for carrying out Monitoring, Operations, repairing and Modification of all MEP installations i.e. (Substation Head, DG Head, External & Internal Electrical head, HVAC, Elevator, Firefighting, Fire alarm and detection system, Public addressing, Gas Suppression system, Water treatment plant, building management system etc.) at New ATC Tower and Technical Block, NSCBI Airport Kolkata for the period of one year.
Contract No: 2024_AAI_193291_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. A S Traders (GSTN-19AKDPR7595N1ZA) BID ID -695336 |  | Voltas Limited (GSTN-19AAACV2809D1ZJ) BID ID -696252 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--696399 |  | M/s SOM Engineering Works(GSTN-NA)--696095
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Monotoring, reparing and operation of Substation, DG, HVAC, Internal and External E&M, Firefighting,WTP, BMS,lift, Fire Alarm Detection system and Public Addressing system,Gas Suppression system installations such as HT/LT panels, transformers, power cables, pumps, DG sets, Air conditioning etc including attending complaints / faults/ breakdown, rectification, ensuring serviceability/ satisfactory working condition and maintaining all records as per Condition monitoring (CM)/ Predictive Maintenance (PdM) / Preventive Mainytence (PM) schedule as per the special conditions of contract and particular specifications, in shift basis round the clock as per the instruction of the Engineer-in- Charge or his authorized representative as per the requirement of works at New ATC tower and Technical block. (The contractor has to engage the minimum man power including relievers etc. as per the special condition of contract, particular specifications and as per the instruction of Engineer-in-charge.) Note 1:- The Contractor shall engage following nos. of Manpower for O & M of MEP installations which is:- 1. Highly Skilled: 06 (Six) nos. for 365 days including Saturday, Sunday & Holidays. 2. Skilled: 24 (Twenty Four) nos. for 365 days including Saturday, Sunday & Holidays. 3. Unskilled: 12 (Twelve) nos. for 365 days including Saturday, Sunday & Holidays. Note 2:- AAI reserves the right to depute the staff in shift duty / general duty also for any work. | 12.00 | Month | 0.00 | 1294000.00 | 15528000.00 | 1113298.67 | 13359584.04 | 1188104.00 | 14257248.00 | 1228530.00 | 14742360.00 | 13359584.04 | Voltas Limited
2.00 | Supply of Sodium hypochlorite Solution (NaOCl 8% free chlorine) | 5000.00 | Litre | 0.00 | .50 | 2500.00 | 7.00 | 35000.00 | 16.00 | 80000.00 | 12.00 | 60000.00 | 2500.00 | M/s. A S Traders
3.00 | DSR item ( Rate will be considered % above / below of or equal to 100% of DSR 2022 E&M rate). NOTE:- 1 The execution of Delhi Schedule of Rates (E&M) 2022 Items as when required basis of amount upto Rs. 10,00,000.00 Example for quoting the rate:- (i)Agency Quoting Rs.9,00,000‬.00 in the Rate stands for 10% below the Estimate amounting of Rs.10,00,000.00 net amount will be 9,00,000‬.00 and payement will be made 10% below on DSR 2022 rate against items. (ii)Agency Quoting Rs. ‭11,00,000‬‬.00 in the Rate stands for 10% above the Estimate amounting of Rs.10,00,000.00 net amount will be 11,00,000‬‬.00 and payement will be made 10% above on DSR 2022 rate against items. (iii)Agency Quoting Rs. ‭10,00,000‬‬.00 in the Rate stands same as Estimate amounting of Rs.10,00,000.00 net amount will be 10,00,000‬‬.00 and payement will be made same as above on DSR 2022 rate against items. Note:- 2 Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR/DAR-2022 | 1.00 | Job | 0.00 | 1000.00 | 1000.00 | 100000.00 | 100000.00 | 150000.00 | 150000.00 | 500000.00 | 500000.00 | 1000.00 | M/s. A S Traders
4.00 | SITC of water cooler cum purifier (RO + UV) of capacity 80 liters ( Model No.- VOLTAS WC FS 40/80 R P R134a-RO&UV or equivalent as per list of approved make of AAI) | 10.00 | Each | 0.00 | 10.00 | 100.00 | 40000.00 | 400000.00 | 32232.00 | 322320.00 | 49876.10 | 498761.00 | 100.00 | M/s. A S Traders
| Total in Figures |  |  |  |  | 15531600.00 |  | 13894584.04 |  | 14809568.00 |  | 15801121.00
Lowest Amount Quoted BY: Voltas Limited(13894584.04)

## BOQ Summary
BOQ Summary Details Tender Title: Works contract for carrying out Monitoring, Operations, repairing and Modification of all MEP installations at New ATC Tower and Technical Block for the period of one year. Tender ID: 2024_AAI_193291_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Limited | 13894584.04 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 14809568.00 | L2
| 3 | M/s. A S Traders | 15531600.00 | L3
| 4 | M/s SOM Engineering Works | 15801121.00 | L4