## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 15-May-2024 02:33 PM Tender Title: Replacement of Outlived Air conditioners and Water Coolers installed at Calicut International Airport - Phase I Tender ID: 2024_AAI_193617_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Replacement of Outlived Air conditioners and Water Coolers installed at Calicut International Airport - Phase I
Contract No: <2024_AAI_193617_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD (GSTN-07AADCV9396C1ZZ) BID ID -700251 |  | jaydeep agency corporation (GSTN-24ACIPP6157B1ZQ) BID ID -700306 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -700333
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation , Testing and Commissioning of 2 TR Split type 5 star rated energy efficient,(minimum EER 4.50) invertor type, single phase, wall mounting type split Air conditioner unit, consisting of indoor unit with copper coil , out door condensing Unit with copper coil unit, cordless remote control, non CFC refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. and suitable for operation on 230 V, 50 HZ, single phase AC supply etc. as per OEM standard and complete as required as per technical specifications comprising the following including first charge of refrigerator , complete as required. a) Suitable Insulated Copper pipe for liquid or as per OEM specification for length upto 5 Metre b) Suitable Insulated Copper pipe for suction or as per OEM specification of length upto 5 Metre c) Suitable FR insulated , PVC sheathed Unarmoured multi strand Copper cable or as per OEM specification for length upto 5 metre. d) Supply & Fixing of Heavy Duty rigid PVC pipe / PVC trunking suitable size for covering in the liquid line , suction line and multistrand cable or as per OEM Specification for length upto 5 Metre. e) Voltage Stabilizer of approved make suitable for 2TR AC f) Necessary Supports for out door Unit and Indoor unit as required at site. | 5.00 | Job |  | 66568.00 | 332840.00 | 62000.00 | 310000.00 | 69500.00 | 347500.00 | 310000.00 | jaydeep agency corporation
2.00 | Supply of 1.5 TR Split type 5 star rated energy efficient,( minimum EER 4.50) invertor type, single phase, wall mounting type split Air conditioner unit, consisting of indoor unit with copper coil , out door condensing Unit with copper coil unit, cordless remote control, non CFC refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc. and suitable for operation on 230 V, 50 HZ, single phase AC supply etc. as per OEM standard and complete as required as per technical specifications comprising the following including first charge of refrigerator , complete as required. a) Suitable Insulated Copper pipe for liquid or as per OEM specification for length upto 5 Metre b) Suitable Insulated Copper pipe for suction or as per OEM specification of length upto 5 Metre c) Suitable FR insulated , PVC sheathed Unarmoured multi strand Copper cable or as per OEM specification for length upto 5 metre. d) Supply & Fixing of Heavy Duty rigid PVC pipe / PVC trunking suitable size for covering in the liquid line , suction line and multistrand cable or as per OEM Specification for length upto 5 Metre. e)Voltage Stabilizer of approved make suitable for 1.5 TR AC f) Necessary Supports for out door Unit and Indoor unit as required at site. | 3.00 | Job |  | 56033.00 | 168099.00 | 50000.00 | 150000.00 | 54500.00 | 163500.00 | 150000.00 | jaydeep agency corporation
3.00 | Supply of 4 TR Cassette type 5 Star energy efficient,split Air conditioner unit, consisting of indoor unit with copper coil , out door condensing Unit with copper coil unit, cordless remote control, non CFC refrigerant gas, standard length of refrigerant pipe, drain pipe, power cable etc as per OEM standard and complete as required as per technical specifications comprising the following including first charge of refrigerator , complete as required. a) Suitable Insulated Copper pipe for liquid or as per OEM specification for length upto 5 Metre b) Suitable Insulated Copper pipe for suction or as per OEM specification of length upto 5 Metre c) Suitable FR insulated , PVC sheathed Unarmoured multi strand Copper cable or as per OEM specification for length upto 5 metre. d) Supply & Fixing of Heavy Duty rigid PVC pipe / PVC trunking suitable size for covering in the liquid line , suction line and multistrand cable or as per OEM Specification for length upto 5 Metre. f) Necessary Supports for out door Unit and Indoor unit as required at site. | 3.00 | Job |  | 122754.00 | 368262.00 | 120000.00 | 360000.00 | 151500.00 | 454500.00 | 360000.00 | jaydeep agency corporation
4.00 | Supply and fixing of following for interconnection between evaporator unit and condensor unit mentioned in Item No. 1, 2 & 3 ( if extra additional length is required other than standard 5 Metre mentioned in the BOQ dor Item No.1,2&3) Suitable Insulated Copper pipe for liquid line or as per OEM specification for the item 1,2 & 3 | 80.00 | Metre |  | 450.00 | 36000.00 | 500.00 | 40000.00 | 950.00 | 76000.00 | 36000.00 | VOLKS ENERGIE PVT LTD
5.00 | Supply and fixing of following for interconnection between evaporator unit and condensor unit mentioned in Item No. 1, 2 & 3 ( if extra additional length is required other than standard 5 Metre mentioned in the BOQ dor Item No.1,2&3) Suitable Insulated Copper pipe for Suction line or as per OEM specification for the item 1,2 & 3 | 80.00 | Metre |  | 350.00 | 28000.00 | 500.00 | 40000.00 | 900.00 | 72000.00 | 28000.00 | VOLKS ENERGIE PVT LTD
6.00 | Supply and fixing of following for interconnection between evaporator unit and condensor unit mentioned in Item No. 1, 2 & 3 ( if extra additional length is required other than standard 5 Metre mentioned in the BOQ dor Item No.1,2&3) Suitable FR insulated , PVC sheathed unarmoured multi strand copper cable or as per OEM specification for Item 1,2 & 3 | 80.00 | Metre |  | 120.00 | 9600.00 | 145.00 | 11600.00 | 145.00 | 11600.00 | 9600.00 | VOLKS ENERGIE PVT LTD
7.00 | Supply and fixing of following for interconnection between evaporator unit and condensor unit mentioned in Item No. 1, 2 & 3 ( if extra additional length is required other than standard 5 Metre mentioned in the BOQ dor Item No.1,2&3) Supply and Fixing of Heavy duty Rigid PVC Pipe/PVC trunking of suitable size for covering the refrigerator pipes , drain line , copper cable etc as required. | 80.00 | Metre |  | 275.00 | 22000.00 | 180.00 | 14400.00 | 130.00 | 10400.00 | 10400.00 | Awasthi Electric Works
8.00 | Supply & Fixing of 32 mm Dia Medium class PVC Pipe as drain pipe for the AC Units installed as per Item 1,2 & 3 | 100.00 | Metre |  | 150.00 | 15000.00 | 75.00 | 7500.00 | 185.00 | 18500.00 | 7500.00 | jaydeep agency corporation
9.00 | SITC of Hot, Cold & Normal water dispensor with stand alone unit water purification system complete as per the sopecifications as required. The unit shall have a minimum tank capacity of (a) 30 Litres Normal Water (b) 40 Litres Cold Water (c) 4 Litres Hot Water, minimum flow rate of 250 Litres/hr with SS body and shall be suitable to connect to existing water outlet system at Various locations including all required connections. The compressor / heater / filter unit shall be suitable to work with 230V, 50 Hz AC Power Supply. | 5.00 | Job |  | 71250.00 | 356250.00 | 79500.00 | 397500.00 | 22000.00 | 110000.00 | 110000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 1336051.00 |  | 1331000.00 |  | 1264000.00
Lowest Amount Quoted BY: Awasthi Electric Works(1264000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Outlived Air conditioners and Water Coolers installed at Calicut International Airport - Phase I Tender ID: 2024_AAI_193617_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Awasthi Electric Works | 1264000.00 | L1
| 2 | jaydeep agency corporation | 1331000.00 | L2
| 3 | VOLKS ENERGIE PVT LTD | 1336051.00 | L3