## BoQ1
Government eProcurement System Created By: Pramod Soni Created Date/Time: 26-Jun-2024 03:58 PM Tender Title: Reconfiguration of Terminal Building. Sub Head SITC of Bi level drinking water fountain with provision of bottle filling and associated works at S V Airport, Raipur. Tender ID: 2024_AAI_193808_1
Tender Inviting Authority: Asst. General Manager (E-E)
Name of Work: Reconfiguration of Terminal Building. SH: SITC of Bi level drinking water fountain with provision of bottle filling & associated works at S. V. Airport, Raipur.
Contract No: 2024_AAI_193808
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | WACORP HYUNDAI INDIA LTD. (GSTN-09AAJCS0376H1Z4) BID ID -700374 |  | Oasis WFS (P) Ltd. (GSTN-07AABCO6540R1ZX) BID ID -701137
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply installation, testing and commissioning of bi level drinking water fountain, with double ss finish bubbler and one alcove bottel filling station with mechanical operation Drinking water fountain with 60 LPH cooling capacity, brussed finish stainless steel body ,approx size width 895mm X Depth 473 mmX hight 960 mm, ss bubbler guard operated between 50 to 120 PSI, chilling unit suitable for R134a refrigerant, adjustable thermo state,With MDCU29 push pad, supply complete with all accessories. Shall comply with ANSI 117.1 and ADA. Shall be listed by, GRIHA Certifide (Green Rating for Integrated Habitat Assessment), TUV-SUD Cerifide for water quality. Shall comply with NSF 61 and NSF/ANSI 372. (As per preferred make list) | 7.00 | Job | 257550.00 | 110000.00 | 770000.00 | 145600.00 | 1019200.00 | 770000.00 | WACORP HYUNDAI INDIA LTD.
2.00 | Suplly, Installation and commisioning of 50 LPH RO system With UV (alfa UV mini Light flow rate 50 LPH, UV Lamp and length-475 mm, 11 wattage,Along with Sediment filter, RO Membrane memembrane, corbon filter and pre filter, with 300 GPD motor x 2, and pressure gauge, with 60 LTR HTP pressure tank food grade to generate 2-3 kg inlet water pressure with High pressure switch enclosed body. All the system will be enclosed open skid hanging arragment. (As per preferred make list) | 7.00 | Job | 98980.00 | 50000.00 | 350000.00 | 52250.00 | 365750.00 | 350000.00 | WACORP HYUNDAI INDIA LTD.
3.00 | Job Work SS 304 work to hang the drinking water fountain. Make the arrangment of ss work to Hide the RO system should be behind the wall. And uper portion of the Drinking water area should be closed by Wooden work with asthetic look. | 160.00 | Sq. Feet | 676.70 | 250.00 | 40000.00 | 670.00 | 107200.00 | 40000.00 | WACORP HYUNDAI INDIA LTD.
| Total in Figures |  |  |  |  | 1160000.00 |  | 1492150.00
Lowest Amount Quoted BY: WACORP HYUNDAI INDIA LTD.(1160000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building. Sub Head SITC of Bi level drinking water fountain with provision of bottle filling and associated works at S V Airport, Raipur. Tender ID: 2024_AAI_193808_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | WACORP HYUNDAI INDIA LTD. | 1160000.00 | L1
| 2 | Oasis WFS (P) Ltd. | 1492150.00 | L2