## BoQ1
Government eProcurement System Created By: KAMBLE TANAJI Created Date/Time: 25-Jun-2024 11:16 AM Tender Title: Improvement of AOCC- Integration of first and last bag information, chocks on chocks off information, FAS and BMS at Pune Airport. Tender ID: 2024_AAI_193994_1
Tender Inviting Authority: Astt. General Manager (Engg.- Electrical), AAI, Pune Airport, Pune- 411032
Name of Work: Improvement of AOCC- Integration of first and last bag information, chocks on chocks off information, FAS and BMS at Pune Airport.
Contract No: 2024_AAI_193994
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -700270
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 6 Core Single Mode Multi tube Armoured Optical Fiber Cable (OFC). | 800.00 | Meter |  | 60.00 | 48000.00 | 48000.00 | Manish Electricals
2.00 | Laying of 6 Core Single Mode Multi tube Armoured Optical Fiber Cable (OFC) in existing Hume pipe / duct / cable tray / surface/structural steel/steel pipe/PVC Pipe etc. complete as required. | 800.00 | Meter |  | 50.00 | 40000.00 | 40000.00 | Manish Electricals
3.00 | Supply of UTP 4 pair CAT 6A LAN Cable. | 610.00 | Meter |  | 60.00 | 36600.00 | 36600.00 | Manish Electricals
4.00 | Laying of CAT 6A Cable in existing surface recessed/ duct / cable tray/steel pipe/PVC Pipe etc. complete as required. | 610.00 | Meter |  | 25.00 | 15250.00 | 15250.00 | Manish Electricals
5.00 | End Termination (Splicing) of single mode fiber optic cable, 1 Core with Optical Time Domain Reflectometer (OTDR) testing service complete with jointing accessories complete as required. | 36.00 | Nos. |  | 300.00 | 10800.00 | 10800.00 | Manish Electricals
6.00 | Supply, Installation, Testing & Commissioning of Optical Fiber Patch Cord - 2 Mtr (Single Mode) including Duplex SC to Duplex LC connector. | 20.00 | Nos. |  | 450.00 | 9000.00 | 9000.00 | Manish Electricals
7.00 | Supply, Installation, Testing & Commissioning of 24 Port LIU (19" Rack Mount type) including 12 X Duplex SC connector and 12 X SM Duplex Pigtail, suitable for Operating Temperature range -20 deg. C to +70 deg C. | 1.00 | Each |  | 10000.00 | 10000.00 | 10000.00 | Manish Electricals
8.00 | Supply, Installation, Testing & Commissioning of 6 Port LIU (Din rail Mount type) including 3 X Duplex SC connector and 3 X SM Duplex Pigtail, suitable for Operating Temperature range -20 deg. C to +70 deg C . | 4.00 | Each |  | 8500.00 | 34000.00 | 34000.00 | Manish Electricals
9.00 | Supply, Installation, Testing & Commissioning of 8 Port unmanaged Gbe switch with 2 X SFP Port, Din Rail Mount Type, Ethernet Port - 8x10/100/1000 BASE-T ports, suitable for 24VDC, Operating Temperature range -20 deg. C to +70 deg. C . | 4.00 | Each |  | 9000.00 | 36000.00 | 36000.00 | Manish Electricals
10.00 | Supply, Installation, Testing & Commissioning of 4 Port Unmanaged Switch four (4) 10/100/1000 Mbps Ethernet ports and two (2) 10/100/1000 Mbps uplink ports, Din Rail Mount Type, ssuitable for 24VDC, Operating Temperature range -20 deg. C to +70 deg. C . | 8.00 | Each |  | 6000.00 | 48000.00 | 48000.00 | Manish Electricals
11.00 | Supply, Installation, Testing & Commissioning of 24 Volt DC SMPS (Din Rail Mount Type) suitable for 230V AC, 50Hz input & 24V DC output, Operating Temperature range -20 deg. C to +70 deg. C . | 12.00 | Each |  | 8000.00 | 96000.00 | 96000.00 | Manish Electricals
12.00 | Supply, Installation, Testing & Commissioning of SFP Optical Fiber Converter Module Duplex LC, 1310nm wavelength, 1.25Gbps or heigher speed, suitable for Single Mode Fiber, 20KM operating Distance, Operating Temperature range -40 deg. C to +85 deg. C | 6.00 | Each |  | 4000.00 | 24000.00 | 24000.00 | Manish Electricals
13.00 | Supply,installation,testing & commissioning of 9U (600mmx 600mm) approx. size outdoor type IT rack of IP 56 rating having UL certification with Power distribution unit (PDU) of rating 1.8KVA, 1pH, 230V+-10%, 50/60Hz power supply, 1U Standard with 6 X indian round pin 5 A Socket, cable organiser , air circulation module and all accessories and mounting arrangement complete as required & as per instruction of Engineer-in-Charge. | 2.00 | Each |  | 3500.00 | 7000.00 | 7000.00 | Manish Electricals
14.00 | Supply of Heavy Duty FRLS uPVC pipe of size 32 mm OD confirming to IS:9537 Part-3 with upto date amendmends complete with all accessories like sockest, bends and couplers etc. as required. | 810.00 | Meter |  | 85.00 | 68850.00 | 68850.00 | Manish Electricals
15.00 | Laying of 32 mm PVC pipe on wall surface/in ground by cutting road/cement concrete complete as required. | 810.00 | Meter |  | 110.00 | 89100.00 | 89100.00 | Manish Electricals
16.00 | Supply of Single Core, 4 sqmm, FR-LSH PVC Insulated Copper Conductor Flexible Cables, with voltage rating of 1100 Volt Conforming to IS:694 With upto date amendments complete as required. | 300.00 | Meter |  | 160.00 | 48000.00 | 48000.00 | Manish Electricals
17.00 | Laying of one number , 1Cx4 sqmm FR-LSH PVC Insulated Copper Conductor Flexible Cables of 1.1 Kv grade, in the existing RCC/metal/Hume/PVC conduit pipe/surface complete as required. | 300.00 | Meter |  | 50.00 | 15000.00 | 15000.00 | Manish Electricals
18.00 | Supply of 3Cx4 sqmm, FR-LSH PVC Insulated Copper Conductor Flexible Cables, with voltage rating of 1100 Volt Conforming to IS:694 With upto date amendments complete as required. | 300.00 | Meter |  | 160.00 | 48000.00 | 48000.00 | Manish Electricals
19.00 | Laying of one number , 3Cx4 sqmm FR-LSH PVC Insulated Copper Conductor Flexible Cables of 1.1 Kv grade, in the existing RCC/metal/Hume/PVC conduit pipe/surface complete as required. | 300.00 | Meter |  | 50.00 | 15000.00 | 15000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 698600.00
Lowest Amount Quoted BY: Manish Electricals(698600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of AOCC- Integration of first and last bag information, chocks on chocks off information, FAS and BMS at Pune Airport. Tender ID: 2024_AAI_193994_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 698600.00 | L1