## BoQ1
Government eProcurement System Created By: RAJEEV GUPTA Created Date/Time: 03-Jun-2024 01:28 PM Tender Title: Operation and routine maintenance of HVAC system including BMS, VRF, Split, Precision AC and water coolers installed at NTB, OTB and CA Cantt at Kanpur Airport for the year 2024-2025 Tender ID: 2024_AAI_194038_1
Tender Inviting Authority: AGM (E-E)
Name of Work: Operation and routine maintenance of HVAC system including BMS, VRF, Split, Precision AC and water coolers installed at NTB,OTB and CA Cantt at Kanpur Airport for the year 2024-25
Contract No: 2024_AAI_194038_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration (GSTN-09AAGFA4646N1Z1) BID ID -701775 |  | V Save Electronics Pvt Ltd (GSTN-09AADCV5572A1ZD) BID ID -701980 |  | Blue Star Limited (GSTN-09AAACB4487D1ZQ) BID ID -701986 |  | M/S COOLING CENTER (GSTN-09AFFPA7913Q1Z1) BID ID -702250 |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA)--702265 |  | Zamzam Refrigeration and airconditioning(GSTN-NA)--702253
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual operation of HVAC system ( Consisting of screw type chiller 02 Nos with VFD giving actual capacity 329.6 TR, Cooling Tower 02 Nos 438TR each, various Pumps, AHUs 06 Nos of different capacity, Hot water generator 02 Nos each 225 KW, Split AC, VRV AC system , Precision type AC, Unitary AC, Cabinet AC for Servers, Inline Fans, Air lock Lobby, Air curtains and other system related to Air conditioning etc. by engaging man power per day including Sunday / weekly off/ Holidays etc. for operating the system as required. 1. Supervisor for HVAC & BMS system ----------01 Nos (Highly skilled in General Shift) 2. Technician for HVAC system---------------------02 Nos (Skilled)(01 Nos in each shift) 3. Operator for HVAC system-------------- 02 Nos (Semi skilled) (01 Nos in each shift) 4. Helper for HVAC system-----------------------02 Nos (Unskilled) (01 Nos in each shift) 5. Reliver for 2,3&4 manpower weekly off------01 Nos ( Skilled) Note-(a) Shift timing will be decided by Engineer In charge or Representative as per the site requirement and flight operation. | 12.00 | month |  | 204547.00 | 2454564.00 | 250000.00 | 3000000.00 | 222499.00 | 2669988.00 | 203000.00 | 2436000.00 | 258756.00 | 3105072.00 | 200000.00 | 2400000.00 | 2400000.00 | Zamzam Refrigeration and airconditioning
2.00 | Comprehensive maintenance and repair including attending preventive & breakdown maintenance of following window/split air conditioner along with their stabilizers of different make and capacities at different locations including interconnecting wiring etc. as required - for a period of one year. (1.5/2 TR split type air conditioner) | 19.00 | Each |  | 3600.00 | 68400.00 | 7000.00 | 133000.00 | 2500.00 | 47500.00 | 2200.00 | 41800.00 | 10000.00 | 190000.00 | 5400.00 | 102600.00 | 41800.00 | M/S COOLING CENTER
3.00 | Dismantling of 1.5/2.0/3.0/4.0 ton capacity Split/Tower/Cassette type Air Conditioning units including Indoor/Outdoor unit complete as required. | 10.00 | Each |  | 3600.00 | 36000.00 | 1500.00 | 15000.00 | 1500.00 | 15000.00 | 250.00 | 2500.00 | 5000.00 | 50000.00 | 1000.00 | 10000.00 | 2500.00 | M/S COOLING CENTER
4.00 | Shifting, installation, testing & Commissioning of 1.5/2.0/3.0/4.0 ton capacity Split/Tower/Cassette type Air Conditioning units including Indoor/Outdoor unit complete as required. | 10.00 | Each |  | 3600.00 | 36000.00 | 2500.00 | 25000.00 | 4000.00 | 40000.00 | 400.00 | 4000.00 | 6000.00 | 60000.00 | 1500.00 | 15000.00 | 4000.00 | M/S COOLING CENTER
5.00 | Annual comprehensive Maintenance contract of 4 nos. Industrial type Water cooler cum RO water Purifier of capacity 50/60/80 (Make-Ion Exchange) including all parts & compressor, valves etc. but excluding filters/ membrane complete as required - for a period of one year. | 4.00 | Each |  | 4950.00 | 19800.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 2000.00 | 8000.00 | 12000.00 | 48000.00 | 6500.00 | 26000.00 | 8000.00 | M/S COOLING CENTER
6.00 | Supply and replacement of following filters/Membrane in fountain-type (make/model: Oasis/P8EBFSLY) / industrial storage type water cooler cum RO water purifier of capacity 50/60/80 (make: Oasis/Ion exchange) installed at different location of Kanpur Airport.
6.01 | Sediment filter spun 20" | 18.00 | Each |  | 800.00 | 14400.00 | 300.00 | 5400.00 | 550.00 | 9900.00 | 450.00 | 8100.00 | 600.00 | 10800.00 | 1850.00 | 33300.00 | 5400.00 | V Save Electronics Pvt Ltd
6.02 | Carbon filter CTO 20" | 14.00 | Each |  | 800.00 | 11200.00 | 300.00 | 4200.00 | 638.00 | 8932.00 | 450.00 | 6300.00 | 600.00 | 8400.00 | 1850.00 | 25900.00 | 4200.00 | V Save Electronics Pvt Ltd
6.03 | Carbon filter GAC 20" | 14.00 | Each |  | 800.00 | 11200.00 | 300.00 | 4200.00 | 638.00 | 8932.00 | 400.00 | 5600.00 | 550.00 | 7700.00 | 1850.00 | 25900.00 | 4200.00 | V Save Electronics Pvt Ltd
6.04 | Inline Carbon filter | 14.00 | Each |  | 800.00 | 11200.00 | 300.00 | 4200.00 | 1320.00 | 18480.00 | 450.00 | 6300.00 | 600.00 | 8400.00 | 1850.00 | 25900.00 | 4200.00 | V Save Electronics Pvt Ltd
6.05 | RO membrane 100 GPD (minimum TDS 3000-4000) | 64.00 | Each |  | 1200.00 | 76800.00 | 800.00 | 51200.00 | 2464.00 | 157696.00 | 400.00 | 25600.00 | 2400.00 | 153600.00 | 2200.00 | 140800.00 | 25600.00 | M/S COOLING CENTER
6.06 | RO membrane 100 GPD (minimum TDS 1500) including housing | 16.00 | Each |  | 1200.00 | 19200.00 | 300.00 | 4800.00 | 1933.00 | 30928.00 | 400.00 | 6400.00 | 2000.00 | 32000.00 | 200.00 | 3200.00 | 3200.00 | Zamzam Refrigeration and airconditioning
6.07 | Sediment filter spun 10" | 8.00 | Each |  | 200.00 | 1600.00 | 300.00 | 2400.00 | 418.00 | 3344.00 | 450.00 | 3600.00 | 450.00 | 3600.00 | 1850.00 | 14800.00 | 1600.00 | Anoop Refrigeration
6.08 | Carbon filter CTO 10" | 8.00 | Each |  | 200.00 | 1600.00 | 300.00 | 2400.00 | 550.00 | 4400.00 | 400.00 | 3200.00 | 450.00 | 3600.00 | 1850.00 | 14800.00 | 1600.00 | Anoop Refrigeration
6.09 | Carbon filter GAC 10" | 4.00 | Each |  | 500.00 | 2000.00 | 300.00 | 1200.00 | 673.00 | 2692.00 | 400.00 | 1600.00 | 450.00 | 1800.00 | 1850.00 | 7400.00 | 1200.00 | V Save Electronics Pvt Ltd
6.10 | Alkaline filter | 4.00 | Each |  | 500.00 | 2000.00 | 300.00 | 1200.00 | 1584.00 | 6336.00 | 450.00 | 1800.00 | 500.00 | 2000.00 | 1850.00 | 7400.00 | 1200.00 | V Save Electronics Pvt Ltd
7.00 | Supply of following chemicals required for the proper operation of the chemical dosing kit at HVAC plant.
7.10 | Chemical for corrosion treatment (MAXTREAT 7015 or equivalent) | 153.00 | Kg. |  | 200.00 | 30600.00 | 10.00 | 1530.00 | 300.00 | 45900.00 | 85.00 | 13005.00 | 120.00 | 18360.00 | 550.00 | 84150.00 | 1530.00 | V Save Electronics Pvt Ltd
7.20 | Chemical for scale inhivitor (MAXTREAT 7770 or equivalent) | 192.00 | Kg. |  | 150.00 | 28800.00 | 10.00 | 1920.00 | 225.00 | 43200.00 | 80.00 | 15360.00 | 130.00 | 24960.00 | 550.00 | 105600.00 | 1920.00 | V Save Electronics Pvt Ltd
7.30 | Chemical for corrosion inhibitor + biodisperant (MAXTREAT CL - 5 or equivalent) | 46.00 | Nos. |  | 125.00 | 5750.00 | 100.00 | 4600.00 | 369.00 | 16974.00 | 40.00 | 1840.00 | 170.00 | 7820.00 | 600.00 | 27600.00 | 1840.00 | M/S COOLING CENTER
7.40 | Chemical for biocide treatment (MAXTREAT 652 or equivalent) | 64.00 | Kg. |  | 250.00 | 16000.00 | 20.00 | 1280.00 | 339.00 | 21696.00 | 185.00 | 11840.00 | 165.00 | 10560.00 | 600.00 | 38400.00 | 1280.00 | V Save Electronics Pvt Ltd
7.50 | Chemical for Algaecide treatment (MAXTREAT 616 or equivalent) | 64.00 | Kg. |  | 250.00 | 16000.00 | 20.00 | 1280.00 | 548.00 | 35072.00 | 185.00 | 11840.00 | 170.00 | 10880.00 | 600.00 | 38400.00 | 1280.00 | V Save Electronics Pvt Ltd
7.60 | Chemical for PH reducer (MAXTREAT 7098 or equivalent) | 3000.00 | Kg. |  | 55.00 | 165000.00 | 10.00 | 30000.00 | 79.00 | 237000.00 | 120.00 | 360000.00 | 100.00 | 300000.00 | 100.00 | 300000.00 | 30000.00 | V Save Electronics Pvt Ltd
8.00 | Supply of Hypochlorite solution with suitable concentration for disinfection and water treatment applications. | 180.00 | Ltr. |  | 30.00 | 5400.00 | 10.00 | 1800.00 | 120.00 | 21600.00 | 85.00 | 15300.00 | 200.00 | 36000.00 | 200.00 | 36000.00 | 1800.00 | V Save Electronics Pvt Ltd
9.00 | Corrosion prevention treatment of brazing joints, U bends and interconnecting copper piping with in the precision AC ODUs and indoor units and VRV outdoor units complete as required.
9.10 | VRV ODUs 10 / 12 HP | 5.00 | Job |  | 500.00 | 2500.00 | 8000.00 | 40000.00 | 5000.00 | 25000.00 | 900.00 | 4500.00 | 19000.00 | 95000.00 | 50000.00 | 250000.00 | 2500.00 | Anoop Refrigeration
9.20 | Precision ODUs 4 TR. | 2.00 | Job |  | 500.00 | 1000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 900.00 | 1800.00 | 17000.00 | 34000.00 | 50000.00 | 100000.00 | 1000.00 | Anoop Refrigeration
9.30 | Precision indoor unit 4 TR. | 2.00 | Job |  | 500.00 | 1000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 900.00 | 1800.00 | 15000.00 | 30000.00 | 50000.00 | 100000.00 | 1000.00 | Anoop Refrigeration
9.40 | Copper piping | 100.00 | Rmt. |  | 150.00 | 15000.00 | 650.00 | 65000.00 | 150.00 | 15000.00 | 600.00 | 60000.00 | 850.00 | 85000.00 | 1500.00 | 150000.00 | 15000.00 | Anoop Refrigeration, Blue Star Limited
| Total in Figures |  |  |  |  | 3053014.00 |  | 3477610.00 |  | 3565570.00 |  | 3058085.00 |  | 4337552.00 |  | 4083150.00
Lowest Amount Quoted BY: Anoop Refrigeration(3053014.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and routine maintenance of HVAC system including BMS, VRF, Split, Precision AC and water coolers installed at NTB, OTB and CA Cantt at Kanpur Airport for the year 2024-2025 Tender ID: 2024_AAI_194038_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anoop Refrigeration | 3053014.00 | L1
| 2 | M/S COOLING CENTER | 3058085.00 | L2
| 3 | V Save Electronics Pvt Ltd | 3477610.00 | L3
| 4 | Blue Star Limited | 3565570.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 4083150.00 | L5
| 6 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 4337552.00 | L6