## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 28-May-2024 03:43 PM Tender Title: Replacement of existing LT Cable in Operational area including Operational area lighting at Calicut International Airport Tender ID: 2024_AAI_194065_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Replacement of Existing LT Cable in Operational area including Operational area lighting at Calicut International Airport
Contract No: <2024_AAI_194065_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VIJAYA ELE-TECHS (P) LTD. (GSTN-32AAACV7924K1Z6) BID ID -697724 |  | vk sam engineering (GSTN-33AMZPS4037L1ZA) BID ID -699134 |  | MPC ELECTRICALS AND ENGINEERS (GSTN-08ABUPP6558K1ZM) BID ID -701070 |  | LINSTA SERVICES (GSTN-32BMKPS6907H1ZS) BID ID -701464 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -701908 |  | Mona Generator Services Pvt. Ltd. (GSTN-07AAFCM4263P1ZZ) BID ID -701923 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -701936 |  | Balaji Engineering (GSTN-33ADGPV2628A1ZV) BID ID -701940 |  | ABM ELECTRICALS (GSTN-32ABRPB1029Q1ZK) BID ID -701971 |  | MANKHA ELECTROTECH PRIVATE LIMITED(GSTN-NA)--700943
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying of XLPE insulated, PVC sheathed, armoured Aluminium conductor Power Cable of 1.1 KV grade of following size etc as per IS 7098 Part-I 1988 with upto date amendments etc as required. (a) 4 C x 16 sq mm | 3650.00 | Meter |  | 132.00 | 481800.00 | 165.00 | 602250.00 | 120.00 | 438000.00 | 200.00 | 730000.00 | 145.00 | 529250.00 | 116.00 | 423400.00 | 175.00 | 638750.00 | 200.00 | 730000.00 | 114.00 | 416100.00 | 132.10 | 482165.00 | 416100.00 | ABM ELECTRICALS
2.00 | Supplying of XLPE insulated, PVC sheathed, armoured Aluminium conductor Power Cable of 1.1 KV grade of following size etc as per IS 7098 Part-I 1988 with upto date amendments etc as required. (b) 3.5 C x 185 sq mm | 1800.00 | Meter |  | 842.00 | 1515600.00 | 1050.00 | 1890000.00 | 900.00 | 1620000.00 | 950.00 | 1710000.00 | 970.00 | 1746000.00 | 802.00 | 1443600.00 | 975.00 | 1755000.00 | 1000.00 | 1800000.00 | 800.00 | 1440000.00 | 804.74 | 1448532.00 | 1440000.00 | ABM ELECTRICALS
3.00 | Supplying of XLPE insulated, PVC sheathed, armoured Aluminium conductor Power Cable of 1.1 KV grade of following size etc as per IS 7098 Part-I 1988 with upto date amendments etc as required. (c) 3.5 C x 240 sq mm | 700.00 | Meter |  | 1056.00 | 739200.00 | 1319.00 | 923300.00 | 1200.00 | 840000.00 | 1400.00 | 980000.00 | 1180.00 | 826000.00 | 1027.00 | 718900.00 | 1225.00 | 857500.00 | 1200.00 | 840000.00 | 1020.00 | 714000.00 | 1165.19 | 815633.00 | 714000.00 | ABM ELECTRICALS
4.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. A) 3 x 1.5 Sq.mm | 250.00 | Meter |  | 154.00 | 38500.00 | 110.00 | 27500.00 | 80.00 | 20000.00 | 100.00 | 25000.00 | 80.00 | 20000.00 | 69.00 | 17250.00 | 85.00 | 21250.00 | 250.00 | 62500.00 | 50.00 | 12500.00 | 51.34 | 12835.00 | 12500.00 | ABM ELECTRICALS
5.00 | Fixing of following sizes of medium class GI pipe along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 20 mm | 250.00 | Meter |  | 33.00 | 8250.00 | 137.00 | 34250.00 | 80.00 | 20000.00 | 20.00 | 5000.00 | 180.00 | 45000.00 | 91.00 | 22750.00 | 160.00 | 40000.00 | 150.00 | 37500.00 | 230.00 | 57500.00 | 90.00 | 22500.00 | 5000.00 | LINSTA SERVICES
6.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall surface/ Cable tray as required. (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 50.00 | Meter |  | 44.00 | 2200.00 | 70.00 | 3500.00 | 26.00 | 1300.00 | 20.00 | 1000.00 | 25.00 | 1250.00 | 62.00 | 3100.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 20.00 | 1000.00 | 1000.00 | MANKHA ELECTROTECH PRIVATE LIMITED, LINSTA SERVICES
7.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall surface/ Cable tray as required. (b) Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 50.00 | Meter |  | 94.00 | 4700.00 | 95.00 | 4750.00 | 44.00 | 2200.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 114.00 | 5700.00 | 190.00 | 9500.00 | 50.00 | 2500.00 | 92.00 | 4600.00 | 30.00 | 1500.00 | 1500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
8.00 | Laying and fixing of one number XLPE/ PVC insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade of following sizes on wall surface/ Cable tray as required. © Above 185 sq.mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 75.00 | Meter |  | 110.00 | 8250.00 | 125.00 | 9375.00 | 44.00 | 3300.00 | 100.00 | 7500.00 | 60.00 | 4500.00 | 136.00 | 10200.00 | 265.00 | 19875.00 | 100.00 | 7500.00 | 125.00 | 9375.00 | 40.00 | 3000.00 | 3000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. (a) Above 95 sq.mm and upto 185 sq.mm | 50.00 | Meter |  | 100.00 | 5000.00 | 85.00 | 4250.00 | 53.00 | 2650.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 114.00 | 5700.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 30.00 | 1500.00 | 1500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
10.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. (b) Above 185 sq.mm and upto 400 sq.mm | 75.00 | Meter |  | 110.00 | 8250.00 | 115.00 | 8625.00 | 35.00 | 2625.00 | 100.00 | 7500.00 | 60.00 | 4500.00 | 136.00 | 10200.00 | 100.00 | 7500.00 | 85.00 | 6375.00 | 95.00 | 7125.00 | 45.00 | 3375.00 | 2625.00 | MPC ELECTRICALS AND ENGINEERS
11.00 | Supplying of following size HDPE pipe ISI marked conforming to IS 4984,complete as required. (a) 90 mm dia (PE 63 PN 6) | 1950.00 | Meter |  | 285.00 | 555750.00 | 338.00 | 659100.00 | 340.00 | 663000.00 | 200.00 | 390000.00 | 285.00 | 555750.00 | 247.00 | 481650.00 | 310.00 | 604500.00 | 250.00 | 487500.00 | 275.00 | 536250.00 | 180.25 | 351487.50 | 351487.50 | MANKHA ELECTROTECH PRIVATE LIMITED
12.00 | Laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc. in the existing trench, complete as required. (a) 50 mm dia (PE 63 PN 6) | 3430.00 | Meter |  | 120.00 | 411600.00 | 45.00 | 154350.00 | 33.00 | 113190.00 | 40.00 | 137200.00 | 15.00 | 51450.00 | 57.00 | 195510.00 | 98.00 | 336140.00 | 30.00 | 102900.00 | 50.00 | 171500.00 | 30.00 | 102900.00 | 51450.00 | surbhi association
13.00 | Laying of following size HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 4984, complete with fitting and cutting, jointing etc. in the existing trench, complete as required. (b) 59 mm dia (PE 63 PN 6) | 1900.00 | Meter |  | 130.00 | 247000.00 | 65.00 | 123500.00 | 35.00 | 66500.00 | 50.00 | 95000.00 | 20.00 | 38000.00 | 68.00 | 129200.00 | 105.00 | 199500.00 | 30.00 | 57000.00 | 60.00 | 114000.00 | 30.00 | 57000.00 | 38000.00 | surbhi association
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (a) Upto 35 sq. mm | 3450.00 | Meter |  | 45.00 | 155250.00 | 45.00 | 155250.00 | 26.00 | 89700.00 | 30.00 | 103500.00 | 22.00 | 75900.00 | 57.00 | 196650.00 | 40.00 | 138000.00 | 50.00 | 172500.00 | 50.00 | 172500.00 | 15.00 | 51750.00 | 51750.00 | MANKHA ELECTROTECH PRIVATE LIMITED
15.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (b) Above 95 sq. mm and upto 185 sq. mm | 1700.00 | Meter |  | 93.00 | 158100.00 | 75.00 | 127500.00 | 35.00 | 59500.00 | 50.00 | 85000.00 | 50.00 | 85000.00 | 96.00 | 163200.00 | 85.00 | 144500.00 | 50.00 | 85000.00 | 85.00 | 144500.00 | 25.00 | 42500.00 | 42500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
16.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (c) Above 185 sq.mm and upto 400 sq.Mm | 550.00 | Meter |  | 100.00 | 55000.00 | 120.00 | 66000.00 | 44.00 | 24200.00 | 70.00 | 38500.00 | 60.00 | 33000.00 | 114.00 | 62700.00 | 95.00 | 52250.00 | 70.00 | 38500.00 | 105.00 | 57750.00 | 30.00 | 16500.00 | 16500.00 | MANKHA ELECTROTECH PRIVATE LIMITED
17.00 | Excavation for cable trenches of depth up to 75 cm and width up to 30 cm in soft soil including getting out the excavated soil and disposal of surplus excavated soil as directed within a leadof 50 meters. | 5400.00 | Meter |  | 165.00 | 891000.00 | 175.00 | 945000.00 | 80.00 | 432000.00 | 40.00 | 216000.00 | 70.00 | 378000.00 | 127.00 | 685800.00 | 120.00 | 648000.00 | 90.00 | 486000.00 | 290.00 | 1566000.00 | 70.00 | 378000.00 | 216000.00 | LINSTA SERVICES
18.00 | Excavation of the cable trenches in hard rock not exceeding 30 cm in width, and depth upto 75 cm, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 meters. | 30.00 | CUM |  | 710.00 | 21300.00 | 2500.00 | 75000.00 | 800.00 | 24000.00 | 100.00 | 3000.00 | 800.00 | 24000.00 | 2700.00 | 81000.00 | 1500.00 | 45000.00 | 1000.00 | 30000.00 | 750.00 | 22500.00 | 900.00 | 27000.00 | 3000.00 | LINSTA SERVICES
19.00 | Providing and laying in position cement concrete of grade 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) including the centering, shuttering, strutting, propping etc and removal of form work. | 50.00 | CUM |  | 8200.00 | 410000.00 | 11500.00 | 575000.00 | 1250.00 | 62500.00 | 2000.00 | 100000.00 | 5200.00 | 260000.00 | 5600.00 | 280000.00 | 8500.00 | 425000.00 | 7000.00 | 350000.00 | 12000.00 | 600000.00 | 7000.00 | 350000.00 | 62500.00 | MPC ELECTRICALS AND ENGINEERS
20.00 | Providing and laying in position cement concrete of grade 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including the centering, shuttering, strutting, propping, leveling etc and removal of form work, at bottom of each perimeter pole with size 200 cm x 200 cm x 10 cm. ( 1 Job = P&L of PCC of size 200cmx200cmx10cm at the bottom of each perimter pole) | 300.00 | Job |  | 4125.00 | 1237500.00 | 500.00 | 150000.00 | 2500.00 | 750000.00 | 2000.00 | 600000.00 | 2250.00 | 675000.00 | 610.00 | 183000.00 | 1800.00 | 540000.00 | 500.00 | 150000.00 | 4300.00 | 1290000.00 | 400.00 | 120000.00 | 120000.00 | MANKHA ELECTROTECH PRIVATE LIMITED
21.00 | Supply and installation of Digital time switch ( Equivalent to L&T make CAT NO. 67DDT0 ) including required interconnections etc complete as required. | 6.00 | Each |  | 4300.00 | 25800.00 | 3000.00 | 18000.00 | 5300.00 | 31800.00 | 3000.00 | 18000.00 | 4000.00 | 24000.00 | 2463.00 | 14778.00 | 3500.00 | 21000.00 | 7000.00 | 42000.00 | 2000.00 | 12000.00 | 2500.40 | 15002.40 | 12000.00 | ABM ELECTRICALS
22.00 | Supplying and embedding following dia G.I. pipe (medium class) in pole collar/ foundation (during casting) for cable entry including bending the pipe to the required shape complete as required. (a) 40 mm dia | 8.00 | Job |  | 1650.00 | 13200.00 | 1650.00 | 13200.00 | 620.00 | 4960.00 | 1000.00 | 8000.00 | 800.00 | 6400.00 | 921.00 | 7368.00 | 1150.00 | 9200.00 | 700.00 | 5600.00 | 1380.00 | 11040.00 | 405.00 | 3240.00 | 3240.00 | MANKHA ELECTROTECH PRIVATE LIMITED
23.00 | E/O STREET LIGHT POLE : Erection of conical metallic pole /FRP pole by providing RCC foundation 450 mm x 450 mm x 1400 mm or as specified by the OEM, providing and embedding foundation bolt of size Φ 20 x 750 mm (or as specified by the OEM of the pole), fixing the base plate , providing and embedding Φ 63 mm reinforced PVC flexible conduit for cable entry and laying in position cement concrete of 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) grade around the foundation of the pole with dimensions 1 m x 1 m x 0.1 m ( Length x Breadth x Thickness ). etc. complete as required. | 10.00 | Job |  | 3300.00 | 33000.00 | 8000.00 | 80000.00 | 1700.00 | 17000.00 | 10000.00 | 100000.00 | 3500.00 | 35000.00 | 6100.00 | 61000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 3600.00 | 36000.00 | 17000.00 | MPC ELECTRICALS AND ENGINEERS
24.00 | D/O STREET LIGHT POLE : Detatching the existing metallic pole from cement concrete foundation by suitable means, as approved by AAI, providing and fixing base plate of size 250 mm x 250 mm x 20 mm or as specified by the OEM by way of continuous welding, providing weather coat with bituminous based paint etc complete as required. | 3.00 | Job |  | 2750.00 | 8250.00 | 12000.00 | 36000.00 | 1520.00 | 4560.00 | 1000.00 | 3000.00 | 1500.00 | 4500.00 | 3970.00 | 11910.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 700.00 | 2100.00 | 2000.00 | 6000.00 | 2100.00 | ABM ELECTRICALS
25.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 4.00 | Each |  | 18000.00 | 72000.00 | 7850.00 | 31400.00 | 6200.00 | 24800.00 | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 10300.00 | 41200.00 | 9000.00 | 36000.00 | 8500.00 | 34000.00 | 8000.00 | 32000.00 | 9100.00 | 36400.00 | 24800.00 | MPC ELECTRICALS AND ENGINEERS
26.00 | Fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required.(GI wire will be supplied by AAI). | 300.00 | Meter |  | 50.00 | 15000.00 | 35.00 | 10500.00 | 23.00 | 6900.00 | 30.00 | 9000.00 | 25.00 | 7500.00 | 28.00 | 8400.00 | 28.00 | 8400.00 | 35.00 | 10500.00 | 70.00 | 21000.00 | 35.00 | 10500.00 | 6900.00 | MPC ELECTRICALS AND ENGINEERS
27.00 | S/O LED LIGHT FIXTURES : Supply of LED street light/flood light fixtures of efficacy minimum 110 lm/w,, CRI ≥ 70,THD ≤10, IP 65 or higher, surge protection ≥ 4 kV, P.F ≥ 0.95, High pressure diecast aluminium/standard alloy housing, warranty period of 5 years from date of completion, total power consumption of not more than 110% of rated power, any of the following make of LED - Nichia/Cree/Osram/Lumiled (Philips)/Sharp/Seoul/Everlite/ Citizen(Japan)/ Bridgelux(USA)/ Samsung and completely complying to the specifications in the tender document of following wattage. (a) 100 W LED street light fixtures | 14.00 | Each |  | 4900.00 | 68600.00 | 3600.00 | 50400.00 | 2600.00 | 36400.00 | 5500.00 | 77000.00 | 3000.00 | 42000.00 | 4000.00 | 56000.00 | 4400.00 | 61600.00 | 7500.00 | 105000.00 | 4000.00 | 56000.00 | 5075.00 | 71050.00 | 36400.00 | MPC ELECTRICALS AND ENGINEERS
28.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (a) 4 X 16 sq. mm (28mm) | 200.00 | Each |  | 250.00 | 50000.00 | 170.00 | 34000.00 | 260.00 | 52000.00 | 200.00 | 40000.00 | 220.00 | 44000.00 | 440.00 | 88000.00 | 270.00 | 54000.00 | 250.00 | 50000.00 | 600.00 | 120000.00 | 195.00 | 39000.00 | 34000.00 | vk sam engineering
29.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (b) 3.5 X 185 sq. mm (57mm) | 12.00 | Each |  | 1200.00 | 14400.00 | 900.00 | 10800.00 | 920.00 | 11040.00 | 1500.00 | 18000.00 | 1000.00 | 12000.00 | 2279.00 | 27348.00 | 790.00 | 9480.00 | 1000.00 | 12000.00 | 1250.00 | 15000.00 | 390.00 | 4680.00 | 4680.00 | MANKHA ELECTROTECH PRIVATE LIMITED
30.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. (c) 3.5 X 240 sq. mm (62mm) | 2.00 | Each |  | 1600.00 | 3200.00 | 1200.00 | 2400.00 | 920.00 | 1840.00 | 1800.00 | 3600.00 | 1000.00 | 2000.00 | 2354.00 | 4708.00 | 990.00 | 1980.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 520.00 | 1040.00 | 1040.00 | MANKHA ELECTROTECH PRIVATE LIMITED
31.00 | Supply and fixing of SMC loop in loop out box of inside dimension 240 X 130 X 95 ( equivalent to Sintex make model No.GS-JB-2817) including suitable 20 A 4 way connector and din rail etc, including making required interconnections as required. | 100.00 | Each |  | 855.00 | 85500.00 | 930.00 | 93000.00 | 530.00 | 53000.00 | 900.00 | 90000.00 | 1000.00 | 100000.00 | 671.00 | 67100.00 | 675.00 | 67500.00 | 750.00 | 75000.00 | 900.00 | 90000.00 | 1650.00 | 165000.00 | 53000.00 | MPC ELECTRICALS AND ENGINEERS
32.00 | "SITC OF LT PANEL : Design, fabrication, installation, testing and commissioning of floor standing out door LT panel with aluminium bus bar conforming to relevant IS made out of 14 SWG CRCA sheet steel, IP 54 or above, with required accessories, connector modules, RYB indication lamps ( toggle switch controlled) for each incomer and out going, analog Voltmeter and ammeter with required CT and RYB selector switch for incomer, key less door locks and consisting of following, as per tender specifications etc. as required. Incomer (a) 1 No. 150 A thermal magnetic release 4 pole MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle. Out going (a) 1 No 4 pole 100 A thermal magnetic release MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle. (b) 1 No 4 pole 100 A thermal magnetic release MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle (c) 1 No 4 pole 100 A thermal magnetic release MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle (d) 2 Nos. 32 A ""B"" Curve 4 pole MCB of 10 kA breaking capacity | 1.00 | Job |  | 219000.00 | 219000.00 | 184200.00 | 184200.00 | 255000.00 | 255000.00 | 160000.00 | 160000.00 | 100000.00 | 100000.00 | 151000.00 | 151000.00 | 235000.00 | 235000.00 | 150000.00 | 150000.00 | 180000.00 | 180000.00 | 88380.00 | 88380.00 | 88380.00 | MANKHA ELECTROTECH PRIVATE LIMITED
33.00 | "SITC OF LT PANEL : Design, fabrication, installation, testing and commissioning of floor standing out door LT panel with aluminium bus bar conforming to relevant IS made out of 14 SWG CRCA sheet steel, IP 54 or above, with required accessories, connector modules, RYB indication lamps ( toggle switch controlled) for each incomer and out going, analog Voltmeter and ammeter with required CT and RYB selector switch for incomer, key less door locks and consisting of following, as per tender specifications etc. as required. Incomer (a) 1 No. 150 A thermal magnetic release 4 pole MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle. Out going (a) 1 No 4 pole 100 A thermal magnetic release MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle. (b) 1 No 4 pole 100 A thermal magnetic release MCCB of 25 kA breaking capacity, Ics= 100% Icu. with rotary handle (c) 2 Nos. 32 A ""B"" Curve 4 pole MCB of 10 kA breaking capacity | 1.00 | Job |  | 203300.00 | 203300.00 | 177500.00 | 177500.00 | 205000.00 | 205000.00 | 125000.00 | 125000.00 | 100000.00 | 100000.00 | 143000.00 | 143000.00 | 245000.00 | 245000.00 | 150000.00 | 150000.00 | 165000.00 | 165000.00 | 69980.00 | 69980.00 | 69980.00 | MANKHA ELECTROTECH PRIVATE LIMITED
34.00 | Supply of Fibreglass Frangible Uniform Pole of 6.0Mtr height having min. 100mm Dia, with GI fixed base plate provided with clamps for lighting arrester and foundation bolts (any other accessories not include), meeting frangibility criteria as per ICAO Part-6 design manual meeting wind speed requirements & frangibility criteria i.e. Force Imparted ≤45 kN & Energy Imparted ≤55kJ. (Type test report of frangibility and deflection is required.) The Fibreglass Pole material must be UV Resistant type tested as per ASTM G-154 for Min. 2000 hours (Equivalent to 10 year outdoor life), with reduction in tensile & flexural strength not more than 15% also type tested as per ASTM E-84 meeting flame spread ≤15. (Type test to be provided along with tender) | 15.00 | Job |  | 58100.00 | 871500.00 | 37680.00 | 565200.00 | 12060.00 | 180900.00 | 55500.00 | 832500.00 | 52000.00 | 780000.00 | 52200.00 | 783000.00 | 32000.00 | 480000.00 | 30000.00 | 450000.00 | 63000.00 | 945000.00 | 13500.00 | 202500.00 | 180900.00 | MPC ELECTRICALS AND ENGINEERS
35.00 | Supply and installation of Digital time switch ( Equivalent to L&T make CAT NO. 67DDT0 ) including required interconnections etc complete as required. | 1.00 | Job |  | 4300.00 | 4300.00 | 3000.00 | 3000.00 | 5600.00 | 5600.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 2316.00 | 2316.00 | 3500.00 | 3500.00 | 7000.00 | 7000.00 | 2000.00 | 2000.00 | 2500.40 | 2500.40 | 2000.00 | ABM ELECTRICALS
36.00 | E/O STREET LIGHT POLE : Erection of conical metallic pole /FRP pole by providing RCC foundation 450 mm x 450 mm x 1400 mm or as specified by the OEM, providing and embedding foundation bolt of size Φ 20 x 750 mm (or as specified by the OEM of the pole), fixing the base plate , providing and embedding Φ 63 mm reinforced PVC flexible conduit for cable entry and laying in position cement concrete of 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) grade around the foundation of the pole with dimensions 1 m x 1 m x 0.1 m ( Length x Breadth x Thickness ). etc. complete as required. | 15.00 | Job |  | 6600.00 | 99000.00 | 7500.00 | 112500.00 | 2060.00 | 30900.00 | 10000.00 | 150000.00 | 3500.00 | 52500.00 | 6150.00 | 92250.00 | 3500.00 | 52500.00 | 3000.00 | 45000.00 | 17250.00 | 258750.00 | 3600.00 | 54000.00 | 30900.00 | MPC ELECTRICALS AND ENGINEERS
37.00 | SITC of LED LIGHT FIXTURES : Supply, Installation , Tesating and commissioning of LED street light/flood light fixtures of efficacy minimum 110 lm/w,, CRI ≥ 70,THD ≤10, IP 65 or higher, surge protection ≥ 4 kV, P.F ≥ 0.95, High pressure diecast aluminium/standard alloy housing, warranty period of 5 years from date of completion, total power consumption of not more than 110% of rated power, any of the following make of LED - Nichia/Cree/Osram/Lumiled (Philips)/Sharp/Seoul/Everlite/ Citizen(Japan)/ Bridgelux(USA)/ Samsung and completely complying to the specifications in the tender document of following wattage. The Installation of LED fixtures on the FRP Poles of Item No.24 shall be carried out along with necessary brackets and accessories as required. | 30.00 | Each |  | 6500.00 | 195000.00 | 4476.00 | 134280.00 | 2890.00 | 86700.00 | 5500.00 | 165000.00 | 3000.00 | 90000.00 | 4200.00 | 126000.00 | 3800.00 | 114000.00 | 6000.00 | 180000.00 | 4000.00 | 120000.00 | 4030.00 | 120900.00 | 86700.00 | MPC ELECTRICALS AND ENGINEERS
| Total in Figures |  |  |  |  | 8935300.00 |  | 8094880.00 |  | 6243065.00 |  | 7077300.00 |  | 6793500.00 |  | 6804888.00 |  | 7931925.00 |  | 6806875.00 |  | 9401340.00 |  | 5215350.30
Lowest Amount Quoted BY: MANKHA ELECTROTECH PRIVATE LIMITED(5215350.30)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing LT Cable in Operational area including Operational area lighting at Calicut International Airport Tender ID: 2024_AAI_194065_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MANKHA ELECTROTECH PRIVATE LIMITED | 5215350.30 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS | 6243065.00 | L2
| 3 | surbhi association | 6793500.00 | L3
| 4 | Mona Generator Services Pvt. Ltd. | 6804888.00 | L4
| 5 | Balaji Engineering | 6806875.00 | L5
| 6 | LINSTA SERVICES | 7077300.00 | L6
| 7 | Awasthi Electric Works | 7931925.00 | L7
| 8 | vk sam engineering | 8094880.00 | L8
| 9 | VIJAYA ELE-TECHS (P) LTD. | 8935300.00 | L9
| 10 | ABM ELECTRICALS | 9401340.00 | L10