## BoQ1
Government eProcurement System Created By: KHEMRAJ MEENA Created Date/Time: 06-Jun-2024 04:32 PM Tender Title: Widening of Perimeter Road, Construction of Overhead Tank and Allied Works at Kishangarh Airport Tender ID: 2024_AAI_194176_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-C), Kishangarh Airport, Ajmer
Name of work : Widening of perimeter road, construction of overhead tank and allied works at Kishangarh Airport.
Contract No: 9001297032
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S.K. CONSTRUCTION (GSTN-09ACHPY6641G1Z3) BID ID -702004 |  | LNA Infrarprojects Pvt Ltd (GSTN-08AADCL1585B1ZQ) BID ID -702239
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation in all kinds of soil with hydraulic excavator of 0.9 cum bucket capacity including cutting and loading in tippers, trimiming bottom and side slopes in accordance with requirements of lines, grades and cross sections and transporting to embankment location with all lifts and leads within airport premises as per satisfaction and direction of Engineer-In-Charge. | 11862.00 | Cum | 100.00 | 80.00 | 948960.00 | 50.00 | 593100.00 | 593100.00 | LNA Infrarprojects Pvt Ltd
2.00 | Excavation for roadway in ordinary rock with hydraulic excavator of 0.9 cum bucket capacity including cutting and loading in tippers, transporting to embankment site within all lifts and lead upto 1000 m, trimming bottom and side slopes in accordance with requirements of lines, grades and cross sections. | 982.00 | Cum | 101.00 | 115.00 | 112930.00 | 65.00 | 63830.00 | 63830.00 | LNA Infrarprojects Pvt Ltd
3.00 | Filling available excavated earth in depressions, low lying area in layers not exceeding 20cm in depth, spreading and consolidating each deposited layer by watering and ramming with 0.5 tonne roller and every 3rd & topmost layer with 8-10 tonne vibratory roller, with all leads and lifts involved, complete as per directions of Engineer-in-Charge. | 1056.00 | Cum | 101.00 | 60.00 | 63360.00 | 50.00 | 52800.00 | 52800.00 | LNA Infrarprojects Pvt Ltd
4.00 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. with earth or quarry spoils etc. and re-rolling the sub grade and disposal of surplus earth at specified location within Airport premises as per directions of Engineer-in- Charge. | 40360.00 | Sqm | 101.00 | 4.00 | 161440.00 | 4.00 | 161440.00 | 161440.00 | S.K. CONSTRUCTION, LNA Infrarprojects Pvt Ltd
5.00 | Providing and filling pavement Joints/ cracks with approved sealing compound (confirming to grade BS:5212, Part‐I, 1990) including removal of existing sealant, grinding the edges of the cracks on panels,cleaning of surface, painting the sides of slab with approved appropriate primer to receive the specified sealing compound, providing and applying bond breaking tape on top edges of joint to prevent accidental spillage of sealant on top surface and to give a neat finish to the sealant has been applied and tooled etc. all complete as per specification and direction of Engineer‐in‐Charge. As per the details below: (a) Expansion Joints of size 25 mm wide and 10 mm deep over 30mm dia closed-cell Polyethylene foam back-up rod (b) Construction/Dummy Joints of size 10 mm wide and 10 mm deep over 12mm dia closed-cell Polyethylene foam back-up rod [Note: For purpose of payment, quantity (Length x Width x Depth) of Polysulphide sealant only will be measured.] | 1036000.00 | Cu cm | 101.00 | .90 | 932400.00 | 1.00 | 1036000.00 | 932400.00 | S.K. CONSTRUCTION
6.00 | Providing and laying of packed elastomeric concrete compound (Flex o patch) of choksey chemicals or equivalent i/c proper demarcation, cutting, chipping concrete upto required depth & width, side locking on the vertical face, cleaning the prepared area by blower, masking and pouring the compound, finishing & texturing etc. including applying primer for elastomeric concrete compound (Flex o patch) of approved make all complete as per the direction of engineer in charge. | 880000.00 | Cu cm | 100.00 | .90 | 792000.00 | 1.50 | 1320000.00 | 792000.00 | S.K. CONSTRUCTION
7.00 | Providing and laying Pavement Quality Concrete (PQC) produced in a batching and mixing plant having a Characteristic flexural strength i.e. flexural strength of 4.1 MPa at 28 days using Ordinary Portland cement of 43/53 grade or Portland Pozzolana Cement or Portland Slag cement conforming as per relevant IS codes, to be mixed at site, with 0.5% Super plasticizer by mass of cementitious material, fine aggregate, graded stone aggregates of 40 mm nominal size in appropriate proportion as per specification and job mix formula, laid in panels as per drawings/design as approved by the Engineer-In-Charge using Slip Form Paver or Fixed form paver or Manual Method including anti friction layer, joint filler board, making necessary provision for expansion, dummy and construction joint including filling with Polysulphide sealant of approved make, curing and making profile, complete as per direction of Engineer-in-Charge and specifications. The item for execution shall include all operations making pavement for intended use but not limited to following:(i) Polyethylene sheet (White in color) of thickness 400 micron conforming to IS: 2508 with 6mm thick fine sand layer.(ii) Providing and laying in position for expansion joint, 25mm thick pre-cut Synthetic joint filler board of approved make conforming to IS:1838(part 3)-2011, 45 mm from top (to be removed at the time of filling of Polysulphide sealant).(iii) Mechanically cutting dummy joints 3mm wide x 1/3rd thickness of slab which is subsequently widened to 10mm for the top 25mm depth and construction joints 10mm wide x 25mm deep as per specification.(iv) Providing and laying in position Polysulphide sealant of approved make conforming to BS-5212-1990 or IS: 11433-1995 in expansion/ construction / dummy joints including rounding off edges, applying 2 coats of approved primer compatible with the brand of Polysulphide and preparing the surface and applying masking tape along the edge of joint to prevent accidental spillage of sealant on top surface and to give neat finish to the sealant and removing the masking tape after application of sealant etc. as per the details below: (a) Expansion Joints of size 25 mm wide and 10 mm deep over 30mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications. (b) Construction Joints of size 10 mm wide and 10 mm deep over 12mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications. (c) Dummy Joints of size 10 mm wide and 10 mm deep over 12 mm dia expanded closed-cell Polyethylene foam back-up/backer rod of minimum density 22 Kg/Cum, as per manufacturer’s specifications. (v) Making profile as per DGCA CAR, panel drawing showing dummy, construction, expansion joints location. Note: (i) Areas inaccessible to paving equipment shall be constructed by manual/hand guided method. Areas in which manual/hand guided methods of construction become indispensable shall be got approved by the Engineer-in-Charge in writing in advance. (ii) The quantity of cement, type of cement and super plasticizer for one Cum. of finished concrete specified are for tendering purpose only. The contractor shall quote his rates assuming quantity of OPC cement as 360 Kg/Cum or 400 Kg of Portland Pozzolana Cement/ Portland Slag cement. In addition, if the actual quantity of cement & super plasticizer required as per laboratory mix design varies from the quantity assumed above, necessary cost adjustment for deviation in the quantity of cement and super plasticizer as per mix design, if any, shall be done as per the rate of cement and super plasticizer in actual supply voucher from manufacturer/authorized dealer at the time of execution. In the case of authorized distributor, the rate may be authenticated by the manufacturer. The rate of cement and super plasticizer exclusive of GST shall only be considered for payment. | 3012.00 | Cum | 101.00 | 5120.00 | 15421440.00 | 4950.00 | 14909400.00 | 14909400.00 | LNA Infrarprojects Pvt Ltd
8.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and for all lift, as directed by Engineer-in-charge All kinds of soil | 89.00 | Cum | 101.00 | 115.00 | 10235.00 | 150.00 | 13350.00 | 10235.00 | S.K. CONSTRUCTION
9.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 and for all lift. | 52.00 | Cum | 101.00 | 90.00 | 4680.00 | 100.00 | 5200.00 | 4680.00 | S.K. CONSTRUCTION
10.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 36.00 | Cum | 101.00 | 25.00 | 900.00 | 65.00 | 2340.00 | 900.00 | S.K. CONSTRUCTION
11.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 18.00 | Cum | 100.00 | 4460.00 | 80280.00 | 5000.00 | 90000.00 | 80280.00 | S.K. CONSTRUCTION
12.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 27.00 | Cum | 101.00 | 4100.00 | 110700.00 | 4000.00 | 108000.00 | 108000.00 | LNA Infrarprojects Pvt Ltd
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 34.00 | Sqm | 101.00 | 180.00 | 6120.00 | 250.00 | 8500.00 | 6120.00 | S.K. CONSTRUCTION
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 301.00 | Sqm | 101.00 | 215.00 | 64715.00 | 600.00 | 180600.00 | 64715.00 | S.K. CONSTRUCTION
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for Suspended floors, roofs, landings, balconies and access platform | 150.00 | Sqm | 101.00 | 240.00 | 36000.00 | 625.00 | 93750.00 | 36000.00 | S.K. CONSTRUCTION
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 150.00 | Sqm | 100.00 | 210.00 | 31500.00 | 525.00 | 78750.00 | 31500.00 | S.K. CONSTRUCTION
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 101.00 | Sqm | 101.00 | 210.00 | 21210.00 | 650.00 | 65650.00 | 21210.00 | S.K. CONSTRUCTION
18.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). Suspended floors, roofs, landings, beams and balconies (Plan area to be measured) | 346.00 | Sqm | 101.00 | 65.00 | 22490.00 | 250.00 | 86500.00 | 22490.00 | S.K. CONSTRUCTION
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 7660.00 | Kg | 101.00 | 74.00 | 566840.00 | 95.00 | 727700.00 | 566840.00 | S.K. CONSTRUCTION
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 6840.00 | Kg | 101.00 | 76.00 | 519840.00 | 95.00 | 649800.00 | 519840.00 | S.K. CONSTRUCTION
21.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 59.00 | Cum | 100.00 | 5460.00 | 322140.00 | 6000.00 | 354000.00 | 322140.00 | S.K. CONSTRUCTION
22.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 57.00 | Cum | 101.00 | 5680.00 | 323760.00 | 6250.00 | 356250.00 | 323760.00 | S.K. CONSTRUCTION
23.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 2.00 | Cum | 101.00 | 5250.00 | 10500.00 | 5000.00 | 10000.00 | 10000.00 | LNA Infrarprojects Pvt Ltd
24.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 10.00 | Cum | 101.00 | 5125.00 | 51250.00 | 6000.00 | 60000.00 | 51250.00 | S.K. CONSTRUCTION
25.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | Kg | 101.00 | 90.00 | 45000.00 | 100.00 | 50000.00 | 45000.00 | S.K. CONSTRUCTION
26.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 550.00 | Kg | 100.00 | 92.00 | 50600.00 | 130.00 | 71500.00 | 50600.00 | S.K. CONSTRUCTION
27.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including use of chequered plate wherever required, all complete | 250.00 | Kg | 101.00 | 96.00 | 24000.00 | 100.00 | 25000.00 | 24000.00 | S.K. CONSTRUCTION
28.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. 40 mm thick with 20 mm nominal size stone aggregate | 41.00 | Sqm | 101.00 | 220.00 | 9020.00 | 425.00 | 17425.00 | 9020.00 | S.K. CONSTRUCTION
29.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 87.00 | Sqm | 100.00 | 190.00 | 16530.00 | 300.00 | 26100.00 | 16530.00 | S.K. CONSTRUCTION
30.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 1710.00 | Sqm | 101.00 | 140.00 | 239400.00 | 250.00 | 427500.00 | 239400.00 | S.K. CONSTRUCTION
31.00 | Neat cement punning. | 71.00 | Sqm | 101.00 | 90.00 | 6390.00 | 75.00 | 5325.00 | 5325.00 | LNA Infrarprojects Pvt Ltd
32.00 | Extra for providing and mixing water proofing material in cement plaster work in proportion recommended by the manufacturers. | 210.00 | Per bag of 50 kg cement used in the mix | 101.00 | 280.00 | 58800.00 | 20.00 | 4200.00 | 4200.00 | LNA Infrarprojects Pvt Ltd
33.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 litre/10 sqm) | 1614.00 | Sqm | 101.00 | 70.00 | 112980.00 | 100.00 | 161400.00 | 112980.00 | S.K. CONSTRUCTION
34.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 25.00 | Sqm | 101.00 | 95.00 | 2375.00 | 95.00 | 2375.00 | 2375.00 | S.K. CONSTRUCTION, LNA Infrarprojects Pvt Ltd
35.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | Cum | 100.00 | 880.00 | 8800.00 | 1250.00 | 12500.00 | 8800.00 | S.K. CONSTRUCTION
36.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of ail dirt, scales, oil, grease and other foreign material etc. and lining out complete. New work (Two or more coats) | 50.00 | Sqm | 101.00 | 200.00 | 10000.00 | 125.00 | 6250.00 | 6250.00 | LNA Infrarprojects Pvt Ltd
37.00 | Painting runway/taxi track/apron marking with adequate nos of coats to give uniform finish with road marking paint of superior make as approved by the Engineer-in-charge, i/c cleaning the surface of ail dirt, scales, oil, grease and other foreign material etc. and lining out complete. Old work (One or more coats) | 50.00 | Sqm | 101.00 | 160.00 | 8000.00 | 95.00 | 4750.00 | 4750.00 | LNA Infrarprojects Pvt Ltd
38.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5mm), including making drainage opening wherever required complete etc. as per direction of Engineer-in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 3.00 | Cum | 101.00 | 6880.00 | 20640.00 | 7000.00 | 21000.00 | 20640.00 | S.K. CONSTRUCTION
39.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 6444.00 | Cum | 101.00 | 980.00 | 6315120.00 | 2000.00 | 12888000.00 | 6315120.00 | S.K. CONSTRUCTION
40.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achievethe desired density, complete as per specifications and directions of Engineer-in-Charge. | 4518.00 | Cum | 100.00 | 1060.00 | 4789080.00 | 1900.00 | 8584200.00 | 4789080.00 | S.K. CONSTRUCTION
41.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work 50 mm dia nominal bore | 25.00 | Metre | 101.00 | 440.00 | 11000.00 | 650.00 | 16250.00 | 11000.00 | S.K. CONSTRUCTION
42.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. External work 80 mm dia nominal bore | 10.00 | Metre | 101.00 | 800.00 | 8000.00 | 850.00 | 8500.00 | 8000.00 | S.K. CONSTRUCTION
43.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 50 mm nominal bore. | 3.00 | Each | 101.00 | 1200.00 | 3600.00 | 900.00 | 2700.00 | 2700.00 | LNA Infrarprojects Pvt Ltd
44.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 80 mm nominal bore. | 1.00 | Each | 101.00 | 1600.00 | 1600.00 | 2500.00 | 2500.00 | 1600.00 | S.K. CONSTRUCTION
45.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work): 50 mm nominal bore | 2.00 | Each | 100.00 | 600.00 | 1200.00 | 625.00 | 1250.00 | 1200.00 | S.K. CONSTRUCTION
46.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 80 mm nominal bore | 1.00 | Each | 101.00 | 800.00 | 800.00 | 1000.00 | 1000.00 | 800.00 | S.K. CONSTRUCTION
47.00 | Providing and fixing enclosed type water meter (bulk type) conforming to IS : 2373 and tested by Municipal Board complete with bolts, nuts, rubber insertions etc. (The tail pieces if required will be paid separately): 80 mm dia nominal bore | 3.00 | Each | 101.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 9000.00 | LNA Infrarprojects Pvt Ltd
48.00 | Providing and fixing enclosed type water meter (bulk type) conforming to IS : 2373 and tested by Municipal Board complete with bolts, nuts, rubber insertions etc. (The tail pieces if required will be paid separately) : 200 mm dia nominal bore | 2.00 | Each | 101.00 | 8000.00 | 16000.00 | 6800.00 | 13600.00 | 13600.00 | LNA Infrarprojects Pvt Ltd
49.00 | Providing and laying Non Pressure NP-4 class (Heavy duty) R.C.C. pipes including collars/ spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 600 mm dia RCC pipes | 25.00 | Metre | 100.00 | 800.00 | 20000.00 | 2900.00 | 72500.00 | 20000.00 | S.K. CONSTRUCTION
50.00 | Providing and submitting the structural design & drawing for the proposed construction of R.C.C Over Head Tank. The structural design and drawing shall be done by a structural consultant the contractor shall be submit the design and drawing to Engineer-in-charge for vetting from IIT/NIT by AAI. The fee/charges for vetting shall be paid by AAI, same will be recovered from the bill of contractor. In case any clarification/ alteration in design is made by Engineer-in-charge, it will be made by the consultant for which nothing shall be paid extra. After approval of structural design & drawing 5(Five) set of good for construction design & drawing showing all relevant detials shall be submitted duly signed by consultant.Note :- The contractor shall appoint the consultant for soil investigation and structural design with prior approval of Engineer-in-charge. | 1.00 | Job | 101.00 | 90000.00 | 90000.00 | 75000.00 | 75000.00 | 75000.00 | LNA Infrarprojects Pvt Ltd
| Total in Figures |  |  |  |  | 32499625.00 |  | 43536785.00
Lowest Amount Quoted BY: S.K. CONSTRUCTION(32499625.00)

## BOQ Summary
BOQ Summary Details Tender Title: Widening of Perimeter Road, Construction of Overhead Tank and Allied Works at Kishangarh Airport Tender ID: 2024_AAI_194176_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S.K. CONSTRUCTION | 32499625.00 | L1
| 2 | LNA Infrarprojects Pvt Ltd | 43536785.00 | L2