## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 12-Jun-2024 11:41 AM Tender Title: ARMO 24_25 SH Operation and Maintenance Contract for all Electrical and Mechanical Installations related to Colony and Cargo area at Mangaluru International Airport Tender ID: 2024_AAI_194371_2
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : ARMO 24-25. SH : Operation and Maintenance Contract for all Electrical and Mechanical Installations related to Colony and Cargo areas at Mangaluru International Airport
Contract No: <2024_AAI_194371_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)--707138 |  | Raaj Power solutions and Facilities(GSTN-NA)--705006 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--707057
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance contract of all E&M Installations of Colony and cargo areas which involves maintenance, attending to complaint/fault/breakdowns, carrying out minor repairs and taking rectification action ensuring serviceablity/ satisfactory working condition of the system, carrying out preventive maintenance, maintenance of records and documentation etc. on all days including sundays & holidays. The work shall be carried out as per General & Special conditions of the contract and instructions issued time to time by engineer-in-charge. | 24.00 | Months |  | 113337.60 | 2720102.40 | 109000.00 | 2616000.00 | 104402.00 | 2505648.00 | 2505648.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Providing unskilled workers for temprary nature of work/works unsusceptible to measure as and when required including necessary T&P works like (shifting of store items/office, verification of annual stock, shifting of material / ladders and other similar type of works) as directed by EIC. | 100.00 | Labour |  | 1100.00 | 110000.00 | 675.00 | 67500.00 | 651.00 | 65100.00 | 65100.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Lifting & lowering of different size submersible pump including pipe line, cable, dismantling the defective motor pump set and installing the new repaired motor & pump set, arranging T & P and consumables as and when required basis. (charges for repairing or rectification of pump/motor need not be included) | 2.00 | Job |  | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 10000.00 | Raaj Power solutions and Facilities
4.00 | Rewinding of 3phase, 415 V, 50HZ submersible pump motors of upto 7.5 HP with suitable size super enameled electrical grade copper wire and insulation including transportation from site to workshop and back as and when required basis. (Credit for burnt copper winding wire shall be considered while quoating) | 2.00 | Job |  | 20000.00 | 40000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 10000.00 | Raaj Power solutions and Facilities
5.00 | Rewinding of 3phase, 415 V, 50HZ monoblock pump motors of upto 7.5 HP with suitable size super enameled electrical grade copper wire and insulation including transportation from site to workshop and back as and when required basis. (Credit for burnt copper winding wire shall be considered while quoting) | 2.00 | Job |  | 20000.00 | 40000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 10000.00 | Raaj Power solutions and Facilities
6.00 | Supply & Replacement of faulty bearings of the ceiling/wall mounted/exhaust/cabin fan, overhauling etc complete as and when required basis | 15.00 | Each |  | 1500.00 | 22500.00 | 150.00 | 2250.00 | 100.00 | 1500.00 | 1500.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Rewinding of ceiling fan of all sizes as and when required basis. (Credit for burnt copper winding wire shall be considered while quoting) | 5.00 | Each |  | 2000.00 | 10000.00 | 475.00 | 2375.00 | 450.00 | 2250.00 | 2250.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Carrying out dehydration / filteration of Transformer oil till the requied BDV value is reached including conducting acidity test from recognised agency/institution and submission of reports of the above test and topping up of available Transformer oil etc as required 250 KVA, 11000/440V indoor Transformer with oil capacity of 300 ltrs. First Year | 1.00 | Job |  | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 10500.00 | 10500.00 | 5000.00 | Raaj Power solutions and Facilities
9.00 | Carrying out dehydration / filteration of Transformer oil till the requied BDV value is reached including conducting acidity test from recognised agency/institution and submission of reports of the above test and topping up of available Transformer oil etc as required 250 KVA, 11000/440V indoor Transformer with oil capacity of 300 ltrs. Second Year | 1.00 | Job |  | 19000.00 | 19000.00 | 5000.00 | 5000.00 | 10500.00 | 10500.00 | 5000.00 | Raaj Power solutions and Facilities
10.00 | Supply of transformer oil of the required grade as used in present transformer as and when required. | 20.00 | Litre |  | 500.00 | 10000.00 | 75.00 | 1500.00 | 176.00 | 3520.00 | 1500.00 | Raaj Power solutions and Facilities
11.00 | Supply of silica gel crystals for use in transformer breather as and when required | 1.00 | Kg |  | 400.00 | 400.00 | 350.00 | 350.00 | 385.00 | 385.00 | 350.00 | Raaj Power solutions and Facilities
12.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable surface box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. ( GROUP C) | 15.00 | Each |  | 1100.00 | 16500.00 | 150.00 | 2250.00 | 1089.00 | 16335.00 | 2250.00 | Raaj Power solutions and Facilities
13.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 150.00 | Meter |  | 300.00 | 45000.00 | 150.00 | 22500.00 | 187.00 | 28050.00 | 22500.00 | Raaj Power solutions and Facilities
14.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 75.00 | Meter |  | 350.00 | 26250.00 | 250.00 | 18750.00 | 231.00 | 17325.00 | 17325.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 150.00 | Meter |  | 99.00 | 14850.00 | 115.00 | 17250.00 | 83.00 | 12450.00 | 12450.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 75.00 | Meter |  | 200.00 | 15000.00 | 150.00 | 11250.00 | 112.00 | 8400.00 | 8400.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 20 mm | 150.00 | Meter |  | 150.00 | 22500.00 | 55.00 | 8250.00 | 44.00 | 6600.00 | 6600.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 25 mm | 75.00 | Meter |  | 70.00 | 5250.00 | 65.00 | 4875.00 | 55.00 | 4125.00 | 4125.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Supplying and fixing 6 to 32 Amps SP MCB rating, 415 volts, 'C' curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 25.00 | Job |  | 400.00 | 10000.00 | 225.00 | 5625.00 | 109.00 | 2725.00 | 2725.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Supplying and fixing 6 to 32 Amps DP MCB rating, 415 volts, 'C' curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 15.00 | Job |  | 900.00 | 13500.00 | 450.00 | 6750.00 | 364.00 | 5460.00 | 5460.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Supplying and fixing 40 Amps FP MCB rating, 415 volts, 'C' curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Job |  | 1500.00 | 15000.00 | 1450.00 | 14500.00 | 1878.00 | 18780.00 | 14500.00 | Raaj Power solutions and Facilities
22.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 25/ 32amps 240 volts “C” curve DP MCB complete with connections, testing and commissioning etc. as required. | 10.00 | Job |  | 3000.00 | 30000.00 | 550.00 | 5500.00 | 542.00 | 5420.00 | 5420.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Supplying and fixing following size /modules, plastic surface box alongwith modular base & cover plate for modular switches in surface/recess etc. as required. 3 module (100 mm x 75 mm) | 15.00 | Job |  | 600.00 | 9000.00 | 195.00 | 2925.00 | 116.00 | 1740.00 | 1740.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Supplying and fixing following size /modules, plastic surface box alongwith modular base & cover plate for modular switches in surface/ recess etc. as required. 6 module (200 mm x 75 mm) | 10.00 | Job |  | 800.00 | 8000.00 | 295.00 | 2950.00 | 184.00 | 1840.00 | 1840.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A switch | 20.00 | Job |  | 120.00 | 2400.00 | 50.00 | 1000.00 | 35.00 | 700.00 | 700.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 A socket outlet | 20.00 | Job |  | 220.00 | 4400.00 | 90.00 | 1800.00 | 81.00 | 1620.00 | 1620.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A switch | 15.00 | Job |  | 190.00 | 2850.00 | 145.00 | 2175.00 | 90.00 | 1350.00 | 1350.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 A socket outlet | 15.00 | Job |  | 190.00 | 2850.00 | 165.00 | 2475.00 | 142.00 | 2130.00 | 2130.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Supplying and fixing modular type stepped type 100W Fan regulator (2 module) suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved make, fixing on the existing modular switchbox including connections but excluding modular plate etc. as required. | 10.00 | Job |  | 300.00 | 3000.00 | 350.00 | 3500.00 | 322.00 | 3220.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
30.00 | Supply of ISI marked 6 Amps piano type One Way switch suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 100.00 | Each |  | 50.00 | 5000.00 | 50.00 | 5000.00 | 13.00 | 1300.00 | 1300.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Supplying of following piano type switch/ socket for fixing on the existing switch box/ cover including connections etc. as required. 5/6 A socket outlet | 20.00 | Each |  | 100.00 | 2000.00 | 90.00 | 1800.00 | 32.00 | 640.00 | 640.00 | ABHISHEK INTEGRATIONS LIMITED
32.00 | Supply of ISI marked 6 Amps Piano type Two Way switch suitable to operate in 230V 50 Hz single phase AC supply complete as required as per list of approved makes. | 15.00 | Each |  | 120.00 | 1800.00 | 110.00 | 1650.00 | 26.00 | 390.00 | 390.00 | ABHISHEK INTEGRATIONS LIMITED
33.00 | Supply of ISI marked 15/20 Amps Piano type One Way switch with two fixing holes suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 20.00 | Each |  | 190.00 | 3800.00 | 150.00 | 3000.00 | 69.00 | 1380.00 | 1380.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | Supplying of piano type stepped type 100W Fan regulator (2 module) suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved make, fixing on the existing phenolic laminated sheet and switchbox including connections but excluding modular plate etc. as required. | 25.00 | Each |  | 200.00 | 5000.00 | 325.00 | 8125.00 | 200.00 | 5000.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED, DElite System Engineering (India) Pvt. Ltd.
35.00 | Supply of 4 ft. 1 x 18/20W Indoor type CDL (cool day light) LED Batten with extruded polycarbonate, environmental friendly, energy efficient ready to use packaging etc. complete as required. (Model No. : Havells make, LED Pride Plus NXT Batten 20 W 6500 K or equivalent) | 60.00 | Each |  | 600.00 | 36000.00 | 175.00 | 10500.00 | 154.00 | 9240.00 | 9240.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Supply of 12 W-CDL (cool day light) LED bulb with B-22 base suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 40.00 | Each |  | 120.00 | 4800.00 | 125.00 | 5000.00 | 140.00 | 5600.00 | 4800.00 | DElite System Engineering (India) Pvt. Ltd.
37.00 | Supply of 1200 mm sweep energy efficient, with double ball bearing, standard down rod and other standard accessories etc without regulator suitable for operation on 230 V 50 Hz AC supply etc complete as required. | 5.00 | Each |  | 3999.00 | 19995.00 | 1800.00 | 9000.00 | 1628.00 | 8140.00 | 8140.00 | ABHISHEK INTEGRATIONS LIMITED
38.00 | Supply of 2.5 Micro Farad Capacitor for use with ceiling fans suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 80.00 | Each |  | 50.00 | 4000.00 | 40.00 | 3200.00 | 28.00 | 2240.00 | 2240.00 | ABHISHEK INTEGRATIONS LIMITED
39.00 | Supply of Ding Dong type Door call bell piano type suitable to operate in 230V, 50Hz single phase AC supply complete as required as per list of approved makes. | 10.00 | Each |  | 500.00 | 5000.00 | 150.00 | 1500.00 | 138.00 | 1380.00 | 1380.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 3338747.40 |  | 2913075.00 |  | 2815983.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(2815983.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 24_25 SH Operation and Maintenance Contract for all Electrical and Mechanical Installations related to Colony and Cargo area at Mangaluru International Airport Tender ID: 2024_AAI_194371_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 2815983.00 | L1
| 2 | Raaj Power solutions and Facilities | 2913075.00 | L2
| 3 | DElite System Engineering (India) Pvt. Ltd. | 3338747.40 | L3