## BoQ1
Government eProcurement System Created By: anil kumar Created Date/Time: 10-Jun-2024 05:08 PM Tender Title: Renovation of toilets in operational office, Technical office cum ATC Tower at M.P. Airport, Udaipur Tender ID: 2024_AAI_194387_1
Tender Inviting Authority: Airports Authorty of India
Name of Work: Renovation of toilets in operational office, Technical office cum ATC Tower at M.P. Airport, Udaipur.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Mahalaxmi Construction (GSTN-08AHTPP6837E1ZQ) BID ID -705087 |  | Navkaar Enterprises(GSTN-NA)--704476
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 330.00 | sqm |  | 5.00 | 1650.00 | 10.00 | 3300.00 | 1650.00 | M/s Mahalaxmi Construction
2.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 26.00 | sqm |  | 150.00 | 3900.00 | 200.00 | 5200.00 | 3900.00 | M/s Mahalaxmi Construction
3.00 | Providing and fixing PVC Door Frame of size 50x47 mm with a wall thickness of 5 mm (± 0.2 mm), made out of single piece extruded PVC profile, with mitred cut joints and joint with 2 nos of PVC bracket of size 190 mm x 100 mm long arms of cross section size 35 x 15 mm & self driven self taping screws, the vertical door profiles to be reinforced with 40x20 mm M.S. rectangular tube of 0.8 mm , including providing EPDM rubber gasket weather seal throughout the frame, including jointing 5 mm PVC frame strip with PVC solvent cement on the back of the profile. The door frame to be fixed to the wall using 8 x100 mm long anchor fasteners complete, all as per manufacturer's specification and direction of Engineer -in- charge. | 46.00 | Metre |  | 370.00 | 17020.00 | 550.00 | 25300.00 | 17020.00 | M/s Mahalaxmi Construction
4.00 | 35 mm thick factory made Solid panel PVC Door shutter, made out of single piece extruded soild PVC profiles, 5 mm (± 0.2 mm) thick, having styles & rails (except lock rail) of size 95 mmx 35 mm x 5 mm, out of which 75 mm shall be flat and 20 mm shall be tapered (on both side), having one side thickness of 15 mm integrally extruded on the hinge side of the profile for better screw holding power, including reinforcing with MS tube of size 40 mm X 20 mm x 1 mm, joints of styles & rails to be mitered cut & joint with the help of PVC solvent cement, self driven self tapping screws & M.S. rectangular pipes bracket of size 190 mm X 100 mm of cross section size 35 mm x 17 mm x 1 mm at each corner. Single piece extruded 5 mm thick solid PVC Lock rail of size 115 mm x 35 mm, out of which 75 mm to be flat and 20 mm to be tapered at both ends, having 15 mm solid core in middle of rail section integrally extruded, fixing the styles & rails with the help of solvent and self driven self tapping screws of 125 mm x 11 mm, including providing 5 mm Single piece solid PVC extruded sheet inserted in the door as panel, all complete as per manufacturer's specification and direction of Engineerin-charge. Decorative finish (wood grained finish) | 93.00 | sqm |  | 3350.00 | 311550.00 | 2200.00 | 204600.00 | 204600.00 | Navkaar Enterprises
5.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm | 367.00 | sqm |  | 850.00 | 311950.00 | 1000.00 | 367000.00 | 311950.00 | M/s Mahalaxmi Construction
6.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in- charge. Size of Tile 600x600 mm | 367.00 | sqm |  | 200.00 | 73400.00 | 50.00 | 18350.00 | 18350.00 | Navkaar Enterprises
7.00 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour. Two Coats | 161.00 | sqm |  | 60.00 | 9660.00 | 80.00 | 12880.00 | 9660.00 | M/s Mahalaxmi Construction
8.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 120.00 | Each |  | 45.00 | 5400.00 | 50.00 | 6000.00 | 5400.00 | M/s Mahalaxmi Construction
9.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in perforated Tegular edge global white color tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 120.00 | sqm |  | 925.00 | 111000.00 | 2050.00 | 246000.00 | 111000.00 | M/s Mahalaxmi Construction
10.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 60.00 | sqm |  | 750.00 | 45000.00 | 900.00 | 54000.00 | 45000.00 | M/s Mahalaxmi Construction
11.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 200.00 | Metre |  | 170.00 | 34000.00 | 150.00 | 30000.00 | 30000.00 | Navkaar Enterprises
12.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 140.00 | Metre |  | 227.00 | 31780.00 | 200.00 | 28000.00 | 28000.00 | Navkaar Enterprises
13.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 25 mm nominal dia Pipes | 65.00 | Metre |  | 290.00 | 18850.00 | 250.00 | 16250.00 | 16250.00 | Navkaar Enterprises
14.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete. 10 litre capacity - White | 13.00 | Each |  | 750.00 | 9750.00 | 1000.00 | 13000.00 | 9750.00 | M/s Mahalaxmi Construction
15.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 13.00 | sqm |  | 1850.00 | 24050.00 | 2000.00 | 26000.00 | 24050.00 | M/s Mahalaxmi Construction
16.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality 1.0 mm thick | 26.00 | sqm |  | 580.00 | 15080.00 | 1000.00 | 26000.00 | 15080.00 | M/s Mahalaxmi Construction
17.00 | Providing and fixing ISI marked oxidised M.S. sliding door bolts with nuts and screws etc. complete : (copper oxidized as per IS: 1378) 250x16 mm | 20.00 | Each |  | 110.00 | 2200.00 | 250.00 | 5000.00 | 2200.00 | M/s Mahalaxmi Construction
18.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 6.00 | Each |  | 850.00 | 5100.00 | 1500.00 | 9000.00 | 5100.00 | M/s Mahalaxmi Construction
19.00 | Providing and fixing chromium plated brass handles with necessary screws etc. complete: 125 mm | 12.00 | Each |  | 110.00 | 1320.00 | 250.00 | 3000.00 | 1320.00 | M/s Mahalaxmi Construction
20.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 12.00 | Each |  | 330.00 | 3960.00 | 250.00 | 3000.00 | 3000.00 | Navkaar Enterprises
21.00 | Providing and fixing bright finished brass hanging type floor door stopper with necessary screws, etc. complete. | 12.00 | Each |  | 75.00 | 900.00 | 250.00 | 3000.00 | 900.00 | M/s Mahalaxmi Construction
22.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 48.00 | Kg |  | 757.00 | 36336.00 | 480.00 | 23040.00 | 23040.00 | Navkaar Enterprises
23.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 50.00 | sqm |  | 295.00 | 14750.00 | 300.00 | 15000.00 | 14750.00 | M/s Mahalaxmi Construction
24.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 161.00 | sqm |  | 105.00 | 16905.00 | 100.00 | 16100.00 | 16100.00 | Navkaar Enterprises
25.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 161.00 | sqm |  | 95.00 | 15295.00 | 60.00 | 9660.00 | 9660.00 | Navkaar Enterprises
26.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 50.00 | sqm |  | 90.00 | 4500.00 | 100.00 | 5000.00 | 4500.00 | M/s Mahalaxmi Construction
27.00 | Dismantling of plumbing items including wash basins, water closets, urinals, all plumbing items etc. of all types (C.I./PVC/Vitrious China) in one toilet block including stacking of useful materials near the site and disposal of unserviceable materials beyond 50 m initial lead, for all leads including all lifts involved. | 34.00 | Each |  | 1200.00 | 40800.00 | 1000.00 | 34000.00 | 34000.00 | Navkaar Enterprises
28.00 | Providing and fixing beveled edge mirror of required size of superior glass of thickness 8 mm (of approved quality) complete with 6 mm thick hard board (MDF) ground fixed to wooden cleats with C.P. brass screws and washers complete as per the direction of EIC. | 26.00 | sqm |  | 1850.00 | 48100.00 | 1500.00 | 39000.00 | 39000.00 | Navkaar Enterprises
29.00 | Providing and fixing floor mounted white vitreous china water closet (European type) of size 380x670x765 mm, S Trap- 300 mm of approved brand, rimless single piece WC with UF soft close slim seat cover, with dual flushing system, including all fittings etc including making connection with the existing P/S trap, complete in all respect as per directions of Engineer-in-Charge. Make : Jaquar Model no. FSS-WHT-29853S300UFSM or equivalent as per the direction of EIC. | 21.00 | Each |  | 20950.00 | 439950.00 | 18000.00 | 378000.00 | 378000.00 | Navkaar Enterprises
30.00 | Providing & fixing pillar cock of auto closing system with 65 mm extension body of approved make, Make : Jaquar , Model : PRS-031L65 or equivalent make as per the direction of EIC. | 39.00 | Each |  | 2550.00 | 99450.00 | 2500.00 | 97500.00 | 97500.00 | Navkaar Enterprises
31.00 | Providing and fixing white vitreous china under counter wash basin of size 560x430x195mm, shape Oval , with fixing accessories. Make : Jaquar FLS-WHT-5701 or equivalent make , as per the direction of EIC. | 39.00 | Each |  | 4150.00 | 161850.00 | 3500.00 | 136500.00 | 136500.00 | Navkaar Enterprises
32.00 | Providing and fixing hand shower (Health faucet) with 8 mm dia, 1.2 meter long flexible tube & wall hook with fixing accessories. Make : Jaquar ALD-573 or equivalent make, as per the direction of EIC. | 27.00 | Each |  | 1420.00 | 38340.00 | 1250.00 | 33750.00 | 33750.00 | Navkaar Enterprises
33.00 | Providing and fixing waste coupling 32mm dia , half thread with 80 mm height with fixing accessories. Make : Jaquar ALD-709 or equivalent make, as per the direction of EIC. | 39.00 | Each |  | 550.00 | 21450.00 | 550.00 | 21450.00 | 21450.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
34.00 | Providing and fixing bottle trap 32mm dia with 250mm & 190 mm long wall connection pipes & wall flange with fixing accessories. Make : Jaquar ALD-769L250x190 or equivalent make, as per the direction of EIC. | 39.00 | Each |  | 1670.00 | 65130.00 | 1500.00 | 58500.00 | 58500.00 | Navkaar Enterprises
35.00 | Providing and fixing angular stop cock with wall flange with fixing accessories. Make : Jaquar ORP-10053PM or equivalent make, as per the direction of EIC. | 65.00 | Each |  | 1120.00 | 72800.00 | 850.00 | 55250.00 | 55250.00 | Navkaar Enterprises
36.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore. Make : Jaquar SOL-6047 cock with wall flange or equivalent make as per the direction of EIC. | 27.00 | Each |  | 1670.00 | 45090.00 | 1300.00 | 35100.00 | 35100.00 | Navkaar Enterprises
37.00 | Providing and fixing Liquid Soap dispenser of following make Make : Jaquar soap dispenser-push button SDR-WHT-DJ0010F, capacity 0.80 ltr., Material ABS, finish : white, or equivalent make as per the direction of EIC. | 39.00 | Each |  | 1170.00 | 45630.00 | 1000.00 | 39000.00 | 39000.00 | Navkaar Enterprises
38.00 | Providing and fixing SS Grating/Drainer (Make Viking Code - 41335 or equivalent) of approved quality and colour. Circular type 100 mm nominal dia | 84.00 | Each |  | 65.00 | 5460.00 | 100.00 | 8400.00 | 5460.00 | M/s Mahalaxmi Construction
39.00 | Providing and fixing wall mounted white vitreous china urinal basin of size 385x325x635mm of approved brand, black inlet with fixing accessories, complete in all respect as per directions of Engineer-in-Charge. Make : Jaquar Model no. URS-WHT-13253N or equivalent as per the direction of EIC. | 21.00 | Each |  | 7540.00 | 158340.00 | 7000.00 | 147000.00 | 147000.00 | Navkaar Enterprises
40.00 | Providing and fixing for drainage system unplasticised Rigid PVC SWR Pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, including all fittings & fixtures. including fixing the pipe with clamps at 1.00 m spacing. complete as per direction of Engineer in Charge. (i) Single socketed pipes 110 mm diameter | 200.00 | Metre |  | 280.00 | 56000.00 | 400.00 | 80000.00 | 56000.00 | M/s Mahalaxmi Construction
41.00 | Providing and fixing for drainage system unplasticised Rigid PVC SWR Pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, including all fittings & fixtures. including fixing the pipe with clamps at 1.00 m spacing. complete as per direction of Engineer in Charge. (i) Single socketed pipes 80 mm diameter | 70.00 | Metre |  | 180.00 | 12600.00 | 300.00 | 21000.00 | 12600.00 | M/s Mahalaxmi Construction
42.00 | Providing and fixing Urinal partition/ Urinal Modesty panels (Make - Merino or equivalent) made of high pressure laminated compact sheet having size 1200mm x 500mm and panel thickness 12mm fixed with SS 304 PA-6 made brackets & fixtures all complete as per direction of EIC. | 9.00 | Each |  | 4350.00 | 39150.00 | 4500.00 | 40500.00 | 39150.00 | M/s Mahalaxmi Construction
43.00 | Providing and fixing toilet paper holder : C.P. brass | 35.00 | Each |  | 650.00 | 22750.00 | 400.00 | 14000.00 | 14000.00 | Navkaar Enterprises
44.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :30 cm length 15 mm nominal bore | 46.00 | Each |  | 70.00 | 3220.00 | 100.00 | 4600.00 | 3220.00 | M/s Mahalaxmi Construction
45.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :45 cm length 15 mm nominal bore | 24.00 | Each |  | 95.00 | 2280.00 | 120.00 | 2880.00 | 2280.00 | M/s Mahalaxmi Construction
46.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | Cum |  | 6850.00 | 34250.00 | 5000.00 | 25000.00 | 25000.00 | Navkaar Enterprises
47.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 50.00 | sqm |  | 220.00 | 11000.00 | 350.00 | 17500.00 | 11000.00 | M/s Mahalaxmi Construction
48.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 20.00 | sqm |  | 3670.00 | 73400.00 | 2500.00 | 50000.00 | 50000.00 | Navkaar Enterprises
49.00 | Providing edge moulding to 18 mm thick marble / granite stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 20.00 | Metre |  | 380.00 | 7600.00 | 200.00 | 4000.00 | 4000.00 | Navkaar Enterprises
50.00 | Deduct for taking away C.P. brass/Brass bib cock, stop cock, long body bib cock, angle valve, ball valve, C.P. wash basin waste coupling and the like received from dismantling. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 50.00 | Kg. |  | 218.00 | -10900.00 | 218.00 | -10900.00 | -10900.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
51.00 | Deduct for taking away of SCI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, etc. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete.(This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 50.00 | Kg. |  | 18.00 | -900.00 | 18.00 | -900.00 | -900.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
52.00 | Deduct for taking away of PVC connections, PVC flushing cistern with fittings, PVC over head tank, PVC bib cock, stop cock, ball valve, loft tank etc. and the like received from dismantling. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 50.00 | Kg. |  | 18.00 | -900.00 | 18.00 | -900.00 | -900.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
53.00 | Deduct for taking away of aluminum butt hinges, sliding door bolts, tower bolts, pull boly lock, handle, door stopper, casement stay, tee chanals, plates, frames, shutters, partition, tubular sections etc. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete.(This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 50.00 | Kg. |  | 118.00 | -5900.00 | 118.00 | -5900.00 | -5900.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
54.00 | Deduct for taking away of steel work in frames, shutters, trusses, channels, beams, Tee, angles, bolts, washers etc. and the like received from dismantling. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 50.00 | Kg. |  | 28.00 | -1400.00 | 28.00 | -1400.00 | -1400.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
55.00 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, panelled etc. The material actually weighed before taking away from the site in the presence of Engineer-in-charge or his authorized representative all complete. (This item rate will be fixed, above or below percentage quoted by the agency will not be applicable.) | 100.00 | Kg. |  | 5.00 | -500.00 | 5.00 | -500.00 | -500.00 | Navkaar Enterprises, M/s Mahalaxmi Construction
| Total in Figures |  |  |  |  | 2609446.00 |  | 2496110.00
Lowest Amount Quoted BY: Navkaar Enterprises(2496110.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of toilets in operational office, Technical office cum ATC Tower at M.P. Airport, Udaipur Tender ID: 2024_AAI_194387_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Navkaar Enterprises | 2496110.00 | L1
| 2 | M/s Mahalaxmi Construction | 2609446.00 | L2