## BoQ1
Government eProcurement System Created By: Ambrish Singh Created Date/Time: 12-Jun-2024 12:16 PM Tender Title: ACMC and Operation of 3x500TR HVAC Systems, Package, Room Air-conditioners, and Water Coolers at LBSI Airport Varanasi (2024-26) Tender ID: 2024_AAI_194668_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: ACMC and Operation of 3x500TR HVAC Systems, Package, Room Air-conditioners, & Water Coolers at LBSI Airport Varanasi (2024-26)
Contract No: 2024_AAI_194668_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers (GSTN-07AAMPS2459M1ZZ) BID ID -702775 |  | KRISHNA REFRIGERATION (GSTN-09AGYPK1790P1Z9) BID ID -704482
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and routine maintenance of water cooled chiller HVAC system 3x500TR including AHUs & Cooling Tower/ VRV system at ATS Block & Medical Centre/Various pumps of WTP/ STP installation/ Package AC including maintenance of records/logbook/ documents etc all days including Saturday, Sunday and holidays as per tender specifications, terms & conditions by supplying to following minimum number of man power. (a) Supervisor -Highly Skilled - 01 Nos. (i.e. 01 No. in general shift on 06 days in every week excluding reliever for supervision of HVAC, VRV, package AC, WTP, STP etc.) (b) AC mechanic - Skilled - 03 Nos. (ie 01 No. round the clock on all days in every week for operation & maintenance of chiller, , Reliever shall be provided on weekly off,). (c) Operator - Semi Skilled - 15 Nos. (ie 01 No. round the clock on all days in every week for operation & maintenance of AHU ,01 No. round the clock on all days in every week for operation & maintenance of WTP ,01 No. round the clock on all days in every week for operation & maintenance of STP and 01 number in general shift for operation of STP, 01 No. round the clock on all days in every week for operation & maintenance of package AC & VRV ductable unit at MSSR, 01 No.in each shift for ATS Block & Medical Centre VRV maintenance for 2 shift & Reliever shall be provided on weekly off. (d) Helper - Unskilled - 03 Nos. (i.e. 01 No. round the clock on all days in every week for HVAC, Reliever shall be provided on weekly off). | 24.00 | Month |  | 538700.00 | 12928800.00 | 556813.00 | 13363512.00 | 12928800.00 | Supertech Engineers
2.00 | Annual all inclusive comprehensive Maintenance contract of Central AC Plant (HVAC) for 3x500TR (make: McQuay) Centrifugal Chiller type comprising of 3 No Cooling Tower (make: Advance) and 1No Cooling Tower (make: Bell) with make-up tank; Associated pumps as condenser water pump 03 No(40HP), primary water pump 03No (25HP),Secondary water pump12 Hr 03No(25HP), Secondary water pump 24Hr (15HP) with 06 No VFD with Secondary Pumps ; Hot water generator of 400KW (01 No) with in build panel for 8 zones ; Air Handling Unit (Floor Mounted) 19no up to 100Tr and min 50Tr capacity with 08 No VFDs; Ceiling Suspended Air handling unit 17 No up to 3 to 5 Tr with electrical starter panel in each HRU 03 No of 4250 CMH,4675 CMH,2754 CMH with their electrical panels ; AC Risers 83 No With Nozzles with respective AHUs ;Ozone System of 06No of make: Ruks Canada Ltd ; Electrical Panel in Plant Room P1 , P2 and P3 for the operation of Chillers, Hot water generator and all associated pumps ; Water Softening plant its Electrical panel and pumps. Above system complete including chiller pipe line , AC Duct , grills diffusers , Valves etc. complete as required related with HVAC System .(The supply of consumable spares as mentioned in Item-35 to 38 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) | 24.00 | Month |  | 108350.00 | 2600400.00 | 108750.00 | 2610000.00 | 2600400.00 | Supertech Engineers
3.00 | Annual Comprehensive periodical maintenance of Daikin Make VRV System installed at New ATC Tower ,Technical Block and Substation having total of 143 Nos. VRV indoor units including ductable, high wall and Cassette units of different capacities. Total of Outdoor Units clubbed in 3 or 2 units together = 12 sets of total capacity of ODU = 492 HP. Maintenance work is inclusive of all spares required for repair, maintenance & operation as per manufacturer schedule, servicing including routine preventive maintenance, breakdown maintenance including repair/replacement of compressor, electronic circuit board, mechanical equipment, safety controls and instrumentations, gas charging, fan , fan motors, thermal Insulation, drain pumps, remote control console/units etc. ensuring serviceability/ satisfactory working condition of the system, maintenance of recordes/documentation etc. as per tender conditions covered under this contract on all days including Saturday,Sunday & holiday etc. as required. | 24.00 | Month |  | 159215.00 | 3821160.00 | 123000.00 | 2952000.00 | 2952000.00 | KRISHNA REFRIGERATION
4.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. (upto 1.5 TR Window/split AC) (1st Year) | 57.00 | Each/Annum |  | 1150.00 | 65550.00 | 1800.00 | 102600.00 | 65550.00 | Supertech Engineers
5.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. (2TR split/Cassette AC) (1st Year) | 115.00 | Each/Annum |  | 1250.00 | 143750.00 | 2400.00 | 276000.00 | 143750.00 | Supertech Engineers
6.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. (3.0 TR Split type AC)(1st Year) | 4.00 | Each/Annum |  | 1300.00 | 5200.00 | 3600.00 | 14400.00 | 5200.00 | Supertech Engineers
7.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. Outdoor unit-7.5 TR (3 x 2.5 TR unit)-02 Each, and indoor unit-05 Each Mega Split type AC )(1st Year) | 1.00 | Job/Annum |  | 15000.00 | 15000.00 | 18000.00 | 18000.00 | 15000.00 | Supertech Engineers
8.00 | Annual Comprehensive Maintenance of water coolers of all type, makes and capacities with providing necessary consumables, spares, compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers wherever connected etc. complete as required. (1st Year) | 26.00 | Each/Annum |  | 1550.00 | 40300.00 | 1800.00 | 46800.00 | 40300.00 | Supertech Engineers
9.00 | Annual Comprehensive Maintenance of water purifiers of aqua guard make including replacement of all defective components like UV lamp etc. and consumables and carrying out bimonthly servicing at installed position etc. complete as required.(The supply of consumable spares filters as mentioned in item no-51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (1st Year) | 2.00 | Each/Annum |  | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 5000.00 | Supertech Engineers
10.00 | Annual Comprehensive Maintenance of RO, up to 50 Liter capacity including replacement of all defective components and carrying out bimonthly servicing at installed position etc. complete as required. (The supply of consumable spares membrane and filters as mentioned in item no-50,51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (1st Year) | 25.00 | Each/Annum |  | 2250.00 | 56250.00 | 1500.00 | 37500.00 | 37500.00 | KRISHNA REFRIGERATION
11.00 | Annual Comprehensive Maintenance of RO, above 50 up to 100 Liter capacity including replacement of all defective components and carrying out bimonthly servicing at installed position etc. complete as required. (The supply of consumable spares membrane and filters as mentioned in item no-50,51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (1st Year) | 2.00 | Each/Annum |  | 2450.00 | 4900.00 | 4500.00 | 9000.00 | 4900.00 | Supertech Engineers
12.00 | All inclusive comprehensive maintenance of following capacity VRV inverter ductable air-conditioning plants including replacing defective components, carrying out preventive & breakdown maintenance like arresting of leakage, topping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, repairing/ replacing of compressors, repairing / replacing of electrical components etc and other works required from time to time for proper maintenance of units including maintenance of records as per terms and condition all days including Sundays and holidays. (MSSR 3 Units each of 2X8TR capacity) (1st Year) | 12.00 | Job/Month |  | 1350.00 | 16200.00 | 5000.00 | 60000.00 | 16200.00 | Supertech Engineers
13.00 | Annual all inclusive Comprehensive Maintenance Contract of 20HP VRV air-conditioning system installed at conference room & adjacent offices in NTB including 2X 10HP Outdoor units, 7X 2TR cassette type indoor units, makes-Daikin including compressor and providing all necessary consumables, refrigerant Gas, piping, cabling etc., complete as per site requirement and special conditions and General terms and conditions of contract as required.(1st Year) | 12.00 | Job/Month |  | 1085.00 | 13020.00 | 5000.00 | 60000.00 | 13020.00 | Supertech Engineers
14.00 | Annual all inclusive Comprehensive Maintenance Contract of 36HP VRV air-conditioning system installed in passenger boarding bridge fixe link ( 1X 18 HP-02 set Outdoor units model no-JRUN180LLS4, 4X 3TR-02Set cassette type indoor units model number-RNU36GTNA4 , makes-LG) including compressor and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement.(1st Year) | 12.00 | Job/Month |  | 1950.00 | 23400.00 | 9000.00 | 108000.00 | 23400.00 | Supertech Engineers
15.00 | Annual all inclusive Comprehensive Maintenance Contract of 40HP VRV air-conditioning system installed in passenger boarding bridge fixe link (1X 20HP-02 set Outdoor units model no-JRUN200LLS4, 4X 3TR-02Set cassette type indoor units model number-JRNU36GTNA4 , makes-LG) including compressor and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement (1st Year) | 12.00 | Job/Month |  | 2170.00 | 26040.00 | 10000.00 | 120000.00 | 26040.00 | Supertech Engineers
16.00 | Annual all inclusive Comprehensive Maintenance Contract of 36HP VRV air-conditioning system installed in New Fire Station Medical Centre ( 3X 12 HP Outdoor units, Model No.-MAP1206HT8D-XA,cassette type indoor units 9X 2 TR, Model No.- MMU-UP0241HP-E & 3X1.5 TR, Model No.-MMU-UP0181HP-E make-Toshiba) including compressor and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement.(1st Year) | 12.00 | Job/Month |  | 1950.00 | 23400.00 | 9000.00 | 108000.00 | 23400.00 | Supertech Engineers
17.00 | Annual all inclusive Comprehensive Maintenance Contract of cold storage 40000 BTU-02 set make blue star by providing quarterly visit and any number of break down as and when required including replacing/repairing compressor, condenser coil, temperature controller and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement.(1st Year) | 12.00 | Job/Month |  | 5850.00 | 70200.00 | 4000.00 | 48000.00 | 48000.00 | KRISHNA REFRIGERATION
18.00 | Annual Comprehensive Maintenance of drinking fountain with chilling water fountain one at higher level annotate lover level to match disability compliance make OASIS/Haws/WAE including replacement of all defective components and carrying out bimonthly servicing at installed position etc. complete as required. (The supply of consumable spares membrane and filters as mentioned in item no-51,51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (1st Year) | 12.00 | Job/Annum |  | 4500.00 | 54000.00 | 4000.00 | 48000.00 | 48000.00 | KRISHNA REFRIGERATION
19.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. (upto 1.5 TR Window /split AC) (2nd Year) | 57.00 | Each/Annum |  | 1200.00 | 68400.00 | 1800.00 | 102600.00 | 68400.00 | Supertech Engineers
20.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. (2TR split/Cassette AC)(2nd Year) | 115.00 | Each/Annum |  | 1300.00 | 149500.00 | 2400.00 | 276000.00 | 149500.00 | Supertech Engineers
21.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. (3.0 TR Split type AC)(2nd Year) | 4.00 | Each/Annum |  | 1350.00 | 5400.00 | 4500.00 | 18000.00 | 5400.00 | Supertech Engineers
22.00 | Annual comprehensive maintenance of following air-conditioners of different makes of different locations including providing and replacing all necessary consumables, spares, including compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers, wherever connected etc. as required. Outdoor unit-7.5 TR (3 x 2.5 TR unit)-02 Each, and indoor unit-05 Each Mega Split type AC )(2nd Year) | 1.00 | Job/Annum |  | 4200.00 | 4200.00 | 22500.00 | 22500.00 | 4200.00 | Supertech Engineers
23.00 | Annual Comprehensive Maintenance of water coolers of all type, makes and capacities with providing necessary consumables, spares, compressors and refrigerant etc. complete as required as per special condition including CMC of voltage stabilizers wherever connected etc. complete as required. (2nd Year) | 26.00 | Each/Annum |  | 1600.00 | 41600.00 | 1800.00 | 46800.00 | 41600.00 | Supertech Engineers
24.00 | Annual Comprehensive Maintenance of water purifiers of aqua guard make including replacement of all defective components like UV lamp etc. and consumables and carrying out bimonthly servicing at installed position etc. complete as required.(The supply of consumable spares filters as mentioned in item no-51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.). (2nd Year) | 2.00 | Each/Annum |  | 1600.00 | 3200.00 | 7500.00 | 15000.00 | 3200.00 | Supertech Engineers
25.00 | Annual Comprehensive Maintenance of RO, up to 50 Liter capacity including replacement of all defective components and carrying out bimonthly servicing at installed position etc. complete as required. .(The supply of consumable spares membrane and filters as mentioned in schedule- 50,51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (2nd Year) | 25.00 | Each/Annum |  | 2350.00 | 58750.00 | 3500.00 | 87500.00 | 58750.00 | Supertech Engineers
26.00 | Annual Comprehensive Maintenance of RO, above 50 up to 100 Liter capacity including replacement of all defective components and carrying out bimonthly servicing at installed position etc. complete as required. (The supply of consumable spares membrane and filters as mentioned in item no-50,51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (2nd Year) | 2.00 | Each/Annum |  | 2450.00 | 4900.00 | 4500.00 | 9000.00 | 4900.00 | Supertech Engineers
27.00 | All inclusive comprehensive maintenance of following capacity VRV inverter duct able air-conditioning plants including replacing defective components, carrying out preventive & breakdown maintenance like arresting of leakage, topping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, repairing/ replacing of compressors, repairing / replacing of electrical components etc. and other works required from time to time for proper maintenance of units including maintenance of records as per terms and condition all days including Sundays and holidays. (MSSR 3 Units each of 2X8TR capacity) (2nd Year) | 12.00 | Job/Month |  | 1400.00 | 16800.00 | 5000.00 | 60000.00 | 16800.00 | Supertech Engineers
28.00 | Annual all inclusive Comprehensive Maintenance Contract of 20HP VRV air-conditioning system installed at conference room & adjacent offices in NTB including 2X 10HP Outdoor units, 7X 2TR cassette type indoor units, makes-Daikin including compressor and providing all necessary consumables, refrigerant Gas, piping, cabling etc., complete as per site requirement and special conditions and General terms and conditions of contract as required.(2nd Year) | 12.00 | Job/Month |  | 1100.00 | 13200.00 | 5000.00 | 60000.00 | 13200.00 | Supertech Engineers
29.00 | Annual all inclusive Comprehensive Maintenance Contract of 36HP VRV air-conditioning system installed in passenger boarding bridge fixe link ( 1X 18 HP-02 set Outdoor units model no-JRUN180LLS4, 4X 3TR-02Set cassette type indoor units model number-RNU36GTNA4 , makes-LG) including compressor and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement.(2nd Year) | 12.00 | Job/Month |  | 1950.00 | 23400.00 | 9000.00 | 108000.00 | 23400.00 | Supertech Engineers
30.00 | Annual all inclusive Comprehensive Maintenance Contract of 40HP VRV air-conditioning system installed in passenger boarding bridge fixe link (1X 20HP-02 set Outdoor units model no-JRUN200LLS4, 4X 3TR-02Set cassette type indoor units model number-JRNU36GTNA4 , makes-LG) including compressor and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement (2nd Year) | 12.00 | Job/Month |  | 2200.00 | 26400.00 | 10000.00 | 120000.00 | 26400.00 | Supertech Engineers
31.00 | Annual all inclusive Comprehensive Maintenance Contract of 36HP VRV air-conditioning system installed in New Fire Station Medical Centre ( 3X 12 HP Outdoor units, Model No.-MAP1206HT8D-XA,cassette type indoor units 9X 2 TR, Model No.- MMU-UP0241HP-E & 3X1.5 TR, Model No.-MMU-UP0181HP-E make-Toshiba) including compressor and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement. (2nd Year) | 12.00 | Job/Month |  | 1200.00 | 14400.00 | 9000.00 | 108000.00 | 14400.00 | Supertech Engineers
32.00 | Annual all inclusive Comprehensive Maintenance Contract of cold storage 40000 BTU-02 set make blue star by providing quarterly visit and any number of break down as and when required including replacing/repairing compressor, condenser coil, temperature controller and providing all necessary consumables, refrigerant Gas, cu piping ,cabling etc., complete as per site requirement.(2nd Year) | 12.00 | Job/Month |  | 2050.00 | 24600.00 | 4000.00 | 48000.00 | 24600.00 | Supertech Engineers
33.00 | Annual Comprehensive Maintenance of drinking fountain with chilling water fountain one at higher level annotate lover level to match disability compliance make OASIS/Haws/WAE including replacement of all defective components and carrying out bimonthly servicing at installed position etc. complete as required. (The supply of consumable spares membrane and filters as mentioned in item no-50,51 is not included in the scope of this item however installation and satisfactory working of equipment covers in this items.) (2nd Year) | 12.00 | Job/Annum |  | 2300.00 | 27600.00 | 5000.00 | 60000.00 | 27600.00 | Supertech Engineers
34.00 | Cleaning of the solar module regularly two cycle in a month including minor repairing of Tulu pump and monitoring of 600 KWp (500KWp+100KWp)Grid Connected Roof Top Mounted Solar Photo Voltaic Power Plant by deploying minimum one number unskilled man power in general shift excluding weekly off including maintaining records as per special conditions of the contract and as per direction of E-I-C. (Consumables cleaning material like wiper duster, PVC flexible pipe etc. are to be provided by the agency. The Solar module are under warrantee whereas inverter to be maintained by OEM. The agency has to liaison with OEM for repairing/replacement of defective parts). | 24.00 | Month |  | 20000.00 | 480000.00 | 21949.00 | 526776.00 | 480000.00 | Supertech Engineers
35.00 | Supply of Spares for HVAC not include in CMC item No. 2 (PVC Fills 600x300x150mm) | 4000.00 | Each |  | 148.00 | 592000.00 | 170.00 | 680000.00 | 592000.00 | Supertech Engineers
36.00 | Supply of Spares for HVAC not include in CMC item No. 2 (Resin 220 NA(O) for softener plant) | 1000.00 | Ltr |  | 145.00 | 145000.00 | 200.00 | 200000.00 | 145000.00 | Supertech Engineers
37.00 | Supply of Spares for HVAC not include in CMC item No. 2 (Salt for softener plant) | 9000.00 | Kg |  | 9.75 | 87750.00 | 11.00 | 99000.00 | 87750.00 | Supertech Engineers
38.00 | Supply of Spares for HVAC not include in CMC item No. 2 (Chlorine for dosing in STP) | 1000.00 | Ltr |  | 45.00 | 45000.00 | 70.00 | 70000.00 | 45000.00 | Supertech Engineers
39.00 | Supply and installation of Copper tubing suitable size up to 3TR split air-conditioning for inlet and out let of refrigerant gas complete with electrical cabling and insulation etc. complete as required | 150.00 | Mtr |  | 1250.00 | 187500.00 | 650.00 | 97500.00 | 97500.00 | KRISHNA REFRIGERATION
40.00 | Supply and installation of 20 mm dia PVC rigid drain pipe i/c all accessories like bends, couplers, tees etc. complete as required. | 150.00 | Mtr |  | 30.00 | 4500.00 | 70.00 | 10500.00 | 4500.00 | Supertech Engineers
41.00 | Supply and fixing of insulation of nitrile rubber in existing Copper tubing for both inlet and outlet of existing installed air conditioner etc. complete as required as per direction of EIC. | 150.00 | Mtr |  | 130.00 | 19500.00 | 70.00 | 10500.00 | 10500.00 | KRISHNA REFRIGERATION
42.00 | Dismantling, of high wall split type Air-conditioning unit shifting, re-installation, testing and commissioning of capacity up to 3.00 TR air-conditioner units fixing of existing refrigerant pipe, insulation & existing flexible copper conductor cable between evaporator and condenser units, topping up refrigerant gas etc. complete as required as per direction of EIC. | 20.00 | Job |  | 3250.00 | 65000.00 | 500.00 | 10000.00 | 10000.00 | KRISHNA REFRIGERATION
43.00 | Rewinding of 10/15 HP motor of submersible pump of (different stages ) different makes as per original size of insulated copper wire, sleeves complete with connection ,interconnection etc as required. | 3.00 | Job |  | 7500.00 | 22500.00 | 12000.00 | 36000.00 | 22500.00 | Supertech Engineers
44.00 | Repairing of 10/15 HP submersible pump & motor (excluding rewinding of motor) of different stages and different makes I/c replacement of bearing bush, neck rings, bowl bush, running sleeve, key full, sand guard complete etc as required. | 3.00 | Job |  | 8250.00 | 24750.00 | 4500.00 | 13500.00 | 13500.00 | KRISHNA REFRIGERATION
45.00 | Repairing and rewinding of the existing water pump/ sewerage pump motor of capacity 0.75 HP and up to 3.0 HP by dismantling from its position, transportation to the work shop, bringing back to the Airport after repairing & rewinding, reinstallation the same, including testing and make the system in serviceable condition as required. | 4.00 | Each |  | 2800.00 | 11200.00 | 3000.00 | 12000.00 | 11200.00 | Supertech Engineers
46.00 | Repairing and rewinding of the existing blower motor/ filtered feed pump etc. of above 5 HP and up to 7.5 HP by dismantling from its position, transportation to the work shop, bringing back to the Airport after repairing & rewinding and reinstallation the same, including testing and make the system in serviceable condition as required. | 2.00 | Each |  | 5500.00 | 11000.00 | 8500.00 | 17000.00 | 11000.00 | Supertech Engineers
47.00 | Testing of treated STP incoming and treated water sample on quarterly basis from reputed Govt. Lab and submission of test reports as per technical specifications.(Rate for Each sample) | 16.00 | Each |  | 2150.00 | 34400.00 | 5000.00 | 80000.00 | 34400.00 | Supertech Engineers
48.00 | Dismantling, removal, lowering, reinstalling, testing and commissioning of submersible pumps of different makes & capacities including arranging of tripod stand, chain pulley block etc. as required. | 6.00 | Job |  | 6500.00 | 39000.00 | 7000.00 | 42000.00 | 39000.00 | Supertech Engineers
49.00 | Supply of 3.7 KW/ 5.0 HP submersible pump-motor set suitable for discharge 80mm delivery of minimum 250 LPM against static Head 45Mtr consisting of multistage pumps with suitable motor suitable for operation on 415 volt, 50 Hz A/C supply. Pumps and motors must be connected with alignment shafts etc. complete as required. | 1.00 | Each |  | 47250.00 | 47250.00 | 42000.00 | 42000.00 | 42000.00 | KRISHNA REFRIGERATION
50.00 | Supply of shield membrane which is not included in CMC of RO as mentioned in item no-10,11,18,25,26 & 33 suitable for Kent/ Aqua guard/OASIS/Haws/WAE up to 100 liter RO capacity etc. complete as required. | 260.00 | Each |  | 615.00 | 159900.00 | 1950.00 | 507000.00 | 159900.00 | Supertech Engineers
51.00 | Supply of carbon /sediment filter which is not included in CMC of RO as mentioned in item no-9,10,11,18,24,25,26 & 33 suitable for up to 100 liter RO capacity etc. complete as required | 200.00 | Each |  | 125.00 | 25000.00 | 900.00 | 180000.00 | 25000.00 | Supertech Engineers
52.00 | Drinking water potability test quarterly basis as per Technical Specifications (Rate for Each sample). | 16.00 | Each |  | 2500.00 | 40000.00 | 5000.00 | 80000.00 | 40000.00 | Supertech Engineers
53.00 | Supply of consumable urea for equalization tank of STP. | 750.00 | Kg |  | 8.50 | 6375.00 | 10.00 | 7500.00 | 6375.00 | Supertech Engineers
54.00 | Supply of Sand for Sludge drying Bed at STP. | 1.60 | cum |  | 25000.00 | 40000.00 | 2450.00 | 3920.00 | 3920.00 | KRISHNA REFRIGERATION
55.00 | Repairing/Replacement of Blower pipe tube at STP with suitable size pipe, elbow,socket and flange complete as required. | 2.00 | Meter |  | 650.00 | 1300.00 | 750.00 | 1500.00 | 1300.00 | Supertech Engineers
56.00 | Supply of Air Blower Filter at STP compatible to existing Air Blower. | 2.00 | Nos. |  | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 9000.00 | KRISHNA REFRIGERATION
57.00 | Supplying and Fixing of Three Phase VFD Drive of following rating for chiller plant and AHUs with necessary wiring, programming, testing, commissioning i/c dismantling of existing VFDs etc. complete as required. 15 Hp | 4.00 | Nos. |  | 55690.00 | 222760.00 | 115000.00 | 460000.00 | 222760.00 | Supertech Engineers
58.00 | Supplying and Fixing of Three Phase VFD Drive of following rating for chiller plant and AHUs with necessary wiring, programming, testing, commissioning i/c dismantling of existing VFDs etc. complete as required. 20 Hp | 3.00 | Nos. |  | 69750.00 | 209250.00 | 150000.00 | 450000.00 | 209250.00 | Supertech Engineers
59.00 | Supplying and Fixing of Three Phase VFD Drive of following rating for chiller plant and AHUs with necessary wiring, programming, testing, commissioning i/c dismantling of existing VFDs etc. complete as required. 25 Hp | 4.00 | Nos. |  | 79850.00 | 319400.00 | 175000.00 | 700000.00 | 319400.00 | Supertech Engineers
60.00 | Supplying, laying, fixing, testing & commissioning of MS class `C' Chilled/ Condenser water piping confirming to IS 1239 Part 'II' of 1979 up to date with insulation and sand, cement mixture plastering and finishing complete with all necessary fittings such as bends, tees, reducers, flanges etc. and supports such as clamps, anti-vibration hangers etc. as per specification. 300 mm dia | 6.00 | Mtr |  | 8500.00 | 51000.00 | 1500.00 | 9000.00 | 9000.00 | KRISHNA REFRIGERATION
61.00 | Supplying, laying, fixing, testing & commissioning of MS class `C' Chilled/ Condenser water piping confirming to IS 1239 Part 'II' of 1979 up to date with insulation and sand, cement mixture plastering and finishing complete with all necessary fittings such as bends, tees, reducers, flanges etc. and supports such as clamps, anti-vibration hangers etc. as per specification. 250 mm dia | 6.00 | Mtr |  | 6650.00 | 39900.00 | 1200.00 | 7200.00 | 7200.00 | KRISHNA REFRIGERATION
62.00 | Supplying, laying, fixing, testing & commissioning of MS class `C' Chilled/ Condenser water piping confirming to IS 1239 Part 'II' of 1979 up to date with insulation and sand, cement mixture plastering and finishing complete with all necessary fittings such as bends, tees, reducers, flanges etc. and supports such as clamps, anti-vibration hangers etc. as per specification. 200 mm dia | 6.00 | Mtr |  | 4850.00 | 29100.00 | 1000.00 | 6000.00 | 6000.00 | KRISHNA REFRIGERATION
63.00 | Supplying, laying, fixing, testing & commissioning of MS class `C' Chilled/ Condenser water piping confirming to IS 1239 Part 'II' of 1979 up to date with insulation and sand, cement mixture plastering and finishing complete with all necessary fittings such as bends, tees, reducers, flanges etc. and supports such as clamps, anti-vibration hangers etc. as per specification. 150 mm dia | 6.00 | Mtr |  | 3050.00 | 18300.00 | 800.00 | 4800.00 | 4800.00 | KRISHNA REFRIGERATION
| Total in Figures |  |  |  |  | 23386555.00 |  | 25504908.00
Lowest Amount Quoted BY: Supertech Engineers(23386555.00)

## BOQ Summary
BOQ Summary Details Tender Title: ACMC and Operation of 3x500TR HVAC Systems, Package, Room Air-conditioners, and Water Coolers at LBSI Airport Varanasi (2024-26) Tender ID: 2024_AAI_194668_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Supertech Engineers | 23386555.00 | L1
| 2 | KRISHNA REFRIGERATION | 25504908.00 | L2