## BoQ1
Government eProcurement System Created By: PRIYANKA SHARMA Created Date/Time: 14-Jun-2024 11:37 AM Tender Title: Renovation of Toilets in NITB at B.M. Airport, Ranchi. Tender ID: 2024_AAI_194732_1
Tender Inviting Authority: AGM (Engg.-Civil), AAI, B.M.Airport, Ranchi.
Name of Work: Renovation of Toilets in NITB at B.M.Airport, Ranchi.
Contract No: 2024_AAI_194732_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CREATORS ENGINEERS AND INTERIORS (GSTN-07AAGFC0762R2Z1) BID ID -703614 |  | prime constructions (GSTN-27AABFP2480L1Z1) BID ID -705781 |  | G-Tech Construction and Fabricators (GSTN-20AAIFG5486A1ZS) BID ID -704952 |  | M/S SANJEEV KUMAR(GSTN-NA)--705838
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Note: The tender rate should be inclusive of all taxes, duties, cess, fee , royalty charges etc. levied under any statute but exclusive of GST.
1.01 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. : For thickness of tiles 10 mm to 25 mm | 560.00 | Sqm | 0.00 | 200.00 | 112000.00 | 60.00 | 33600.00 | 200.00 | 112000.00 | 65.00 | 36400.00 | 33600.00 | prime constructions
1.02 | Dismantling tile work in walls laid in cement mortar including stacking material within 50 metres lead. : For thickness of tiles 10 mm to 25 mm. | 1590.00 | Sqm | 0.00 | 250.00 | 397500.00 | 100.00 | 159000.00 | 202.00 | 321180.00 | 45.00 | 71550.00 | 71550.00 | M/S SANJEEV KUMAR
1.03 | Dismantling Urinals with all acessories of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 34.00 | Each | 0.00 | 10.00 | 340.00 | 100.00 | 3400.00 | 104.00 | 3536.00 | 45.00 | 1530.00 | 340.00 | CREATORS ENGINEERS AND INTERIORS
1.04 | Dismantling Urinals partitions with all fixtures of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 20.00 | Each |  | 10.00 | 200.00 | 100.00 | 2000.00 | 52.00 | 1040.00 | 23.00 | 460.00 | 200.00 | CREATORS ENGINEERS AND INTERIORS
1.05 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in-Charge. | 63.00 | Each |  | 10.00 | 630.00 | 100.00 | 6300.00 | 484.00 | 30492.00 | 120.00 | 7560.00 | 630.00 | CREATORS ENGINEERS AND INTERIORS
1.06 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 63.00 | Each |  | 10.00 | 630.00 | 100.00 | 6300.00 | 164.00 | 10332.00 | 99.00 | 6237.00 | 630.00 | CREATORS ENGINEERS AND INTERIORS
1.07 | Dismantling of all kinds of bib cock including accessories complete and stacking of usable dismantled materials including disposal of waste materials / malba all complete as per the direction of Engineer in charge. | 63.00 | Each |  | 10.00 | 630.00 | 100.00 | 6300.00 | 69.00 | 4347.00 | 19.00 | 1197.00 | 630.00 | CREATORS ENGINEERS AND INTERIORS
1.08 | Dismantling of health faucet including removal of angle cock/two way bib cock , holder and other accessories complete and stacking of usable dismantled materials including disposal of waste materials / malba all complete as per the direction of Engineer in charge. | 63.00 | Each |  | 10.00 | 630.00 | 100.00 | 6300.00 | 78.00 | 4914.00 | 19.00 | 1197.00 | 630.00 | CREATORS ENGINEERS AND INTERIORS
1.09 | Dismantling Counter Wash Basins of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 73.00 | Each |  | 10.00 | 730.00 | 100.00 | 7300.00 | 156.00 | 11388.00 | 69.00 | 5037.00 | 730.00 | CREATORS ENGINEERS AND INTERIORS
1.10 | Dismantling of bottle trap including accessories complete and stacking of usable dismantled materials including disposal of waste materials / malba all complete as per the direction of Engineer in charge. | 73.00 | Each |  | 10.00 | 730.00 | 100.00 | 7300.00 | 164.00 | 11972.00 | 19.00 | 1387.00 | 730.00 | CREATORS ENGINEERS AND INTERIORS
1.11 | Dismantling Stainless steel Wash Basins of all sizes including all fixtures and disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 8.00 | Each |  | 10.00 | 80.00 | 100.00 | 800.00 | 147.00 | 1176.00 | 19.00 | 152.00 | 80.00 | CREATORS ENGINEERS AND INTERIORS
1.12 | Dismantling of grab bar/grab rail & seating support bar for disabled beside E.W.C of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 32.00 | Each |  | 10.00 | 320.00 | 100.00 | 3200.00 | 104.00 | 3328.00 | 19.00 | 608.00 | 320.00 | CREATORS ENGINEERS AND INTERIORS
1.13 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | Cum |  | 10.00 | 100.00 | 1200.00 | 12000.00 | 1555.00 | 15550.00 | 22.00 | 220.00 | 100.00 | CREATORS ENGINEERS AND INTERIORS
1.14 | Dismantling granite stone work manually/ by mechanical means including stacking of serviceable and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : | 58.00 | Sqm |  | 250.00 | 14500.00 | 100.00 | 5800.00 | 233.00 | 13514.00 | 31.00 | 1798.00 | 1798.00 | M/S SANJEEV KUMAR
1.15 | Removal of mirror including all fittings , frames and fixtures including stacking of serviceable materials and disposal of unserviceable materials complete as per the direction of Engineer in charge. | 64.00 | Sqm |  | 10.00 | 640.00 | 100.00 | -6400.00 | 285.00 | 18240.00 | 19.00 | -1216.00 | -6400.00 | prime constructions
1.16 | Dismantling of modular toilet cubicles consisting of compact laminate board panels, intermediate dividers, doors and pilasters and all other accessories including dismembering and stacking of materials all complete as per the directions of Engineer-in-charge. | 270.00 | Sqm |  | 250.00 | 67500.00 | 50.00 | -13500.00 | 278.00 | 75060.00 | 36.00 | -9720.00 | -13500.00 | prime constructions
1.17 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 31.00 | Each |  | 10.00 | 310.00 | 100.00 | -3100.00 | 579.00 | 17949.00 | 360.00 | -11160.00 | -11160.00 | M/S SANJEEV KUMAR
1.18 | Removing of Hand dryer including all fittings , frames and fixtures including stacking of serviceable materials and disposal of unserviceable materials complete as per the direction of Engineer in charge. | 26.00 | Each |  | 500.00 | 13000.00 | 100.00 | 2600.00 | 86.00 | 2236.00 | 19.00 | 494.00 | 494.00 | M/S SANJEEV KUMAR
1.19 | Removing of stainless steel Paper Dispenser including all fittings , frames and fixtures including stacking of serviceable materials and disposal of unserviceable materials complete as per the direction of Engineer in charge. | 27.00 | Each |  | 10.00 | 270.00 | 100.00 | 2700.00 | 69.00 | 1863.00 | 19.00 | 513.00 | 270.00 | CREATORS ENGINEERS AND INTERIORS
1.20 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-incharge. | 500.00 | Sqm |  | 250.00 | 125000.00 | 60.00 | 30000.00 | 276.00 | 138000.00 | 50.00 | 25000.00 | 25000.00 | M/S SANJEEV KUMAR
1.21 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. :In cement mortar | 10.00 | Cum |  | 10.00 | 100.00 | 1200.00 | 12000.00 | 1296.00 | 12960.00 | 1900.00 | 19000.00 | 100.00 | CREATORS ENGINEERS AND INTERIORS
1.22 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 80.00 | Sqm |  | 10.00 | 800.00 | 100.00 | 8000.00 | 181.00 | 14480.00 | 50.00 | 4000.00 | 800.00 | CREATORS ENGINEERS AND INTERIORS
1.23 | Dismantling steel work in single sections including dismembering and stacking within 50 metres lead in: Channels, angles, tees and flats | 420.00 | Kg |  | 10.00 | 4200.00 | 10.00 | 4200.00 | 6.00 | 2520.00 | 2.21 | 928.20 | 928.20 | M/S SANJEEV KUMAR
1.24 | Removal of glasses fixed in stainless steel frame of view cutter including all fittings and fixtures including stacking of serviceable materials and disposal of unserviceable materials complete as per the direction of Engineer in charge. | 25.00 | Sqm |  | 10.00 | 250.00 | 500.00 | 12500.00 | 467.00 | 11675.00 | 18.50 | 462.50 | 250.00 | CREATORS ENGINEERS AND INTERIORS
1.25 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 70.00 | Cum |  | 1500.00 | 105000.00 | 500.00 | 35000.00 | 553.00 | 38710.00 | 250.00 | 17500.00 | 17500.00 | M/S SANJEEV KUMAR
1.26 | Deduct for taking away of C.P. brass/Brass bib cock, stop cock, long body bib cock, long nose bib cock, angle valve, ball valve, close hole basin mixer, C.P. waste in basin/ sink and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 75.00 | Kg |  | 500.00 | -37500.00 | 20.00 | -1500.00 | 12.00 | -900.00 | 339.00 | -25425.00 | -37500.00 | CREATORS ENGINEERS AND INTERIORS
1.27 | Deduct for taking away of Wooden/plywood frames and/or shutters for Doors/windows/ clerestory windows, trusses, battens, particle board, glazed, wired, paneled etc. and the like received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 2250.00 | Kg |  | 20.00 | -45000.00 | 10.00 | -22500.00 | 4.00 | -9000.00 | 2.21 | -4972.50 | -45000.00 | CREATORS ENGINEERS AND INTERIORS
1.28 | Deduct for taking away of CI pipe fitting, centrifugal cast (spun)/sand cast iron pipes and fittings, C.I. flushing cistern, G.I. pipes and fittings, steel doors, window, ventilators, grill, round or square bars etc. and the like item received from dismantling. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 150.00 | Kg |  | 20.00 | -3000.00 | 20.00 | -3000.00 | 11.00 | -1650.00 | 34.00 | -5100.00 | -5100.00 | M/S SANJEEV KUMAR
1.29 | Deduct for taking away of stainless steel work in Angles,pipes, frames, shutters, trusses, channels, beams, Tee, bolts, washers etc. and similar items received from dismantling including loading from as and where basis. The material so received shall be the property of contractor after dismantling duly weighed/ measured before removing from the site in the presence of Engineer-in-charge or his authorized representative all complete. | 510.00 | Kg |  | 20.00 | -10200.00 | 20.00 | -10200.00 | 19.00 | -9690.00 | 34.00 | -17340.00 | -17340.00 | M/S SANJEEV KUMAR
1.30 | Providing & fixing of white vitreous china tankless single piece wall mounted type water closet (Jaquar ONS-WHT-10851S300UFSMTL or approved equivalent) with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with concealed type flush cistern (Jaquar JCS-WHT-2400 or equivalent ) along with Flush Control Plates (Jaquar JCP-CHR-102415) including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-In-charge. | 57.00 | Each |  | 34500.00 | 1966500.00 | 40000.00 | 2280000.00 | 35520.00 | 2024640.00 | 29000.00 | 1653000.00 | 1653000.00 | M/S SANJEEV KUMAR
1.31 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make complete as per direction Engineer in charge. Health Faucet Set of Jaquar (cat ALD- 573 ) or equivalent make. | 67.00 | Each |  | 1575.00 | 105525.00 | 1500.00 | 100500.00 | 1253.00 | 83951.00 | 650.00 | 43550.00 | 43550.00 | M/S SANJEEV KUMAR
1.32 | Providing and fixing of following C.P. Brass fittings and fixture of approved make completer as per direction Engineer in charge. Two way quarter turn bib cock 15mm nominal bore of approved make (Jaquar or equivalent) complete as per direction of Engineer-in-charge. | 67.00 | Each |  | 1500.00 | 100500.00 | 1700.00 | 113900.00 | 1901.00 | 127367.00 | 700.00 | 46900.00 | 46900.00 | M/S SANJEEV KUMAR
1.33 | Providing and fixing water closet squatting pan (Indian type W.C.pan ) with 100 mm sand cast Iron P or S trap, 8 litres concealed flushing cistern of make (Jaquar JCS-WHT-2400 or equivalent ) including with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. (Hindware or approved equivalent) pan of size approx. 580x440 mm with integral type foot rests. | 11.00 | Each |  | 14500.00 | 159500.00 | 10000.00 | 110000.00 | 7517.00 | 82687.00 | 11000.00 | 121000.00 | 82687.00 | G-Tech Construction and Fabricators
1.34 | Providng & Fixing off white vitreous china urinal basin (Jaquar URS-WHT-13255/URS-WHT-13253N or equivalent) of size approx 610 X 390 X 370 mm suitable for wall mounted with Urinal Sensor (Jaquar SNR-CHR-51097/SNR-STL-51083 or equivalent ) operated touchless automatic flushing system having pre & post flushing system including fixing to wall with suitable brackets , painting of fittings and brackets, cutting and making good the walls and floors wherever required complete as per direction of Engineer-in-charge. | 32.00 | Each |  | 22000.00 | 704000.00 | 20000.00 | 640000.00 | 17400.00 | 556800.00 | 15000.00 | 480000.00 | 480000.00 | M/S SANJEEV KUMAR
1.35 | Providing and fixing white vitreous china flat back half stall urinal of size 590x390x375 mm approx (Hindware or equivalent) , with fittings, standard size C.P. brass flush pipe, angular stop cock, spreaders with unions and clamps (all in C.P. brass) with waste fittings as per IS : 2556, including painting of fittings and cutting and making good the walls and floors wherever required all complete as per the directions of Engineer-in-charge.: Single Half Stall urinal. | 8.00 | Each |  | 8000.00 | 64000.00 | 6000.00 | 48000.00 | 4838.00 | 38704.00 | 13000.00 | 104000.00 | 38704.00 | G-Tech Construction and Fabricators
1.36 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 10.00 | Cum |  | 4000.00 | 40000.00 | 8000.00 | 80000.00 | 8467.00 | 84670.00 | 11000.00 | 110000.00 | 40000.00 | CREATORS ENGINEERS AND INTERIORS
1.37 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 1000.00 | Kg |  | 90.00 | 90000.00 | 80.00 | 80000.00 | 92.00 | 92000.00 | 100.00 | 100000.00 | 80000.00 | prime constructions
1.38 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :Suspended floors, roofs, landings, balconies and access platform | 40.00 | Sqm |  | 100.00 | 4000.00 | 500.00 | 20000.00 | 389.00 | 15560.00 | 900.00 | 36000.00 | 4000.00 | CREATORS ENGINEERS AND INTERIORS
1.39 | Providing & Fixing vitreous china Thin rim Table Top rectangular shape , size 550x400 mm approx wash basin with 32 mm dia C.P. brass waste, C.I. brackets and all other fittings but excluding the cost of pillar cock , including painting of fittings and brackets, cutting and making good the walls/slab as required etc all complete as per direction of Engineer in charge White colour (Jaquar or equivalent) | 71.00 | Each |  | 14500.00 | 1029500.00 | 8000.00 | 568000.00 | 6627.00 | 470517.00 | 6200.00 | 440200.00 | 440200.00 | M/S SANJEEV KUMAR
1.40 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar make complete as per direction Engineer in charge. Bottle Trap 32 mm (Jaquar or equivalent) | 71.00 | Each |  | 800.00 | 56800.00 | 2000.00 | 142000.00 | 1900.00 | 134900.00 | 1049.00 | 74479.00 | 56800.00 | CREATORS ENGINEERS AND INTERIORS
1.41 | Providing and fixing of following C.P. Brass fittings and fixture of Jaquar or equivalent make complete as per direction Engineer in charge. Soap dispenser Push Button Type -800ml capacity (Jaquar/Euronics or equivalent) | 26.00 | Each |  | 1400.00 | 36400.00 | 2000.00 | 52000.00 | 1054.00 | 27404.00 | 1042.00 | 27092.00 | 27092.00 | M/S SANJEEV KUMAR
1.42 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board : 610x510 mm bowl depth 200 mm | 8.00 | Each |  | 4000.00 | 32000.00 | 8000.00 | 64000.00 | 7603.00 | 60824.00 | 4800.00 | 38400.00 | 32000.00 | CREATORS ENGINEERS AND INTERIORS
1.43 | Providing and fixing stainless steel handicap grab rail in the toilets/Terminal Building etc. Complete as per direction of Engineer-in-charge. Stainless steel handicap grab rail 600mm length, 35mm dia (Euronics / Jaquar or equivalent) | 8.00 | Each |  | 2190.00 | 17520.00 | 1600.00 | 12800.00 | 2419.00 | 19352.00 | 1200.00 | 9600.00 | 9600.00 | M/S SANJEEV KUMAR
1.44 | Providng and fixing stainless steel vertical swing handicap grab bar in the toilets/Terminal Building etc. Complete as per direction of Engineer-in-charge. Stainless steel vertical swing handicap grab bar (Euronics/Jaquar or equivalent) | 24.00 | Each |  | 6490.00 | 155760.00 | 1600.00 | 38400.00 | 605.00 | 14520.00 | 4900.00 | 117600.00 | 14520.00 | G-Tech Construction and Fabricators
1.45 | Providing and fixing of following C.P. Brass fittings and fixture of Euronics make or equivalent complete as per direction Engineer in charge. : Basin Mount Sensor Tap with automatic sensor (Euronics or equivalent ) | 72.00 | Each |  | 10000.00 | 720000.00 | 11000.00 | 792000.00 | 5530.00 | 398160.00 | 5500.00 | 396000.00 | 396000.00 | M/S SANJEEV KUMAR
1.46 | Providing and fixing of following C.P. Brass fittings and fixture of make Jaquar or equivalent complete as per direction Engineer in charge. : Auto Closing System/Pressmatic Pillar Cock (Jaquar PRS-CHR-031 or equivalent ) | 8.00 | Each |  | 2000.00 | 16000.00 | 2200.00 | 17600.00 | 2039.00 | 16312.00 | 2000.00 | 16000.00 | 16000.00 | CREATORS ENGINEERS AND INTERIORS, M/S SANJEEV KUMAR
1.47 | Providing and fixing of following C.P. Brass fittings and fixture of approved make completer as per direction Engineer in charge. Chromium plated anti cockroach Jali of Euronics or approved make of 100 mm dia fixing over water outlet complete as per direction and satisfaction of Engineer-in-charge | 176.00 | Each |  | 200.00 | 35200.00 | 400.00 | 70400.00 | 536.00 | 94336.00 | 400.00 | 70400.00 | 35200.00 | CREATORS ENGINEERS AND INTERIORS
1.48 | Providing and fixing of Stainless-steel Paper Dispenser of make Euronics or approved equivalent make along with all fittings and fixture all complete as per direction Engineer in charge. Stainless steel Paper dispenser - (Euronics make or equivalent) | 29.00 | Each |  | 3800.00 | 110200.00 | 4500.00 | 130500.00 | 3732.00 | 108228.00 | 3000.00 | 87000.00 | 87000.00 | M/S SANJEEV KUMAR
1.49 | Providing and fixing of CP Brass toilet paper holder (Euronics or equivalent) i/c fixing with CP Brass screws complete as per direction of Engineer-in-Charge. | 60.00 | Each |  | 590.00 | 35400.00 | 1800.00 | 108000.00 | 1987.00 | 119220.00 | 800.00 | 48000.00 | 35400.00 | CREATORS ENGINEERS AND INTERIORS
1.50 | Providing and laying vitrified Digital ceramic floor tiles (Kashmir Marfil kajaria Tile or approved equivalent in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. : Size of Tile 600x600 mm | 580.00 | Sqm |  | 1300.00 | 754000.00 | 1400.00 | 812000.00 | 1536.00 | 890880.00 | 1000.00 | 580000.00 | 580000.00 | M/S SANJEEV KUMAR
1.51 | Providing and laying vitrified Digital ceramic Wall tiles (Lenox Brown-Johnson Tiles or approved equivalent in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. : Size of Tile 600x300 mm | 1590.00 | Sqm |  | 1200.00 | 1908000.00 | 1600.00 | 2544000.00 | 1459.00 | 2319810.00 | 1000.00 | 1590000.00 | 1590000.00 | M/S SANJEEV KUMAR
1.52 | Providing and laying Glazed vitrified Feature Wall tiles (Somany tiles moroccan tinzit bianco or approved equivalent in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. : Size of Tile 600x600 mm | 330.00 | Sqm |  | 1300.00 | 429000.00 | 1600.00 | 528000.00 | 1709.00 | 563970.00 | 1200.00 | 396000.00 | 396000.00 | M/S SANJEEV KUMAR
1.53 | Providing and fixing Stainless Steel angles moulded corner vertical beading as tiles trim to the junction of tiling work including drilling, fixing to wall etc all complete as per the directinons of engineer in charge. Size : 40x40x3mm | 200.00 | Kg |  | 50.00 | 10000.00 | 700.00 | 140000.00 | 518.00 | 103600.00 | 300.00 | 60000.00 | 10000.00 | CREATORS ENGINEERS AND INTERIORS
1.54 | Providing & fixing Urinal Partitions of High pressure Laminate with Marble texture laminate having standard dimension of 1200 mm Height x 450 -500 mm Width and 12 mm thickness (Greenlam Sturdo of Greenlam Industries Ltd /Titan Series of Merino Industries/ Greenply or approved equivalent) Panel starts 500-600 mm above ground level, complete with compact Laminate Board: 12 mm thick Compact Laminate (Greenlam Sturdo of Greenlam Industries Ltd /Titan Series of Merino Industries/ Greenply or approved equivalent) made as per IS 2046 (Indian Standard) and as per fire retardant BS-476/97 standard and should be heat, bacteria, water, chemical, scratch and impact resistant 12 mm thick solid compact laminate panels as per approved texture/shade. The product should have Green Guard Certificate. Including all accessories as per approval and direction of Engineer-in-Charge Modesty panels will be fixed with right angle bracket which will provided in stainless steel grade-304. (a) Right Angle Bracket b) Screws & Wall Plugs. Hardware & Fixing : All screws will of 304 Grade in stainless steel with satin finish & panel will be supported by right angle brackets & will be used to hold the panels with a clearance height upto 500-600 mm. The work includes all accessories, machineries, tools etc., complete as per direction of Engineer-in-charge. | 28.00 | Each |  | 4500.00 | 126000.00 | 4000.00 | 112000.00 | 2800.00 | 78400.00 | 5500.00 | 154000.00 | 78400.00 | G-Tech Construction and Fabricators
1.55 | Providing & fixing of modular toilet cubicle partitions ( Titan Standard 12mm series of Merino, Sturdo of Greenlam Industries , Greenply or of approved equivalent) consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1550mm depth x 1050mm width x 2100mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc.(all SS accessories shall be of Grade 304) as per direction of Engineer-In-charge. | 330.00 | Sqm |  | 6000.00 | 1980000.00 | 7000.00 | 2310000.00 | 5460.00 | 1801800.00 | 6000.00 | 1980000.00 | 1801800.00 | G-Tech Construction and Fabricators
1.56 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 60.00 | Sqm |  | 2800.00 | 168000.00 | 2500.00 | 150000.00 | 2650.00 | 159000.00 | 2000.00 | 120000.00 | 120000.00 | M/S SANJEEV KUMAR
1.57 | Providing and fixing custom made bevelled edge rectangular mirror of superior glass of Saint Gobain or approved equivalent of size approx 2100mm x 600mm complete with 6mm thick hard board ground fixed to SS Cleats with C.P. brass screw and washers etc all complete as as per direction of Engineer-In-charge. | 70.00 | Each |  | 3500.00 | 245000.00 | 5600.00 | 392000.00 | 3264.00 | 228480.00 | 2500.00 | 175000.00 | 175000.00 | M/S SANJEEV KUMAR
1.58 | Providing and fixing custom made bevelled edge rectangular mirror of superior glass of Saint Gobain or approved equivalent of size approx 600mm x 900mm complete with 6mm thick hard board ground fixed to SS Cleats with C.P. brass screw and washers etc all complete as as per direction of Engineer-In-charge. | 20.00 | Each |  | 3500.00 | 70000.00 | 3500.00 | 70000.00 | 2496.00 | 49920.00 | 1500.00 | 30000.00 | 30000.00 | M/S SANJEEV KUMAR
1.59 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels.: Granite stone slab of colour black, Cherry/Ruby red : Area of slab over 0.50 sqm. | 60.00 | Sqm |  | 4500.00 | 270000.00 | 5000.00 | 300000.00 | 3648.00 | 218880.00 | 5000.00 | 300000.00 | 218880.00 | G-Tech Construction and Fabricators
1.60 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. : Granite work. | 90.00 | Metre |  | 10.00 | 900.00 | 260.00 | 23400.00 | 326.00 | 29340.00 | 500.00 | 45000.00 | 900.00 | CREATORS ENGINEERS AND INTERIORS
1.61 | Providing and fixing of acrylic solid surface Hanex/Corian dupont/Samsung staron/LG Hausys HIMACS make 12mm thick as per specifications, colour, shape and size as per drawing/design approved. Fixed to 12mm thick or thicker ply with silicon sealent inclusive of all bending, moulding, jointing, adhesive polishing etc., complete as per the directions of Engineer in charge. (sample, shade and series shall be approved by EIC). | 280.00 | Sqm |  | 7800.00 | 2184000.00 | 7000.00 | 1960000.00 | 7880.00 | 2206400.00 | 7500.00 | 2100000.00 | 1960000.00 | prime constructions
1.62 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board. | 525.00 | Sqm |  | 850.00 | 446250.00 | 1200.00 | 630000.00 | 2208.00 | 1159200.00 | 1200.00 | 630000.00 | 446250.00 | CREATORS ENGINEERS AND INTERIORS
1.63 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main'T' at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x600 mm panel to from grid of size 600x600 mm, resting on periphery walls partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.¦. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’. Bottom exposed with 24 mm of all T-sections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 100.00 | Sqm |  | 1950.00 | 195000.00 | 1400.00 | 140000.00 | 2304.00 | 230400.00 | 2000.00 | 200000.00 | 140000.00 | prime constructions
1.64 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand) | 30.00 | Cum |  | 4000.00 | 120000.00 | 7500.00 | 225000.00 | 9600.00 | 288000.00 | 8500.00 | 255000.00 | 120000.00 | CREATORS ENGINEERS AND INTERIORS
1.65 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 180.00 | Sqm |  | 200.00 | 36000.00 | 350.00 | 63000.00 | 420.00 | 75600.00 | 300.00 | 54000.00 | 36000.00 | CREATORS ENGINEERS AND INTERIORS
1.66 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 180.00 | Sqm |  | 100.00 | 18000.00 | 100.00 | 18000.00 | 108.00 | 19440.00 | 150.00 | 27000.00 | 18000.00 | CREATORS ENGINEERS AND INTERIORS, prime constructions
1.67 | Providing and fixing Stained Glass Portrait of Man/Women portrait/landscape paintings printed on 10mm thick premium quality toughened clear glass, scratch resistant Heat treated of Saint Gobain or equivalent with 3M Scotchcal 3650-114 or equivalent Graphic Film latex printed necessary fittings/fixtures and the glass should be fixed to the wall with SS Cleats /C.P. brass screw and washers etc complete in all respects as per the directions and satisfaction of Engineer-in-charge. Note: The sample of design for stained glass portrait shall be got approved by the Engineer - in charge. | 140.00 | Sqm |  | 3500.00 | 490000.00 | 4400.00 | 616000.00 | 4570.00 | 639800.00 | 10000.00 | 1400000.00 | 490000.00 | CREATORS ENGINEERS AND INTERIORS
1.68 | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour.: One coat | 200.00 | Sqm |  | 150.00 | 30000.00 | 120.00 | 24000.00 | 230.00 | 46000.00 | 90.00 | 18000.00 | 18000.00 | M/S SANJEEV KUMAR
1.69 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : One or more coats on old work | 80.00 | Sqm |  | 150.00 | 12000.00 | 120.00 | 9600.00 | 182.00 | 14560.00 | 100.00 | 8000.00 | 8000.00 | M/S SANJEEV KUMAR
1.70 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). : Second class teak wood | 3.00 | Cum |  | 50000.00 | 150000.00 | 130000.00 | 390000.00 | 163200.00 | 489600.00 | 100000.01 | 300000.03 | 150000.00 | CREATORS ENGINEERS AND INTERIORS
1.71 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc.: 15 mm nominal dia Pipes | 250.00 | Metre |  | 295.00 | 73750.00 | 350.00 | 87500.00 | 413.00 | 103250.00 | 410.00 | 102500.00 | 73750.00 | CREATORS ENGINEERS AND INTERIORS
1.72 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. : 20 mm nominal dia Pipes | 250.00 | Metre |  | 350.00 | 87500.00 | 400.00 | 100000.00 | 518.00 | 129500.00 | 510.00 | 127500.00 | 87500.00 | CREATORS ENGINEERS AND INTERIORS
1.73 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. : 32 mm nominal dia Pipes | 250.00 | Metre |  | 450.00 | 112500.00 | 500.00 | 125000.00 | 624.00 | 156000.00 | 700.00 | 175000.00 | 112500.00 | CREATORS ENGINEERS AND INTERIORS
1.74 | Providing and fixing soil, waste and vent pipes : 100 mm dia : Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905 | 150.00 | Metre |  | 1500.00 | 225000.00 | 1600.00 | 240000.00 | 739.00 | 110850.00 | 1000.00 | 150000.00 | 110850.00 | G-Tech Construction and Fabricators
1.75 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 200.00 | Kg |  | 100.00 | 20000.00 | 600.00 | 120000.00 | 624.00 | 124800.00 | 450.00 | 90000.00 | 20000.00 | CREATORS ENGINEERS AND INTERIORS
1.76 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 120.00 | Kg |  | 100.00 | 12000.00 | 600.00 | 72000.00 | 672.00 | 80640.00 | 500.00 | 60000.00 | 12000.00 | CREATORS ENGINEERS AND INTERIORS
1.77 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge.: Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 100.00 | Sqm |  | 500.00 | 50000.00 | 900.00 | 90000.00 | 1632.00 | 163200.00 | 900.00 | 90000.00 | 50000.00 | CREATORS ENGINEERS AND INTERIORS
1.78 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 62.00 | Each |  | 100.00 | 6200.00 | 100.00 | 6200.00 | 278.00 | 17236.00 | 71.00 | 4402.00 | 4402.00 | M/S SANJEEV KUMAR
1.79 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with Si, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 8.00 | Each |  | 800.00 | 6400.00 | 1500.00 | 12000.00 | 1440.00 | 11520.00 | 905.97 | 7247.76 | 6400.00 | CREATORS ENGINEERS AND INTERIORS
1.80 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 66.00 | Each |  | 100.00 | 6600.00 | 100.00 | 6600.00 | 163.00 | 10758.00 | 61.00 | 4026.00 | 4026.00 | M/S SANJEEV KUMAR
| Total in Figures |  |  |  |  | 16471295.00 |  | 18090800.00 |  | 17948208.00 |  | 15380193.99
Lowest Amount Quoted BY: M/S SANJEEV KUMAR(15380193.99)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Toilets in NITB at B.M. Airport, Ranchi. Tender ID: 2024_AAI_194732_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SANJEEV KUMAR | 15380193.99 | L1
| 2 | CREATORS ENGINEERS AND INTERIORS | 16471295.00 | L2
| 3 | G-Tech Construction and Fabricators | 17948208.00 | L3
| 4 | prime constructions | 18090800.00 | L4