## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 07-Jun-2024 01:17 PM Tender Title: Annual Repair and Maintenance of E and M Installations at Agatti Airport during 2024 to 2026 SH_Facility Management Contract of E and M Installations at Agatti Airport Tender ID: 2024_AAI_194772_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Annual Repair and Maintenance of E & M Installations at Agatti Airport during 2024 to 2026. SH: “Facility Management Contract of E&M Installations at Agatti Airport
Contract No: <2024_AAI_194772_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -704758 |  | Mohammed Shafi C.K (GSTN-31ANRPM9306P1ZC) BID ID -704779 |  | M/s MICRON ELEC-TECH(GSTN-NA)--704367 |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)--704704
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance and operation of Electrical and Mechanical installations involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records / documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays. First Year | 12.00 | Months |  | 195000.00 | 2340000.00 | 193421.00 | 2321052.00 | 220833.00 | 2649996.00 | 195931.00 | 2351172.00 | 2321052.00 | Mohammed Shafi C.K
2.00 | Periodical Maintenance and operation of Electrical and Mechanical installations involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records / documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays. Second Year | 12.00 | Months |  | 195000.00 | 2340000.00 | 193421.00 | 2321052.00 | 220833.00 | 2649996.00 | 195931.00 | 2351172.00 | 2321052.00 | Mohammed Shafi C.K
3.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. (Group C) | 20.00 | Point |  | 250.00 | 5000.00 | 1426.00 | 28520.00 | 1000.00 | 20000.00 | 900.00 | 18000.00 | 5000.00 | CENTRE TAP ENGINEERING
4.00 | Supplying and fixing of 2 Module, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required | 10.00 | Each |  | 250.00 | 2500.00 | 319.00 | 3190.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 2500.00 | CENTRE TAP ENGINEERING
5.00 | Supplying and fixing of 3 Modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required | 15.00 | Each |  | 375.00 | 5625.00 | 361.00 | 5415.00 | 650.00 | 9750.00 | 500.00 | 7500.00 | 5415.00 | Mohammed Shafi C.K
6.00 | Supplying and fixing following size / modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required 6 Module | 15.00 | Each |  | 500.00 | 7500.00 | 486.00 | 7290.00 | 400.00 | 6000.00 | 700.00 | 10500.00 | 6000.00 | M/s MICRON ELEC-TECH
7.00 | Supplying and fixing following size / modules, PVC/Plastic box alongwith modular base & cover plate for modular switches in recess etc as required 12 Module | 3.00 | Each |  | 750.00 | 2250.00 | 707.00 | 2121.00 | 700.00 | 2100.00 | 700.00 | 2100.00 | 2100.00 | M/s MICRON ELEC-TECH, DElite System Engineering (India) Pvt. Ltd.
8.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (20 mm) | 150.00 | Meter |  | 90.00 | 13500.00 | 106.00 | 15900.00 | 70.00 | 10500.00 | 60.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (25 mm) | 100.00 | Meter |  | 125.00 | 12500.00 | 129.00 | 12900.00 | 100.00 | 10000.00 | 90.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 3 X 1.5 sq.mm | 200.00 | Meter |  | 75.00 | 15000.00 | 112.00 | 22400.00 | 80.00 | 16000.00 | 92.00 | 18400.00 | 15000.00 | CENTRE TAP ENGINEERING
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 3 X 2.5 sq.mm | 100.00 | Meter |  | 125.00 | 12500.00 | 171.00 | 17100.00 | 125.00 | 12500.00 | 150.00 | 15000.00 | 12500.00 | M/s MICRON ELEC-TECH, CENTRE TAP ENGINEERING
12.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 3 X 4 sq.mm | 200.00 | Meter |  | 175.00 | 35000.00 | 252.00 | 50400.00 | 145.00 | 29000.00 | 199.00 | 39800.00 | 29000.00 | M/s MICRON ELEC-TECH
13.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface / recessed steel / PVC conduit / casing-capping as required. 5 X 4 sq.mm | 150.00 | Meter |  | 375.00 | 56250.00 | 417.00 | 62550.00 | 190.00 | 28500.00 | 259.00 | 38850.00 | 28500.00 | M/s MICRON ELEC-TECH
14.00 | Supply and fixing following modular type switch on the existing switch box / cover including connections etc. as required. 5 / 6 amps Modular switch | 75.00 | Each |  | 75.00 | 5625.00 | 115.00 | 8625.00 | 100.00 | 7500.00 | 60.00 | 4500.00 | 4500.00 | DElite System Engineering (India) Pvt. Ltd.
15.00 | Supply and fixing following modular type switch / socket / regulator on the existing switch box / cover including connections etc. as required. 15 / 16 amps Modular switch | 10.00 | Each |  | 100.00 | 1000.00 | 216.00 | 2160.00 | 300.00 | 3000.00 | 150.00 | 1500.00 | 1000.00 | CENTRE TAP ENGINEERING
16.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections etc. as required 3 pin 5 / 6 amps Modular socket | 25.00 | Each |  | 75.00 | 1875.00 | 180.00 | 4500.00 | 200.00 | 5000.00 | 150.00 | 3750.00 | 1875.00 | CENTRE TAP ENGINEERING
17.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections etc. as required 5 pin 15 / 16 amps modular socket | 25.00 | Each |  | 100.00 | 2500.00 | 307.00 | 7675.00 | 300.00 | 7500.00 | 15.00 | 375.00 | 375.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Supplying and fixing two module stepped type electronic fan regulator (5 step) on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 10.00 | Each |  | 200.00 | 2000.00 | 427.00 | 4270.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 2000.00 | CENTRE TAP ENGINEERING
19.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) SPN 12 Way MCB DB double door horizontal. | 2.00 | Each |  | 4000.00 | 8000.00 | 2657.00 | 5314.00 | 1800.00 | 3600.00 | 5000.00 | 10000.00 | 3600.00 | M/s MICRON ELEC-TECH
20.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) TPN 4 Way MCB DB double door. | 2.00 | Each |  | 4000.00 | 8000.00 | 4035.00 | 8070.00 | 2200.00 | 4400.00 | 9000.00 | 18000.00 | 4400.00 | M/s MICRON ELEC-TECH
21.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker (single pole) suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 10.00 | Each |  | 1000.00 | 10000.00 | 257.00 | 2570.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 2000.00 | M/s MICRON ELEC-TECH
22.00 | Supplying and fixing of 40Amps double pole MCB, 240/415V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 1250.00 | 6250.00 | 1097.00 | 5485.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 5000.00 | M/s MICRON ELEC-TECH, DElite System Engineering (India) Pvt. Ltd.
23.00 | Supplying and fixing of 63Amps Four pole MCB, 10KA,240/415V, in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 2000.00 | 10000.00 | 2498.00 | 12490.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 10000.00 | M/s MICRON ELEC-TECH, DElite System Engineering (India) Pvt. Ltd., CENTRE TAP ENGINEERING
24.00 | Supply and fixing of PVC Casing and Capping on surface as required: 25 x 12mm | 75.00 | Meter |  | 120.00 | 9000.00 | 55.00 | 4125.00 | 150.00 | 11250.00 | 100.00 | 7500.00 | 4125.00 | Mohammed Shafi C.K
25.00 | Supply and fixing of PVC Casing and Capping on surface as required: 32 x 12mm | 100.00 | Meter |  | 150.00 | 15000.00 | 63.00 | 6300.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 6300.00 | Mohammed Shafi C.K
26.00 | Supply and fixing of PVC Casing and Capping on surface as required: 38x 20mm | 100.00 | Meter |  | 250.00 | 25000.00 | 94.00 | 9400.00 | 155.00 | 15500.00 | 110.00 | 11000.00 | 9400.00 | Mohammed Shafi C.K
27.00 | Supply and fixing of 12V, 130 AH Lead Acid battery suitable for cranking of 160 KVA DG set as required | 2.00 | Each |  | 5000.00 | 10000.00 | 12521.00 | 25042.00 | 10000.00 | 20000.00 | 14000.00 | 28000.00 | 10000.00 | CENTRE TAP ENGINEERING
28.00 | Supply of 12V, 150 AH Lead Acid battery suitable for cranking of 160 KVA DG set as required. | 1.00 | Each |  | 7500.00 | 7500.00 | 15421.00 | 15421.00 | 12000.00 | 12000.00 | 16000.00 | 16000.00 | 7500.00 | CENTRE TAP ENGINEERING
29.00 | Hire charges for providing coloured LED serial light 100 sets (1 set shall consist of 40 Nos bulb) for decorating Depature Terminal Facia and Arrival areas etc for 2 days. | 6.00 | Job |  | 20000.00 | 120000.00 | 15680.00 | 94080.00 | 1000.00 | 6000.00 | 15000.00 | 90000.00 | 6000.00 | M/s MICRON ELEC-TECH
30.00 | Supply and fixing of 250A 4P MCCB,50kA ( C&S make or equivalent etc., as required. | 2.00 | Each |  | 5000.00 | 10000.00 | 23787.00 | 47574.00 | 7000.00 | 14000.00 | 40000.00 | 80000.00 | 10000.00 | CENTRE TAP ENGINEERING
31.00 | Supply and fixing of 30 W LED flood light fitting operating on 230Volt, 50HZ similar to Havells make Cat No. JETAADORNFLS30WLED757SSYMTOTG or its equivalent make etc., as required. | 25.00 | Each |  | 1000.00 | 25000.00 | 2174.00 | 54350.00 | 1500.00 | 37500.00 | 2500.00 | 62500.00 | 25000.00 | CENTRE TAP ENGINEERING
32.00 | Supply and fixing of 600mm x 600mm 30 W LED light fitting operating on 230Volt, 50HZ similar to Philips make Cat No. RC380B LED36S 6500 G6 L60W60 PSU OD or its equivalent make etc., as required. | 25.00 | Each |  | 1000.00 | 25000.00 | 4448.00 | 111200.00 | 1800.00 | 45000.00 | 2999.00 | 74975.00 | 25000.00 | CENTRE TAP ENGINEERING
33.00 | Rewinding with super enamelled copper winding wire,varnishing, baking, overhauling, replacement of ball bearings, capacitor, greasing, refitting etc. of following fans as required: 300 mm Exhaust fan | 3.00 | Each |  | 500.00 | 1500.00 | 1352.00 | 4056.00 | 500.00 | 1500.00 | 900.00 | 2700.00 | 1500.00 | M/s MICRON ELEC-TECH, CENTRE TAP ENGINEERING
34.00 | Rewinding with super enamelled copper winding wire, varnishing, baking, overhauling, replacement of ball bearings, capacitor, greasing, painting refitting etc. of following fans as required: 1200mm Sweep ceiling fan | 3.00 | Each |  | 500.00 | 1500.00 | 1690.00 | 5070.00 | 600.00 | 1800.00 | 900.00 | 2700.00 | 1500.00 | CENTRE TAP ENGINEERING
35.00 | Supply, Installation, Testing and commissioning of Fire Alarm Panel NFS 2-640 series panel notifier by Honeywell make or equivalent etc., as requird | 1.00 | Job |  | 300000.00 | 300000.00 | 358386.00 | 358386.00 | 10000.00 | 10000.00 | 360000.00 | 360000.00 | 10000.00 | M/s MICRON ELEC-TECH
36.00 | Supply and fixing of interlock system in the existing 400Amps MCCB (Two Nos. incomer and 01No. Buscoupler) Three lock and Two key system | 1.00 | Job |  | 15000.00 | 15000.00 | 45080.00 | 45080.00 | 2000.00 | 2000.00 | 190000.00 | 190000.00 | 2000.00 | M/s MICRON ELEC-TECH
| Total in Figures |  |  |  |  | 5467375.00 |  | 5711133.00 |  | 5693392.00 |  | 5869994.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(5467375.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Repair and Maintenance of E and M Installations at Agatti Airport during 2024 to 2026 SH_Facility Management Contract of E and M Installations at Agatti Airport Tender ID: 2024_AAI_194772_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 5467375.00 | L1
| 2 | M/s MICRON ELEC-TECH | 5693392.00 | L2
| 3 | Mohammed Shafi C.K | 5711133.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. | 5869994.00 | L4