## BoQ1
Government eProcurement System Created By: Rajnish Parasher Created Date/Time: 03-Jun-2024 04:04 PM Tender Title: AAI/KUSHI/ENGG-C/eNIT/MS Stair Tender ID: 2024_AAI_194960_1
Tender Inviting Authority: Narendra Kumar
Name of Work: Construction of MS stair, Watch Tower, extension of roof of fire station at Kushinagar International airport, Kushinagar (UP)
Contract No: AAI/KUSHI/ENGG-C/eNIT/MS Stair dated 07.05.2024
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S SHRI PARASNATH CONST.CO (GSTN-07ADWPZ8203F2ZC) BID ID -704298 |  | M/S SHARAD CHANDRA MALL(GSTN-NA)--704613
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 12209.41 | kg | 133.70 | 115.00 | 1404082.15 | 110.00 | 1343035.10 | 1343035.10 | M/S SHARAD CHANDRA MALL
2.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 130.00 | Sqm | 738.70 | 600.00 | 78000.00 | 600.00 | 78000.00 | 78000.00 | M/S SHRI PARASNATH CONST.CO, M/S SHARAD CHANDRA MALL
3.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : A) For fixed portion : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 3.73 | Kg | 495.00 | 425.00 | 1585.25 | 400.00 | 1492.00 | 1492.00 | M/S SHARAD CHANDRA MALL
4.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : A) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) : Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 7.96 | Kg | 598.60 | 425.00 | 3383.00 | 500.00 | 3980.00 | 3383.00 | M/S SHRI PARASNATH CONST.CO
5.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): A) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 2.40 | sqm | 1505.00 | 4800.00 | 11520.00 | 950.00 | 2280.00 | 2280.00 | M/S SHARAD CHANDRA MALL
6.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. A) Twin rubber stopper | 1.00 | each | 72.40 | 150.00 | 150.00 | 50.00 | 50.00 | 50.00 | M/S SHARAD CHANDRA MALL
7.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 150x10 mm | 1.00 | each | 82.60 | 150.00 | 150.00 | 50.00 | 50.00 | 50.00 | M/S SHARAD CHANDRA MALL
8.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : A) 100 mm | 2.00 | each | 59.60 | 200.00 | 400.00 | 50.00 | 100.00 | 100.00 | M/S SHARAD CHANDRA MALL
9.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : a) 100x10 mm | 8.00 | each | 64.70 | 150.00 | 1200.00 | 50.00 | 400.00 | 400.00 | M/S SHARAD CHANDRA MALL
10.00 | Providing and fixing ISI marked aluminium butt hinges anodised (anodic coating not less than grade AC 10 as per IS: 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: A) 100x63x4 mm | 3.00 | each | 104.80 | 400.00 | 1200.00 | 50.00 | 150.00 | 150.00 | M/S SHARAD CHANDRA MALL
11.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : A) 250x16 mm | 1.00 | each | 260.60 | 500.00 | 500.00 | 100.00 | 100.00 | 100.00 | M/S SHARAD CHANDRA MALL
12.00 | Design supply & installation of suspended Spider Glazing system designed to withstand the wind pressure as per IS 875 (Part-III). The Suspended System held with Spider Fittings of SS-316 Grade Steel of approved manufacturer with glass panel having 12 mm thick clear toughened glass held together with SS- 316 Grade Stainless steel Spider & bolt assembly with laminated glass fins 21 mm thick. The Glass fins and glass panel assembly shall be connected to Slab/beams by means of SS- 316 Grade stainless steel brackets & Anchor bolts and at the bottom using SS channel of 50x25x2mm using fastener & anchor bolts, non staining weather sealants of approved make, Teflon/ nylon bushes and separators to prevent bi-metallic contacts, all complete to perform as per specification and approved drawings. The complete system to be designed to accommodate thermal expansion & seismic movements etc. The joints between glass panels (6 to 8 mm) and gaps at the perimeter & in U channel of the assembly to be filled with non staining weather sealant, so as to make the entire system fully water proof & dust proof. The rate shall include all design, Engineering and shop drawing including approval from structural designer, labour, T&P, scaffolding, other incidental charges including wastage, enabling temporary services all fitting fixers nut bolts, washer, Buffer plates, fastener, anchors, SS channel laminated glass etc. all complete. For the purpose of payment, actual elevation area of Glazing including thickness of joints and the portion of Glass panel inside the SS channel shall be measured. | 31.50 | sqm | 9502.00 | 8000.00 | 252000.00 | 8000.00 | 252000.00 | 252000.00 | M/S SHRI PARASNATH CONST.CO, M/S SHARAD CHANDRA MALL
13.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : a)Two or more coats on new work | 511.94 | sqm | 155.90 | 80.00 | 40955.20 | 100.00 | 51194.00 | 40955.20 | M/S SHRI PARASNATH CONST.CO
14.00 | Providing and fixing bolts including nuts and washers complete. | 74.00 | kg | 159.40 | 110.00 | 8140.00 | 100.00 | 7400.00 | 7400.00 | M/S SHARAD CHANDRA MALL
15.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 23.63 | cum | 177.50 | 110.00 | 2599.30 | 50.00 | 1181.50 | 1181.50 | M/S SHARAD CHANDRA MALL
16.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 1.31 | cum | 6812.00 | 4000.00 | 5240.00 | 5000.00 | 6550.00 | 5240.00 | M/S SHRI PARASNATH CONST.CO
17.00 | Providing and laying in position specified grade of reinforced cement concrete excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : A) (1 cement : 1.5 coarse sand : 3 graded stone aggregate 20 mm nominal size) | 5.46 | cum | 9045.80 | 6000.00 | 32760.00 | 7500.00 | 40950.00 | 32760.00 | M/S SHRI PARASNATH CONST.CO
18.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 16.85 | cum | 196.00 | 150.00 | 2527.50 | 200.00 | 3370.00 | 2527.50 | M/S SHRI PARASNATH CONST.CO
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Foundations, footings, bases of columns, etc. for mass concrete | 17.10 | sqm | 392.00 | 250.00 | 4275.00 | 250.00 | 4275.00 | 4275.00 | M/S SHRI PARASNATH CONST.CO, M/S SHARAD CHANDRA MALL
20.00 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level A)Thermo-Mechanically Treated bars of grade Fe-500D or more. | 819.00 | kg | 107.90 | 80.00 | 65520.00 | 70.00 | 57330.00 | 57330.00 | M/S SHARAD CHANDRA MALL
21.00 | Providing Engineering Consultancy Service for Civil Work including Architectural drawing, structural design, and other services including submission of detail drawings and design vetted by IIT/NIT/ reputed Engg Govt. college, detailed Construction Drawing and revision of drawing if required during execution etc. as per specification and as per provisions of NBC & other relevant codes and any other detail related to consultancy work which are essentail for successful execution of work etc completed as per particular specifications and direction of EIC. | 1.00 | Job | 27631.80 | 40000.00 | 40000.00 | 20000.00 | 20000.00 | 20000.00 | M/S SHARAD CHANDRA MALL
| Total in Figures |  |  |  |  | 1956187.40 |  | 1873887.60
Lowest Amount Quoted BY: M/S SHARAD CHANDRA MALL(1873887.60)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/KUSHI/ENGG-C/eNIT/MS Stair Tender ID: 2024_AAI_194960_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S SHARAD CHANDRA MALL | 1873887.60 | L1
| 2 | M/S SHRI PARASNATH CONST.CO | 1956187.40 | L2