## BoQ1
Government eProcurement System Created By: Dadan Singh Created Date/Time: 08-Jul-2024 06:53 PM Tender Title: Re Configuration of NITB Bhopal Airport. SH Misc. Electrical Works like Shifting of Earthing, LT Panel, Cables and other related works. Tender ID: 2024_AAI_195289_1
Tender Inviting Authority: AGM(E-E), AAI, R.B. Airport, Bhopal
Name of Work: Re-Configuration of NITB Bhopal Airport. SH: Misc. Electrical Works like Shifting of Earthing, LT Panel, Cables and other related works.
Contract No: AAI/BPL/ENGG(E)/NIT-01/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RASS CONTRACTOR AND ENGINEERS (GSTN-09AFIPR1600N1Z7) BID ID -713302 |  | surbhi association (GSTN-23AGKPD2522N1ZK) BID ID -714011 |  | DOSHI ELECTRIC ENGG. CO. (GSTN-24AAEFD3355K1ZI) BID ID -714255 |  | Rajpati Construction (GSTN-23AAPFR1193J1ZX) BID ID -714542 |  | BR Power Control and Automation Services (GSTN-06AREPS4024K1ZP) BID ID -714683 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -714743 |  | SARASWAT ENGINEERING SERVICES (GSTN-27AAZFS6239C1ZO) BID ID -714764 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -714816 |  | BATRA ENGINEERS(GSTN-NA)--713835 |  | GVD ENGINEERS & CONTRACTOR(GSTN-NA)--714576 |  | Shiva Enterprises(GSTN-NA)--714773
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Manufacture, Supplying, Outdoor type LT Panel & Transport to the site, Receiving, Unloading, Shifting to various locations, handling, assembling, installation in correct aligned position, grouting with dash fasteners, GI nuts-bolts, testing and commissioning of the following bolted fabricated in compartmentalized conform to IEC60439, IS: 8623/1993, Suitable for 415V, 3Phase, 4 Wire 50 Hz Ac supply, are housed in design from CRCA sheet steel of 2mm thick for frame work and covers, 3mm thick for gland plate, bottom base channel of MS section not less than 100mmx 50mmx50mmx 5mm thick for Main L.T. Panel and 40mm x 25mm x 25mm x 5mm thick plates for MDB/MCC and SDBs etc., incl. cleaning & finishing complete, SMC bus bar supports, with short circuit withstand capacity as mentioned in respective panel item, fabrication shall be done in transportable sections and all front and back doors shall be hinged type and earth with frame. Entire panel shall have a common copper continuous earth bar of size 50mm x 6mm or as specified below, including all features of electrical & mechanical interlocking with incomers.
1.01 | INCOMING- I & II 2 Nos. 630A 4P MCCB Microprocessor based release (Ics = Icu = 50kA) with inbuilt O/L, S/C & E/F protection as per specification Each incomer shall have following Items - 1 Set of RYB phase indicating LED lamps controlled by 2 amp MCB. 1 Set of ON/ OFF/TRIP Indicating LED Lamps With 2 Amp MCB . 1 No. Digital MFM meter and 3 nos. Cast resin CTs of ratio 630A , Class 0.5 accuracy and 10 VA burden. digital multifunction meter suitable to measure voltage, Ampere, Frequency, Power Factor, Measurement of both KVA/KW/kVAH/MDI, Individual Odd Harmonics for voltage and current including THD with RS-485 port with Electrical and Mechanical interlocking for Incomer. 1 Set Rotary operating mechanism and terminal extension spreaders for all MCCB's. For each Incomer- 1 No Surge protection device Type 2 ( Class C), 4 Mode, MOV type suitable for 8/ 20µs surge, Voltage Protection level Up < 1.8kV, Operating Temperature -40 deg 'c' - +80 deg 'C', Connected Between 3Nos. phase to neutral and 1Nos. neutral to earth with discharge Current Imax. ≥ 40KA Per mode & In ≥ 20kA per Mode. SPD with 63A 4P HRC fuses of 100kA breaking capacity. For connecting SPD minimum 10sqmm FRLSH copper wire must be used & length of connecting leads shall not be more than 500mm for per mode connection including all necessary accessories. The SPD shall compliance with IEC 61643-11.
1.02 | BUSBARS 4P Aluminium bus bars of 800A capacity with heat shrinkable coloured sleeves incl. SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 50 KA for 1 sec.
1.03 | OUTGOING 2 Nos. 100A 4P MCCB with built in thermal magnetic release with adjustable thermal setting with in built O/L & S/C protection . (Ics = Icu =25 KA) 10 Nos. 63A 4P MCCB with built in thermal magnetic release with adjustable thermal setting with in built O/L & S/C protection . (Ics = Icu =25 KA) Each outgoing shall have following Items- 1 No ON' (Red), OFF & TRIP indication lamp (LED type) with 2 Amp SP MCB for each outgoing. 1 Set Rotary operating mechanism and terminal extension spreaders for all the ACBs/MCCB's. Thermal magnetic release based MCCBs (Upto 250A) shall be provided with inbuilt O/L & S/C protection & E/F Module with CBCT or Earth Fault Relay (ELR 30-3000mA) with required CTs.
1.04 | LT PANEL as described above | 1.00 | Each |  | 950000.00 | 950000.00 | 850000.00 | 850000.00 | 785000.00 | 785000.00 | 749000.00 | 749000.00 | 247065.00 | 247065.00 | 265000.00 | 265000.00 | 752461.00 | 752461.00 | 485000.00 | 485000.00 | 380000.00 | 380000.00 | 400007.00 | 400007.00 | 590000.00 | 590000.00 | 247065.00 | BR Power Control and Automation Services
2.00 | Supply of 3.5 Core X 300 Sq.mm size. XLPE insulated, PVC sheathed Aluminum conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. | 500.00 | Meter |  | 1450.00 | 725000.00 | 1480.00 | 740000.00 | 1760.00 | 880000.00 | 1342.00 | 671000.00 | 1302.00 | 651000.00 | 1531.00 | 765500.00 | 1218.00 | 609000.00 | 1320.00 | 660000.00 | 1950.00 | 975000.00 | 1400.00 | 700000.00 | 1165.00 | 582500.00 | 582500.00 | Shiva Enterprises
3.00 | Supply of 3.5 Core X 240 Sq.mm size. XLPE insulated, PVC sheathed Aluminum conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. | 500.00 | Meter |  | 1200.00 | 600000.00 | 1250.00 | 625000.00 | 1460.00 | 730000.00 | 1062.00 | 531000.00 | 1056.00 | 528000.00 | 1244.00 | 622000.00 | 990.00 | 495000.00 | 1075.00 | 537500.00 | 1780.00 | 890000.00 | 1188.00 | 594000.00 | 970.00 | 485000.00 | 485000.00 | Shiva Enterprises
4.00 | Supply of 3.5 Core X 50 Sq.mm size. XLPE insulated, PVC sheathed Aluminum conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. | 500.00 | Meter |  | 300.00 | 150000.00 | 352.00 | 176000.00 | 570.00 | 285000.00 | 248.00 | 124000.00 | 269.00 | 134500.00 | 313.00 | 156500.00 | 250.00 | 125000.00 | 270.00 | 135000.00 | 790.00 | 395000.00 | 550.00 | 275000.00 | 260.00 | 130000.00 | 124000.00 | Rajpati Construction
5.00 | Supply of 3.5 Core X 35 Sq.mm size. XLPE insulated, PVC sheathed Aluminum conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required. | 500.00 | Meter |  | 225.00 | 112500.00 | 250.00 | 125000.00 | 450.00 | 225000.00 | 205.00 | 102500.00 | 197.00 | 98500.00 | 231.00 | 115500.00 | 186.00 | 93000.00 | 205.00 | 102500.00 | 380.00 | 190000.00 | 350.00 | 175000.00 | 190.00 | 95000.00 | 93000.00 | SARASWAT ENGINEERING SERVICES
6.00 | Supplying and installing of 150 mm width X 50 mm depth X 1.6 mm thickness size of perforated painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | 300.00 | Meter |  | 650.00 | 195000.00 | 250.00 | 75000.00 | 800.00 | 240000.00 | 425.00 | 127500.00 | 427.00 | 128100.00 | 950.00 | 285000.00 | 461.00 | 138300.00 | 680.00 | 204000.00 | 850.00 | 255000.00 | 550.00 | 165000.00 | 400.00 | 120000.00 | 75000.00 | surbhi association
7.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3½ X 300 sq. mm | 8.00 | Set |  | 1500.00 | 12000.00 | 1200.00 | 9600.00 | 1000.00 | 8000.00 | 5175.00 | 41400.00 | 2222.00 | 17776.00 | 800.00 | 6400.00 | 1913.00 | 15304.00 | 950.00 | 7600.00 | 500.00 | 4000.00 | 1050.00 | 8400.00 | 1330.00 | 10640.00 | 4000.00 | BATRA ENGINEERS
8.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3½ X 240 sq. mm | 8.00 | Set |  | 1400.00 | 11200.00 | 1200.00 | 9600.00 | 800.00 | 6400.00 | 4975.00 | 39800.00 | 2005.00 | 16040.00 | 800.00 | 6400.00 | 1428.00 | 11424.00 | 950.00 | 7600.00 | 450.00 | 3600.00 | 930.00 | 7440.00 | 1100.00 | 8800.00 | 3600.00 | BATRA ENGINEERS
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3½ X 50 sq. mm | 8.00 | Each |  | 500.00 | 4000.00 | 600.00 | 4800.00 | 600.00 | 4800.00 | 2975.00 | 23800.00 | 998.00 | 7984.00 | 300.00 | 2400.00 | 627.00 | 5016.00 | 800.00 | 6400.00 | 350.00 | 2800.00 | 380.00 | 3040.00 | 390.00 | 3120.00 | 2400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3½ X 35 sq. mm | 8.00 | Each |  | 400.00 | 3200.00 | 400.00 | 3200.00 | 500.00 | 4000.00 | 2895.00 | 23160.00 | 704.00 | 5632.00 | 300.00 | 2400.00 | 495.00 | 3960.00 | 600.00 | 4800.00 | 350.00 | 2800.00 | 320.00 | 2560.00 | 355.00 | 2840.00 | 2400.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3½ X 300 sq. mm | 4.00 | Each |  | 6500.00 | 26000.00 | 4500.00 | 18000.00 | 3100.00 | 12400.00 | 8425.00 | 33700.00 | 6646.00 | 26584.00 | 4500.00 | 18000.00 | 6930.00 | 27720.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 4420.00 | 17680.00 | 12000.00 | BATRA ENGINEERS
12.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3½ X 240 sq. mm | 4.00 | Each |  | 5500.00 | 22000.00 | 4000.00 | 16000.00 | 3100.00 | 12400.00 | 7245.00 | 28980.00 | 5804.00 | 23216.00 | 4000.00 | 16000.00 | 6930.00 | 27720.00 | 4000.00 | 16000.00 | 3600.00 | 14400.00 | 6000.00 | 24000.00 | 4420.00 | 17680.00 | 12400.00 | DOSHI ELECTRIC ENGG. CO.
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. i) Above 185 sq. mm and upto 400 sq. mm | 100.00 | Meter |  | 100.00 | 10000.00 | 80.00 | 8000.00 | 50.00 | 5000.00 | 169.00 | 16900.00 | 130.00 | 13000.00 | 154.00 | 15400.00 | 128.00 | 12800.00 | 50.00 | 5000.00 | 300.00 | 30000.00 | 110.00 | 11000.00 | 175.00 | 17500.00 | 5000.00 | DOSHI ELECTRIC ENGG. CO., Manish Electricals
14.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. i) Above 35 sq. mm and upto 95 sq. mm | 100.00 | Meter |  | 100.00 | 10000.00 | 40.00 | 4000.00 | 40.00 | 4000.00 | 112.00 | 11200.00 | 76.00 | 7600.00 | 75.00 | 7500.00 | 84.00 | 8400.00 | 40.00 | 4000.00 | 350.00 | 35000.00 | 50.00 | 5000.00 | 77.00 | 7700.00 | 4000.00 | surbhi association, DOSHI ELECTRIC ENGG. CO., Manish Electricals
15.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. i) Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 800.00 | Meter |  | 150.00 | 120000.00 | 80.00 | 64000.00 | 150.00 | 120000.00 | 142.00 | 113600.00 | 152.00 | 121600.00 | 154.00 | 123200.00 | 128.00 | 102400.00 | 120.00 | 96000.00 | 350.00 | 280000.00 | 100.00 | 80000.00 | 165.00 | 132000.00 | 64000.00 | surbhi association
16.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. i) Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 700.00 | Meter |  | 125.00 | 87500.00 | 40.00 | 28000.00 | 120.00 | 84000.00 | 112.00 | 78400.00 | 98.00 | 68600.00 | 70.00 | 49000.00 | 84.00 | 58800.00 | 90.00 | 63000.00 | 360.00 | 252000.00 | 80.00 | 56000.00 | 100.00 | 70000.00 | 28000.00 | surbhi association
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. i) Above 185 sq. mm and upto 400 sq. mm | 50.00 | Meter |  | 100.00 | 5000.00 | 80.00 | 4000.00 | 70.00 | 3500.00 | 142.00 | 7100.00 | 109.00 | 5450.00 | 110.00 | 5500.00 | 128.00 | 6400.00 | 70.00 | 3500.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 140.00 | 7000.00 | 3500.00 | DOSHI ELECTRIC ENGG. CO., Manish Electricals
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. i) Above 35 sq. mm and upto 95 sq. mm | 50.00 | Meter |  | 100.00 | 5000.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 63.00 | 3150.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 84.00 | 4200.00 | 40.00 | 2000.00 | 250.00 | 12500.00 | 40.00 | 2000.00 | 55.00 | 2750.00 | 2000.00 | surbhi association, GVD ENGINEERS & CONTRACTOR, Manish Electricals
19.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. i) Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 100.00 | Meter |  | 100.00 | 10000.00 | 80.00 | 8000.00 | 150.00 | 15000.00 | 112.00 | 11200.00 | 179.00 | 17900.00 | 138.00 | 13800.00 | 128.00 | 12800.00 | 120.00 | 12000.00 | 290.00 | 29000.00 | 180.00 | 18000.00 | 270.00 | 27000.00 | 8000.00 | surbhi association
20.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. i) Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 100.00 | Meter |  | 100.00 | 10000.00 | 40.00 | 4000.00 | 120.00 | 12000.00 | 104.00 | 10400.00 | 76.00 | 7600.00 | 85.00 | 8500.00 | 84.00 | 8400.00 | 120.00 | 12000.00 | 250.00 | 25000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 4000.00 | surbhi association
21.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Set |  | 8500.00 | 51000.00 | 6500.00 | 39000.00 | 8000.00 | 48000.00 | 6775.00 | 40650.00 | 11707.00 | 70242.00 | 8500.00 | 51000.00 | 9968.00 | 59808.00 | 7000.00 | 42000.00 | 7500.00 | 45000.00 | 9000.00 | 54000.00 | 8500.00 | 51000.00 | 39000.00 | surbhi association
22.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 16.00 | Set |  | 16500.00 | 264000.00 | 15500.00 | 248000.00 | 18000.00 | 288000.00 | 18200.00 | 291200.00 | 21352.00 | 341632.00 | 15500.00 | 248000.00 | 18565.00 | 297040.00 | 16000.00 | 256000.00 | 9900.00 | 158400.00 | 16500.00 | 264000.00 | 18200.00 | 291200.00 | 158400.00 | BATRA ENGINEERS
23.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50mm) | 200.00 | Meter |  | 1245.00 | 249000.00 | 500.00 | 100000.00 | 1150.00 | 230000.00 | 975.00 | 195000.00 | 1312.00 | 262400.00 | 1010.00 | 202000.00 | 1184.00 | 236800.00 | 1150.00 | 230000.00 | 650.00 | 130000.00 | 1100.00 | 220000.00 | 1180.00 | 236000.00 | 100000.00 | surbhi association
24.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 200.00 | Meter |  | 225.00 | 45000.00 | 110.00 | 22000.00 | 250.00 | 50000.00 | 93.00 | 18600.00 | 221.00 | 44200.00 | 140.00 | 28000.00 | 151.00 | 30200.00 | 210.00 | 42000.00 | 350.00 | 70000.00 | 200.00 | 40000.00 | 175.00 | 35000.00 | 18600.00 | Rajpati Construction
25.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 1500.00 | Meter |  | 1625.00 | 2437500.00 | 1420.00 | 2130000.00 | 1300.00 | 1950000.00 | 1132.00 | 1698000.00 | 1592.00 | 2388000.00 | 1250.00 | 1875000.00 | 1588.00 | 2382000.00 | 1560.00 | 2340000.00 | 650.00 | 975000.00 | 1300.00 | 1950000.00 | 1460.00 | 2190000.00 | 975000.00 | BATRA ENGINEERS
26.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 1500.00 | Meter |  | 500.00 | 750000.00 | 300.00 | 450000.00 | 520.00 | 780000.00 | 78.00 | 117000.00 | 518.00 | 777000.00 | 660.00 | 990000.00 | 480.00 | 720000.00 | 540.00 | 810000.00 | 350.00 | 525000.00 | 550.00 | 825000.00 | 450.00 | 675000.00 | 117000.00 | Rajpati Construction
27.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 1500.00 | Meter |  | 1325.00 | 1987500.00 | 1030.00 | 1545000.00 | 1020.00 | 1530000.00 | 1132.00 | 1698000.00 | 1247.00 | 1870500.00 | 1000.00 | 1500000.00 | 1184.00 | 1776000.00 | 1150.00 | 1725000.00 | 400.00 | 600000.00 | 1000.00 | 1500000.00 | 1130.00 | 1695000.00 | 600000.00 | BATRA ENGINEERS
28.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 500.00 | Meter |  | 145.00 | 72500.00 | 130.00 | 65000.00 | 200.00 | 100000.00 | 78.00 | 39000.00 | 166.00 | 83000.00 | 120.00 | 60000.00 | 163.00 | 81500.00 | 250.00 | 125000.00 | 250.00 | 125000.00 | 160.00 | 80000.00 | 150.00 | 75000.00 | 39000.00 | Rajpati Construction
| Total in Figures |  |  |  |  | 8924900.00 |  | 7373200.00 |  | 8415000.00 |  | 6845240.00 |  | 7966121.00 |  | 7441750.00 |  | 8101453.00 |  | 7953900.00 |  | 6429000.00 |  | 7492447.00 |  | 7585410.00
Lowest Amount Quoted BY: BATRA ENGINEERS(6429000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Re Configuration of NITB Bhopal Airport. SH Misc. Electrical Works like Shifting of Earthing, LT Panel, Cables and other related works. Tender ID: 2024_AAI_195289_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BATRA ENGINEERS | 6429000.00 | L1
| 2 | Rajpati Construction | 6845240.00 | L2
| 3 | surbhi association | 7373200.00 | L3
| 4 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 7441750.00 | L4
| 5 | GVD ENGINEERS & CONTRACTOR | 7492447.00 | L5
| 6 | Shiva Enterprises | 7585410.00 | L6
| 7 | Manish Electricals | 7953900.00 | L7
| 8 | BR Power Control and Automation Services | 7966121.00 | L8
| 9 | SARASWAT ENGINEERING SERVICES | 8101453.00 | L9
| 10 | DOSHI ELECTRIC ENGG. CO. | 8415000.00 | L10
| 11 | RASS CONTRACTOR AND ENGINEERS | 8924900.00 | L11