## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 21-Jun-2024 05:47 PM Tender Title: Renovation of existing Toilet blocks of ATC Building and Fire station building and CISF Barracks in operational area at Aurangabad Airport Tender ID: 2024_AAI_196067_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport
Name of Work: Renovation of existing Toilet blocks of ATC Building and Fire station building & CISF Barracks in operational area at Aurangabad Airport
Contract No: 2024_AAI_196067_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AP INTERIOR (GSTN-07BRFPS1740C1Z1) BID ID -705640 |  | B.R.ANAND(GSTN-NA)--708282
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground upto 1000 m lead within Airport premises. | 1186.00 | sqm | 100.00 | 84.00 | 99624.00 | 40.00 | 47440.00 | 47440.00 | B.R.ANAND
2.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material upto 1000 m lead within Airport premises as per directions of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 10.00 | cum | 100.00 | 849.00 | 8490.00 | 900.00 | 9000.00 | 8490.00 | AP INTERIOR
3.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material upto 1000 m lead within Airport premises as per directions of Engineer-in-charge. - In cement mortar | 59.00 | cum | 100.00 | 749.00 | 44191.00 | 1000.00 | 59000.00 | 44191.00 | AP INTERIOR
4.00 | Dismantling and taking away doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. including disposal of unserviceable surplus material as directed by Engineer-in-charge - Of area 3 sq. metres and below | 65.00 | each | 100.00 | 449.00 | 29185.00 | 300.00 | 19500.00 | 19500.00 | B.R.ANAND
5.00 | Dismantling stone slab flooring /granite/marble laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 1000 metres lead of Airport premises. | 79.00 | sqm | 100.00 | 84.00 | 6636.00 | 200.00 | 15800.00 | 6636.00 | AP INTERIOR
6.00 | Dismantling tile work in floors and walls laid in cement mortar including stacking material upto 1000 m lead within Airport premises. (For thickness of tiles 10 mm to 25 mm ) | 1512.00 | sqm | 100.00 | 79.00 | 119448.00 | 60.00 | 90720.00 | 90720.00 | B.R.ANAND
7.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond initial lead, for all leads including all lifts involved. | 198.00 | cum | 100.00 | 649.00 | 128502.00 | 100.00 | 19800.00 | 19800.00 | B.R.ANAND
8.00 | Dismantling W.C. Pan, Urinals, Wash basins of all sizes including disposal of dismantled materials within Airport premises i/c malba all complete as per directions of Engineer-in-Charge. | 105.00 | each | 100.00 | 199.00 | 20895.00 | 100.00 | 10500.00 | 10500.00 | B.R.ANAND
9.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 Coarse sand derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 9.00 | cum | 100.00 | 6349.00 | 57141.00 | 5500.00 | 49500.00 | 49500.00 | B.R.ANAND
10.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5in superstructure above plinth level up to floor V level : Cement mortar 1:3 (1 cement : 3 coarse sand) | 41.00 | sqm | 100.00 | 849.00 | 34809.00 | 1100.00 | 45100.00 | 34809.00 | AP INTERIOR
11.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 300.00 | sqm | 100.00 | 349.00 | 104700.00 | 500.00 | 150000.00 | 104700.00 | AP INTERIOR
12.00 | Cement Plaster in fine sand. 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 1847.00 | sqm | 100.00 | 299.00 | 552253.00 | 250.00 | 461750.00 | 461750.00 | B.R.ANAND
13.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 512.00 | sqm | 100.00 | 74.00 | 37888.00 | 100.00 | 51200.00 | 37888.00 | AP INTERIOR
14.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour Italian Biege, black, Cherry/Ruby red etc. - Area of slab over 0.50 sqm | 79.00 | sqm | 100.00 | 2899.00 | 229021.00 | 3200.00 | 252800.00 | 229021.00 | AP INTERIOR
15.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 152.00 | metre | 100.00 | 549.00 | 83448.00 | 200.00 | 30400.00 | 30400.00 | B.R.ANAND
16.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineerin-Charge. - Granite work | 152.00 | metre | 100.00 | 449.00 | 68248.00 | 200.00 | 30400.00 | 30400.00 | B.R.ANAND
17.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 28.00 | each | 100.00 | 449.00 | 12572.00 | 500.00 | 14000.00 | 12572.00 | AP INTERIOR
18.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length - 15 mm nominal bore | 28.00 | each | 100.00 | 149.00 | 4172.00 | 80.00 | 2240.00 | 2240.00 | B.R.ANAND
19.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick. | 34.00 | sqm | 100.00 | 949.00 | 32266.00 | 700.00 | 23800.00 | 23800.00 | B.R.ANAND
20.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 15.00 | each | 100.00 | 449.00 | 6735.00 | 650.00 | 9750.00 | 6735.00 | AP INTERIOR
21.00 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 5. | 15.00 | each | 100.00 | 3849.00 | 57735.00 | 5100.00 | 76500.00 | 57735.00 | AP INTERIOR
22.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 115.00 | kg | 100.00 | 549.00 | 63135.00 | 500.00 | 57500.00 | 57500.00 | B.R.ANAND
23.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 143.00 | kg | 100.00 | 549.00 | 78507.00 | 500.00 | 71500.00 | 71500.00 | B.R.ANAND
24.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 11.00 | sqm | 100.00 | 1249.00 | 13739.00 | 1000.00 | 11000.00 | 11000.00 | B.R.ANAND
25.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931: 15 mm nominal bore | 29.00 | each | 100.00 | 999.00 | 28971.00 | 800.00 | 23200.00 | 23200.00 | B.R.ANAND
26.00 | Providing and laying antiskid / matt finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) conforming to IS: 15622 with water absorption less than 0.08% of approved make such as Kajaria//Grancier/DonatoSomani or equivalent in all colours and shadeslaid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including providing and mixing water proofing material in mortar @ 1 kg per 50 kg of cement, grouting the joints with white cement and matching pigments, etc., complete. Size of Tile ranging from 500x500 mm -1200x1200 mm. | 325.00 | sqm | 100.00 | 909.00 | 295425.00 | 1400.00 | 455000.00 | 295425.00 | AP INTERIOR
27.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make Kajaria/Grancier/Donato/Somani or equivalent, in all colours & shade, in walls, skirting, dado, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of tile ranging from 500x500 mm - 1200x1200 mm | 1521.00 | sqm | 100.00 | 909.00 | 1382589.00 | 1400.00 | 2129400.00 | 1382589.00 | AP INTERIOR
28.00 | Fixing glazed/ Ceramic/ Vitrified floor tiles with cement based high polymer modified quickset tile adhesive conforming to IS: 15477, in average 3mm thickness. | 1846.00 | sqm | 100.00 | 199.00 | 367354.00 | 350.00 | 646100.00 | 367354.00 | AP INTERIOR
29.00 | Providing and fixing in position factory made precast RCC door frame of minimum 110 mm width and 60 mm depth fixing with hold fast having excellent smooth finish, providing suitable arrangement for recieving sliding door bolts and tower bolt etc. all complete, as per the directions of Engineer-in-Charge. | 308.00 | metre | 100.00 | 949.00 | 292292.00 | 300.00 | 92400.00 | 92400.00 | B.R.ANAND
30.00 | Providing and fixing to existing door frames. 30 mm thick fiber flush door shutter in approved make and finish with all necessary fixing arrangements, hardware accessories such as SS coat hook, SS butt hinges, tower bolts and door bolts complete as per directions of Engineer-in-charge. | 143.00 | sqm | 100.00 | 4449.00 | 636207.00 | 2200.00 | 314600.00 | 314600.00 | B.R.ANAND
31.00 | Providing & fixing commercial waterproof plywood of ISI approved brand and make to be fixed at any location with all necessary fixing accessories, painting of edges with primer complete as per the directions of Engineer-in-charge. a) 18 mm thick plywood | 64.00 | sqm | 100.00 | 1799.00 | 115136.00 | 1600.00 | 102400.00 | 102400.00 | B.R.ANAND
32.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 15 mm nominal dia Pipes | 231.00 | metre | 100.00 | 424.00 | 97944.00 | 350.00 | 80850.00 | 80850.00 | B.R.ANAND
33.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 25 mm nominal dia Pipes | 168.00 | metre | 100.00 | 449.00 | 75432.00 | 400.00 | 67200.00 | 67200.00 | B.R.ANAND
34.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 32 mm nominal dia Pipes | 399.00 | metre | 100.00 | 624.00 | 248976.00 | 400.00 | 159600.00 | 159600.00 | B.R.ANAND
35.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 50 mm nominal dia Pipes | 150.00 | metre | 100.00 | 724.00 | 108600.00 | 600.00 | 90000.00 | 90000.00 | B.R.ANAND
36.00 | Providing and fixing white vitreous china flat back urinal of min size 315x330x420 mm of Astral, Cera, make or equivalent with fittings and standard accessories, standard size C.P. brass flush pipe, spreaders, waste coupling with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, waste trap with outlet grating and other couplings in C.P. brass, painting, fitting, cutting and making good the walls and floors wherever required as per satisfation of Engineer-in-Charge. | 36.00 | each | 100.00 | 7999.00 | 287964.00 | 4000.00 | 144000.00 | 144000.00 | B.R.ANAND
37.00 | Providing and fixing vitreous china Under counter wash basin of approved colour and min size 560 x 400 x 205 mm and oval shape of Astral, Cera, make or equivalent including waste coupling 32 mm size full threaded fixing,painting of fittings, cutting and making good the walls wherever required as per the directions of Engineer-in-Charge. | 16.00 | each | 100.00 | 5449.00 | 87184.00 | 3000.00 | 48000.00 | 48000.00 | B.R.ANAND
38.00 | Providing and fixing floor mounted vitreous china single piece double traps syphonic water closet (EWC) of approved colour with soft close seat cover of min size 610 x 350 x 700 mm of Astral, Cera, make or equivalent including integrated white vitreous china cistern of capacity 10 litres with dual flushing system, including all fittings and fixtures with seat cover, cistern fittings, nuts, bolts and gasket etc including making connection with the existing P/S trap, cutting, making and good the walls and floors wherever required complete in all respect as per directions of Engineer-in-Charge. | 19.00 | each | 100.00 | 9449.00 | 179531.00 | 14000.00 | 266000.00 | 179531.00 | AP INTERIOR
39.00 | Providing and fixing vitreous china Orissa pattern W.C. pan of approved colour of min size 580x440x250 mm with integral type foot rests (Indian type WC pan) of Astral, Cera, make or equivalent including P trap/S trap, minimum 9 litre PVC flushing cistern with flush pipe with manually controlled device (handle lever), all other fittings and fixtures complete including cutting, making and good the walls and floors wherever required as per directions of Engineer-in-charge | 20.00 | each | 100.00 | 4999.00 | 99980.00 | 3000.00 | 60000.00 | 60000.00 | B.R.ANAND
40.00 | Providing and fixing CP Brass Push/pressmatic Pillar cock with Auto-closing system of Astral, Cera, make or equivalent including making connection, etc. complete as per directions of Engineer-in-Charge. | 28.00 | each | 100.00 | 2399.00 | 67172.00 | 3000.00 | 84000.00 | 67172.00 | AP INTERIOR
41.00 | Providing and fixing CP Brass Angular Stop Cock with wall flange of Astral, Cera, make or equivalent as per directions of Engineer-in-charge. | 105.00 | each | 100.00 | 949.00 | 99645.00 | 700.00 | 73500.00 | 73500.00 | B.R.ANAND
42.00 | Providing and fixing CP Brass bottle trap of 32 mm size of Astral, Cera, make or equivalent including 300 mm and 190 mm long wall connection pipes with wall flanges and making connection, etc. all complete as per directions of Engineer-in-charge | 28.00 | each | 100.00 | 1399.00 | 39172.00 | 1500.00 | 42000.00 | 39172.00 | AP INTERIOR
43.00 | Providing and fixing urinal flush cock/valve of Astral, Cera, make or equivalent consisting of CP Brass exposed part lever, cartridge sleeve, flange and concealed part including making connection, cutting, making and good the walls and floors wherever required etc complete as per directions of Engineer-in-Charge. | 36.00 | each | 100.00 | 2749.00 | 98964.00 | 3000.00 | 108000.00 | 98964.00 | AP INTERIOR
44.00 | Providing and fixing health faucet ABS body, 8mm size of Astral, Cera, make or equivalent with 1 m long SS braided connection pipe, in chrome finish, wall hooks, etc. including making connection all complete as per directions of Engineer-in-charge | 41.00 | each | 100.00 | 1349.00 | 55309.00 | 1000.00 | 41000.00 | 41000.00 | B.R.ANAND
45.00 | Providing and fixing CP Brass tissue paper roll holder with lid for toilets of Astral, Cera, make or equivalent including cutting, making and good the walls and floors wherever required as per directions of Engineer-in-charge. | 41.00 | each | 100.00 | 649.00 | 26609.00 | 800.00 | 32800.00 | 26609.00 | AP INTERIOR
46.00 | Providing and fixing SS towel rail with chrome finish, minimum 600 mm long for bathrooms of Astral, Cera, make or equivalent including cutting, making and good the walls and floors wherever required as per directions of Engineer-in-charge. | 15.00 | each | 100.00 | 2799.00 | 41985.00 | 1050.00 | 15750.00 | 15750.00 | B.R.ANAND
47.00 | Providing & fixing soap dispenser with glass bottle and SS chrome finish accesories of Astral, Cera, make or equivalent including cutting, making and good the walls and floors wherever required etc. complete as per directions of Engineer-in-charge. | 28.00 | each | 100.00 | 1199.00 | 33572.00 | 1000.00 | 28000.00 | 28000.00 | B.R.ANAND
48.00 | Providing and fixing vitreous china wall hung wash basin of approved colour of Astral, Cera, make or equivalent of size 475 x 370 x 195 mm including waste coupling, fixing accessories, painting of fittings, cutting and making good the walls wherever required as per directions of Engineer-in-charge | 12.00 | each | 100.00 | 3999.00 | 47988.00 | 1800.00 | 21600.00 | 21600.00 | B.R.ANAND
49.00 | Providing and fixing CP Brass 2 way bib cock 15 mm nominal bore with wall flange of Astral, Cera, make or equivalent including making connection, etc as per directions of Engineer-in-Charge. | 39.00 | each | 100.00 | 1749.00 | 68211.00 | 1300.00 | 50700.00 | 50700.00 | B.R.ANAND
50.00 | Provding and fixing 6 mm thick mirror of superior glass (of approved quality) and of required shape and size. Mirror to be fixed on wall with the help of CP brass scews and cap, including brackets, cutting, making and good the walls and floors wherever required etc, complete as per directions of Engineer-in-charge. (Note: Any modification in mirror backing material at the time of execution will be paid separately) | 30.00 | sqm | 100.00 | 2399.00 | 71970.00 | 1200.00 | 36000.00 | 36000.00 | B.R.ANAND
51.00 | Providing & Fixing PVC ball valve with lever of size 32 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 42.00 | each | 100.00 | 1249.00 | 52458.00 | 300.00 | 12600.00 | 12600.00 | B.R.ANAND
52.00 | Providing & Fixing PVC ball valve with lever of size 50 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 42.00 | each | 100.00 | 1649.00 | 69258.00 | 320.00 | 13440.00 | 13440.00 | B.R.ANAND
53.00 | Providing & Fixing PVC ball valve with lever of size 75 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 42.00 | each | 100.00 | 1949.00 | 81858.00 | 1200.00 | 50400.00 | 50400.00 | B.R.ANAND
54.00 | Providing and fixing bronze gate valve Zoloto or equivalent make 40mm nominal bore of approved quality to existing pipeline as per the directions of Engineer-Incharge. | 28.00 | each | 100.00 | 2849.00 | 79772.00 | 3175.00 | 88900.00 | 79772.00 | AP INTERIOR
55.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per directions of Engineer In Charge - 110 mm Dia. | 252.00 | metre | 100.00 | 409.00 | 103068.00 | 320.00 | 80640.00 | 80640.00 | B.R.ANAND
56.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions,traps, junctions, tees, elbows, etc. complete as per directions of Engineer In Charge - 75 mm Dia. | 252.00 | metre | 100.00 | 404.00 | 101808.00 | 200.00 | 50400.00 | 50400.00 | B.R.ANAND
57.00 | Providing and fixing UPVC pipes of 40 mm dia of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per directions of Engineer In Charge. | 252.00 | metre | 100.00 | 414.00 | 104328.00 | 200.00 | 50400.00 | 50400.00 | B.R.ANAND
58.00 | Providing and fixing in position 30 mm thick machine cut Cuddapah stone for kitchen platform, shelves, venity counters, stand etc. complete at all levels as per the directions of Engineer-in-charge. | 22.00 | sqm | 100.00 | 999.00 | 21978.00 | 700.00 | 15400.00 | 15400.00 | B.R.ANAND
59.00 | Providing and fixing stainless steel jali (grating) with or without hole for waste pipe for floor / Nahani trap 100 mm diameter including sealing with white cement as per the directions of Engineer-in-charge | 141.00 | each | 100.00 | 90.00 | 12690.00 | 100.00 | 14100.00 | 12690.00 | AP INTERIOR
| Total in Figures |  |  |  |  | 7474740.00 |  | 7197580.00
Lowest Amount Quoted BY: B.R.ANAND(7197580.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of existing Toilet blocks of ATC Building and Fire station building and CISF Barracks in operational area at Aurangabad Airport Tender ID: 2024_AAI_196067_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | B.R.ANAND | 7197580.00 | L1
| 2 | AP INTERIOR | 7474740.00 | L2