## BoQ1
Government eProcurement System Created By: Jyoti Prakash chauhan Created Date/Time: 09-Aug-2024 12:47 PM Tender Title: Provision of Elevators for Hostel Blocks (Block-03 and Block-06) at CATC, Prayagraj (Electrical and Civil Works). Tender ID: 2024_AAI_196140_1
Tender Inviting Authority:- Asstt. Gen. Manager (Engg-E), Airports Authority of India, Engineering Section, CATC, Prayagraj.
Name of Work:-Provision of Elevators for hostel Blocks (Block-03 and Block-06) at CATC prayagraj (Electrical and Civil Works).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | KRISHNA REFRIGERATION (GSTN-09AGYPK1790P1Z9) BID ID -713221
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of 10 passengers (680 Kgs) Lift (G+2) 3 stops & 3 opening at same side, S.S. Hair line Finish Power operated centre opening sliding door along with AC V3F controller, Gearless Machine in Machine Room located directly above lift well, 3 phase, 50 cycles, 415 volts electric supply complete in all respect and as per enclosed specifications. | 2.00 | Job | 10.00 | 1742465.00 | 3484930.00 | 3484930.00 | KRISHNA REFRIGERATION
2.00 | Type of elevator- machine room less, gear less
3.00 | Load & Speed: 680 Kg &1.0 ms
4.00 | Drive: Micro Processor Based AC VVVF
5.00 | Travel height- 10 mtr approx.
6.00 | No. of Floors: 3 (G+2)
7.00 | Floors Display Character: G,I,2,
8.00 | Number of Landing Entrance: 3 (G+2)
9.00 | No. of Position of Car Indicator: 1 (One) in front only
10.00 | Position of Mahcinery : Directly above the Lift Well
11.00 | Lift car Size: 1100 mm (W) X 1300 mm(D) X 2200 mm (H)
12.00 | Clear opening of Gate/Doors 800 mm W X 2000 mm( H)
13.00 | Lift well:- As per OEM standard/recommendations
14.00 | Type of Control : Microprocessor Based Simple Selective Collective Control with/without attendant.
15.00 | Electric Supply: AC3 Phase 50 Cycles, 415 Volts+- 10%
16.00 | Supply of 1.1 KV grade PVC XLPE insulated PVC sheathed armourd cable of following sizes confirming to IS 1554 / 7098 (Part-I) with latest amendments of the following sizes etc. complete as required. (a) 3.5x 35sqmm | 500.00 | Meter | 10.00 | 482.00 | 241000.00 | 241000.00 | KRISHNA REFRIGERATION
17.00 | Dismantling with recover of refrigerant, shifting and reinstallation, testing and commissioning of 20 HP VRV AC ODU units by pressure testing, leakage repairing, flushing with nitrogen gas, vaccumissing and topping up R410 refrigerant including copper piping, communications of IDU & ODU, shifting at new location and ITC of the same etc complete as required. | 1.00 | Each | 10.00 | 52941.00 | 52941.00 | 52941.00 | KRISHNA REFRIGERATION
18.00 | Execution of misc. items on requirement basis covered under CPWD Schedule of Rates (Electrical) 2022 -GST for items will be derived and adjusted (If agency wants to quote same rate put 1, for 10% above put 1.1 or 10% below put 0.9) | 300000.00 | Job | 10.00 | 1.00 | 300000.00 | 300000.00 | KRISHNA REFRIGERATION
19.00 | Comprehensive Maintenance Contract of 02 Nos. of lifts (02 nos. 10 passengers (680 Kgs) Lift (G+2) 3 stops & 3 opening at same side with all materilas, technicians, consumables, 3 phase, 50 cycles, 415 volts electric supply complete in all respect and as per terms and conditions of tender conditions etc complete as required.
20.00 | During 1st year after defect liabity period | 1.00 | Annual | 10.00 | 188235.00 | 188235.00 | 188235.00 | KRISHNA REFRIGERATION
21.00 | During 2nd year after defect liabity period | 1.00 | Annual | 10.00 | 200000.00 | 200000.00 | 200000.00 | KRISHNA REFRIGERATION
22.00 | During 3rd year after defect liabity period | 1.00 | Annual | 10.00 | 213235.00 | 213235.00 | 213235.00 | KRISHNA REFRIGERATION
23.00 | During 4th year after defect liabity period | 1.00 | Annual | 10.00 | 226471.00 | 226471.00 | 226471.00 | KRISHNA REFRIGERATION
24.00 | Operation and day to day maintenance of 02 lifts seven days in a week including holidays in one shift by providing the semi skilled man power, tools & tackles and attending the minor breakdown etc. complete as required. ( Semi Skilled- 01 no.)
25.00 | During defect liabity period | 12.00 | Months | 10.00 | 34634.00 | 415608.00 | 415608.00 | KRISHNA REFRIGERATION
26.00 | During 1st year after defect liabity period | 12.00 | Months | 10.00 | 36457.00 | 437484.00 | 437484.00 | KRISHNA REFRIGERATION
27.00 | During 2nd year after defect liabity period | 12.00 | Months | 10.00 | 38376.00 | 460512.00 | 460512.00 | KRISHNA REFRIGERATION
28.00 | During 3rd year after defect liabity period | 12.00 | Months | 10.00 | 40396.00 | 484752.00 | 484752.00 | KRISHNA REFRIGERATION
29.00 | During 4th year after defect liabity period | 12.00 | Months | 10.00 | 42522.00 | 510264.00 | 510264.00 | KRISHNA REFRIGERATION
30.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: In cement mortar | 10.00 | cum | 10.00 | 5882.00 | 58820.00 | 58820.00 | KRISHNA REFRIGERATION
31.00 | Demolishing R.C.C. work by mechanical means and stockpiling at designated locations and disposal of dismantled materials up to a lead of 1 kilometre, stacking serviceable and unserviceable material separately including cutting reinforcement bars | 5.00 | cum | 10.00 | 76471.00 | 382355.00 | 382355.00 | KRISHNA REFRIGERATION
32.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 4.00 | cum | 10.00 | 6706.00 | 26824.00 | 26824.00 | KRISHNA REFRIGERATION
33.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 9.00 | cum | 10.00 | 529.00 | 4761.00 | 4761.00 | KRISHNA REFRIGERATION
34.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 65.00 | cum | 10.00 | 318.00 | 20670.00 | 20670.00 | KRISHNA REFRIGERATION
35.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 26.00 | cum | 10.00 | 126.00 | 3276.00 | 3276.00 | KRISHNA REFRIGERATION
36.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 3.00 | cum | 10.00 | 271.00 | 813.00 | 813.00 | KRISHNA REFRIGERATION
37.00 | Surface dressing of the ground including removing vegetation and inequalities not exceeding 15 cm deep and disposal of rubbish, lead upto 50 m and lift up to 1.5 m. All kinds of soil | 250.00 | sqm | 10.00 | 24.00 | 6000.00 | 6000.00 | KRISHNA REFRIGERATION
38.00 | Extra for levelling & neatly dressing of disposed soil completely as directed by Engineer-in-charge | 15.00 | cum | 10.00 | 529.00 | 7935.00 | 7935.00 | KRISHNA REFRIGERATION
39.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Edges of slabs and breaks in floors and walls: Under 20 cm wide | 39.00 | mtr | 10.00 | 412.00 | 16068.00 | 16068.00 | KRISHNA REFRIGERATION
40.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 5.00 | cum | 10.00 | 12941.00 | 64705.00 | 64705.00 | KRISHNA REFRIGERATION
41.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 2911.00 | kg | 10.00 | 165.00 | 480315.00 | 480315.00 | KRISHNA REFRIGERATION
42.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 26.00 | sqm | 10.00 | 765.00 | 19890.00 | 19890.00 | KRISHNA REFRIGERATION
43.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Suspended floors, roofs, landings, balconies and accessplatform | 33.00 | sqm | 10.00 | 1529.00 | 50457.00 | 50457.00 | KRISHNA REFRIGERATION
44.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 99.00 | sqm | 10.00 | 1235.00 | 122265.00 | 122265.00 | KRISHNA REFRIGERATION
45.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 120.00 | sqm | 10.00 | 1529.00 | 183480.00 | 183480.00 | KRISHNA REFRIGERATION
46.00 | Centering and shuttering including strutting, propping etc. and removal of form for: Columns, Pillars, Piers, Abutments, Posts and Struts | 142.00 | sqm | 10.00 | 1529.00 | 217118.00 | 217118.00 | KRISHNA REFRIGERATION
47.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 30.00 | cum | 10.00 | 17647.00 | 529410.00 | 529410.00 | KRISHNA REFRIGERATION
48.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement: 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 142.00 | cum | 10.00 | 22353.00 | 3174126.00 | 3174126.00 | KRISHNA REFRIGERATION
49.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 15.00 | cum | 10.00 | 22353.00 | 335295.00 | 335295.00 | KRISHNA REFRIGERATION
50.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | 7.00 | cum | 10.00 | 15294.00 | 107058.00 | 107058.00 | KRISHNA REFRIGERATION
51.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more | 5927.00 | kg | 10.00 | 176.00 | 1043152.00 | 1043152.00 | KRISHNA REFRIGERATION
52.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1 :6 (1 cement : 6 coarse sand) | 63.00 | cum | 10.00 | 16471.00 | 1037673.00 | 1037673.00 | KRISHNA REFRIGERATION
53.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 5.00 | cum | 10.00 | 14706.00 | 73530.00 | 73530.00 | KRISHNA REFRIGERATION
54.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 20.00 | sqm | 10.00 | 159.00 | 3180.00 | 3180.00 | KRISHNA REFRIGERATION
55.00 | Smooth finishing of the exposed surface of R.C.C. work with 6 mm thick cement mortar 1:3 (1 Cement : 3 fine sand). | 111.00 | sqm | 10.00 | 765.00 | 84915.00 | 84915.00 | KRISHNA REFRIGERATION
56.00 | 12 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand) | 220.00 | sqm | 10.00 | 765.00 | 168300.00 | 168300.00 | KRISHNA REFRIGERATION
57.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 353.00 | sqm | 10.00 | 112.00 | 39536.00 | 39536.00 | KRISHNA REFRIGERATION
58.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic compound ) content. With water thinnable cement primer on wall surface having VOC content less than 50 grams/litre | 353.00 | sqm | 10.00 | 64.00 | 22592.00 | 22592.00 | KRISHNA REFRIGERATION
59.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 295.00 | sqm | 10.00 | 138.00 | 40710.00 | 40710.00 | KRISHNA REFRIGERATION
60.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour Two Coats | 58.00 | sqm | 10.00 | 400.00 | 23200.00 | 23200.00 | KRISHNA REFRIGERATION
61.00 | Finishing walls with Acrylic Smooth exterior paint of required shade: New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 20.00 | sqm | 10.00 | 255.00 | 5100.00 | 5100.00 | KRISHNA REFRIGERATION
62.00 | Neat cement punning. | 20.00 | sqm | 10.00 | 82.00 | 1640.00 | 1640.00 | KRISHNA REFRIGERATION
63.00 | Washed stone grit plaster on exterior walls height upto 10 metre above ground level, in two layers, under layer 12 mm cement plaster 1:4 (1 cement : 4 coarse sand ), furrowing the under layer with scratching tool, applying cement slurry on the under layer @ 2 Kg of cement per square metre, top layer 15 mm cement plaster 1:1/ 2:2 (1 cement: 1/2 coarse sand : 2 stone chipping 10 mm nominal size), in panels with groove all around as per approved pattern, including scrubbing and washing the top layer with brushes and water to expose the stone chippings ,complete as per specification and direction of Engineer-in-charge (payment for providing grooves shall be made separately). | 255.00 | sqm | 10.00 | 2000.00 | 510000.00 | 510000.00 | KRISHNA REFRIGERATION
64.00 | Extra for washed grit plaster on exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | 41.00 | sqm | 10.00 | 176.00 | 7216.00 | 7216.00 | KRISHNA REFRIGERATION
65.00 | Forming groove of uniform size in the top layer of washed stone grit plaster as per approved pattern using wooden battens, nailed to the under layer, including removal of wooden battens, repair to the edges of panels and finishing the groove complete as per specifications and direction of the Engineer-in-charge : 20 mm wide and 15 mm deep groove | 120.00 | mtr | 10.00 | 96.00 | 11520.00 | 11520.00 | KRISHNA REFRIGERATION
66.00 | Providing and fixing in position Stainless steel Grade 304 plate-1.0 mm thick as per design for expansion joints.- 200mm wide | 40.00 | mtr | 10.00 | 1101.00 | 44040.00 | 44040.00 | KRISHNA REFRIGERATION
67.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 403.00 | kg | 10.00 | 196.00 | 78988.00 | 78988.00 | KRISHNA REFRIGERATION
68.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage For vertical surface two coats @ 0.70 kg per sqm | 60.00 | sqm | 10.00 | 1059.00 | 63540.00 | 63540.00 | KRISHNA REFRIGERATION
69.00 | Providing and applying integral crystalline slurry of hydrophilic in nature for waterproofing treatment to the RCC structures like retaining walls of the basement, water tanks, roof slabs, podiums, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc., prepared by mixing in the ratio of 5 : 2 (5 parts integral crystalline slurry : 2 parts water) for vertical surfaces and 3 : 1 (3 parts integral crystalline slurry : 1 part water) for horizontal surfaces and applying the same from negative (internal) side with the help of synthetic fiber brush. The material shall meet the requirements as specified in ACI- 212-3R-2010 i.e by reducing permeability of concrete by more than 90% compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure on negative side. The crystalline slurry shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage For horizontal surface one coat @1.10 kg per sqm. | 18.00 | sqm | 10.00 | 882.00 | 15876.00 | 15876.00 | KRISHNA REFRIGERATION
70.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 9.00 | metre | 10.00 | 1471.00 | 13239.00 | 13239.00 | KRISHNA REFRIGERATION
71.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes: 110 mm diameter | 48.00 | metre | 10.00 | 541.00 | 25968.00 | 25968.00 | KRISHNA REFRIGERATION
72.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion Bend 87.5°- 110 mm bend | 6.00 | each | 10.00 | 194.00 | 1164.00 | 1164.00 | KRISHNA REFRIGERATION
73.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25mm thick | 48.00 | sqm | 10.00 | 2306.00 | 110688.00 | 110688.00 | KRISHNA REFRIGERATION
74.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 4.00 | sqm | 10.00 | 2918.00 | 11672.00 | 11672.00 | KRISHNA REFRIGERATION
75.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 8.00 | sqm | 10.00 | 8493.00 | 67944.00 | 67944.00 | KRISHNA REFRIGERATION
76.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of colour black, Cherry/Ruby red Area of slab over and above 0.50 sqm | 84.00 | sqm | 10.00 | 8493.00 | 713412.00 | 713412.00 | KRISHNA REFRIGERATION
77.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. Granite work | 100.00 | mtr | 10.00 | 576.00 | 57600.00 | 57600.00 | KRISHNA REFRIGERATION
78.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1 :4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge :Polished Granite stone slab of colour Black, Cherry/Ruby Red or equivalent | 20.00 | sqm | 10.00 | 5678.00 | 113560.00 | 113560.00 | KRISHNA REFRIGERATION
79.00 | Deduct for not using 20 mm thick cement mortar 1 :4 (1 cement : 4 coarse sand) bedding in laying of floor tiles and jointing with grey cement slurry @ 3.3 kg/ sqm | 12.00 | sqm | 10.00 | 824.00 | 9888.00 | 9888.00 | KRISHNA REFRIGERATION
80.00 | Fixing Granite Flooring slab or facia with stone fixing epoxy adhesive ( resin and hardener mixed in ratio and applied as per manufacturer specification) at places required complete as per satisfaction of EIC. | 32.00 | sqm | 10.00 | 3726.00 | 119232.00 | 119232.00 | KRISHNA REFRIGERATION
| Total in Figures |  |  |  |  | 17546148.00
Lowest Amount Quoted BY: KRISHNA REFRIGERATION(17546148.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Elevators for Hostel Blocks (Block-03 and Block-06) at CATC, Prayagraj (Electrical and Civil Works). Tender ID: 2024_AAI_196140_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KRISHNA REFRIGERATION | 17546148.00 | L1