## BoQ1
Government eProcurement System Created By: Ashvin Kumar Singh Created Date/Time: 23-Jul-2024 03:59 PM Tender Title: Shifting of Various Offices of CISF and Airlines located at First Floor to Ground Floor of Terminal Building to decongest the SHA at First Floor at Srinagar Airport. SH Electrical Works Tender ID: 2024_AAI_196355_1
Tender Inviting Authority: AGM (ENGG-ELECT), AAI, SRINAGAR INTERNATIONAL AIRPORT, SRINAGAR, J&K-190007.
Name of Work: Shifting of Various Offices of CISF and Airlines located at First Floor to Ground Floor of Terminal Building to decongest the SHA at First Floor at Srinagar Airport​. SH: ELECTRICAL WORKS.
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ARNAV ENGINEERING CONSULTANCY SERVICES (GSTN-07ABKFA7102Q1Z4) BID ID -712981 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -713474 |  | ANUKOM ENTERPRISES(GSTN-NA)--704212 |  | M/s AL-HUDA ELECTRICAL AND MAINTENANCE(GSTN-NA)--712608 |  | PowerStar Electrical and Mechanical Engineering Works(GSTN-NA)--712472 |  | GVD ENGINEERS & CONTRACTOR(GSTN-NA)--712959 |  | BAKHTAWAR AHMAD RATHER(GSTN-NA)--705376
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2'X2' recess/ surface mounting 36W full window LED light fixture having white powder coated CRCA housing with heat sink, driver and front frame with translucent cover complete with all accessories as per specifications of tender. | 50.00 | Each |  | 1900.00 | 95000.00 | 1800.00 | 90000.00 | 2200.00 | 110000.00 | 1800.00 | 90000.00 | 1800.00 | 90000.00 | 2125.00 | 106250.00 | 1550.00 | 77500.00 | 77500.00 | BAKHTAWAR AHMAD RATHER
2.00 | Supply of following rating high efficacy and low power consumption LED High Bay Light (5700K to 6500K) with powder coated pressure die-cast aluminum housing having aluminium heat sink fins for efficient heat dissipation, minimum IP 65 protection, weatherproof gasket and control gear compartments, integral electronic driver, in built electronic driver (SMPS based constant current supply) suspended mounting arrangements, 90 degree beam angle etc with all accessories as per specifications of tender complete as required of following rating.
2.10 | 200 Watt LED | 25.00 | Each |  | 6650.00 | 166250.00 | 6700.00 | 167500.00 | 6500.00 | 162500.00 | 9000.00 | 225000.00 | 8500.00 | 212500.00 | 6375.00 | 159375.00 | 2500.00 | 62500.00 | 62500.00 | BAKHTAWAR AHMAD RATHER
2.20 | 150 Watt LED | 20.00 | Each |  | 5600.00 | 112000.00 | 5000.00 | 100000.00 | 5500.00 | 110000.00 | 6500.00 | 130000.00 | 7500.00 | 150000.00 | 5100.00 | 102000.00 | 5000.00 | 100000.00 | 100000.00 | BAKHTAWAR AHMAD RATHER, Awasthi Electric Works
2.30 | 100 Watt LED | 20.00 | Each |  | 4500.00 | 90000.00 | 4000.00 | 80000.00 | 4500.00 | 90000.00 | 4500.00 | 90000.00 | 6500.00 | 130000.00 | 4080.00 | 81600.00 | 5500.00 | 110000.00 | 80000.00 | Awasthi Electric Works
3.00 | Supply of 15/ 18 watt round/square shape recess mounted LED Down lighter suitable n operation of 240 V AC supply and as per specifications of tender complete as required. | 100.00 | Nos. |  | 450.00 | 45000.00 | 590.00 | 59000.00 | 1500.00 | 150000.00 | 800.00 | 80000.00 | 900.00 | 90000.00 | 935.00 | 93500.00 | 700.00 | 70000.00 | 45000.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
4.00 | Supply of 18/20 watt LED Batten of 4ft complete with aluminimum extruded LED tube suitable n operation of 240 V AC supply and as per specifications of tender complete as required.. | 50.00 | Nos. |  | 260.00 | 13000.00 | 340.00 | 17000.00 | 850.00 | 42500.00 | 500.00 | 25000.00 | 750.00 | 37500.00 | 297.50 | 14875.00 | 500.00 | 25000.00 | 13000.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
5.00 | Supply of 10W Mirror LED Light luminaire suitable on operation of 240 V AC supply and as per specifications of tender complete as required. | 20.00 | Nos. |  | 350.00 | 7000.00 | 220.00 | 4400.00 | 750.00 | 15000.00 | 500.00 | 10000.00 | 560.00 | 11200.00 | 1700.00 | 34000.00 | 1500.00 | 30000.00 | 4400.00 | Awasthi Electric Works
6.00 | Installation, testing and commissioning of pre-wired, LED fitting with driver/ fluorescent fitting /highbay fitting/ compact fluorescent / fitting of all types, complete with all accessories directly on ceiling/ wall/ surface/ truss, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. along with dismantling of existing light/highbay fittings as required. Dismantled fillting is to be handed over to AAI. | 290.00 | Each |  | 70.00 | 20300.00 | 300.00 | 87000.00 | 600.00 | 174000.00 | 100.00 | 29000.00 | 50.00 | 14500.00 | 153.00 | 44370.00 | 300.00 | 87000.00 | 14500.00 | PowerStar Electrical and Mechanical Engineering Works
7.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 30.00 | Nos. |  | 300.00 | 9000.00 | 350.00 | 10500.00 | 850.00 | 25500.00 | 50.00 | 1500.00 | 200.00 | 6000.00 | 255.00 | 7650.00 | 2400.00 | 72000.00 | 1500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required.
8.10 | Upto 450 mm sweep | 5.00 | Nos. |  | 200.00 | 1000.00 | 600.00 | 3000.00 | 760.00 | 3800.00 | 50.00 | 250.00 | 100.00 | 500.00 | 425.00 | 2125.00 | 1800.00 | 9000.00 | 250.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
9.00 | Installation of Bracket mounted/Wall mounted fan in wall/ Pillers i/c connection, testing, commissioning etc. as required.
9.10 | Upto 450 mm sweep | 5.00 | Nos. |  | 250.00 | 1250.00 | 600.00 | 3000.00 | 750.00 | 3750.00 | 50.00 | 250.00 | 100.00 | 500.00 | 127.50 | 637.50 | 4300.00 | 21500.00 | 250.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.00 | Installation, Testing & commissioning of existing 35 Ltr storage type Geyser etc as reqd. | 5.00 | Nos. |  | 200.00 | 1000.00 | 700.00 | 3500.00 | 750.00 | 3750.00 | 50.00 | 250.00 | 500.00 | 2500.00 | 297.50 | 1487.50 | 15000.00 | 75000.00 | 250.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.00 | Supply of following size of 1.1 kv grade multicore aluminium conductor, XLPE insulated and PVC sheathed armoured cable as per IS: 7098:1988 (Part-I) with upto date amendments.
11.10 | 4core 10 sqmm | 500.00 | Mtr |  | 180.00 | 90000.00 | 170.00 | 85000.00 | 160.00 | 80000.00 | 300.00 | 150000.00 | 110.00 | 55000.00 | 102.00 | 51000.00 | 160.00 | 80000.00 | 51000.00 | GVD ENGINEERS & CONTRACTOR
11.20 | 4 core, 16 Sq.mm. | 500.00 | Mtr |  | 195.00 | 97500.00 | 185.00 | 92500.00 | 250.00 | 125000.00 | 350.00 | 175000.00 | 185.00 | 92500.00 | 144.50 | 72250.00 | 170.00 | 85000.00 | 72250.00 | GVD ENGINEERS & CONTRACTOR
11.30 | 3.5 core x 25 Sq.mm | 500.00 | Mtr. |  | 270.00 | 135000.00 | 210.00 | 105000.00 | 325.00 | 162500.00 | 450.00 | 225000.00 | 250.00 | 125000.00 | 204.00 | 102000.00 | 190.00 | 95000.00 | 95000.00 | BAKHTAWAR AHMAD RATHER
11.40 | 3.5 core x 35 Sq.mm. | 200.00 | Mtr |  | 315.00 | 63000.00 | 280.00 | 56000.00 | 410.00 | 82000.00 | 500.00 | 100000.00 | 320.00 | 64000.00 | 255.00 | 51000.00 | 120.00 | 24000.00 | 24000.00 | BAKHTAWAR AHMAD RATHER
12.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/PVC pipe as required
12.10 | Upto 35 sq. mm | 100.00 | Mtr |  | 65.00 | 6500.00 | 40.00 | 4000.00 | 150.00 | 15000.00 | 30.00 | 3000.00 | 230.00 | 23000.00 | 42.50 | 4250.00 | 30.00 | 3000.00 | 3000.00 | BAKHTAWAR AHMAD RATHER, M/s AL-HUDA ELECTRICAL AND MAINTENANCE
13.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
13.10 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtr |  | 50.00 | 5000.00 | 140.00 | 14000.00 | 150.00 | 15000.00 | 50.00 | 5000.00 | 250.00 | 25000.00 | 42.50 | 4250.00 | 30.00 | 3000.00 | 3000.00 | BAKHTAWAR AHMAD RATHER
14.00 | Supplying and making indoor end termination with brass single compression gland (Heavy duty type) and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor armoured cable of 1.1 KV grade as required.
14.10 | 4 core, 10 Sq.mm. | 5.00 | Set |  | 300.00 | 1500.00 | 210.00 | 1050.00 | 160.00 | 800.00 | 200.00 | 1000.00 | 50.00 | 250.00 | 170.00 | 850.00 | 60.00 | 300.00 | 250.00 | PowerStar Electrical and Mechanical Engineering Works
14.20 | 4 core, 16 Sq.mm. | 5.00 | Set |  | 350.00 | 1750.00 | 250.00 | 1250.00 | 250.00 | 1250.00 | 300.00 | 1500.00 | 100.00 | 500.00 | 212.50 | 1062.50 | 70.00 | 350.00 | 350.00 | BAKHTAWAR AHMAD RATHER
14.30 | 3.5core X 25 Sq.mm. | 5.00 | Set |  | 400.00 | 2000.00 | 290.00 | 1450.00 | 325.00 | 1625.00 | 400.00 | 2000.00 | 200.00 | 1000.00 | 255.00 | 1275.00 | 90.00 | 450.00 | 450.00 | BAKHTAWAR AHMAD RATHER
14.40 | 3.5core X 35 Sq.mm. | 5.00 | Set |  | 450.00 | 2250.00 | 370.00 | 1850.00 | 410.00 | 2050.00 | 400.00 | 2000.00 | 250.00 | 1250.00 | 297.50 | 1487.50 | 120.00 | 600.00 | 600.00 | BAKHTAWAR AHMAD RATHER
15.00 | Supplying and fixing 6 way, double door, polycarbonate type SPN with Acrylic door , MCB distribution board,230 V, on surface, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, including earthing etc. as required. (But without MCB/RCCB/ Isolator) | 5.00 | each |  | 5500.00 | 27500.00 | 2100.00 | 10500.00 | 4500.00 | 22500.00 | 2000.00 | 10000.00 | 1500.00 | 7500.00 | 5100.00 | 25500.00 | 700.00 | 3500.00 | 3500.00 | BAKHTAWAR AHMAD RATHER
16.00 | Supplying and fixing 6 amps to 32 amps rating, Single pole and neutral, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 20.00 | each |  | 185.00 | 3700.00 | 620.00 | 12400.00 | 650.00 | 13000.00 | 400.00 | 8000.00 | 850.00 | 17000.00 | 510.00 | 10200.00 | 150.00 | 3000.00 | 3000.00 | BAKHTAWAR AHMAD RATHER
17.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator)
17.10 | 6 way (4+18), Double door | 2.00 | Each |  | 7500.00 | 15000.00 | 4900.00 | 9800.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 6120.00 | 12240.00 | 3500.00 | 7000.00 | 7000.00 | BAKHTAWAR AHMAD RATHER, M/s AL-HUDA ELECTRICAL AND MAINTENANCE
18.00 | Supplying and fixing 5 amps to 32 amps rating, 240 volts miniature circuite breaker suitable for lighting and other loads of following poles in the existing MCB DB complete with connection, testing and commissioning etc. as required.
18.10 | Single Pole 'C' series | 100.00 | Each |  | 189.00 | 18900.00 | 175.00 | 17500.00 | 160.00 | 16000.00 | 130.00 | 13000.00 | 320.00 | 32000.00 | 187.00 | 18700.00 | 150.00 | 15000.00 | 13000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
19.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 20.00 | Nos. |  | 1700.00 | 34000.00 | 1600.00 | 32000.00 | 950.00 | 19000.00 | 600.00 | 12000.00 | 1500.00 | 30000.00 | 1530.00 | 30600.00 | 1100.00 | 22000.00 | 12000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
20.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/recess steel conduit as reqd.
20.10 | 2 x 1.5 sq.mm. + 1 x 1.5 sq. mm. earth wire | 150.00 | Mtr |  | 120.00 | 18000.00 | 270.00 | 40500.00 | 110.00 | 16500.00 | 250.00 | 37500.00 | 98.00 | 14700.00 | 187.00 | 28050.00 | 65.00 | 9750.00 | 9750.00 | BAKHTAWAR AHMAD RATHER
20.20 | 2 x 2.5 sq.mm. + 1 x 2.5 sq. mm. earth wire | 150.00 | Mtr |  | 150.00 | 22500.00 | 310.00 | 46500.00 | 140.00 | 21000.00 | 280.00 | 42000.00 | 150.00 | 22500.00 | 272.00 | 40800.00 | 75.00 | 11250.00 | 11250.00 | BAKHTAWAR AHMAD RATHER
20.30 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 150.00 | Mtr |  | 200.00 | 30000.00 | 360.00 | 54000.00 | 190.00 | 28500.00 | 350.00 | 52500.00 | 220.00 | 33000.00 | 348.50 | 52275.00 | 120.00 | 18000.00 | 18000.00 | BAKHTAWAR AHMAD RATHER
20.40 | 4 X 2.5 sq. mm + 2 X 2.5 sq. mm earth wire | 150.00 | Mtr |  | 300.00 | 45000.00 | 470.00 | 70500.00 | 260.00 | 39000.00 | 400.00 | 60000.00 | 250.00 | 37500.00 | 297.50 | 44625.00 | 120.00 | 18000.00 | 18000.00 | BAKHTAWAR AHMAD RATHER
20.50 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 150.00 | Mtr |  | 350.00 | 52500.00 | 570.00 | 85500.00 | 340.00 | 51000.00 | 500.00 | 75000.00 | 350.00 | 52500.00 | 408.00 | 61200.00 | 250.00 | 37500.00 | 37500.00 | BAKHTAWAR AHMAD RATHER
21.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 100.00 | Point |  | 550.00 | 55000.00 | 1600.00 | 160000.00 | 1020.00 | 102000.00 | 200.00 | 20000.00 | 1300.00 | 130000.00 | 1275.00 | 127500.00 | 1500.00 | 150000.00 | 20000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
22.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required Group C | 40.00 | Point |  | 400.00 | 16000.00 | 900.00 | 36000.00 | 850.00 | 34000.00 | 200.00 | 8000.00 | 1100.00 | 44000.00 | 1190.00 | 47600.00 | 1200.00 | 48000.00 | 8000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
23.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 50.00 | Each |  | 250.00 | 12500.00 | 450.00 | 22500.00 | 600.00 | 30000.00 | 400.00 | 20000.00 | 350.00 | 17500.00 | 204.00 | 10200.00 | 450.00 | 22500.00 | 10200.00 | GVD ENGINEERS & CONTRACTOR
24.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 30.00 | Nos. |  | 450.00 | 13500.00 | 525.00 | 15750.00 | 800.00 | 24000.00 | 500.00 | 15000.00 | 250.00 | 7500.00 | 297.50 | 8925.00 | 550.00 | 16500.00 | 7500.00 | PowerStar Electrical and Mechanical Engineering Works
25.00 | Supplying and fixing call bell(Ding-Dong) suitable for A.C. single phase, 230 volts, complete as required. | 20.00 | Nos. |  | 150.00 | 3000.00 | 250.00 | 5000.00 | 550.00 | 11000.00 | 450.00 | 9000.00 | 550.00 | 11000.00 | 102.00 | 2040.00 | 200.00 | 4000.00 | 2040.00 | GVD ENGINEERS & CONTRACTOR
26.00 | Supplying and fixing following size/modules,GI box alongwith modular base & cover plate for modular switches in recess etc. as required
26.10 | 1 or 2 Module (75 mm X 75 mm) | 50.00 | Nos. |  | 350.00 | 17500.00 | 250.00 | 12500.00 | 350.00 | 17500.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 127.50 | 6375.00 | 90.00 | 4500.00 | 4500.00 | BAKHTAWAR AHMAD RATHER
26.20 | 6 Module (200mmX75mm) (Computer Point) | 30.00 | Nos. |  | 550.00 | 16500.00 | 350.00 | 10500.00 | 650.00 | 19500.00 | 300.00 | 9000.00 | 220.00 | 6600.00 | 212.50 | 6375.00 | 120.00 | 3600.00 | 3600.00 | BAKHTAWAR AHMAD RATHER
27.00 | Supplying and fixing following modular type switch/socket on the existing switch box/cover including connections etc. as required.
27.10 | Telephone socket outlet with shutter | 20.00 | Nos. |  | 50.00 | 1000.00 | 140.00 | 2800.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 320.00 | 6400.00 | 127.50 | 2550.00 | 350.00 | 7000.00 | 1000.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
27.20 | TV antenna socket outlet | 20.00 | Nos. |  | 120.00 | 2400.00 | 130.00 | 2600.00 | 250.00 | 5000.00 | 100.00 | 2000.00 | 320.00 | 6400.00 | 127.50 | 2550.00 | 250.00 | 5000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
27.30 | 5/6 A switch | 100.00 | Nos. |  | 95.00 | 9500.00 | 85.00 | 8500.00 | 110.00 | 11000.00 | 80.00 | 8000.00 | 100.00 | 10000.00 | 102.00 | 10200.00 | 110.00 | 11000.00 | 8000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
27.40 | 3 pin 5/6 A socket | 100.00 | Nos. |  | 110.00 | 11000.00 | 140.00 | 14000.00 | 210.00 | 21000.00 | 120.00 | 12000.00 | 130.00 | 13000.00 | 127.50 | 12750.00 | 125.00 | 12500.00 | 11000.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
27.50 | 15/16 A switch | 70.00 | Nos. |  | 175.00 | 12250.00 | 160.00 | 11200.00 | 300.00 | 21000.00 | 90.00 | 6300.00 | 160.00 | 11200.00 | 127.50 | 8925.00 | 135.00 | 9450.00 | 6300.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
27.60 | 6 pin 15/16 amp socket outlet | 70.00 | Nos. |  | 220.00 | 15400.00 | 265.00 | 18550.00 | 350.00 | 24500.00 | 100.00 | 7000.00 | 160.00 | 11200.00 | 153.00 | 10710.00 | 130.00 | 9100.00 | 7000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
28.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required | 50.00 | Nos. |  | 75.00 | 3750.00 | 35.00 | 1750.00 | 110.00 | 5500.00 | 10.72 | 536.00 | 10.00 | 500.00 | 25.50 | 1275.00 | 15.00 | 750.00 | 500.00 | PowerStar Electrical and Mechanical Engineering Works
29.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required | 20.00 | Nos. |  | 275.00 | 5500.00 | 530.00 | 10600.00 | 550.00 | 11000.00 | 150.00 | 3000.00 | 650.00 | 13000.00 | 102.00 | 2040.00 | 500.00 | 10000.00 | 2040.00 | GVD ENGINEERS & CONTRACTOR
30.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
30.10 | 3x 1.5 sq. mm | 200.00 | Mtrs |  | 105.00 | 21000.00 | 80.00 | 16000.00 | 80.00 | 16000.00 | 50.00 | 10000.00 | 75.00 | 15000.00 | 63.75 | 12750.00 | 90.00 | 18000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
30.20 | 6 x 1.5 sq. mm | 200.00 | Mtrs |  | 145.00 | 29000.00 | 150.00 | 30000.00 | 120.00 | 24000.00 | 60.00 | 12000.00 | 150.00 | 30000.00 | 127.50 | 25500.00 | 120.00 | 24000.00 | 12000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
30.30 | 3 x 2.5 sq. mm | 200.00 | Mtrs |  | 150.00 | 30000.00 | 120.00 | 24000.00 | 160.00 | 32000.00 | 70.00 | 14000.00 | 190.00 | 38000.00 | 85.00 | 17000.00 | 135.00 | 27000.00 | 14000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
30.40 | 6 x 2.5 sq. mm | 100.00 | Mtrs |  | 350.00 | 35000.00 | 220.00 | 22000.00 | 240.00 | 24000.00 | 80.00 | 8000.00 | 380.00 | 38000.00 | 187.00 | 18700.00 | 145.00 | 14500.00 | 8000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
30.50 | 3 x 4 sq. mm | 200.00 | Mtrs |  | 200.00 | 40000.00 | 170.00 | 34000.00 | 290.00 | 58000.00 | 70.00 | 14000.00 | 210.00 | 42000.00 | 153.00 | 30600.00 | 145.00 | 29000.00 | 14000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
30.60 | 6 x 4 sq. mm | 200.00 | Mtrs |  | 350.00 | 70000.00 | 325.00 | 65000.00 | 320.00 | 64000.00 | 80.00 | 16000.00 | 412.00 | 82400.00 | 297.50 | 59500.00 | 250.00 | 50000.00 | 16000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
30.70 | 3x 6 sq. mm | 100.00 | Mtrs |  | 275.00 | 27500.00 | 250.00 | 25000.00 | 168.00 | 16800.00 | 100.00 | 10000.00 | 32.00 | 3200.00 | 212.50 | 21250.00 | 290.00 | 29000.00 | 3200.00 | PowerStar Electrical and Mechanical Engineering Works
31.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess or cutting the wall and making good the same in case of recessed conduit as required.
31.10 | 20 mm | 200.00 | Mtr |  | 45.00 | 9000.00 | 175.00 | 35000.00 | 30.00 | 6000.00 | 15.00 | 3000.00 | 220.00 | 44000.00 | 212.50 | 42500.00 | 160.00 | 32000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
31.20 | 25 mm | 200.00 | Mtr |  | 65.00 | 13000.00 | 200.00 | 40000.00 | 40.00 | 8000.00 | 20.00 | 4000.00 | 320.00 | 64000.00 | 212.50 | 42500.00 | 110.00 | 22000.00 | 4000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
31.30 | 32 mm | 100.00 | Mtr |  | 75.00 | 7500.00 | 260.00 | 26000.00 | 65.00 | 6500.00 | 35.00 | 3500.00 | 320.00 | 32000.00 | 255.00 | 25500.00 | 120.00 | 12000.00 | 3500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
32.00 | SITC of following capacity, Hi-wall mount, Hot & Cold type, Split type Air conditioner with inverter type compressor having working operating temperature range (-10 degree C to 45 degree C) filled with R410a/ R32 gas, copper condensor tube/coil, cordless remote control for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode, turbo mode, with LED display for temperature and other standard features suitable for operation on 230 V, 50 Hz , AC supply including wiring with suitable size FR, PVC flexible copper cable for control/power wiring , Suction and liquid line copper piping between indoor & outdoor unit (approx distance of 10 ft) with insulation as per technical specifications etc complete as required. 1.0 TR , BEE rated Minimum 3 STAR | 10.00 | Each |  | 45500.00 | 455000.00 | 36000.00 | 360000.00 | 34200.00 | 342000.00 | 38000.00 | 380000.00 | 39000.00 | 390000.00 | 38000.00 | 380000.00 | 45000.00 | 450000.00 | 342000.00 | ANUKOM ENTERPRISES
33.00 | SITC of following capacity, Hi-wall mount, Hot & Cold type, Split type Air conditioner with inverter type compressor having working operating temperature range (-10 degree C to 45 degree C) filled with R410a/ R32 gas, copper condensor tube/coil, cordless remote control for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode, turbo mode, with LED display for temperature and other standard features suitable for operation on 230 V, 50 Hz , AC supply including wiring with suitable size FR, PVC flexible copper cable for control/power wiring , Suction and liquid line copper piping between indoor & outdoor unit (approx distance of 10 ft) with insulation as per technical specifications etc complete as required. 1.5 TR , BEE rated Minimum 3 STAR | 3.00 | Each |  | 48700.00 | 146100.00 | 38000.00 | 114000.00 | 38016.00 | 114048.00 | 42000.00 | 126000.00 | 49000.00 | 147000.00 | 46750.00 | 140250.00 | 60000.00 | 180000.00 | 114000.00 | Awasthi Electric Works
34.00 | SITC of following capacity, Hi-wall mount, Hot & Cold type, Split type Air conditioner with inverter type compressor having working operating temperature range (-10 degree C to 45 degree C) filled with R410a/ R32 gas, copper condensor tube/coil, cordless remote control for temperature adjustment, indoor unit blower speed, swing adjustment, auto restart, sleep mode, turbo mode, with LED display for temperature and other standard features suitable for operation on 230 V, 50 Hz , AC supply including wiring with suitable size FR, PVC flexible copper cable for control/power wiring , Suction and liquid line copper piping between indoor & outdoor unit (approx distance of 10 ft) with insulation as per technical specifications etc complete as required. 2.0 TR, BEE rated Minimum 3 STAR | 4.00 | Each |  | 65700.00 | 262800.00 | 54000.00 | 216000.00 | 44280.00 | 177120.00 | 50000.00 | 200000.00 | 57700.00 | 230800.00 | 51000.00 | 204000.00 | 70000.00 | 280000.00 | 177120.00 | ANUKOM ENTERPRISES
35.00 | Supply and fitting of appropriate size and thickness of MS Stand / L-Chair for fixing outdoor unit or condensing units along with necessary vibration pads , anchor fastner/bolt & nuts etc on concrete/brick wall or floor etc. as required. | 17.00 | Each |  | 600.00 | 10200.00 | 1200.00 | 20400.00 | 1000.00 | 17000.00 | 1000.00 | 17000.00 | 560.00 | 9520.00 | 765.00 | 13005.00 | 1500.00 | 25500.00 | 9520.00 | PowerStar Electrical and Mechanical Engineering Works
36.00 | Supply & fixing of extra copper refrigerant piping with insulation and suitable size FR , PVC copper cable for control/power wiring between indooor and outdoor units for installation of above units etc as required at site. | 40.00 | Mtr |  | 950.00 | 38000.00 | 1500.00 | 60000.00 | 1200.00 | 48000.00 | 200.00 | 8000.00 | 750.00 | 30000.00 | 1530.00 | 61200.00 | 300.00 | 12000.00 | 8000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
37.00 | Supply & fixing of PVC drain piping 25mm of proper dia for installation of above units as required at site beyond company provided standard length. | 50.00 | Mtr |  | 95.00 | 4750.00 | 200.00 | 10000.00 | 80.00 | 4000.00 | 50.00 | 2500.00 | 120.00 | 6000.00 | 102.00 | 5100.00 | 100.00 | 5000.00 | 2500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
38.00 | Supply, Installing, Testing and Commissioning of voltage Stabilizer suitable for following capacity split AC unit having stabilising range (170-280 V), Digital display showing input and output voltage, Time delay system , Low & High Voltage Cut-off Protection, Built In Thermal Overload Protection, wall mounting cabinet design and other standard functions including providing connections etc. complete as required.(Make: V-GUARD/ Bluebird/Microtek/Luminious. 2.0 TR | 4.00 | Each |  | 4200.00 | 16800.00 | 5300.00 | 21200.00 | 4500.00 | 18000.00 | 3500.00 | 14000.00 | 700.00 | 2800.00 | 3230.00 | 12920.00 | 6000.00 | 24000.00 | 2800.00 | PowerStar Electrical and Mechanical Engineering Works
39.00 | Supply, Installing, Testing and Commissioning of voltage Stabilizer suitable for following capacity split AC unit having stabilising range (170-280 V), Digital display showing input and output voltage, Time delay system , Low & High Voltage Cut-off Protection, Built In Thermal Overload Protection, wall mounting cabinet design and other standard functions including providing connections etc. complete as required.(Make: V-GUARD/ Bluebird/Microtek/Luminious. 1/1.5 TR | 13.00 | Each |  | 4000.00 | 52000.00 | 3100.00 | 40300.00 | 4000.00 | 52000.00 | 3500.00 | 45500.00 | 6000.00 | 78000.00 | 3230.00 | 41990.00 | 6000.00 | 78000.00 | 40300.00 | Awasthi Electric Works
40.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | 17.00 | Each |  | 550.00 | 9350.00 | 1650.00 | 28050.00 | 1055.00 | 17935.00 | 600.00 | 10200.00 | 1850.00 | 31450.00 | 1530.00 | 26010.00 | 7200.00 | 122400.00 | 9350.00 | ARNAV ENGINEERING CONSULTANCY SERVICES
| Total in Figures |  |  |  |  | 2704200.00 |  | 2885400.00 |  | 2998928.00 |  | 2694786.00 |  | 2995870.00 |  | 2701775.00 |  | 2924500.00
Lowest Amount Quoted BY: M/s AL-HUDA ELECTRICAL AND MAINTENANCE(2694786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Shifting of Various Offices of CISF and Airlines located at First Floor to Ground Floor of Terminal Building to decongest the SHA at First Floor at Srinagar Airport. SH Electrical Works Tender ID: 2024_AAI_196355_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE | 2694786.00 | L1
| 2 | GVD ENGINEERS & CONTRACTOR | 2701775.00 | L2
| 3 | ARNAV ENGINEERING CONSULTANCY SERVICES | 2704200.00 | L3
| 4 | Awasthi Electric Works | 2885400.00 | L4
| 5 | BAKHTAWAR AHMAD RATHER | 2924500.00 | L5
| 6 | PowerStar Electrical and Mechanical Engineering Works | 2995870.00 | L6
| 7 | ANUKOM ENTERPRISES | 2998928.00 | L7