## BoQ1
Government eProcurement System Created By: Bidyut Roy Created Date/Time: 24-Jun-2024 05:16 PM Tender Title: Development of Solapur Airport for VFR operations SH SITC of Public Announcement System and Associated works at Solapur Airport Tender ID: 2024_AAI_196441_1
Tender Inviting Authority: Asst. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, KOLHAPUR AIRPORT, KOLHAPUR
Name of Work: Development of Solapur Airport for VFR operations SH: SITC of Public Announcement system and associated works at Solapur Airport.
Contract No: 2024_AAI_196441_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HEINRICH CORPORATION INDIA PVT LTD (GSTN-07AADCH3587R1ZT) BID ID -705662 |  | FOXTECH MECH ENGINEERS PRIVATE LIMITED(GSTN-NA)--707678
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of 6 zone Digital Voice Evacuation Master controller with built in 500 W Class-D Amplifier having SD card option to store the EVAC and Alen Voice Message and Speaker line supervision record out and amplifier auto changeover The Controller shall be capable for the EVAC, Paging, PA and BGM functions having following features: Separate Zone volume control at the front side of panel, Status indications on the Panel for EVAC,Fault, AC, DC, Fault, ALERT & Fireman mic, Zone capacity up to 96 Zones, 8 programmable Control Input and output, Fireman Microphone with High Priority, THD<1%, Frequency response 80Hz - 20kHz, Up to 1000 Record files, 100V Class-AB Speaker Outputetc. complete as required. (The System shall meet the standards of BS EN54 - 32 & EN 60849) | 1.00 | Nos |  | 138938.00 | 138938.00 | 138002.00 | 138002.00 | 138002.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
2.00 | Supplying, installing, testing and commissioning of Remote Paging microphone with minimum 12 buttons and Busy/Hole Indication and suitable for Desktop mounting having following features: Configurable PPT paging mode and Normal Paging Mode. 9 Level of Con gurable priority. Support 24V phantom power Supply, System Capacity of 32 Unit Microphone. Signal transmission ensure distance up to 600 meters. Redundancy loop wiring for Microphone Supervision etc. complete as required. | 1.00 | Nos |  | 43600.00 | 43600.00 | 42015.00 | 42015.00 | 42015.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
3.00 | Supplying, installing, testing and commissioning of 10W wall mount speakers with following features:- component 6", Complete Metal body and line matching transformer 100/70V line. Variable wattage tapings of 10W/5W/7.5W Effective frequency range 80Hz-20kHz (BS6840), SPL@1m/1W=94dB, Peak SPL 102dB complete with necessary mounting hardware & accessories. | 7.00 | Nos |  | 2760.00 | 19320.00 | 2698.00 | 18886.00 | 18886.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
4.00 | Supplying, Installing, testing and commissioning of 60 Watt coloumn mount speaker with frequecy response 90hz-20KHz with Line matching transfromer 100V, variable taping 5OW/30W at 100V , 10W/5W at 70V , speaker driver 6x3.5" , SPL 92dB +-3dB, EASE/CATT/ULYSSYS DLL ready should have IP lP56, and compliance with IEC60849 and EN58 approved. | 7.00 | Nos |  | 14268.00 | 99876.00 | 14004.00 | 98028.00 | 98028.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
5.00 | Supply Installation Testing & Commissioning of 120W RMS Four Channel Class-D Dlgital Power Amplifier with Switch power technology for power electricity saving. Amplifier shal have Following Features: 120W RMS per Channel, Amplifier Output 100V, Short Circuit, Power, Tempreature, Overload Protection, Auto Cooling Fans. THD <0.1%, Frequency Response 20Hz - 20kHz, AC & DC Fuse, SNR >80dB. | 2.00 | Nos |  | 97590.00 | 195180.00 | 97010.00 | 194020.00 | 194020.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
6.00 | Supply installation testing and commissioning of DVD/CD with USB input and audio output music player | 1.00 | Nos |  | 16453.00 | 16453.00 | 16034.00 | 16034.00 | 16034.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
7.00 | Supply installation testing and commissioning of 19- inch equipment rack with standardized frame of enclosure for mounting multiple PA controllers, CD player, FM sources, Amplifiers etc. modules etc. Complete as required. Size : 18U | 1.00 | Nos |  | 29540.00 | 29540.00 | 29099.00 | 29099.00 | 29099.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
8.00 | Supply and Laying of 2 x 1.5sqmm FRLS Speaker Cable In existing conduit. | 300.00 | Mtr |  | 91.00 | 27300.00 | 88.00 | 26400.00 | 26400.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
9.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (a) 20 mm | 250.00 | Mtr |  | 63.00 | 15750.00 | 61.00 | 15250.00 | 15250.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
10.00 | SITC of Redundant (1+1) 5 KVA Online UPS with SMF batteries, 30 minutes of battery backup with each UPS | 1.00 | Set |  | 401650.00 | 401650.00 | 400010.00 | 400010.00 | 400010.00 | FOXTECH MECH ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 987607.00 |  | 977744.00
Lowest Amount Quoted BY: FOXTECH MECH ENGINEERS PRIVATE LIMITED(977744.00)

## BOQ Summary
BOQ Summary Details Tender Title: Development of Solapur Airport for VFR operations SH SITC of Public Announcement System and Associated works at Solapur Airport Tender ID: 2024_AAI_196441_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | FOXTECH MECH ENGINEERS PRIVATE LIMITED | 977744.00 | L1
| 2 | HEINRICH CORPORATION INDIA PVT LTD | 987607.00 | L2