## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 08-Jul-2024 05:34 PM Tender Title: Construction of Security Check room near Operational , VIP vehicle Gate for frisking Gents and Ladies at Kullu-Manali Airport. Civil and Elect works Tender ID: 2024_AAI_196493_1
Tender Inviting Authority: Asstt. General Manager (Engg-C), Airports Authority of India, Kullu Manali Airport, Bhuntar, Distt. Kullu, Himachal Pradesh-175125
Name of work : - Construction of Security Check room near Operational / VIP vehicle Gate for frisking (Gents & Ladies) at Kullu-Manali Airport (Civil + Elect works)
Contract No Tender ID : 2024_AAI_196493 _1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S M L BROTHER (GSTN-02ABWPM6184GIZA) BID ID -710117 |  | kot kandi construction (P) ltd(GSTN-NA)--710404 |  | BAKHTAWAR AHMAD RATHER(GSTN-NA)--707546
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Civil Works :- Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in charge. All kinds of soil. | 382.00 | Cum |  | 100.00 | 38200.00 | 260.00 | 99320.00 | 100.00 | 38200.00 | 38200.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and and for all lift. | 302.00 | Cum |  | 100.00 | 30200.00 | 180.00 | 54360.00 | 50.00 | 15100.00 | 15100.00 | BAKHTAWAR AHMAD RATHER
3.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete. | 13.00 | Cum |  | 1100.00 | 14300.00 | 1040.00 | 13520.00 | 400.00 | 5200.00 | 5200.00 | BAKHTAWAR AHMAD RATHER
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 13.50 | Cum |  | 5200.00 | 70200.00 | 6800.00 | 91800.00 | 4500.00 | 60750.00 | 60750.00 | BAKHTAWAR AHMAD RATHER
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources). | 28.00 | Cum |  | 4000.00 | 112000.00 | 3900.00 | 109200.00 | 3500.00 | 98000.00 | 98000.00 | BAKHTAWAR AHMAD RATHER
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete. | 51.00 | Sqm |  | 300.00 | 15300.00 | 290.00 | 14790.00 | 100.00 | 5100.00 | 5100.00 | BAKHTAWAR AHMAD RATHER
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Suspended floors, roofs, landings, balconies and access platform. | 130.00 | Sqm |  | 300.00 | 39000.00 | 480.00 | 62400.00 | 300.00 | 39000.00 | 39000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 170.00 | Sqm |  | 300.00 | 51000.00 | 470.00 | 79900.00 | 200.00 | 34000.00 | 34000.00 | BAKHTAWAR AHMAD RATHER
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts. | 190.00 | Sqm |  | 300.00 | 57000.00 | 485.00 | 92150.00 | 300.00 | 57000.00 | 57000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | 6000.00 | Kg |  | 80.00 | 480000.00 | 88.00 | 528000.00 | 60.00 | 360000.00 | 360000.00 | BAKHTAWAR AHMAD RATHER
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level.: Thermo Mechanically Treated bars of grade Fe-500D or more. | 6000.00 | Kg |  | 80.00 | 480000.00 | 91.00 | 546000.00 | 60.00 | 360000.00 | 360000.00 | BAKHTAWAR AHMAD RATHER
12.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level Concrete of M25 grade with minimum cement content of 330 kg /cum | 40.00 | Cum |  | 5800.00 | 232000.00 | 8900.00 | 356000.00 | 5500.00 | 220000.00 | 220000.00 | BAKHTAWAR AHMAD RATHER
13.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 40.00 | Cum |  | 5800.00 | 232000.00 | 9100.00 | 364000.00 | 5800.00 | 232000.00 | 232000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
14.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 27.00 | Quintl |  | 500.00 | 13500.00 | 95.00 | 2565.00 | 200.00 | 5400.00 | 2565.00 | kot kandi construction (P) ltd
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 5.00 | Cum |  | 8500.00 | 42500.00 | 8150.00 | 40750.00 | 5500.00 | 27500.00 | 27500.00 | BAKHTAWAR AHMAD RATHER
16.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:4 (1 cement : 4 coarse sand). | 40.00 | Cum |  | 8500.00 | 340000.00 | 8400.00 | 336000.00 | 5500.00 | 220000.00 | 220000.00 | BAKHTAWAR AHMAD RATHER
17.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 150x10 mm | 32.00 | each |  | 80.00 | 2560.00 | 99.00 | 3168.00 | 50.00 | 1600.00 | 1600.00 | BAKHTAWAR AHMAD RATHER
18.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm | 16.00 | each |  | 100.00 | 1600.00 | 160.00 | 2560.00 | 50.00 | 800.00 | 800.00 | BAKHTAWAR AHMAD RATHER
19.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm | 16.00 | each |  | 50.00 | 800.00 | 65.00 | 1040.00 | 70.00 | 1120.00 | 800.00 | M/S M L BROTHER
20.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 460.00 | Kg |  | 100.00 | 46000.00 | 130.00 | 59800.00 | 90.00 | 41400.00 | 41400.00 | BAKHTAWAR AHMAD RATHER
21.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished Seamless type tubes | 2170.00 | Kg |  | 100.00 | 217000.00 | 142.00 | 308140.00 | 100.00 | 217000.00 | 217000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
22.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily.Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 10.00 | Sqm |  | 800.00 | 8000.00 | 1580.00 | 15800.00 | 1200.00 | 12000.00 | 8000.00 | M/S M L BROTHER
23.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by the manufacturer), with water absorption less than 0.08% and conforming to IS: 15622, of approved brand & manufacturer, in all colours and shade, in skirting, riser of steps, laid with cement based high polymer modified quick set tile adhesive (water based) conforming to IS: 15477, in average 6 mm thickness, including grouting of joints (Payment for grouting of joints to be made separately). Size of Tile 600x600 mm. | 60.00 | Sqm |  | 800.00 | 48000.00 | 1560.00 | 93600.00 | 1100.00 | 66000.00 | 48000.00 | M/S M L BROTHER
24.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete.Size of Tile 600x600 mm. | 121.00 | Sqm |  | 800.00 | 96800.00 | 1540.00 | 186340.00 | 1250.00 | 151250.00 | 96800.00 | M/S M L BROTHER
25.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand). | 175.00 | Sqm |  | 200.00 | 35000.00 | 350.00 | 61250.00 | 200.00 | 35000.00 | 35000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
26.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:4 (1 cement: 4 fine sand). | 175.00 | Sqm |  | 200.00 | 35000.00 | 380.00 | 66500.00 | 250.00 | 43750.00 | 35000.00 | M/S M L BROTHER
27.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand). | 335.00 | Sqm |  | 180.00 | 60300.00 | 320.00 | 107200.00 | 250.00 | 83750.00 | 60300.00 | M/S M L BROTHER
28.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content | 430.00 | Sqm |  | 80.00 | 34400.00 | 160.00 | 68800.00 | 60.00 | 25800.00 | 25800.00 | BAKHTAWAR AHMAD RATHER
29.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 0.90 ltr/10 sqm). | 305.00 | Sqm |  | 80.00 | 24400.00 | 210.00 | 64050.00 | 100.00 | 30500.00 | 24400.00 | M/S M L BROTHER
30.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 21.00 | Sqm |  | 100.00 | 2100.00 | 200.00 | 4200.00 | 100.00 | 2100.00 | 2100.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
31.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 735.00 | Sqm |  | 100.00 | 73500.00 | 130.00 | 95550.00 | 100.00 | 73500.00 | 73500.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
32.00 | Providing and fixing brass curtain rods of wall thickness 1.25 mm with two brass brackets fixed with brass screws and wooden plugs etc. wherever necessary complete. : 25 mm diameter. | 10.00 | Metre |  | 400.00 | 4000.00 | 1020.00 | 10200.00 | 250.00 | 2500.00 | 2500.00 | BAKHTAWAR AHMAD RATHER
33.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 1.00 | Cum |  | 1000.00 | 1000.00 | 1450.00 | 1450.00 | 100.00 | 100.00 | 100.00 | BAKHTAWAR AHMAD RATHER
34.00 | Demolishing stone rubble masonry manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge : In cement mortar. | 10.00 | Cum |  | 1000.00 | 10000.00 | 990.00 | 9900.00 | 100.00 | 1000.00 | 1000.00 | BAKHTAWAR AHMAD RATHER
35.00 | Providing and fixing white vitreous china pedestal type water closet (European type) with seat and lid, 10 litre low level white vitreous china flushing cistern & C.P. flush bend with fittings & C.I. brackets, 40 mm flush bend, overflow arrangement with specials of standard make and mosquito proof coupling of approved municipal design complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid. | 2.00 | Each |  | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 7000.00 | 14000.00 | 10000.00 | M/S M L BROTHER
36.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap | 2.00 | Each |  | 2500.00 | 5000.00 | 6500.00 | 13000.00 | 5500.00 | 11000.00 | 5000.00 | M/S M L BROTHER
37.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 2.00 | Each |  | 300.00 | 600.00 | 1080.00 | 2160.00 | 1500.00 | 3000.00 | 600.00 | M/S M L BROTHER
38.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 3.00 | Each |  | 800.00 | 2400.00 | 1280.00 | 3840.00 | 1500.00 | 4500.00 | 2400.00 | M/S M L BROTHER
39.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.: Semi rigid pipe : 32 mm dia. | 2.00 | Each |  | 100.00 | 200.00 | 250.00 | 500.00 | 100.00 | 200.00 | 200.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
40.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 2.00 | Each |  | 50.00 | 100.00 | 980.00 | 1960.00 | 100.00 | 200.00 | 100.00 | M/S M L BROTHER
41.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453 x 357 mm | 2.00 | Each |  | 1000.00 | 2000.00 | 1200.00 | 2400.00 | 500.00 | 1000.00 | 1000.00 | BAKHTAWAR AHMAD RATHER
42.00 | Providing and fixing soil, waste and vent pipes :100mm dia : Hubless centrifugally cast (spun) iron pipes epoxy coated inside & outside IS:15905. | 30.00 | Metre |  | 1000.00 | 30000.00 | 940.00 | 28200.00 | 500.00 | 15000.00 | 15000.00 | BAKHTAWAR AHMAD RATHER
43.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.: 100 mm dia : Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905. | 4.00 | Each |  | 300.00 | 1200.00 | 850.00 | 3400.00 | 300.00 | 1200.00 | 1200.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
44.00 | Providing and fixing collar : 100 mm : Sand cast iron S&S as per IS - 3989. | 8.00 | Each |  | 400.00 | 3200.00 | 650.00 | 5200.00 | 300.00 | 2400.00 | 2400.00 | BAKHTAWAR AHMAD RATHER
45.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm. | 8.00 | Each |  | 400.00 | 3200.00 | 750.00 | 6000.00 | 400.00 | 3200.00 | 3200.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
46.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet : Hubless centrifugally cast (spun) iron epoxy coated inside & outside as per IS:15905. | 5.00 | Each |  | 600.00 | 3000.00 | 1250.00 | 6250.00 | 500.00 | 2500.00 | 2500.00 | BAKHTAWAR AHMAD RATHER
47.00 | Cutting chases in brick masonry walls for following diameter sand cast iron/centrifugally cast (spun) iron pipes and making good the same with cement concrete 1:3:6 ( 1 cement : 3 coarse sand :6 graded stone aggregate 12.5 mm nominal size), including necessary plaster and pointing in cement mortar 1:4 (1 cement : 4 coarse sand) : 100 mm dia. | 5.00 | Metre |  | 600.00 | 3000.00 | 550.00 | 2750.00 | 200.00 | 1000.00 | 1000.00 | BAKHTAWAR AHMAD RATHER
48.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 2.00 | Each |  | 120.00 | 240.00 | 980.00 | 1960.00 | 200.00 | 400.00 | 240.00 | M/S M L BROTHER
49.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 15.00 | Metre |  | 300.00 | 4500.00 | 390.00 | 5850.00 | 200.00 | 3000.00 | 3000.00 | BAKHTAWAR AHMAD RATHER
50.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 30.00 | Metre |  | 300.00 | 9000.00 | 490.00 | 14700.00 | 300.00 | 9000.00 | 9000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
51.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 32mm nominal dia Pipes | 30.00 | Metre |  | 500.00 | 15000.00 | 550.00 | 16500.00 | 350.00 | 10500.00 | 10500.00 | BAKHTAWAR AHMAD RATHER
52.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 15 mm nominal dia Pipes. | 1.00 | Each |  | 400.00 | 400.00 | 660.00 | 660.00 | 300.00 | 300.00 | 300.00 | BAKHTAWAR AHMAD RATHER
53.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :30 cm lengt 15 mm nominal bore. | 8.00 | Each |  | 100.00 | 800.00 | 220.00 | 1760.00 | 50.00 | 400.00 | 400.00 | BAKHTAWAR AHMAD RATHER
54.00 | Providing and fixing uplasticised PVC connection pipe with brass unions :30 cm lengt 20 mm nominal bore. | 8.00 | Each |  | 100.00 | 800.00 | 240.00 | 1920.00 | 50.00 | 400.00 | 400.00 | BAKHTAWAR AHMAD RATHER
55.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank ISI : 12701 marked with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank: circular tank. | 1000.00 | Per Ltr. |  | 10.00 | 10000.00 | 13.00 | 13000.00 | 10.00 | 10000.00 | 10000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
56.00 | Providing and fixing C.P. brass long nose bib cock of approved quality conforming to IS standards and weighing not less than 810 gms. : 15 mm nominal bore. | 2.00 | Each |  | 800.00 | 1600.00 | 1250.00 | 2500.00 | 1000.00 | 2000.00 | 1600.00 | M/S M L BROTHER
57.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore. | 10.00 | Each |  | 600.00 | 6000.00 | 1040.00 | 10400.00 | 800.00 | 8000.00 | 6000.00 | M/S M L BROTHER
58.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement: 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : 19.7.1 Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5. | 2.00 | Each |  | 9000.00 | 18000.00 | 8500.00 | 17000.00 | 8000.00 | 16000.00 | 16000.00 | BAKHTAWAR AHMAD RATHER
59.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron) | 500.00 | Kg |  | 400.00 | 200000.00 | 740.00 | 370000.00 | 500.00 | 250000.00 | 200000.00 | M/S M L BROTHER
60.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 300.00 | Kg |  | 450.00 | 135000.00 | 760.00 | 228000.00 | 550.00 | 165000.00 | 135000.00 | M/S M L BROTHER
61.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer?in-charge.Pre-laminated particle board with decorative lamination on both sides | 50.00 | Sqm |  | 1000.00 | 50000.00 | 1890.00 | 94500.00 | 1200.00 | 60000.00 | 50000.00 | M/S M L BROTHER
62.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer -in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 31.00 | Sqm |  | 1000.00 | 31000.00 | 1400.00 | 43400.00 | 1300.00 | 40300.00 | 31000.00 | M/S M L BROTHER
63.00 | Providing and fixing aluminium round shape handle of outer dia 100 mm with SS screws etc. complete as per direction of Engineer-incharge Powder coated minimum thickness 50 micron aluminium | 42.00 | Each |  | 100.00 | 4200.00 | 65.00 | 2730.00 | 70.00 | 2940.00 | 2730.00 | kot kandi construction (P) ltd
64.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 7.00 | Each |  | 500.00 | 3500.00 | 1650.00 | 11550.00 | 200.00 | 1400.00 | 1400.00 | BAKHTAWAR AHMAD RATHER
65.00 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595mm of approved texture, design and patterns as per CPWD Specification 2019, to be laid in true horizontal level suspended on inter-locking metal T-Grid of hot dipped galvanised iron section of 0.33mmthick (galvanized @ 120 grams per sqm including both sides)comprising of main-T runners of size 24x38 mm of length 3000 mm,cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to formgrid module of size 600 x 600 mm, suspended from ceiling usinggalvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 12x50 mm long dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 76x25x25x1.6 mm fixed with grid and Z cleat of size 25x37x25x1.6mm thick with precut hole on both 25mm flange to pierce into 12x50mm or even bigger size dash fastener if require, fixed with Glavanised iron perimeter wall angle or size 24x24x0.40 mm of length 3000 mm to be fixed on periphey wall / partition with the help of plastic rawl plugs at 450mm center to center and 40 mm long dry wall S.S screws. The workshall be carried out as per specifications, drawing and as per directionsof the Engineer-in?Charge.With 15 mm thick Tegular edged light weight calcium sliciate false ceiling tiles | 40.00 | Sqm |  | 1500.00 | 60000.00 | 1990.00 | 79600.00 | 1600.00 | 64000.00 | 60000.00 | M/S M L BROTHER
66.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 12.00 | Each |  | 100.00 | 1200.00 | 2000.00 | 24000.00 | 50.00 | 600.00 | 600.00 | BAKHTAWAR AHMAD RATHER
67.00 | Providing and laying Non Pressure NP-3 class (Medium duty) R.C.C. pipes including collars/spigot jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete 450 mm dia RCC pipes. | 13.00 | mtr |  | 1800.00 | 23400.00 | 1450.00 | 18850.00 | 2000.00 | 26000.00 | 18850.00 | kot kandi construction (P) ltd
68.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 75.00 | Sqm |  | 550.00 | 41250.00 | 1460.00 | 109500.00 | 700.00 | 52500.00 | 41250.00 | M/S M L BROTHER
69.00 | Designing of RCC Footings , pedestals/columns etc. as per the enclosed plan or as directed by Engineer-in-charge. The item includes preparation of preliminary sketches, detailed working drawings, preparation of structural designs and providing at least three sets of structural drawing for the same. Note :- (i). All structural design and drawings must be vetted from IIT/ NIT/ State Govt. Engg. College before actual execution. | 1.00 | Job |  | 75000.00 | 75000.00 | 160000.00 | 160000.00 | 30000.00 | 30000.00 | 30000.00 | BAKHTAWAR AHMAD RATHER
70.00 | Providing and fixing of round lock for door of approved make as per satisfaction and direction of EIC. | 4.00 | Each |  | 800.00 | 3200.00 | 550.00 | 2200.00 | 1000.00 | 4000.00 | 2200.00 | kot kandi construction (P) ltd
71.00 | Providing FRP Portable Toilet: Cabin Size: 3'X3'X 6.5 Feet. And Door Size: 6x2ft. Partitions and Ceiling: 3mm FRP panel sheets Floor: 14mm thick ply core sandwiched with 1mm thick FRP molded floor panels of required size with MS angle frame to support the Indian seat, properly fixed to the floor in a leak proof manner Will be fitted. FRP flooring shall be 12mm puff foam + 1mm FRP sheet + 1mm FRP sheet on both sides to make sandwich. Accessories : 1 Indian seat with flushing Cistren , 1 wash basin FRP with mirror, Water Tank of capacity 100 ltr made out of FRP/LLDPE materia, 250ltr underneath waste tank (inside holding tank are chemicals that break down solids waste, kills germs, destroy smells etc.), soap disk, Towel hook, 1 point electricity point for led bulb. All side complete electricity fiiting, water pipes , drainage pipes & plumbing fitting etc. complete as per satisfacation and direction by E.I.C. | 3.00 | Each |  | 28000.00 | 84000.00 | 88000.00 | 264000.00 | 25000.00 | 75000.00 | 75000.00 | BAKHTAWAR AHMAD RATHER
72.00 | Providing and fixing FRAMELESS GLASS INTERNAL PARTITIONS upto all heights at all floors with 12 mm thick clear toughened glass as per elevation drawings with approved make patch fittings , Side connector, Corner Connector die cast fittings with stainless steel cover fixed with S.S. screws or with fixing clips. Glass fixed to the floor with embedded Aluminum U Channel of required size i/c neatly cutting the chase in flooring. The top glass shall be fixed with patch fittings of approved make, including necessary filling up gaps at junction, at top, bottom and sides with required weather silicon around the periphery of the glass to make the glazing air and water tight etc. complete in all respects as per technical specifications and direction & satisfaction of Engineer-in- charge. (All the handling, transportation and insurance charges if required will be borne by the agency. Visible area of glass shall be measured for payment purpose. Agency has to got shop drawings approved from Engineer-In-Charge before execution of item.) | 30.00 | Sqm |  | 2800.00 | 84000.00 | 2880.00 | 86400.00 | 3000.00 | 90000.00 | 84000.00 | M/S M L BROTHER
73.00 | Providing and fixing 3M TM Scotchal Electro Cut Dusted crystal (Acid etched look-7725SE-314) / Frosted crystal (Sand Blasted look-7725SE-324)/ Avery or approved make frosted sparkle film over the designated locations with wet applications at all floors in any design and pattern complete as per the direction and satisfaction of Engineer-in- charge. (No deductions shall be made for the blank areas in the pattern). | 30.00 | Sqm |  | 1700.00 | 51000.00 | 1400.00 | 42000.00 | 1500.00 | 45000.00 | 42000.00 | kot kandi construction (P) ltd
74.00 | Providing and fixing table having all Internal and External side with 1 mm lamination decorative high pressure laminated sheet of plain /wood grain in gloss / matt / suede finish from inside & outside of approved make. a) The Carcase of table should be made of 18mm thick approved make commercial board. The height of table shall be 750mm + 20mm variation (as per instruction by Engineer-in-charge). The periphery upto width of 100mm of table top shall have additional 18 mm thick board with edges covered with wood margins duly polished . The front / Modesty will be in 18 thick commercial board having height of 450 mm to 600 mm to be fixed at front side. After this the all edges/ends of 18 mm thick board should be covered with wooden margin. b) The carcase of table shall be laminated with 1mm thick decorative high pressure laminated sheet of plain /wood grain in gloss / matt / suede finish from inside & outside. The moulded edge shall be polished. (Agency has to got shop drawings approved from Engineer-In-Charge before execution of item, For payment purpose only top surface area will be measured) | 9.00 | Sqm |  | 19000.00 | 171000.00 | 10800.00 | 97200.00 | 15000.00 | 135000.00 | 97200.00 | kot kandi construction (P) ltd
75.00 | Providing & fixing drawer unit having full lamination of size 400(W)X500(L)X600(H/D) mm as per direction & satisfaction of Engineer-in-charge.a) The carcase of drawer unit will be made 18 mm thick Commercial board & edge should be protected with wood margin of size 20 x 5 mm duly polished . It should be laminated with 1mm thick lamination on all exposed outer area with 1.0 mm decorative high pressure laminated sheet of plain /wood grain in gloss / matt / suede finish of make Merino/Greenlam/Century at inside area of Front drawers . b) Drawer shall be made with combination of 8 mm and 12 mm Pre laminatedboard , Drawer's sides/back/front shall be made in 12 mm Pre laminated ply of ht 100 mm for 1st upper drawer, 130 mm for 2nd drawer and of ht 225 mm for bottom drawer with 8 mm Pre laminated ply as base of all drawers , Drawers to be fixed to Front facia of 18 mm commercial board by screwing from inside . All drawers to be Hung on 450 mm long MS powder coated telescopic channels with 3 way locking system which locks all drawer in single time of make ( Ozone/ebco/godrej, all exposed Edges of Pre laminated ply to be covered with PVC edge bending tape.handles (100mm long in SS hearline finish) is to fixed. c) The drawer unit shall skinned with 1mm thick decorative high pressure laminated sheet of plain /wood grain in gloss / matt / suede finish& having set of 4nos.all side movable and front lockable castors, all complete (Agency has to got shop drawings approved from Engineer-In-Charge before execution of item, ). | 6.00 | No |  | 5500.00 | 33000.00 | 10500.00 | 63000.00 | 3000.00 | 18000.00 | 18000.00 | BAKHTAWAR AHMAD RATHER
76.00 | Electrical works :- Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (c) Group C | 35.00 | Points |  | 400.00 | 14000.00 | 150.00 | 5250.00 | 800.00 | 28000.00 | 5250.00 | kot kandi construction (P) ltd
77.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2 x 2.5 sqmm + 1 x 2.5 sqmm earth wire | 39.00 | Mtr. |  | 170.00 | 6630.00 | 220.00 | 8580.00 | 180.00 | 7020.00 | 6630.00 | M/S M L BROTHER
78.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. a) 2 x 6 sqmm + 1 x 6 sqmm earth wire | 40.00 | Mtr. |  | 300.00 | 12000.00 | 400.00 | 16000.00 | 380.00 | 15200.00 | 12000.00 | M/S M L BROTHER
79.00 | Wiring for light /power plug with 2x4 sqmm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 1 Nos 4 sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 40.00 | Mtr. |  | 350.00 | 14000.00 | 290.00 | 11600.00 | 280.00 | 11200.00 | 11200.00 | BAKHTAWAR AHMAD RATHER
80.00 | Wiring for light /power plug with 4x4 sqmm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit alongwith 2 Nos 4 sqmm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 20.00 | Mtr. |  | 450.00 | 9000.00 | 410.00 | 8200.00 | 400.00 | 8000.00 | 8000.00 | BAKHTAWAR AHMAD RATHER
81.00 | Supplying and fixing suitable size GI Box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. (For light plugs to be used in non residential buildings) | 15.00 | Each |  | 180.00 | 2700.00 | 100.00 | 1500.00 | 300.00 | 4500.00 | 1500.00 | kot kandi construction (P) ltd
82.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 22.00 | Each |  | 180.00 | 3960.00 | 220.00 | 4840.00 | 350.00 | 7700.00 | 3960.00 | M/S M L BROTHER
83.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 35.00 | Each |  | 20.00 | 700.00 | 230.00 | 8050.00 | 20.00 | 700.00 | 700.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
84.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/isolator) a) 8 way, Double door | 3.00 | Each |  | 1800.00 | 5400.00 | 790.00 | 2370.00 | 1750.00 | 5250.00 | 2370.00 | kot kandi construction (P) ltd
85.00 | Supplying and fixing following way prewired TP&N MCB distribution board of steel sheet for 415 volts on surface/ recess complete with loose wire box, terminal connectors for all incoming and outgoing circuits, duly prewired with suitable size FRLS PVC insulated copper conductor up to terminal blocks, tinned copper bus bar, neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required.(But without MCB/ RCCB/ Isolator) a) 8 way ( 4 +24), Double door | 4.00 | Each |  | 8000.00 | 32000.00 | 1890.00 | 7560.00 | 4500.00 | 18000.00 | 7560.00 | kot kandi construction (P) ltd
86.00 | Providing and fixing 160 A , 16 KA rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required | 2.00 | Each |  | 3500.00 | 7000.00 | 590.00 | 1180.00 | 3800.00 | 7600.00 | 1180.00 | kot kandi construction (P) ltd
87.00 | Supplying and fixing following rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) 40 Amp. | 10.00 | Each |  | 1500.00 | 15000.00 | 490.00 | 4900.00 | 1500.00 | 15000.00 | 4900.00 | kot kandi construction (P) ltd
88.00 | Supplying and fixing 63 Amp.rating, four pole, (three phase and neutral), 415 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. As required. | 5.00 | Each |  | 2200.00 | 11000.00 | 460.00 | 2300.00 | 1700.00 | 8500.00 | 2300.00 | kot kandi construction (P) ltd
89.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
89.10 | 5/6 Amp switch | 70.00 | Each |  | 100.00 | 7000.00 | 100.00 | 7000.00 | 40.00 | 2800.00 | 2800.00 | BAKHTAWAR AHMAD RATHER
89.20 | 15/16 Amp switch | 50.00 | Each |  | 100.00 | 5000.00 | 160.00 | 8000.00 | 70.00 | 3500.00 | 3500.00 | BAKHTAWAR AHMAD RATHER
89.30 | 3 pin 5/6 Amp socket outlet | 75.00 | Each |  | 100.00 | 7500.00 | 120.00 | 9000.00 | 70.00 | 5250.00 | 5250.00 | BAKHTAWAR AHMAD RATHER
89.40 | 6 pin 15/16 amp socket outlet | 65.00 | Each |  | 120.00 | 7800.00 | 220.00 | 14300.00 | 90.00 | 5850.00 | 5850.00 | BAKHTAWAR AHMAD RATHER
90.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. (a) Single pole
90.10 | Single pole 5 A to 32 A | 60.00 | Each |  | 120.00 | 7200.00 | 190.00 | 11400.00 | 150.00 | 9000.00 | 7200.00 | M/S M L BROTHER
90.20 | Double pole 10 A | 50.00 | Each |  | 400.00 | 20000.00 | 260.00 | 13000.00 | 300.00 | 15000.00 | 13000.00 | kot kandi construction (P) ltd
91.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC HDPE pipe as required.
91.10 | Above 95 sqmm and up to 185 sq mm | 290.00 | Mtrs |  | 50.00 | 14500.00 | 75.00 | 21750.00 | 40.00 | 11600.00 | 11600.00 | BAKHTAWAR AHMAD RATHER
91.20 | UP TO 35 sq mm Power Cable | 645.00 | Mtrs |  | 30.00 | 19350.00 | 39.00 | 25155.00 | 15.00 | 9675.00 | 9675.00 | BAKHTAWAR AHMAD RATHER
92.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.Upto 35 sq. mm (clamped with 1mm thick saddle) | 445.00 | Mtrs |  | 40.00 | 17800.00 | 55.00 | 24475.00 | 25.00 | 11125.00 | 11125.00 | BAKHTAWAR AHMAD RATHER
93.00 | Supplying, installation, testing & commissioning of main control and indicating panel made out of 16 SWG MS sheet to accommodate the 6 Zone Control panel for fire alarm system controling Smoke Detector,Fire Alarm Sounder , Response Indicator with duly powder coated in approved colour with louvers for ventilation, locking arrangement, audio and visual indication for fire alarm and public address system, monitoring system including connections, interconnections etc complete as required. | 1.00 | Points |  | 31009.00 | 31009.00 | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 20000.00 | BAKHTAWAR AHMAD RATHER
94.00 | Supplying, installation, testing & commissioning of manual call boxes of MS construction in surface/recess with stainless steel chain & hammer assembly complete with glass and push button etc. as required. | 4.00 | Points |  | 200.00 | 800.00 | 2450.00 | 9800.00 | 250.00 | 1000.00 | 800.00 | M/S M L BROTHER
95.00 | Supplying, installation, testing & commissioning of Smoke Detector with builtin LED and mounting base complete with all connections etc. as required. | 25.00 | Points |  | 600.00 | 15000.00 | 1450.00 | 36250.00 | 600.00 | 15000.00 | 15000.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
96.00 | Supplying, installation, testing & commissioning Fire Alarm Sounder with facility to make announcement, mounted in M.S. box (16 SWG) with hinged cover plate & suitable for operation with amplifier i/c line matching transformer etc. complete as required. | 4.00 | Points |  | 400.00 | 1600.00 | 1460.00 | 5840.00 | 300.00 | 1200.00 | 1200.00 | BAKHTAWAR AHMAD RATHER
97.00 | Supplying, installation, testing & commissioning Response Indicator on surface/ recess MS box having two LEDs metallic cover complete with all connections etc. as required | 8.00 | Points |  | 100.00 | 800.00 | 650.00 | 5200.00 | 100.00 | 800.00 | 800.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
98.00 | Supply and fixing of following size of steel conduit alongwith the accessories in surface/recess including painting in case of surface conduit or cutting the wall and making good the same in case of recessed conduit as required. (a) 20mm dia. | 65.00 | Mtrs. |  | 170.00 | 11050.00 | 390.00 | 25350.00 | 140.00 | 9100.00 | 9100.00 | BAKHTAWAR AHMAD RATHER
99.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 125.00 | Mtrs. |  | 300.00 | 37500.00 | 85.00 | 10625.00 | 200.00 | 25000.00 | 10625.00 | kot kandi construction (P) ltd
100.00 | Installation, testing and commissioning of pre-wired, LED Light fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required | 50.00 | Each |  | 100.00 | 5000.00 | 300.00 | 15000.00 | 150.00 | 7500.00 | 5000.00 | M/S M L BROTHER
101.00 | Installation of Exhaust Fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Up to 450 mm sweep | 4.00 | Each |  | 300.00 | 1200.00 | 1850.00 | 7400.00 | 400.00 | 1600.00 | 1200.00 | M/S M L BROTHER
102.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 x 120 sq. mm (45mm) | 10.00 | Set |  | 300.00 | 3000.00 | 450.00 | 4500.00 | 200.00 | 2000.00 | 2000.00 | BAKHTAWAR AHMAD RATHER
103.00 | Supplying amd making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 3.5 x 25sqmm (28mm) | 12.00 | Set |  | 180.00 | 2160.00 | 320.00 | 3840.00 | 180.00 | 2160.00 | 2160.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
104.00 | Providing, laying and fixing following dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep) and re-filling etc as required. a) 100 mm dia | 50.00 | Mtrs. |  | 1200.00 | 60000.00 | 2250.00 | 112500.00 | 800.00 | 40000.00 | 40000.00 | BAKHTAWAR AHMAD RATHER
105.00 | Supplying and fixing Cable Route Marker with 10cmx10cmx5mm thick G.I. plate with inscription there on bolted/welded to 35 mm x35mmx6mm angle iron 60cm long and fixing the same in ground as required. | 25.00 | Each |  | 300.00 | 7500.00 | 1460.00 | 36500.00 | 180.00 | 4500.00 | 4500.00 | BAKHTAWAR AHMAD RATHER
106.00 | Earthing with G.I. earth plate 600 mm x 600 mm x 6 mm thick including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/coke and salt as required. | 6.00 | Set |  | 6000.00 | 36000.00 | 3000.00 | 18000.00 | 8000.00 | 48000.00 | 18000.00 | kot kandi construction (P) ltd
107.00 | Providing and fixing 25mm x 5mm G.I. strip in 40mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, stpring washer excavation and re-filling etc. as required. | 55.00 | Mtrs |  | 500.00 | 27500.00 | 1800.00 | 99000.00 | 300.00 | 16500.00 | 16500.00 | BAKHTAWAR AHMAD RATHER
108.00 | Providing & fixing 25 mm x 5 mm G.I. strip on surface or in recess for connections etc. as required. | 75.00 | Mtrs |  | 150.00 | 11250.00 | 140.00 | 10500.00 | 150.00 | 11250.00 | 10500.00 | kot kandi construction (P) ltd
109.00 | Supplying and laying 25 mm x 5 mm G.I. strip at 0.50 meter below ground as strip electrode, including connection / terminating with G.I. nut, bolt, spring washer etc. as required. (joining shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50 mm) | 45.00 | Mtrs |  | 100.00 | 4500.00 | 220.00 | 9900.00 | 50.00 | 2250.00 | 2250.00 | BAKHTAWAR AHMAD RATHER
110.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 645.00 | Mtrs |  | 38.00 | 24510.00 | 60.00 | 38700.00 | 10.00 | 6450.00 | 6450.00 | BAKHTAWAR AHMAD RATHER
111.00 | Supplying and drawing 04 pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored Telephone Cable in the existing surface/ recessed steel/ PVC conduit as required. | 20.00 | Mtrs |  | 40.00 | 800.00 | 75.00 | 1500.00 | 20.00 | 400.00 | 400.00 | BAKHTAWAR AHMAD RATHER
112.00 | Supplying and drawing co-axial TV cable RG-6 grade, 0.7 mm solid copper conductor PE insulated, shielded with fine tinned copper braid and protected with PVC sheath in the existing surface/ recessed steel/ PVC conduit as required | 18.00 | Mtrs |  | 30.00 | 540.00 | 65.00 | 1170.00 | 25.00 | 450.00 | 450.00 | BAKHTAWAR AHMAD RATHER
113.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable for 2 run of cable in the existing surface/ recessed steel/ PVC conduit as required | 25.00 | Mtrs |  | 50.00 | 1250.00 | 320.00 | 8000.00 | 40.00 | 1000.00 | 1000.00 | BAKHTAWAR AHMAD RATHER
114.00 | Supplying and fixing following piano type switch/ socket on the existing switch box/ cover including connections etc. as required
114.10 | Telephone socket outlet (RJ-11) | 2.00 | Each |  | 80.00 | 160.00 | 220.00 | 440.00 | 60.00 | 120.00 | 120.00 | BAKHTAWAR AHMAD RATHER
114.20 | TV antenna socket outlet | 2.00 | Each |  | 80.00 | 160.00 | 220.00 | 440.00 | 60.00 | 120.00 | 120.00 | BAKHTAWAR AHMAD RATHER
114.30 | Data outlet one module for Data Points (RJ-45) | 4.00 | Each |  | 80.00 | 320.00 | 200.00 | 800.00 | 80.00 | 320.00 | 320.00 | BAKHTAWAR AHMAD RATHER, M/S M L BROTHER
115.00 | Supply, Installation, Testing & Commissioning of 1.5 TR Split AC units (05 star rated) Split Type, wall mounted 05 star rated AC units consisting outdoor units, Indoor& outdoor units complete with standard factory supplied power & control panels with cord less remote control, along with pre-filled inter-connecting copper refrigerant (eco friendly Gas) piping upto 03 meters complete with insulation tubing as required, inter-connecting power and control cabling/wire, drain pipe and floor/wall type with floor mounting MS stands for outdoor unit & electrical wiring between the indoor & outdoor unit suitable size drain piping and 4KVA single phase voltage stabilizer complete as per specifications, as per approved/preferred make list. 2.0 TR Split AC units (05 star rated). | 2.00 | Job |  | 48501.50 | 97003.00 | 56000.00 | 112000.00 | 35000.00 | 70000.00 | 70000.00 | BAKHTAWAR AHMAD RATHER
116.00 | Supply, Installation, Testing & Commissioning of concealed type Online RO storage cooler cum purifier suitable for working on 230V, 50H2, single phase supply. It should satisfy the following specifications:- i) Storage Tank Capacity:- 80 liter (cold) +08 Liter Tank dispensing. ii) Water Cooling Capacity:- 60 LPH degree centigrade (controllable). iii) No. of faucet: Minimum 02 (Two). iv) Outer Body material: Stainless steel. vi) RO membrane flushing type: Auto flush vii) Purification Capacity: 50 Liter/Hr (Equivalent to ZERO-B Model no. CHILL 60-80-50 as per approved/preferred make list.) | 1.00 | Job |  | 88000.00 | 88000.00 | 46000.00 | 46000.00 | 50000.00 | 50000.00 | 46000.00 | kot kandi construction (P) ltd
117.00 | Supply, Installation, Testing & Commissioning of of Air Curtainin for both side doors as per requirement suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 2.00 | Job |  | 14590.00 | 29180.00 | 32500.00 | 65000.00 | 8000.00 | 16000.00 | 16000.00 | BAKHTAWAR AHMAD RATHER
118.00 | Supply of following size of XLPE insulated, PVC sheathed, FRLS outer sheath, armoured, aluminium conductor cable of 1.1 KV grade as per IS 7098 (Part-I) 1988 complete as required.
118.10 | 3.5x 120 sqmm | 350.00 | Mtrs |  | 430.00 | 150500.00 | 90.00 | 31500.00 | 400.00 | 140000.00 | 31500.00 | kot kandi construction (P) ltd
118.20 | 3.5 x 25 sqmm | 645.00 | Mtrs |  | 150.00 | 96750.00 | 65.00 | 41925.00 | 130.00 | 83850.00 | 41925.00 | kot kandi construction (P) ltd
119.00 | Supply of 03 core x 1.5 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable | 280.00 | Mtrs |  | 50.00 | 14000.00 | 85.00 | 23800.00 | 40.00 | 11200.00 | 11200.00 | BAKHTAWAR AHMAD RATHER
120.00 | Supply of 03 core x 2.5 sq. mm ISI marked, FRLS PVC insulated, single core copper conductor cable | 280.00 | Mtrs |  | 50.00 | 14000.00 | 89.00 | 24920.00 | 40.00 | 11200.00 | 11200.00 | BAKHTAWAR AHMAD RATHER
121.00 | Supply of Flame Retardant PVC insulated single core copper conductor (flexible) cable suitable upto 1100V grade conforming to IS:694 of AAI preferred make list of following size & coil length:-
121.10 | 1 Core x 1.5 sq.mm. (90 meter coil) | 6.00 | Each |  | 1200.00 | 7200.00 | 2200.00 | 13200.00 | 80.00 | 480.00 | 480.00 | BAKHTAWAR AHMAD RATHER
121.20 | 1 Core x 2.5 sq.mm. (90 meter coil) | 6.00 | Each |  | 1800.00 | 10800.00 | 2890.00 | 17340.00 | 1200.00 | 7200.00 | 7200.00 | BAKHTAWAR AHMAD RATHER
121.30 | 1 Core x 4 sq.mm. (90 meter coil) | 5.00 | Each |  | 2500.00 | 12500.00 | 4250.00 | 21250.00 | 2000.00 | 10000.00 | 10000.00 | BAKHTAWAR AHMAD RATHER
122.00 | Supplying and laying of following size DWC HDPE pipe
122.10 | 120 mm dia (OD-120 mm & ID-103 mm nominal) DWC HDPE pipe for electrical Power cable laying | 300.00 | Mtrs |  | 250.00 | 75000.00 | 620.00 | 186000.00 | 140.00 | 42000.00 | 42000.00 | BAKHTAWAR AHMAD RATHER
122.20 | 40 mm dia DWC HDPE pipe for electrical Power cable laying | 535.00 | Mtrs |  | 100.00 | 53500.00 | 160.00 | 85600.00 | 80.00 | 42800.00 | 42800.00 | BAKHTAWAR AHMAD RATHER
122.30 | 20 mm dia DWC HDPE pipe for electrical Power cable laying | 410.00 | Mtrs |  | 100.00 | 41000.00 | 90.00 | 36900.00 | 40.00 | 16400.00 | 16400.00 | BAKHTAWAR AHMAD RATHER
123.00 | Supply of LED type 100 Watt (Flood Light) rectangular street/flood LED light with pressure die-cast aluminium cover on both side for holding extruded aluminium heat sink, with heat resistant toughened glass with control gear suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved/preferred make list. | 6.00 | Each |  | 3000.00 | 18000.00 | 3500.00 | 21000.00 | 2300.00 | 13800.00 | 13800.00 | BAKHTAWAR AHMAD RATHER
124.00 | Supply of LED type 36 watt recess/suspended slim LED 1'x4' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. | 8.00 | Each |  | 3800.00 | 30400.00 | 1500.00 | 12000.00 | 2750.00 | 22000.00 | 12000.00 | kot kandi construction (P) ltd
125.00 | Supply of 20 Watt LED tube light fitting suitable for wall mounting & operation on 230 Volt, 50 HZ, AC supply of Single `Phase as per approved / preferred make list. | 34.00 | Each |  | 200.00 | 6800.00 | 890.00 | 30260.00 | 180.00 | 6120.00 | 6120.00 | BAKHTAWAR AHMAD RATHER
126.00 | Supply of follwing size Exhaust Fan suitable for operation on 230 V, 50 hz, AC supply conforming to relevant IS with up to date amendmen`ts etc. complete as required.
126.10 | 450 mm size and 1500 rpm, heavy duty MS body E`xhaust Fan. | 4.00 | Each |  | 4000.00 | 16000.00 | 1950.00 | 7800.00 | 2400.00 | 9600.00 | 7800.00 | kot kandi construction (P) ltd
126.20 | 150 mm size and 1500 rpm, heavy duty MS body E`xhaust Fan. | 8.00 | Each |  | 800.00 | 6400.00 | 1400.00 | 11200.00 | 500.00 | 4000.00 | 4000.00 | BAKHTAWAR AHMAD RATHER
127.00 | Supply of heavy duty, sweep size 450 mm dia., 200W motor capacity Industrial type Wall Fan complete with built in String type speed regulator & mounting arrangement suitable for operating at single phase, 230V AC, `50 Hz etc. | 5.00 | Each |  | 3000.00 | 15000.00 | 3500.00 | 17500.00 | 3150.00 | 15750.00 | 15000.00 | M/S M L BROTHER
128.00 | Supply, Installations, Testing & Commissioing of Digital Electronic Timer required for maintaining 4-6 hours operation for `the on of Air conditioners and remain other as stand by for capacity of 1.5 to 2.0 TR Air-Conditioners of all make complete as required at site. | 2.00 | Jobs |  | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 4000.00 | BAKHTAWAR AHMAD RATHER
129.00 | Supply of decorative LED Gate Light in aluminum die cast with modern artistic design and white PC diffuser suitable for retrofit LED lamps upto 60 watt suitable for operation on 230 Volt, 50 HZ, AC supply of Sing`le Phase as per approved / preferred make list. | 2.00 | Each |  | 4500.00 | 9000.00 | 2500.00 | 5000.00 | 2100.00 | 4200.00 | 4200.00 | BAKHTAWAR AHMAD RATHER
130.00 | Supply of 25 ltrs. Capacity , 2000watt , SS tank , heating element with termostate,vertical mounting arrangement, Class1, fully automatice, ISI electric storage water heater Geyser suitable for operation on 230v, 50 hz, main lead wire, single phase AC supply complete with all accessories etc. as required | 5.00 | Each |  | 4900.00 | 24500.00 | 14500.00 | 72500.00 | 3100.00 | 15500.00 | 15500.00 | BAKHTAWAR AHMAD RATHER
131.00 | Supply of automatic Hand Dryer suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 5.00 | Each |  | 2500.00 | 12500.00 | 7800.00 | 39000.00 | 1800.00 | 9000.00 | 9000.00 | BAKHTAWAR AHMAD RATHER
132.00 | Supply of 2KW, Carbon Pillar Tubular Radiant Room Heater suitable for operation on voltage single phase 220 Voltage. | 8.00 | Each |  | 4400.00 | 35200.00 | 5500.00 | 44000.00 | 2100.00 | 16800.00 | 16800.00 | BAKHTAWAR AHMAD RATHER
133.00 | Supply of Pedestal type Fan with regulator & adujustable height, minimum 900 mm, Maximum 1050 mm having 400 mm fan size and Maximum Input (in watts) 61 W suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved / preferred make list. | 3.00 | Each |  | 4800.00 | 14400.00 | 5500.00 | 16500.00 | 3500.00 | 10500.00 | 10500.00 | BAKHTAWAR AHMAD RATHER
134.00 | Supply of 18 to 20 Watt LED Bulb of B-22 type required for General Lighting Service requirement suitable for operation on 230 Volt, 50 HZ, AC supply of Single Phase as per approved/preferred make list. | 17.00 | Each |  | 200.00 | 3400.00 | 550.00 | 9350.00 | 180.00 | 3060.00 | 3060.00 | BAKHTAWAR AHMAD RATHER
135.00 | Supply of power coated Electric Fly Catcher Insect Machine with the following feature specification:- a. Body material: Mild/stainless steel b. Number of tubes: 02 nos. c. Lamp: Philips UV lamp d.Fitting:wall mounted e.Element : 2X15watt tube f. Minimum size: 52 x 11 x 32 cm or higher g. Insect removal tray in bottom side. h. transformer and suitable working of 230volt,50hz Single phase AC supply etc. complete as required. | 5.00 | Each |  | 4500.00 | 22500.00 | 8000.00 | 40000.00 | 2000.00 | 10000.00 | 10000.00 | BAKHTAWAR AHMAD RATHER
136.00 | Supply & Fixing of 225 mm wide x 38 mm deep raceway (3 compartment) of under floor G.I. sheet steel Raceway for distributing cableing in screed floor installations. Raceway should be made of pre galvanaized sheet with thickness of 1.6mm consist of body and cover. It should have average of 120GSM zinc coating. Raceway should be openable from top cover fitted onto the body with self forming screw and can be opened easily if required. Raceway should be supplied with accessories such as brackets and coupling plates as required. Raceway should be confirmed with the standard EN 50085-2-2 including all accessories complete as required. | 20.00 | Mtr. |  | 4300.00 | 86000.00 | 850.00 | 17000.00 | 2000.00 | 40000.00 | 17000.00 | kot kandi construction (P) ltd
137.00 | Supply and flxlng of 225 mm wide x 38 mm deep raceway (3 compartment) of Height adjustable under floor Crossover Junction Box with flyover for Raceways for direct access to cables at the intersection of Raceways supplied completely with base and cover plate(lid). Junction box should be made of Pre galvanized sheet consist of body and cover. Height of the junction box should be adjustable from minimum 60mm. Junction box should be supplied with the metal cover for protecting the iunction box during constructions at site. lt should be confirmed with the standard EN 50085-2-2 including all accessories complete as required: | 10.00 | Set |  | 2700.00 | 27000.00 | 650.00 | 6500.00 | 1500.00 | 15000.00 | 6500.00 | kot kandi construction (P) ltd
138.00 | Supply, installation, testing & commissioning of For ducting up to 225 MM (Up to 3 Compartment) of Access Outlet box accessories that includes modular flat and wave support plate with switch, socket, data and telephone outlets etc. Accessories For ducting up to 225 mm (Lid & Trim 3 compartment- 265 x 265mm), (i) 6A SP Switch- 2nos., (ii) Socket - 6 A - 3nos., (iii) 16 A SP Switch-- 2nos., (iv) Socket - 6/16 A - 3 pin - - 3nos., (v) Telephone socket - RJ11 -2nos., (vi) Information socket category 6 - UTP - 1 module - 2nos. (vii) Accessories & etc. | 10.00 | Set |  | 4005.00 | 40050.00 | 3020.00 | 30200.00 | 1500.00 | 15000.00 | 15000.00 | BAKHTAWAR AHMAD RATHER
| Total in Figures |  |  |  |  | 5717382.00 |  | 7634053.00 |  | 4888010.00
Lowest Amount Quoted BY: BAKHTAWAR AHMAD RATHER(4888010.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Security Check room near Operational , VIP vehicle Gate for frisking Gents and Ladies at Kullu-Manali Airport. Civil and Elect works Tender ID: 2024_AAI_196493_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BAKHTAWAR AHMAD RATHER | 4888010.00 | L1
| 2 | M/S M L BROTHER | 5717382.00 | L2
| 3 | kot kandi construction (P) ltd | 7634053.00 | L3