## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 26-Jun-2024 03:52 PM Tender Title: Rate Contract for SITC of Split Cassette and Tower type Air conditioners Water Coolers Water Dispensers and Air curtains for various locations at CIA for the period of One Year 2024 25 Tender ID: 2024_AAI_196567_1
Tender Inviting Authority: AGM (Engg - Elect), Airports Authority of India, Chennai Airport, Chennai.
Name of Work: Rate Contract for SITC of Split, Cassette & Tower type Air conditioners, Water Coolers Water Dispensers and Air curtains for various locations at CIA for the period of One Year (2024-25)
Contract No: 2024_AAI_196567_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED (GSTN-33AABCG0898A1Z0) BID ID -710034 |  | M/s Cooltec (GSTN-33CZOPS9421C1Z6) BID ID -710054
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of following capacity wall mounted type Split AC unit (5 star rating invertor type) fitted with hermetically sealed compressor operating on 230 V +10% 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, copper piping for both suction and discharge of 4 metres length, power and control cabling of 4 meters length, outdoor condensing units to be mounted on angle frame of required size upto 2.0 TR capacity etc. including all accessories complete as required as per specifications.
1.01 | i) 1.5 TR | 10.00 | Job |  | 48000.00 | 480000.00 | 58000.00 | 580000.00 | 480000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
1.02 | ii) 2.0 TR | 15.00 | Job |  | 57000.00 | 855000.00 | 68000.00 | 1020000.00 | 855000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
2.00 | SITC of following capacity voltage stabilizers with copper wound coil having input working range of 170 to 270 voltage single phase, 50 Hz AC supply giving output of 230 volts i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of 1 metre length, complete, etc as required as per specifications.
2.01 | i) 4 KVA | 10.00 | Job |  | 4000.00 | 40000.00 | 4000.00 | 40000.00 | 40000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED, M/s Cooltec
2.02 | ii) 5 KVA | 15.00 | Job |  | 5000.00 | 75000.00 | 4500.00 | 67500.00 | 67500.00 | M/s Cooltec
3.00 | SITC of 4TR capacity ceiling suspended Cassette type AC unit fitted with hermetically sealed compressor operating on 415 V +10% 50 Hz 3 phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, Angle iron wall / floor stand for condensing unit etc. including all accessories complete as required as per specifications. | 3.00 | Job |  | 135000.00 | 405000.00 | 145000.00 | 435000.00 | 405000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
4.00 | SITC of 4TR capacity Floor standing tower type Split AC unit fitted with hermetically sealed compressor operating on 415 V +10% 50 Hz 3 phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, Angle iron floor stand for indoor unit, Angle iron wall / floor stand for condensing unit etc. including all accessories complete as required as per specifications. | 4.00 | Job |  | 114000.00 | 456000.00 | 130000.00 | 520000.00 | 456000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
5.00 | Supply and Installation of additional Copper pipe for 1.5TR, 2TR Split ACs(beyond 4 meters per Split AC unit) and Copper pipe for 4TR capacity Cassette, floor standing tower type ACs including suction and delivery line with all accessories such as insulation, power & control cabling, etc. complete as required as per specifications.
5.01 | i) 1.5 TR Split type AC unit | 25.00 | RM |  | 900.00 | 22500.00 | 2000.00 | 50000.00 | 22500.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
5.02 | ii) 2.0 TR Split type AC unit | 70.00 | RM |  | 900.00 | 63000.00 | 2100.00 | 147000.00 | 63000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
5.03 | iii) 4.0 TR Cassette / Floor Standing type AC unit | 70.00 | RM |  | 1400.00 | 98000.00 | 2200.00 | 154000.00 | 98000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
6.00 | Supplying & laying of following size condensate water drain pipe made of UPVC having for additional requirement for AC units i/c necessary clamps, screws, supports, etc. complete as required as per specifications.
6.01 | i) 25mm, capacity 28 kg/sqcm | 200.00 | RM |  | 240.00 | 48000.00 | 350.00 | 70000.00 | 48000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
6.02 | ii) 40mm, capacity 22 kg/sqcm | 100.00 | RM |  | 310.00 | 31000.00 | 250.00 | 25000.00 | 25000.00 | M/s Cooltec
7.00 | Supplying & fixing of following size PVC trunking profile on wall / surface to facilitate installation of copper piping, insulation, power cabling, control cabling, condensate drain water piping etc. complete as required as per specifications.
7.01 | i) 75 X 50 X1.25mm | 100.00 | RM |  | 700.00 | 70000.00 | 2500.00 | 250000.00 | 70000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
7.02 | ii) 100 X 50 X 1.35 mm | 100.00 | RM |  | 950.00 | 95000.00 | 2800.00 | 280000.00 | 95000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
8.00 | Supply and fixing of following rated Cyclic timer for Split / Tower type air conditioners, suitable for cycle the air conditioners between duty and standby units at predetermined intervals that are settable between 1 to 12 hours, with necessary buttons, display, inbuilt power and control contactors, control circuits, terminals, etc. complete as required as per specifications.
8.01 | i) Cyclic timer for split AC having 2 TR capacity, AC Single Phase power supply. Similar to Model No. A-MCT-02, make of Presevi Industries Pvt Ltd | 15.00 | Job |  | 9000.00 | 135000.00 | 2000.00 | 30000.00 | 30000.00 | M/s Cooltec
8.02 | ii) Cyclic timer for split AC (Floor standing, Tower type) having 4 TR capacity, AC, 3 Phase power supply. Similar to Model No. A-MCT-02-AM, make of Presevi Industries Pvt Ltd | 4.00 | Job |  | 11000.00 | 44000.00 | 2000.00 | 8000.00 | 8000.00 | M/s Cooltec
9.00 | SITC of floor mounted type water cooler having following capacities with RO + UV purification, Stainless steel 304 Grade body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 230 V +10% 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps, suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections etc. complete as required as per specifications.
9.01 | Purification capacity : Not less than 80 ltr/hour Cool water tank : Not less than 40 ltr Normal water tank : Not less than 30 ltr Hot water tank : Not less than 5 ltr Cooling capacity : Not less than 40 ltr/hour | 12.00 | Job |  | 120000.00 | 1440000.00 | 101000.00 | 1212000.00 | 1212000.00 | M/s Cooltec
10.00 | SITC of floor mounted type water cooler having following capacities, Stainless steel 304 Grade body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 230 V +10% 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps, suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections etc. complete as required as per specifications.
10.01 | Cool water tank : Not less than 20 ltr Normal water tank : Not less than 20 ltr Hot water tank : Not less than 3 ltr Cooling capacity : Not less than 20 ltr/hour | 2.00 | Job |  | 95000.00 | 190000.00 | 45000.00 | 90000.00 | 90000.00 | M/s Cooltec
11.00 | SITC of floor mounted type water cooler having following capacities, Stainless steel 304 Grade body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 230 V +10% 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps(6 to 9 faucets), suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections etc. complete as required as per specifications.
11.01 | Cool water tank : Not less than 40 ltr Normal water tank : Not less than 30 ltr Hot water tank : Not less than 5 ltr Cooling capacity : Not less than 40 ltr/hour | 2.00 | Job |  | 114000.00 | 228000.00 | 70000.00 | 140000.00 | 140000.00 | M/s Cooltec
12.00 | SITC of 20 ltr capacity floor mounted type water dispenser having Stainless Steel 304 Grade, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 230 V +10% 50 Hz Single phase AC supply with HOT/ COLD/ NORMAL water taps with provision for spill water inbuilt drainage , necessary power / control / piping / hose connections for operation with 20 ltr water can / bottle source, provision to keep the 20 ltr water can/bottle within the unit, etc. complete as required as per specifications. | 2.00 | Job |  | 44000.00 | 88000.00 | 15000.00 | 30000.00 | 30000.00 | M/s Cooltec
13.00 | SITC of following size Aircurtains having continuous rated motor, min 9-10 m/sec air velocity and less noise up to 67 db level suitable for operation on 230V, 50Hz AC single phase power supply on 24x7 basis, including adjustable speed, adjustable louvers to control the direction of air flow, thermal overload protection for motor, Powder coated MS body, etc. complete as required as per specifications.
13.01 | i) 3 feet length | 6.00 | Job |  | 65000.00 | 390000.00 | 24000.00 | 144000.00 | 144000.00 | M/s Cooltec
13.02 | ii) 6 feet length | 6.00 | Job |  | 79000.00 | 474000.00 | 26000.00 | 156000.00 | 156000.00 | M/s Cooltec
| Total in Figures |  |  |  |  | 5727500.00 |  | 5448500.00
Lowest Amount Quoted BY: M/s Cooltec(5448500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rate Contract for SITC of Split Cassette and Tower type Air conditioners Water Coolers Water Dispensers and Air curtains for various locations at CIA for the period of One Year 2024 25 Tender ID: 2024_AAI_196567_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Cooltec | 5448500.00 | L1
| 2 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 5727500.00 | L2