## BoQ1
Government eProcurement System Created By: RAGHU RAMA REDDY DODDA Created Date/Time: 24-Jun-2024 05:28 PM Tender Title: Replacement of CCRs at Chennai Airport Tender ID: 2024_AAI_196720_1
Tender Inviting Authority: Assistant General Manager (Engg-Elect)
Name of Work: Replacement of CCRs at Chennai Airport.
Contract No: 2024_AAI_196720_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NASU SYSTEMS (GSTN-27ABAPS2566G1ZK) BID ID -707513 |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)--710875
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: SITC of CCRs
1.01 | Supply of FAA compliant, indoor type, natural air cooled microprocessor based Constant Current Regulator (CCR) of Thyristor control electronic type suitable for local and remote control with 24/48V DC control supply with 5 position brightness control and suitable for operation on input voltage of 230/415V, 50Hz. AC supply and output of 50KW at 6.6A rating with all necessary accessories/protections etc., complete as required. | 3.00 | Each |  | 600000.00 | 1800000.00 | 540500.00 | 1621500.00 | 1621500.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | Supply of FAA compliant, indoor type, natural air cooled microprocessor based Constant Current Regulator (CCR) of Thyristor control electronic type suitable for local and remote control with 24/48V DC control supply with 5 position brightness control and suitable for operation on input voltage of 230/415V, 50Hz. AC supply and output of 10KW at 6.6A rating with all necessary accessories/protections etc., complete as required. | 8.00 | Each |  | 330000.00 | 2640000.00 | 287500.00 | 2300000.00 | 2300000.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | Installation, Testing and Commissioning of 50 KW CCR (Microprocessor Based) including minor civil works, provision for cable entry, connecting all the field cables, power cables, control cables, earthing etc., complete as required. | 3.00 | Each |  | 15000.00 | 45000.00 | 5000.00 | 15000.00 | 15000.00 | DElite System Engineering (India) Pvt. Ltd.
4.00 | Installation, Testing and Commissioning of 10 KW CCR (Microprocessor Based) including minor civil works, provision for cable entry, connecting all the field cables, power cables, control cables, earthing etc., complete as required. | 8.00 | Each |  | 15000.00 | 120000.00 | 5000.00 | 40000.00 | 40000.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Dismantling of existing 50/10 KW Youyang make microprocesaor based CCRs including disconnection dismantling of power/control cables/earthing and shifting CCRs to AAI store, stacking etc., as per the direction of Engineer in Charge complete as required. | 11.00 | Each |  | 10000.00 | 110000.00 | 500.00 | 5500.00 | 5500.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | SH II : CMC OF CCRs
6.01 | All Inclusive Comprehensive Maintenance (AICMC) of 03 Nos., 50KW CCRs including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts.
6.02 | First Year after Completion of 2 year DLP (Considered 3% of SITC Cost of item No. 1.01 & 3) | 1.00 | Annum |  | 55350.00 | 55350.00 | 49095.00 | 49095.00 | 49095.00 | DElite System Engineering (India) Pvt. Ltd.
6.03 | Second Year (Considered Yearly 5% cumulative enhancement on 1st year after DLP) | 1.00 | Annum |  | 58118.00 | 58118.00 | 51550.00 | 51550.00 | 51550.00 | DElite System Engineering (India) Pvt. Ltd.
6.04 | Third Year (Considered Yearly 5% cumulative enhancement on 2nd year after DLP) | 1.00 | Annum |  | 61024.00 | 61024.00 | 54128.00 | 54128.00 | 54128.00 | DElite System Engineering (India) Pvt. Ltd.
6.05 | Fourth Year (Considered Yearly 5% cumulative enhancement on 3rd year after DLP) | 1.00 | Annum |  | 64075.00 | 64075.00 | 56834.00 | 56834.00 | 56834.00 | DElite System Engineering (India) Pvt. Ltd.
6.06 | Fifth Year (Considered Yearly 5% cumulative enhancement on 4th year after DLP) | 1.00 | Annum |  | 67279.00 | 67279.00 | 59676.00 | 59676.00 | 59676.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | All Inclusive Comprehensive Maintenance (AICMC) of 08 Nos., 10KW CCRs including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts.
7.01 | First Year after Completion of 2 year DLP (Considered 3% of SITC Cost of item No. 2 & 4) | 1.00 | Annum |  | 82800.00 | 82800.00 | 70200.00 | 70200.00 | 70200.00 | DElite System Engineering (India) Pvt. Ltd.
7.02 | Second Year (Considered Yearly 5% cumulative enhancement on 1st year after DLP) | 1.00 | Annum |  | 86940.00 | 86940.00 | 73710.00 | 73710.00 | 73710.00 | DElite System Engineering (India) Pvt. Ltd.
7.03 | Third Year (Considered Yearly 5% cumulative enhancement on 2nd year after DLP) | 1.00 | Annum |  | 91287.00 | 91287.00 | 77396.00 | 77396.00 | 77396.00 | DElite System Engineering (India) Pvt. Ltd.
7.04 | Fourth Year (Considered Yearly 5% cumulative enhancement on 3rd year after DLP) | 1.00 | Annum |  | 95851.00 | 95851.00 | 81266.00 | 81266.00 | 81266.00 | DElite System Engineering (India) Pvt. Ltd.
7.05 | Fifth Year (Considered Yearly 5% cumulative enhancement on 4th year after DLP) | 1.00 | Annum |  | 100644.00 | 100644.00 | 85329.00 | 85329.00 | 85329.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 5478368.00 |  | 4641184.00
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(4641184.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of CCRs at Chennai Airport Tender ID: 2024_AAI_196720_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 4641184.00 | L1
| 2 | NASU SYSTEMS | 5478368.00 | L2