## BoQ1
Government eProcurement System Created By: Jithi S Hari Created Date/Time: 15-Jul-2024 11:40 AM Tender Title: SITC of 20 Nos of RADAR and accessories. SH Construction of ASR collocated MSSR and Antenna Tower at Chennai Airport. Tender ID: 2024_AAI_196877_1
Tender Inviting Authority: SM (Engg-Civil),Operational Office Complex, RHQ-SR, Chennai 600 016.
Name of Work: “SITC of 20 Nos of RADAR and accessories SH: Construction of ASR collocated MSSR and Antenna Tower at Chennai Airport. ”
Contract No: 2024_AAI_ 196877_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S SRI MARUTHI CONSTRUCTIONS (GSTN-33ADDFS5314H1ZB) BID ID -706040 |  | Saraswathi Engineering Construction (P) Ltd. (GSTN-33AAHCS4653D1ZJ) BID ID -711760
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Carriage of earth By Mechanical Transport including loading, unloading and stacking for lead upto 2 km complete as per directions of Engineer-in-Charge. | 1172.00 | cum |  | 150.00 | 175800.00 | 270.00 | 316440.00 | 175800.00 | M/S SRI MARUTHI CONSTRUCTIONS
2.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means over areas (exceeding 30cm in depth. 1.5m in width as well as 10 sqm on plan) including disposal of excavated earth, lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. a) All kinds of soil | 955.00 | Cum |  | 250.00 | 238750.00 | 270.00 | 257850.00 | 238750.00 | M/S SRI MARUTHI CONSTRUCTIONS
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. a)All kinds of soil | 900.00 | cum |  | 250.00 | 225000.00 | 270.00 | 243000.00 | 225000.00 | M/S SRI MARUTHI CONSTRUCTIONS
4.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 639.00 | Cum |  | 250.00 | 159750.00 | 180.00 | 115020.00 | 115020.00 | Saraswathi Engineering Construction (P) Ltd.
5.00 | Extra for every additional lift of 1.5 m or part thereof in excavation /banking excavated or stacked materials - All kinds of soil | 164.00 | Cum |  | 150.00 | 24600.00 | 144.00 | 23616.00 | 23616.00 | Saraswathi Engineering Construction (P) Ltd.
6.00 | Supplying and filling in plinth with Fine sand under floors, including watering, ramming, consolidating and dressing complete. | 240.00 | Cum |  | 2500.00 | 600000.00 | 2700.00 | 648000.00 | 600000.00 | M/S SRI MARUTHI CONSTRUCTIONS
7.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 50.00 | Metre |  | 1000.00 | 50000.00 | 360.00 | 18000.00 | 18000.00 | Saraswathi Engineering Construction (P) Ltd.
8.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil. Pipes, cables etc. exceeding 300 mm dia. but not exceeding 600 mm dia | 50.00 | Metre |  | 1200.00 | 60000.00 | 630.00 | 31500.00 | 31500.00 | Saraswathi Engineering Construction (P) Ltd.
9.00 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of grade M-30 of specified diameter and length below the pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap etc. by percussion drilling using Direct mud circulation (DMC) or Bailer and chisel technique by tripod and mechanical Winch Machine all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap). a) 600 mm dia piles Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.. All works upto plinth level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 360.00 | Metre |  | 5700.00 | 2052000.00 | 3780.00 | 1360800.00 | 1360800.00 | Saraswathi Engineering Construction (P) Ltd.
10.00 | Boring, providing and installation bored cast-in-situ reinforced cement concrete piles of grade M-30 of specified diameter and length below the pile cap, to carry a safe working load not less than specified, excluding the cost of steel reinforcement but including the cost of boring with bentonite solution and temporary casing of appropriate length for setting out and removal of same and the length of the pile to be embedded in the pile cap etc. by percussion drilling using Direct mud circulation (DMC) or Bailer and chisel technique by tripod and mechanical Winch Machine all complete, including removal of excavated earth with all its lifts and leads (length of pile for payment shall be measured up to bottom of pile cap). a) 750 mm dia piles Note: : Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.. All works upto plinth level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 480.00 | Metre |  | 7250.00 | 3480000.00 | 6030.00 | 2894400.00 | 2894400.00 | Saraswathi Engineering Construction (P) Ltd.
11.00 | Vertical load testing of piles in accordance with IS 2911 (Part IV) including installation of loading platform by Kentledge/Anchor piles method and preparation of pile head or construction of test cap and dismantling of test cap after test etc. complete as per specification & the direction of Engineer in-charge. Note: 1. Initial and Routine Load Test shall not be carried out by Dynamic method of testing. Note: 2. Testing agency shall submit the design of loading platform for the approval of Engineer-in-charge. a) Single pile upto 50 tonne Safe capacity Initial test (Test Load 2.5 times the Safe capacity) | 3.00 | Per Test |  | 123000.00 | 369000.00 | 171000.00 | 513000.00 | 369000.00 | M/S SRI MARUTHI CONSTRUCTIONS
12.00 | Vertical load testing of piles in accordance with IS 2911 (Part IV) including installation of loading platform by Kentledge/Anchor piles method and preparation of pile head or construction of test cap and dismantling of test cap after test etc. complete as per specification & the direction of Engineer in-charge. Note: 1. Initial and Routine Load Test shall not be carried out by Dynamic method of testing. Note: 2. Testing agency shall submit the design of loading platform for the approval of Engineer-in-charge. a) Single pile above 50 tonne and upto 100 tonne safe capacity. Initial test (Test Load 2.5 times the Safe capacity) | 3.00 | Per Test |  | 123000.00 | 369000.00 | 333000.00 | 999000.00 | 369000.00 | M/S SRI MARUTHI CONSTRUCTIONS
13.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 75.00 | Cum |  | 7800.00 | 585000.00 | 6930.00 | 519750.00 | 519750.00 | Saraswathi Engineering Construction (P) Ltd.
14.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III): 6 graded stone aggregate 40 mm nominal size). | 55.00 | Cum |  | 7300.00 | 401500.00 | 6480.00 | 356400.00 | 356400.00 | Saraswathi Engineering Construction (P) Ltd.
15.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 cement : 4 coarse sand: 8 graded stone aggregate 40 mm nominal size) | 246.00 | Cum |  | 7400.00 | 1820400.00 | 6300.00 | 1549800.00 | 1549800.00 | Saraswathi Engineering Construction (P) Ltd.
16.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level: 1:1:5:3 (1 cement : 1.5 coarse sand (zone-III)derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 16.00 | Cum |  | 9000.00 | 144000.00 | 8100.00 | 129600.00 | 129600.00 | Saraswathi Engineering Construction (P) Ltd.
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Foundation footing bases of coloumn, etc for mass concrete. | 586.00 | Sqm |  | 550.00 | 322300.00 | 540.00 | 316440.00 | 316440.00 | Saraswathi Engineering Construction (P) Ltd.
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 1536.00 | Sqm |  | 690.00 | 1059840.00 | 900.00 | 1382400.00 | 1059840.00 | M/S SRI MARUTHI CONSTRUCTIONS
19.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Suspended floors, roofs, landing, balconies and access platfrom. | 1860.00 | Sqm |  | 780.00 | 1450800.00 | 774.00 | 1439640.00 | 1439640.00 | Saraswathi Engineering Construction (P) Ltd.
20.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Lintles, beam plinth beams girders, bressumers and cantilevers. | 2010.00 | Sqm |  | 700.00 | 1407000.00 | 810.00 | 1628100.00 | 1407000.00 | M/S SRI MARUTHI CONSTRUCTIONS
21.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Coloumns, pliiars piers, abutments, post and struts. | 1235.00 | Sqm |  | 900.00 | 1111500.00 | 810.00 | 1000350.00 | 1000350.00 | Saraswathi Engineering Construction (P) Ltd.
22.00 | Centering and shuttering including strutting, propping etc. and removal of form for Stairs (excluding landings) except spiral - staircase. | 65.00 | Sqm |  | 900.00 | 58500.00 | 990.00 | 64350.00 | 58500.00 | M/S SRI MARUTHI CONSTRUCTIONS
23.00 | Weather shed, Chajjas, corbels etc., including edges | 100.00 | Sqm |  | 1200.00 | 120000.00 | 990.00 | 99000.00 | 99000.00 | Saraswathi Engineering Construction (P) Ltd.
24.00 | Edges of slabs and breaks in floors and walls Under 20 cm wide | 545.00 | Metre |  | 400.00 | 218000.00 | 180.00 | 98100.00 | 98100.00 | Saraswathi Engineering Construction (P) Ltd.
25.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc. including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured) (a) Suspended floors, roofs, landing, beams and balconies (Plan area to be measured). | 986.00 | Sqm |  | 400.00 | 394400.00 | 360.00 | 354960.00 | 354960.00 | Saraswathi Engineering Construction (P) Ltd.
26.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500D or more | 135061.00 | Kg |  | 105.00 | 14181405.00 | 84.60 | 11426160.60 | 11426160.60 | Saraswathi Engineering Construction (P) Ltd.
27.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. a) Thermo-Mechanically Treated bars of grade Fe-500 D or more. | 133000.00 | Kg |  | 110.00 | 14630000.00 | 85.50 | 11371500.00 | 11371500.00 | Saraswathi Engineering Construction (P) Ltd.
28.00 | Add for plaster drip course/ groove in plastered surface or moulding to R.C.C projections. | 150.00 | Metre |  | 100.00 | 15000.00 | 90.00 | 13500.00 | 13500.00 | Saraswathi Engineering Construction (P) Ltd.
29.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.. All works upto plinth level. Concrete of M25 grade with minimum cement content of 330 kg /cum | 60.00 | Cum |  | 8500.00 | 510000.00 | 8100.00 | 486000.00 | 486000.00 | Saraswathi Engineering Construction (P) Ltd.
30.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works upto plinth level. Concrete of M30 grade with minimum cement content of 350 kg/cum | 406.00 | Cum |  | 9500.00 | 3857000.00 | 8190.00 | 3325140.00 | 3325140.00 | Saraswathi Engineering Construction (P) Ltd.
31.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 1.10 times of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. All works above plinth level upto floor V level. Concrete of M30 grade with minimum cement content of 350 kg /cum | 740.00 | Cum |  | 10200.00 | 7548000.00 | 8280.00 | 6127200.00 | 6127200.00 | Saraswathi Engineering Construction (P) Ltd.
32.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement.. All works above plinth level upto floor V level Concrete of M25 grade with minimum cement content of 330 kg /cum | 20.00 | Cum |  | 10000.00 | 200000.00 | 8100.00 | 162000.00 | 162000.00 | Saraswathi Engineering Construction (P) Ltd.
33.00 | Extra for R.C.C./ B.M.C/ R.M.C. work above floor V level for each four floors or part thereof. | 90.00 | Cum |  | 400.00 | 36000.00 | 306.00 | 27540.00 | 27540.00 | Saraswathi Engineering Construction (P) Ltd.
34.00 | Add for using extra cement in the items of desing mix over and above the specified cement content therein. | 180.00 | Quintal |  | 700.00 | 126000.00 | 720.00 | 129600.00 | 126000.00 | M/S SRI MARUTHI CONSTRUCTIONS
35.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in foundation and plinth in:Cement mortar 1:6 (1 cement : 6 coarse sand) | 60.00 | Cum |  | 8300.00 | 498000.00 | 8100.00 | 486000.00 | 486000.00 | Saraswathi Engineering Construction (P) Ltd.
36.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 550.00 | Cum |  | 9000.00 | 4950000.00 | 8460.00 | 4653000.00 | 4653000.00 | Saraswathi Engineering Construction (P) Ltd.
37.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5.0 in superstructure above plinth level up to floor V level. a) Cement mortar 1:4 (1 cement :4 coarse sand) | 15.00 | sqm |  | 1200.00 | 18000.00 | 990.00 | 14850.00 | 14850.00 | Saraswathi Engineering Construction (P) Ltd.
38.00 | Extra for brick work / AAC block masonry / Tile brick masonry in superstructure above floor V level, for each four floors or part thereof by mechanical means. | 50.00 | Cum |  | 200.00 | 10000.00 | 180.00 | 9000.00 | 9000.00 | Saraswathi Engineering Construction (P) Ltd.
39.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab upto 0.50 sqm | 5.00 | sqm |  | 3500.00 | 17500.00 | 4500.00 | 22500.00 | 17500.00 | M/S SRI MARUTHI CONSTRUCTIONS
40.00 | Providing and fixing 18mm thick gang saw cut mirror polished premoulded and prepolished) machine cut for kitchen platforms, vanity counters, window sills , facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade Area of slab over 0.50 sqm | 120.00 | sqm |  | 3300.00 | 396000.00 | 4500.00 | 540000.00 | 396000.00 | M/S SRI MARUTHI CONSTRUCTIONS
41.00 | Providing edge moulding to 18mm thick marble stone counters, Vanities etc. including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. a) Granite work | 50.00 | Metre |  | 500.00 | 25000.00 | 450.00 | 22500.00 | 22500.00 | Saraswathi Engineering Construction (P) Ltd.
42.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. | 1910.00 | Kg |  | 150.00 | 286500.00 | 144.00 | 275040.00 | 275040.00 | Saraswathi Engineering Construction (P) Ltd.
43.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete a) 250x10 mm | 44.00 | Each |  | 150.00 | 6600.00 | 180.00 | 7920.00 | 6600.00 | M/S SRI MARUTHI CONSTRUCTIONS
44.00 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade with necessary screws etc. complete -150x10 mm | 6.00 | Each |  | 100.00 | 600.00 | 162.00 | 972.00 | 600.00 | M/S SRI MARUTHI CONSTRUCTIONS
45.00 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete : -125 mm | 44.00 | Each |  | 75.00 | 3300.00 | 162.00 | 7128.00 | 3300.00 | M/S SRI MARUTHI CONSTRUCTIONS
46.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 20.00 | Each |  | 95.00 | 1900.00 | 90.00 | 1800.00 | 1800.00 | Saraswathi Engineering Construction (P) Ltd.
47.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised(anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete 250x16 mm | 20.00 | Each |  | 85.00 | 1700.00 | 360.00 | 7200.00 | 1700.00 | M/S SRI MARUTHI CONSTRUCTIONS
48.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross-section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminate shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2 mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S.stay shall be provided at the bottom to steady the frame. | 15.00 | Metre |  | 800.00 | 12000.00 | 504.00 | 7560.00 | 7560.00 | Saraswathi Engineering Construction (P) Ltd.
49.00 | 30 mm thick Fiberglass Reinforced Plastic (F.R.P) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF)/Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate conforming to table -3 of IS: 14856, complete as per direction of Engineer-in-charge. | 5.00 | Sqm |  | 6000.00 | 30000.00 | 3600.00 | 18000.00 | 18000.00 | Saraswathi Engineering Construction (P) Ltd.
50.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 960.00 | Kg. |  | 650.00 | 624000.00 | 630.00 | 604800.00 | 604800.00 | Saraswathi Engineering Construction (P) Ltd.
51.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | .80 | Cum |  | 150000.00 | 120000.00 | 144000.00 | 115200.00 | 115200.00 | Saraswathi Engineering Construction (P) Ltd.
52.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply neers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 33.00 | sqm |  | 3500.00 | 115500.00 | 3600.00 | 118800.00 | 115500.00 | M/S SRI MARUTHI CONSTRUCTIONS
53.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 33.00 | sqm |  | 500.00 | 16500.00 | 540.00 | 17820.00 | 16500.00 | M/S SRI MARUTHI CONSTRUCTIONS
54.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 72.00 | Each |  | 300.00 | 21600.00 | 252.00 | 18144.00 | 18144.00 | Saraswathi Engineering Construction (P) Ltd.
55.00 | Providing and fixing bright finished CP brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 10.00 | Each |  | 900.00 | 9000.00 | 1440.00 | 14400.00 | 9000.00 | M/S SRI MARUTHI CONSTRUCTIONS
56.00 | Providing and fixing 12 mm thick ply in wall panelling or in panelled or panelled and glazed shutters for doors, windows and clerestory windows . or panelled and glazed shutters Fire retardant plywood conforming to IS: 5509 | 220.00 | Sqm |  | 2500.00 | 550000.00 | 2250.00 | 495000.00 | 495000.00 | Saraswathi Engineering Construction (P) Ltd.
57.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality 1.0 mm thick | 220.00 | Sqm |  | 900.00 | 198000.00 | 810.00 | 178200.00 | 178200.00 | Saraswathi Engineering Construction (P) Ltd.
58.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 – part 1 and M.S. top cover of required thickness for rolling shutters. 80x1.20 mm M.S. laths with 1.20 mm thick top cover. | 25.00 | Sqm |  | 5000.00 | 125000.00 | 4500.00 | 112500.00 | 112500.00 | Saraswathi Engineering Construction (P) Ltd.
59.00 | Providing and fixing ball bearing for rolling shutters. | 2.00 | Each |  | 500.00 | 1000.00 | 630.00 | 1260.00 | 1000.00 | M/S SRI MARUTHI CONSTRUCTIONS
60.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. Exceeding 10.00 sqm and upto 16.80 sqm in the area. | 25.00 | Sqm |  | 1500.00 | 37500.00 | 1350.00 | 33750.00 | 33750.00 | Saraswathi Engineering Construction (P) Ltd.
61.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in-charge, (area of grill to be measured). | 3.00 | Sqm |  | 900.00 | 2700.00 | 900.00 | 2700.00 | 2700.00 | M/S SRI MARUTHI CONSTRUCTIONS, Saraswathi Engineering Construction (P) Ltd.
62.00 | Providing and fixing circular/hexagonal cast iron or M.S. sheet box for ceiling fan clamp, of internal dia 140 mm, 73 mm height, top lid of 1.5 mm thick M.S sheet with its top surface hacked for proper bonding, top lid shall be screwed into the cast iron/M.S. sheet box by means of 3.3 mm dia round headed screws, one lock at the corners. Clamp shall be made of 12 mm dia M.S. bar bent to shape as per standard drawing. | 5.00 | Each |  | 300.00 | 1500.00 | 360.00 | 1800.00 | 1500.00 | M/S SRI MARUTHI CONSTRUCTIONS
63.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and smiliar work | 770.00 | kg |  | 150.00 | 115500.00 | 144.00 | 110880.00 | 110880.00 | Saraswathi Engineering Construction (P) Ltd.
64.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. M.S. tube | 570.00 | kg |  | 150.00 | 85500.00 | 153.00 | 87210.00 | 85500.00 | M/S SRI MARUTHI CONSTRUCTIONS
65.00 | Providing and fixing stainless steel (grade 304) railing made of hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners, stainless steel bolts etc., of required size on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in-charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 50.00 | kg |  | 800.00 | 40000.00 | 720.00 | 36000.00 | 36000.00 | Saraswathi Engineering Construction (P) Ltd.
66.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, .hardening compound mixed @ 2 litre per 50kg of cement or as per manufacturers specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 242.00 | Sqm |  | 1000.00 | 242000.00 | 900.00 | 217800.00 | 217800.00 | Saraswathi Engineering Construction (P) Ltd.
67.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. | 70.00 | Sqm |  | 1500.00 | 105000.00 | 1170.00 | 81900.00 | 81900.00 | Saraswathi Engineering Construction (P) Ltd.
68.00 | Providing and laying Ceramic mat /antiskid floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigment etc., complete. | 25.00 | Sqm |  | 1200.00 | 30000.00 | 1080.00 | 27000.00 | 27000.00 | Saraswathi Engineering Construction (P) Ltd.
69.00 | Providing and fixing 1st quality ceramic antiskid floor tiles conforming to IS : 15622 (thickness to be specified by the manufacturer ) of approved make in all colours, shades xcept burgundy, bottle green, black of any size as approved by Engineer-in-Charge in skirting, risers of steps,floor and dados over 12 mm thick bed of cement Mortar 1:3 (1 cement: 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cemen t mixed with pigment of matching shade complete. | 110.00 | Sqm |  | 1500.00 | 165000.00 | 1080.00 | 118800.00 | 118800.00 | Saraswathi Engineering Construction (P) Ltd.
70.00 | Providing and laying double charged Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Double charge vitrified tile polished finish of size of Tile 600 x 600 mm | 590.00 | Sqm |  | 1500.00 | 885000.00 | 1350.00 | 796500.00 | 796500.00 | Saraswathi Engineering Construction (P) Ltd.
71.00 | Providing and laying double charged Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 42.00 | Sqm |  | 1650.00 | 69300.00 | 1440.00 | 60480.00 | 60480.00 | Saraswathi Engineering Construction (P) Ltd.
72.00 | Providing and fixing removable raised/false access flooring with system and its components of approved make for different plenum height with possible height adjustment upto 50 mm, comprising of modular load bearing floor panels supported on G.I. rectangular stinger frame work and G.I. Pedestal etc. all complete, as per the architectural drawings, as specified and as directed by Engineer-in-charge onsisting of : a) P roviding at required spacing to form modular framework, pedestals made out of GI tube of thickness minimum 2 mm and 25 mm outer diameter, fully welded on to the G.I. Base plate of size 100mmx100mmx3mm at the bottom of the pedestal tube, G.I. pedestal head of size 75mmx75mmx3.5 mm welded with GI fully threaded stud 16mm outer diameter with two GI Check nuts screwed on the stud for level adjustment upto 50mm, locking and stabilizing the pedestal head in position at the required level. The pedestals shall be fixed to the subfloor (base) through base plate using epoxy based adhesive of approved make or the machine screw with rawl plug. b) S tringers system in all steel construction hot dipped galvanized of rectangular size 570x20x30x0.80mm thick having holes at both ends for securing the stringers on to the pedestal head using fully threaded screws ensuring maximum lateral stability in all directions, the grid formed by the pedestal and stringer assembly shall receive the floor panel, this system shall provide adequate solid, rigid support for access floor panel, the system shall provide a minimum clear uninterrupted clearance between the bottom of the floor for electrical conduits and wiring etc. all complete as per the architectural drawings, as specified and as directed by the Engineer-in-charge. c) Providing and fixing Access Floor panel of 600x600x32 mm medium grade Filled Steel anti static high pressure Lamination of 800H grade (FS800H). Access Floor panel shall be steel welded construction with an enclosed bottom pan with uniform pattern of 64 hemispherical cones. The top and bottom plates of Steel Gauges: top 0.6 mm and bottom 0.7 mm fused spot welded together (minimum 64 welds in each dome and 20 welds along each flange). The panel should be Corroresist epoxy coated for lifetime rust protection and cavity formed by the top and bottom plate is filled with Pyrogrip noncombustible Portland cementitious core mixed with lightweight foaming compound. The access floor shall be factory finished with Anti-static High Pressure laminate with Non Warp technology upto 1mm thickness for superior adhesion and Surface flatness within 0.75mm.The panel is to withstand a Concentrated Load of 363 kgs applied on area 25mm x 25mm without collapse in the centre of the panel which is placed on four steel blocks. The panel will withstand and Uniformly Distributed Load (UDL) minimum 1250 kg/sqm and an impact load of 50kg all complete as per the approved manufacturers specification and as per the direction of Engineer-in-charge. All specification must be printed on the side of the panel to ensure the quality of the product. 600 mm Finished Floor Height (FFH) | 190.00 | Sqm |  | 5000.00 | 950000.00 | 5400.00 | 1026000.00 | 950000.00 | M/S SRI MARUTHI CONSTRUCTIONS
73.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 fine sand) as per standard design : In 75x75 mm deep chase | 190.00 | Metre |  | 300.00 | 57000.00 | 306.00 | 58140.00 | 57000.00 | M/S SRI MARUTHI CONSTRUCTIONS
74.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1mx1mx400micron, finished with 12mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 21.00 | Each |  | 300.00 | 6300.00 | 405.00 | 8505.00 | 6300.00 | M/S SRI MARUTHI CONSTRUCTIONS
75.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes. a) 110 mm diameter | 210.00 | Metre |  | 400.00 | 84000.00 | 300.00 | 63000.00 | 63000.00 | Saraswathi Engineering Construction (P) Ltd.
76.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Single tee without door 110x110x110 mm | 15.00 | Each |  | 220.00 | 3300.00 | 252.00 | 3780.00 | 3300.00 | M/S SRI MARUTHI CONSTRUCTIONS
77.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Bend 87.5 degree 110 mm bend | 21.00 | Each |  | 150.00 | 3150.00 | 252.00 | 5292.00 | 3150.00 | M/S SRI MARUTHI CONSTRUCTIONS
78.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 21.00 | Each |  | 130.00 | 2730.00 | 252.00 | 5292.00 | 2730.00 | M/S SRI MARUTHI CONSTRUCTIONS
79.00 | Providing and fixing unplasticised - PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement 4 coarse sand) and making good the wall etc., complete. 110 mm | 135.00 | Each |  | 400.00 | 54000.00 | 333.00 | 44955.00 | 44955.00 | Saraswathi Engineering Construction (P) Ltd.
80.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended ointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 550.00 | Sqm |  | 1400.00 | 770000.00 | 1170.00 | 643500.00 | 643500.00 | Saraswathi Engineering Construction (P) Ltd.
81.00 | Providingand fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Rockwool conforming to IS: 8183,density 48 kg/ m3, 50 mm thick, wrapped in 200 G Virgin Polythene bags fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5mm x 24 gauge wire mesh, for top most ceiling of building. | 250.00 | Sqm |  | 400.00 | 100000.00 | 810.00 | 202500.00 | 100000.00 | M/S SRI MARUTHI CONSTRUCTIONS
82.00 | 12 mm cement plaster of mix: 1:6 (1 cement : 6 fine sand) | 2095.00 | Sqm |  | 480.00 | 1005600.00 | 306.00 | 641070.00 | 641070.00 | Saraswathi Engineering Construction (P) Ltd.
83.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix 1:6 (1 cement : 6 fine sand) | 2095.00 | Sqm |  | 525.00 | 1099875.00 | 360.00 | 754200.00 | 754200.00 | Saraswathi Engineering Construction (P) Ltd.
84.00 | 6 mm cement plaster of mix: 1:3 (1 cement : 3 fine sand) | 3251.00 | Sqm |  | 475.00 | 1544225.00 | 270.00 | 877770.00 | 877770.00 | Saraswathi Engineering Construction (P) Ltd.
85.00 | Extra for plastering exterior walls of height more than 10 m from ground level for every additional height of 3 m or part thereof. | 1380.00 | Sqm |  | 100.00 | 138000.00 | 90.00 | 124200.00 | 124200.00 | Saraswathi Engineering Construction (P) Ltd.
86.00 | Distempering with 1st quality acrylic distemper (ready mixed) having VOC content less than 50 gram/litre, of approved manufacturer and of required shade and colour all complete to achieve even shade and colour : New work (two or more coats) over and including water thinnable priming coat with cement primer having VOC content less than 50 gram/litre | 3495.00 | Sqm |  | 175.00 | 611625.00 | 180.00 | 629100.00 | 611625.00 | M/S SRI MARUTHI CONSTRUCTIONS
87.00 | Finishing walls with textured exterior paint of required shade : New work (Two or more coats applied @ 3.28 ltr/10 sqm) over and including priming coat of exterior primer applied @ 2.20kg/10 sqm | 345.00 | Sqm |  | 250.00 | 86250.00 | 270.00 | 93150.00 | 86250.00 | M/S SRI MARUTHI CONSTRUCTIONS
88.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 1820.00 | Sqm |  | 175.00 | 318500.00 | 306.00 | 556920.00 | 318500.00 | M/S SRI MARUTHI CONSTRUCTIONS
89.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 440.00 | Sqm |  | 175.00 | 77000.00 | 108.00 | 47520.00 | 47520.00 | Saraswathi Engineering Construction (P) Ltd.
90.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 440.00 | Sqm |  | 150.00 | 66000.00 | 162.00 | 71280.00 | 66000.00 | M/S SRI MARUTHI CONSTRUCTIONS
91.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 280.00 | Sqm |  | 175.00 | 49000.00 | 207.00 | 57960.00 | 49000.00 | M/S SRI MARUTHI CONSTRUCTIONS
92.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. a)With material conforming to Grade-I (size range 75 mm to 0.075 mm) having CBR Value-30 | 400.00 | Cum |  | 2700.00 | 1080000.00 | 2880.00 | 1152000.00 | 1080000.00 | M/S SRI MARUTHI CONSTRUCTIONS
93.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. a)With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 200.00 | Cum |  | 2800.00 | 560000.00 | 2880.00 | 576000.00 | 560000.00 | M/S SRI MARUTHI CONSTRUCTIONS
94.00 | Construction of granular sub-base by providing close graded Material conforming to specifications, mixing in a mechanical mix plant at OMC, carriage of mixed material by tippers to work site, for all leads & lifts, spreading in uniform layers of specified thickness with motor grader on prepared surface and compacting with vibratory power roller to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. a)With material conforming to Grade-III (size range 26.5 mm to 0.075 mm) having CBR Value-20 | 200.00 | Cum |  | 2900.00 | 580000.00 | 2880.00 | 576000.00 | 576000.00 | Saraswathi Engineering Construction (P) Ltd.
95.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 120.00 | Cum |  | 2900.00 | 348000.00 | 3060.00 | 367200.00 | 348000.00 | M/S SRI MARUTHI CONSTRUCTIONS
96.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength,thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50 mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge 80 mm thick C.C. paver block of M-35 grade with approved colour design and pattern. | 380.00 | Sqm |  | 1200.00 | 456000.00 | 1170.00 | 444600.00 | 444600.00 | Saraswathi Engineering Construction (P) Ltd.
97.00 | Providing and laying at or near ground level factory made kerb stone of M-25 grade cement concrete in position to the required line, level and curvature, jointed with cement mortar 1:3 (1 cement: 3 coarse sand), including making joints with or without grooves (thickness of joints except at sharp curve shall not to more than 5 mm), including making drainage opening wherever required complete etc. as per direction of Engineer?in-charge (length of finished kerb edging shall be measured to calculate volume for payment). (Precast C.C. kerb stone shall be approved by Engineer-in-charge). | 10.00 | Cum |  | 12000.00 | 120000.00 | 12600.00 | 126000.00 | 120000.00 | M/S SRI MARUTHI CONSTRUCTIONS
98.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : a) White Vitreous china Orissa pattern W.C. pan of size 580x440mm with integral type foot rests. | 1.00 | Each |  | 5000.00 | 5000.00 | 5400.00 | 5400.00 | 5000.00 | M/S SRI MARUTHI CONSTRUCTIONS
99.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked black solid plastic seat and lid | 2.00 | Each |  | 5000.00 | 10000.00 | 5400.00 | 10800.00 | 10000.00 | M/S SRI MARUTHI CONSTRUCTIONS
100.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm or 340x410x265 mm sizes respectively | 4.00 | Each |  | 3500.00 | 14000.00 | 3600.00 | 14400.00 | 14000.00 | M/S SRI MARUTHI CONSTRUCTIONS
101.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps,32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : White Vitreous China Flat back wash basin size 550x400 mm with single 15 mm C.P. brass pillar tap. | 6.00 | Each |  | 7000.00 | 42000.00 | 4050.00 | 24300.00 | 24300.00 | Saraswathi Engineering Construction (P) Ltd.
102.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal dia Pipes | 50.00 | Metre |  | 500.00 | 25000.00 | 360.00 | 18000.00 | 18000.00 | Saraswathi Engineering Construction (P) Ltd.
103.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 50 mm nominal dia Pipes | 50.00 | Metre |  | 1000.00 | 50000.00 | 810.00 | 40500.00 | 40500.00 | Saraswathi Engineering Construction (P) Ltd.
104.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply and all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 20 mm nominal dia Pipes | 50.00 | Metre |  | 600.00 | 30000.00 | 306.00 | 15300.00 | 15300.00 | Saraswathi Engineering Construction (P) Ltd.
105.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 15 mm nominal dia Pipes | 20.00 | Metre |  | 250.00 | 5000.00 | 450.00 | 9000.00 | 5000.00 | M/S SRI MARUTHI CONSTRUCTIONS
106.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings and fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal dia Pipes | 50.00 | Metre |  | 2000.00 | 100000.00 | 504.00 | 25200.00 | 25200.00 | Saraswathi Engineering Construction (P) Ltd.
107.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. 50 mm nominal dia Pipes | 50.00 | Metre |  | 800.00 | 40000.00 | 720.00 | 36000.00 | 36000.00 | Saraswathi Engineering Construction (P) Ltd.
108.00 | Providing and fixing uplasticised PVC connection pipe with brass unions -) 45 cm length. 15 mm nominal bore | 15.00 | Each |  | 100.00 | 1500.00 | 153.00 | 2295.00 | 1500.00 | M/S SRI MARUTHI CONSTRUCTIONS
109.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 6000.00 | Per litre |  | 15.00 | 90000.00 | 11.70 | 70200.00 | 70200.00 | Saraswathi Engineering Construction (P) Ltd.
110.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 (a) 15 mm nominal bore. | 6.00 | Each |  | 600.00 | 3600.00 | 900.00 | 5400.00 | 3600.00 | M/S SRI MARUTHI CONSTRUCTIONS
111.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 (a) 15mm nominal bore | 15.00 | Each |  | 600.00 | 9000.00 | 810.00 | 12150.00 | 9000.00 | M/S SRI MARUTHI CONSTRUCTIONS
112.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 300 mm dia. R.C.C. pipe | 50.00 | Metre |  | 1500.00 | 75000.00 | 1800.00 | 90000.00 | 75000.00 | M/S SRI MARUTHI CONSTRUCTIONS
113.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 450 mm dia. R.C.C. pipe | 50.00 | Metre |  | 2200.00 | 110000.00 | 2700.00 | 135000.00 | 110000.00 | M/S SRI MARUTHI CONSTRUCTIONS
114.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:1.5:3 mix (1 cement : 1.5 coarse sand (zone- III) : 3 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand (zone- III) : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 9.00 | Each |  | 14000.00 | 126000.00 | 18000.00 | 162000.00 | 126000.00 | M/S SRI MARUTHI CONSTRUCTIONS
115.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x 300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 7.00 | Each |  | 3000.00 | 21000.00 | 3600.00 | 25200.00 | 21000.00 | M/S SRI MARUTHI CONSTRUCTIONS
116.00 | Extra for depth for manhole Size 90x80 cmWith common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 4.00 | Metre |  | 9000.00 | 36000.00 | 9000.00 | 36000.00 | 36000.00 | M/S SRI MARUTHI CONSTRUCTIONS, Saraswathi Engineering Construction (P) Ltd.
117.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 5.0 | 1.00 | Each |  | 25000.00 | 25000.00 | 36000.00 | 36000.00 | 25000.00 | M/S SRI MARUTHI CONSTRUCTIONS
118.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357mm | 4.00 | Each |  | 1000.00 | 4000.00 | 1620.00 | 6480.00 | 4000.00 | M/S SRI MARUTHI CONSTRUCTIONS
119.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour.600 mm long towel rail with total length of 645mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 4.00 | Each |  | 1000.00 | 4000.00 | 810.00 | 3240.00 | 3240.00 | Saraswathi Engineering Construction (P) Ltd.
120.00 | Providing and fixing stainless steel A ISI 304 (18/8) kitchen sink as per IS;13983 with C.I brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required: Kitchen sink with drain board 510x1040 mm bowl depth 250 mm. | 1.00 | Each |  | 6000.00 | 6000.00 | 9000.00 | 9000.00 | 6000.00 | M/S SRI MARUTHI CONSTRUCTIONS
121.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 200 mm nominal size dia | 30.00 | Metre |  | 1200.00 | 36000.00 | 1080.00 | 32400.00 | 32400.00 | Saraswathi Engineering Construction (P) Ltd.
122.00 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer-in-charge. 150 mm nominal size dia | 30.00 | Metre |  | 900.00 | 27000.00 | 990.00 | 29700.00 | 27000.00 | M/S SRI MARUTHI CONSTRUCTIONS
123.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 200 mm dia | 1.00 | Metre |  | 350.00 | 350.00 | 450.00 | 450.00 | 350.00 | M/S SRI MARUTHI CONSTRUCTIONS
124.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion. Powder coated aluminium (minimum thickness of powder coating 50 micron) | 595.00 | Kg |  | 600.00 | 357000.00 | 630.00 | 374850.00 | 357000.00 | M/S SRI MARUTHI CONSTRUCTIONS
125.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Powder coated aluminium (minimum thickness of powder coating 50 micron) | 535.00 | Kg |  | 700.00 | 374500.00 | 630.00 | 337050.00 | 337050.00 | Saraswathi Engineering Construction (P) Ltd.
126.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides. | 55.00 | Sqm |  | 1200.00 | 66000.00 | 1080.00 | 59400.00 | 59400.00 | Saraswathi Engineering Construction (P) Ltd.
127.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 5 mm thickness (weight not less than 12.50 kg/ sqm) | 140.00 | Sqm |  | 1700.00 | 238000.00 | 1440.00 | 201600.00 | 201600.00 | Saraswathi Engineering Construction (P) Ltd.
128.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 20.00 | Each |  | 600.00 | 12000.00 | 1440.00 | 28800.00 | 12000.00 | M/S SRI MARUTHI CONSTRUCTIONS
129.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete. Upto 5mm depth and 5 mm width | 165.00 | Metre |  | 200.00 | 33000.00 | 108.00 | 17820.00 | 17820.00 | Saraswathi Engineering Construction (P) Ltd.
130.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 50.00 | Kg |  | 500.00 | 25000.00 | 630.00 | 31500.00 | 25000.00 | M/S SRI MARUTHI CONSTRUCTIONS
131.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly. the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 555.00 | Sqm |  | 1725.00 | 957375.00 | 1440.00 | 799200.00 | 799200.00 | Saraswathi Engineering Construction (P) Ltd.
132.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. Note:- (1) The elevational area of the scaffolding shall be measured for payment purpose. (2) The payment will be made once only for execution of all items for such works. | 1100.00 | sqm |  | 400.00 | 440000.00 | 306.00 | 336600.00 | 336600.00 | Saraswathi Engineering Construction (P) Ltd.
133.00 | Soling with RR boulders and 40 mm aggregate to increase the bearing capacity of muddy soil with stone dust 15% of value as per direction of Engineer in Charge | 283.00 | Cum |  | 2500.00 | 707500.00 | 1800.00 | 509400.00 | 509400.00 | Saraswathi Engineering Construction (P) Ltd.
134.00 | Providing and fixing 6 mm thick MS Sheet liner in pile foundations upto a depth of 6.0 meters as per the soil conditions at pile positions. | 21500.00 | Kg |  | 110.00 | 2365000.00 | 99.00 | 2128500.00 | 2128500.00 | Saraswathi Engineering Construction (P) Ltd.
135.00 | Consolidation of sub grade with power road roller of 8 to 12 tonne capacity depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with lead upto 50 metres | 450.00 | Sqm |  | 40.00 | 18000.00 | 225.00 | 101250.00 | 18000.00 | M/S SRI MARUTHI CONSTRUCTIONS
136.00 | Providing and laying SWR PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. 150mm dia | 100.00 | Metre |  | 850.00 | 85000.00 | 1440.00 | 144000.00 | 85000.00 | M/S SRI MARUTHI CONSTRUCTIONS
137.00 | Providing and laying SWR PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. 110mm dia | 50.00 | Metre |  | 800.00 | 40000.00 | 810.00 | 40500.00 | 40000.00 | M/S SRI MARUTHI CONSTRUCTIONS
138.00 | Providing and laying SWR PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. 75mm dia | 30.00 | Metre |  | 800.00 | 24000.00 | 630.00 | 18900.00 | 18900.00 | Saraswathi Engineering Construction (P) Ltd.
139.00 | Providing and laying PVC (Working pressure 6kg/sqcm) pipes conforming to IS : 4985 including jointing and laying in proper slope etc. complete as per the direction of Engineer in charge. Single Socketed pipe - 40mm dia | 30.00 | Metre |  | 800.00 | 24000.00 | 225.00 | 6750.00 | 6750.00 | Saraswathi Engineering Construction (P) Ltd.
140.00 | Providing and fixing Health Faucet with 1 Meter Long Easy Flex Tube in Chrome Finish of approved quality complete etc. as per the direction of EIC. (a)15mm dia nominal bore | 4.00 | Each |  | 2000.00 | 8000.00 | 1350.00 | 5400.00 | 5400.00 | Saraswathi Engineering Construction (P) Ltd.
141.00 | Providing and fixing PVC floor trap of make Finolex or equivalent including embedding in the floors in concrete 1:3:6 (1 cement: 3 coarse sand: 6 stone aggregate size 20mm size) including conveying the materials to all floors including cutting concrete or masonary wherever required and restoring the damaged portion to the original condition complete as directed by EIC. (a) 110mm dia. | 9.00 | Each |  | 600.00 | 5400.00 | 360.00 | 3240.00 | 3240.00 | Saraswathi Engineering Construction (P) Ltd.
142.00 | providing and fixing C PVC ball valve all complete-50 mm | 3.00 | Each |  | 500.00 | 1500.00 | 1440.00 | 4320.00 | 1500.00 | M/S SRI MARUTHI CONSTRUCTIONS
143.00 | providing and fixing C PVC ball valve all complete-25 mm | 4.00 | Each |  | 600.00 | 2400.00 | 540.00 | 2160.00 | 2160.00 | Saraswathi Engineering Construction (P) Ltd.
144.00 | providing and fixing C PVC ball valve all complete-20 mm | 4.00 | Each |  | 400.00 | 1600.00 | 360.00 | 1440.00 | 1440.00 | Saraswathi Engineering Construction (P) Ltd.
145.00 | Providing and fixing roller blind with head rails of translucent shade of Vista or equivalent make etc. complete as per the direction of Engineer in charge. | 20.00 | Sqm |  | 500.00 | 10000.00 | 2500.00 | 50000.00 | 10000.00 | M/S SRI MARUTHI CONSTRUCTIONS
146.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including hire & running charges of all equipments, tools, plants & machineries, Labours required for the job, all complete as per direction of Engineer-in-charge, upto 150 metre depth below ground level. All types of soil. 200 mm dia | 50.00 | Metre |  | 2000.00 | 100000.00 | 720.00 | 36000.00 | 36000.00 | Saraswathi Engineering Construction (P) Ltd.
147.00 | Providing technical services [civil diploma holder with 2 year experience or Btech degree holder ] like assisting Engineers at site & offices in the following works as and when required by AAI and as per the direction of Engineer-in-charge ; a) At sites:- Setting out of works, surveying, establishing levels, establishing alignments, obtaining field data like measurements of existing structures, sewer lines, water supply lines etc., taking levels, quality control of works, supervision for mixing, placing & curing activities, extracting samples as and when required, checking security requirements of the construction area and the like. all complete | 30.00 | Job |  | 28000.00 | 840000.00 | 25000.00 | 750000.00 | 750000.00 | Saraswathi Engineering Construction (P) Ltd.
148.00 | Hiring of vehicle (small sedan ) swift or similar car for working during night and day time (as per requirement ) for with km limit upto 1200 km per month , 10 hour ( 0900 hrs to 1830 hrs ) with driver and diesel and maintenance and obtaining vehicle entry permit inside operational area and AEP,ADP for driver,BCAS clearence etc. | 15.00 | Month |  | 65000.00 | 975000.00 | 45000.00 | 675000.00 | 675000.00 | Saraswathi Engineering Construction (P) Ltd.
149.00 | Carrying out geo technical investigation by drilling required depth and submission of report as per the direction of EIC. The soil exploration to be done to decide safe and cost-effective type of foundation, depth of foundation, load bearing capacity of the soil, location of ground water & possible corrosive effect bof soil & water on foundation materials, ground improvement / soil treatment if any for the area mentioned. The following Engineering properties of soil needs to be evaluated. a) Collection of disturbed / undisturbed sample shall be done at 0.75m and there onwards at every 1.5m interval or change of strata, whichever is earlier shall be taken. b) SPT tests - shall be carried out at 0.75m, 1.5m, 2.25m, 3m and there onward at every 1.5m interval or at change of strata, whichever is earlier. c) Particle size analysis of soil to be conducted on all samples. d) Triaxial Test - minimum 3 No. tests per bore hole. e) Specific gravity test - minimum 5No. tests. f) Liquid limit, Plastic limit, Plasticity Index, Swell Index, Shrinkage limit - to be conducted on all samples for clayey and swelling soils. g) In situ density, dry density, Naztural moisture content of soil - to be conducted on all samples. h) Permeability tests to be conducted on granular soils - minimum 3 No.tests. i) Vane shear test - to be conducted on soft and sensitive clays - minimum 3 No.tests. j) Consolidation test - to be conducted on clayey soils - minimum 3 No.tests. k) Determination of organic material in soil by wet combusion - minimum 3 No.tests. l) Determination of chlorides & sulphates, organic matter in soil - minimum 3 No.tests. m) Moisture - density relation of soil - to be conducted on all samples. Note: Please note that sub soil profile indicating thickness of various soil strata upto a depth mentioned. Chemical properties of sub soil & subsoil water samples. Depth of water table and also soil type & its Engineering properties to be submitted. All the tests shall be carried out as per the latest provisions in BIS code including all applicable amendments & revisions. 100mm, spacing of boreholes between 30 to 40m, depth of bore holes 20 to 25m (bore holes can be terminated at a shallower depth if hard strata is encountered or N Value is more than 50) including preparation & submission of soil investigation report as per the direction of Engineer-In-Charge. | 5.00 | Each |  | 100000.00 | 500000.00 | 63000.00 | 315000.00 | 315000.00 | Saraswathi Engineering Construction (P) Ltd.
150.00 | Plate load tests (PLT) for tower structure including Preparation & submission of Soil Investigation Report as per the direction of Engineer-In-Charge. | 1.00 | Each |  | 120000.00 | 120000.00 | 63000.00 | 63000.00 | 63000.00 | Saraswathi Engineering Construction (P) Ltd.
151.00 | Preparation and submission of detailed architectural and structural design of proposed MSSR Building with antenna tower of 28.00 Metre approximate height and Substation building including layout, service drawings and design drawing for RCC structure etc.all complete. Rate of items including following stages. 1. Prepartion of Preliminary drawings ,working out the quantity of RCC & Reinforcement based on soil investigation report etc.for proposed provision of MSSR Building and Antenna Tower ,Sub station to be submitted for approval of Engineer-in-charge 2. After finalization of prelimnary drawings. Submission of vetted " Good for construction" drawings in six sets & soft copy . 3. Structural analysis for design of MSSR Building and Antenna Tower,Sub station building including pile foundation, pile cap and other reinforcement detailing etc with relevent IS codes with uptodate corrections. 4.All drawings & designs along with design report vetted by NIT/IIT /Govt. Engg collage to be submitted in 6 sets along with soft copy 5.Consultant to be appointed with prior approval of Engineer-in-Charge i.e. registered architect with council of architecture/registered structural Engineer/Chartered Engineer . Visit of consultant during each stage & as and when desired by EIC at the time of execution of work. (No extra charges will be paid for site visits by the consultant from AAI) | 1.00 | Job |  | 400000.00 | 400000.00 | 450000.00 | 450000.00 | 400000.00 | M/S SRI MARUTHI CONSTRUCTIONS
152.00 | Supply of Recessed mounted 2'x2' LED luminaries having minimum lumen output of 3600 lumens, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminum/CRCA/ standard alloy white powder coated housing, polycarbonate diffuser for uniform light distribution with IP20 protection suitable for operation on 230V, 50Hz, single phase AC supply inline with technical specifications given in special conditions of contract with 5 years warranty etc. complete as required. | 32.00 | Each |  | 2650.00 | 84800.00 | 2430.00 | 77760.00 | 77760.00 | Saraswathi Engineering Construction (P) Ltd.
153.00 | Supply of Surface mounted 1ft x 4ft LED luminaries having minimum lumen output of 3600 lumens, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminum/CRCA/ standard alloy white powder coated housing, polycarbonate diffuser for uniform light distribution with IP20 protection suitable for operation on 230V, 50Hz, single phase AC supply inline with technical specifications given in special conditions of contract with 5 years warranty etc. complete as required. | 33.00 | Each |  | 3750.00 | 123750.00 | 7470.00 | 246510.00 | 123750.00 | M/S SRI MARUTHI CONSTRUCTIONS
154.00 | Supply of LED type bulkhead luminaire with Cool white colour temperature having minimum lumen output of 1100, System Efficiency of LED Light Fitting not less than 110 lumen/watt, PF equal to 0.95 or more, minimum IP 65 protection with housing material made of High Pressure Die Cast Aluminium /Standard Alloy suitable for Outdoor Application with manufacturer Name/Logo embossed in the housing Body or on Aluminium Plate etc. complete as required, all prewired upto terminal block and suitable for operation on 230V, 50Hz, single phase AC supply inline with technical specifications given in special conditions of contract with 5 years warranty with all its accessories, driver etc. complete as required. | 15.00 | Each |  | 1570.00 | 23550.00 | 2160.00 | 32400.00 | 23550.00 | M/S SRI MARUTHI CONSTRUCTIONS
155.00 | Supply of LED type surface /suspended slim LED integral light luminaries with powder coated rim complete having minimum lumen output of 2000 lumens, system efficacy not less than 100 lumen/watt, control driver with minimum 2kV surge suppressor, fitting made up of extruded aluminum/CRCA/ standrad alloy white powder coated housing, polycarbonate diffuser for uniform light distribution with IP20 protection suitable for operation on 230V, 50Hz, single phase AC supply inline with technical specifications given in special conditions of contract with 5 years warranty etc. complete as required. | 8.00 | Each |  | 1340.00 | 10720.00 | 2160.00 | 17280.00 | 10720.00 | M/S SRI MARUTHI CONSTRUCTIONS
156.00 | Supply of LED street light luminaries having minimum lumen output of 4500 lumens, system efficay note less than 110 lumen/watt, control driver with minimum 4kV surge suppressor, made up of pressure die cast housing with toughened glass/Polycarbonate diffuser, suitable for operation on 230V, 50Hz, single phase AC supply inline with technical specifications given in special conditions of contract with 5 years warranty etc. complete as required. | 20.00 | Each |  | 2900.00 | 58000.00 | 3150.00 | 63000.00 | 58000.00 | M/S SRI MARUTHI CONSTRUCTIONS
157.00 | Supply of LED Twin Dome Aviation Obstacle Light Fixture having minimum lumen output of 1100 lumens, having system efficacy not less than 110 lumen/watt, IP66 for both lights, LM-6 Aluminium housing, Lens made of Polycarbonate U.V stabilized optical grade suitable for outdoor/sunlight exposure, PCB's of Glass epoxy FR-4 grade with UVLO-94 tested type, Fixture with Individual solid-state Inbuilt Automatic day/night sensor and low intensity Type-B etc. complete as required. | 4.00 | Each |  | 6000.00 | 24000.00 | 20160.00 | 80640.00 | 24000.00 | M/S SRI MARUTHI CONSTRUCTIONS
158.00 | Supply of 1200 mm sweep, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) Motor, class of insulation: B, 3 nos. blades, 30 cm long down rod, 2 nos. canopies, shackle kit, copper winding, Power Factor not less than 0.9, Service Value (CMM/W) minimum 6.85, Air delivery minimum 215 CMM, 350 RPM (tolerance as per IS : 374-2019), THD less than 10%, remote or electronic regulator unit for speed control and all accessories including safety pin, nut bolts, washers, temperature rise=75 degree C (max.), insulation resistance more than 2 mega ohm, suitable for operation on 230 V, 50 Hz, single phase AC Supply, earthing etc. complete as required. | 13.00 | Each |  | 3100.00 | 40300.00 | 4140.00 | 53820.00 | 40300.00 | M/S SRI MARUTHI CONSTRUCTIONS
159.00 | Supply of 300 mm dia single phase 1400 RPM mild steel body Exhaust fan and air delivery of 1250 CMH with metallic louver including all accessories and suitable for operation on 230 V, 50 Hz AC supply complete as required. | 5.00 | Each |  | 4000.00 | 20000.00 | 4230.00 | 21150.00 | 20000.00 | M/S SRI MARUTHI CONSTRUCTIONS
160.00 | Supply of wall mountable portable Rechargable Emergency LED lamps upto 12 watts with minimum 6 hours backup battery, suitable for operation on 230 V, 50 Hz, AC supply, auto ON & OFF facility etc. Complete as required. | 15.00 | Each |  | 15000.00 | 225000.00 | 3960.00 | 59400.00 | 59400.00 | Saraswathi Engineering Construction (P) Ltd.
161.00 | Wiring for light point/fan point / exhaust fan point/ call bell point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular type switch, modular plate suitable size GI box and earthing the point with 1.5 sqmm FRLS PVC insulated copper conductor single core cable etc. as required Group C | 85.00 | Point |  | 2150.00 | 182750.00 | 2133.00 | 181305.00 | 181305.00 | Saraswathi Engineering Construction (P) Ltd.
162.00 | Wiring for twin control light point with 1.5sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, 2 way modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc as required. | 15.00 | Point |  | 2350.00 | 35250.00 | 2430.00 | 36450.00 | 35250.00 | M/S SRI MARUTHI CONSTRUCTIONS
163.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 160.00 | Mtr |  | 400.00 | 64000.00 | 594.00 | 95040.00 | 64000.00 | M/S SRI MARUTHI CONSTRUCTIONS
164.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 300.00 | Mtr |  | 470.00 | 141000.00 | 738.00 | 221400.00 | 141000.00 | M/S SRI MARUTHI CONSTRUCTIONS
165.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 40.00 | Mtr |  | 750.00 | 30000.00 | 900.00 | 36000.00 | 30000.00 | M/S SRI MARUTHI CONSTRUCTIONS
166.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 300.00 | Mtr |  | 990.00 | 297000.00 | 963.00 | 288900.00 | 288900.00 | Saraswathi Engineering Construction (P) Ltd.
167.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess , including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6A modular switch connection etc. as required | 25.00 | Each |  | 650.00 | 16250.00 | 918.00 | 22950.00 | 16250.00 | M/S SRI MARUTHI CONSTRUCTIONS
168.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess , including providing and fixing 6 pin 5/6 A and 15/16A modular socket outlet and 15/16A modular switch connection etc. as required | 50.00 | Each |  | 850.00 | 42500.00 | 1260.00 | 63000.00 | 42500.00 | M/S SRI MARUTHI CONSTRUCTIONS
169.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc as required. Group C | 47.00 | Point |  | 1450.00 | 68150.00 | 3096.00 | 145512.00 | 68150.00 | M/S SRI MARUTHI CONSTRUCTIONS
170.00 | Supplying and fixing following way, IP43, vertical type three pole and neutral, sheet steel, MCB distribution board, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted suitable for operation on 415V, 50Hz, three phase AC supply inline with technical specifications given in special conditions of contract including earthing etc. complete as required 8 way (8 + 24), Double door - Vertical Type | 6.00 | Each |  | 16180.00 | 97080.00 | 46700.00 | 280200.00 | 97080.00 | M/S SRI MARUTHI CONSTRUCTIONS
171.00 | Supplying and fixing following way, IP43, horizontal type three pole and neutral, sheet steel, MCB distribution board, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted suitable for operation on 415V, 50Hz, three phase AC supply inline with technical specifications given in special conditions of contract including earthing etc. complete as required. 6 way (8 + 18), Double door - Horizontal Type | 5.00 | Each |  | 6795.00 | 33975.00 | 41220.00 | 206100.00 | 33975.00 | M/S SRI MARUTHI CONSTRUCTIONS
172.00 | Supplying and fixing following rating, 10 kA, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required 6A to 32A, 10 kA, "C" curve Single pole | 120.00 | Each |  | 220.00 | 26400.00 | 360.00 | 43200.00 | 26400.00 | M/S SRI MARUTHI CONSTRUCTIONS
173.00 | Supplying and fixing following rating, 10 kA, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required 6A to 32A, 10 kA, "B" curve Single pole | 114.00 | Each |  | 215.00 | 24510.00 | 378.00 | 43092.00 | 24510.00 | M/S SRI MARUTHI CONSTRUCTIONS
174.00 | Supplying and fixing following rating, 10 kA, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required 63 A, 10 kA, "C" curve Four pole | 6.00 | Each |  | 3000.00 | 18000.00 | 396.00 | 2376.00 | 2376.00 | Saraswathi Engineering Construction (P) Ltd.
175.00 | Supplying and fixing following rating, 10 kA, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required 63 A, 10 kA, "B" curve Four pole | 5.00 | Each |  | 2750.00 | 13750.00 | 405.00 | 2025.00 | 2025.00 | Saraswathi Engineering Construction (P) Ltd.
176.00 | Supplying and fixing 20 A, TP Industrial type socket outlet, with 3P and earth, metal enclosed plug top alongwith 20 A "C" curve, 3P, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 2.00 | Each |  | 3200.00 | 6400.00 | 5130.00 | 10260.00 | 6400.00 | M/S SRI MARUTHI CONSTRUCTIONS
177.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 15.00 | Each |  | 2150.00 | 32250.00 | 4815.00 | 72225.00 | 32250.00 | M/S SRI MARUTHI CONSTRUCTIONS
178.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required - 4 Pair | 120.00 | Mtr |  | 30.00 | 3600.00 | 135.00 | 16200.00 | 3600.00 | M/S SRI MARUTHI CONSTRUCTIONS
179.00 | Supplying and drawing of UTP-4 pair CAT-6 24-AWG LAN cable in the existing surface/ recessed steel / PVC conduit as required. - 1 Run of Cable | 110.00 | Mtr |  | 55.00 | 6050.00 | 162.00 | 17820.00 | 6050.00 | M/S SRI MARUTHI CONSTRUCTIONS
180.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/ recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required - 20 mm | 230.00 | Mtr |  | 210.00 | 48300.00 | 144.00 | 33120.00 | 33120.00 | Saraswathi Engineering Construction (P) Ltd.
181.00 | Installation, testing and commissioning of recess/surface/ceiling/suspended mounted LED fittings pre-wired, complete with all accessories and tube etc., directly on ceiling/wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc., complete as required | 92.00 | Each |  | 150.00 | 13800.00 | 810.00 | 74520.00 | 13800.00 | M/S SRI MARUTHI CONSTRUCTIONS
182.00 | Installation, testing & commisioning of LED street light fixtures by providing 6 Amps MCB, 16 Sqmm 4 pole Connector, din bar, supply and laying of 3C x 1.5 Sqmm copper cable between fixture and MCB and earthing connection and suitable GI arm bracket etc., complete as required | 20.00 | Each |  | 650.00 | 13000.00 | 1710.00 | 34200.00 | 13000.00 | M/S SRI MARUTHI CONSTRUCTIONS
183.00 | Installation, testing and commissioning of ceiling fan, including wiring the downrods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc., complete as required. | 13.00 | Each |  | 150.00 | 1950.00 | 630.00 | 8190.00 | 1950.00 | M/S SRI MARUTHI CONSTRUCTIONS
184.00 | Installation of exhaust fan with louver in the existing opening, including making good the damage, connection, testing, commissioning with 1.5 sqmm flexible FRLS cable etc., as required. Upto 300mm dia | 5.00 | Each |  | 300.00 | 1500.00 | 630.00 | 3150.00 | 1500.00 | M/S SRI MARUTHI CONSTRUCTIONS
185.00 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc., complete as required. | 8.00 | Each |  | 1100.00 | 8800.00 | 10080.00 | 80640.00 | 8800.00 | M/S SRI MARUTHI CONSTRUCTIONS
186.00 | Jointing copper / G.I. tape (with another Copper/GI tape, base of the finial or any other metallic object) by riveting / nut bolting / sweating and soldering etc., as required. | 10.00 | Each |  | 180.00 | 1800.00 | 13320.00 | 133200.00 | 1800.00 | M/S SRI MARUTHI CONSTRUCTIONS
187.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For horizontal run) | 126.00 | Metre |  | 110.00 | 13860.00 | 315.00 | 39690.00 | 13860.00 | M/S SRI MARUTHI CONSTRUCTIONS
188.00 | Providing and fixing G.I. tape 20 mm X 3 mm thick on parapet or surface of wall for lightning conductor complete as required. (For vertical run) | 20.00 | Metre |  | 120.00 | 2400.00 | 486.00 | 9720.00 | 2400.00 | M/S SRI MARUTHI CONSTRUCTIONS
189.00 | Providing and fixing testing joint, made of 20 mm X 3 mm thick G.I. strip, 125 mm long, with 4 Nos. of G.I. bolts, nuts, chuck nuts and spring washers etc., complete as required. | 20.00 | Each |  | 200.00 | 4000.00 | 2700.00 | 54000.00 | 4000.00 | M/S SRI MARUTHI CONSTRUCTIONS
190.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal / coke and salt as required | 4.00 | Set |  | 11000.00 | 44000.00 | 19170.00 | 76680.00 | 44000.00 | M/S SRI MARUTHI CONSTRUCTIONS
191.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/terminating with G.I. nut, bolt, spring, washer etc., as required. (Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 40.00 | Mtr |  | 325.00 | 13000.00 | 540.00 | 21600.00 | 13000.00 | M/S SRI MARUTHI CONSTRUCTIONS
192.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer, excavation and re-filling etc. as required | 120.00 | Mtr |  | 950.00 | 114000.00 | 540.00 | 64800.00 | 64800.00 | Saraswathi Engineering Construction (P) Ltd.
193.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required | 30.00 | Mtr |  | 280.00 | 8400.00 | 486.00 | 14580.00 | 8400.00 | M/S SRI MARUTHI CONSTRUCTIONS
| Total in Figures |  |  |  |  | 89651370.00 |  | 79338704.60
Lowest Amount Quoted BY: Saraswathi Engineering Construction (P) Ltd.(79338704.60)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of 20 Nos of RADAR and accessories. SH Construction of ASR collocated MSSR and Antenna Tower at Chennai Airport. Tender ID: 2024_AAI_196877_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Saraswathi Engineering Construction (P) Ltd. | 79338704.60 | L1
| 2 | M/S SRI MARUTHI CONSTRUCTIONS | 89651370.00 | L2