## BoQ1
Government eProcurement System Created By: Anil kumar J Created Date/Time: 08-Jul-2024 11:33 AM Tender Title: Bi-Annual Maintenance of E and M Installations and CMC of Split AC and Water Cooler etc. at NIATAM, Gondia for the year 2024-26. Tender ID: 2024_AAI_196985_1
Tender Inviting Authority: Assistant General Manager(Engg.-E), AAI, Gondia
Name of Work: Bi-Annual Maintenance of E&M Installations and CMC of Split AC & Water Cooler etc. at NIATAM, Gondia for the year 2024-26.
Contract No: 2024_AAI_196985_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s BHARAT ELECTRIC, NAGPUR (GSTN-27ALSPP1335N1ZG) BID ID -708636 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -711145 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--710108
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation & Maintenance of various Electrical Installations of NIATAM such as Institute, Mens hostel, Womens Hostel Staff Houses, Canteen, AAI Residential colony, DG Sets up to 500 KVA with AMF Panels, Power Supply Systems, 11KV Sub-Station, Water Supply & Pump House, Street Lights, Parking Lights, Internal & External installations of Power House etc. including repair & maintenance, Faults/ breakdown rectifications, ensuring serviceability/ Satisfactory working conditions of the system, attending complaints as per scope of work given in special conditions of contract on all days including Sunday & Holidays (i.e in three shifts daily, each shift of 8 hours) etc. complete as required. | 24.00 | Month |  | 475000.00 | 11400000.00 | 477000.00 | 11448000.00 | 485659.00 | 11655816.00 | 11400000.00 | M/s BHARAT ELECTRIC, NAGPUR
2.00 | Rewinding Servicing repairing of ceiling fan/ wall fan including replacement of bearings if required and to & fro transportation etc complete as required (Dismantle Material belongs to contractor).
2.01 | For 1st Year | 5.00 | Job |  | 200.00 | 1000.00 | 600.00 | 3000.00 | 400.00 | 2000.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
2.02 | For 2nd Year | 5.00 | Job |  | 200.00 | 1000.00 | 600.00 | 3000.00 | 400.00 | 2000.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.00 | Rewinding Servicing, repairing of Exhaust fan/ Air Circular fan of size upto 450 mm sweep i/c replacement as bushes/bearings if required and to & fro transportation etc complete as required. (Dismantle Material belongs to contractor)
3.01 | For 1st Year | 10.00 | Job |  | 200.00 | 2000.00 | 650.00 | 6500.00 | 400.00 | 4000.00 | 2000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.02 | For 2nd Year | 10.00 | Job |  | 200.00 | 2000.00 | 650.00 | 6500.00 | 400.00 | 4000.00 | 2000.00 | M/s BHARAT ELECTRIC, NAGPUR
4.00 | Rewinding of the motors (Capacity of upto 2 HP), Which are suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c warnishing, bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor).
4.01 | For 1st Year | 5.00 | Job |  | 500.00 | 2500.00 | 2000.00 | 10000.00 | 1500.00 | 7500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
4.02 | For 2nd Year | 5.00 | Job |  | 500.00 | 2500.00 | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
5.00 | Rewinding of the motors (Capacity from 3 HP and upto 5 HP), Which are suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c warnishing, bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor).
5.01 | For 1st Year | 3.00 | Job |  | 500.00 | 1500.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
5.02 | For 2nd Year | 3.00 | Job |  | 500.00 | 1500.00 | 4000.00 | 12000.00 | 3000.00 | 9000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
6.00 | Lifting & Lowering of submersible pumps of various capacities (up to 5 HP) due to defect in existing pump / pump choked in existing borewell on urgent basis within a short notices including connection of cables jointing of cables etc. with successful testing & commissioning complete as required.
6.01 | For 1st Year | 5.00 | Job |  | 500.00 | 2500.00 | 7000.00 | 35000.00 | 1500.00 | 7500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
6.02 | For 2nd Year | 5.00 | Job |  | 500.00 | 2500.00 | 8000.00 | 40000.00 | 1500.00 | 7500.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
7.00 | Repair and rewinding of submersible pump motor set up to 5 HP capacity. Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out/defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required.
7.01 | For 1st Year | 5.00 | Job |  | 500.00 | 2500.00 | 4500.00 | 22500.00 | 3000.00 | 15000.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
7.02 | For 2nd Year | 5.00 | Job |  | 500.00 | 2500.00 | 5000.00 | 25000.00 | 3000.00 | 15000.00 | 2500.00 | M/s BHARAT ELECTRIC, NAGPUR
8.00 | Inspection, Servicing and Testing of 3 Pole, 630Amp, 11 KV Vacuum Circuit Breakers (Make:Siemens) including carrying out tests & preventive maintenance through Manufacture OR Authorised Service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
8.01 | For 1st Year | 3.00 | Job |  | 2500.00 | 7500.00 | 6000.00 | 18000.00 | 2000.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
8.02 | For 2nd Year | 3.00 | Job |  | 2500.00 | 7500.00 | 6000.00 | 18000.00 | 2000.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Inspection, servicing, setting, calibration and testing of IDMT relays (Make- ABB, Model- NI40) (set of 2 over current + 1 earth fault) i/c carrying out tests & preventive maintenance through authorised service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
9.01 | For 1st Year | 2.00 | Set |  | 2000.00 | 4000.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
9.02 | For 2nd Year | 2.00 | Set |  | 2000.00 | 4000.00 | 7500.00 | 15000.00 | 1000.00 | 2000.00 | 2000.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Inspection, servicing, setting, calibration and testing of Microprocessor based numerical relay (Make L&T, Model MC31A, MC 61A) with O/L, E/F and S/C protections for 11KV panel i/c carrying out preventive maintenance through authorized service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
10.01 | For 1st Year | 3.00 | Set |  | 500.00 | 1500.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
10.02 | For 2nd Year | 3.00 | Set |  | 500.00 | 1500.00 | 4000.00 | 12000.00 | 1000.00 | 3000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
11.00 | Inspection, servicing, setting, calibration and testing of auxiliary and tripping relays (Make: AREVA, Model: YCGF, VAJ) including carrying out preventive maintenance through authorised service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
11.01 | For 1st Year | 10.00 | Set |  | 500.00 | 5000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
11.02 | For 2nd Year | 10.00 | Set |  | 500.00 | 5000.00 | 600.00 | 6000.00 | 300.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Inspection, Testing & preventive maintenance of 11 KV Potential transformers including carrying out preventive maintenance through authorized service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
12.01 | For 1st Year | 1.00 | Set |  | 2500.00 | 2500.00 | 15000.00 | 15000.00 | 1000.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
12.02 | For 2nd Year | 1.00 | Set |  | 2500.00 | 2500.00 | 20000.00 | 20000.00 | 1000.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Inspection, servicing & testing of Air circuit breakers Make GE, Capacity 1600A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
13.01 | For 1st Year | 4.00 | Job |  | 2000.00 | 8000.00 | 8000.00 | 32000.00 | 1000.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
13.02 | For 2nd Year | 4.00 | Job |  | 2000.00 | 8000.00 | 9000.00 | 36000.00 | 1000.00 | 4000.00 | 4000.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Inspection, servicing & testing of Air circuit breakers Make L&T, Capacity 800A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports. (01 Preventive maintenance once in year and 4 Breakdown calls)
14.01 | For 1st Year | 3.00 | Job |  | 2000.00 | 6000.00 | 6000.00 | 18000.00 | 1000.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
14.02 | For 2nd Year | 3.00 | Job |  | 2000.00 | 6000.00 | 7000.00 | 21000.00 | 1000.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Filtration and dehydration of transformer oil for the following installations including testing of the Oil for dielectric strength before and after filtration as per IS: Specification and submission of of the report of B.D.V. Test and Chemical analysis of the oil to determine the level of acidity as per IS: Specification and cleaning of breather and providing fresh charges of Silica Gel to the transformers, Supplying and replacing corroded nuts and bolts, gaskets and washers etc. (Transformers oil for topping up will be supplied separately.) (a) Make: Crompton Greaves, Capacity 1000 KVA, Oil Capacity 580 Ltrs.]
15.01 | For 1st Year | 2.00 | Job |  | 6000.00 | 12000.00 | 9000.00 | 18000.00 | 6770.00 | 13540.00 | 12000.00 | M/s BHARAT ELECTRIC, NAGPUR
15.02 | For 2nd Year | 2.00 | Job |  | 6000.00 | 12000.00 | 10000.00 | 20000.00 | 6770.00 | 13540.00 | 12000.00 | M/s BHARAT ELECTRIC, NAGPUR
16.00 | Supply of tested transformer oil for topping up in transformers as required. | 210.00 | Ltr. |  | 67.00 | 14070.00 | 160.00 | 33600.00 | 110.00 | 23100.00 | 14070.00 | M/s BHARAT ELECTRIC, NAGPUR
17.00 | Execution of work as per CPWD DSR 2022 (E&M). NOTE: The firm has to quote/upload the percentage above / below (+/- % on the quantity mentioned against BOQ item No. (7) directly in the form of multiplying factor in the rate column as clarified below: For example, “if agency desired to quote 5% above on CPWD DSR-2022 (E&M) rates, the rate column shall be filled as 1.05. If agency desired to quote to 5% below on DSR-2022 rates, the rate column shall be filled as 0.95.” ( DSR-2022 rates will be worked out by excluding GST component). | 500000.00 | INR |  | .50 | 250000.00 | .80 | 400000.00 | .80 | 400000.00 | 250000.00 | M/s BHARAT ELECTRIC, NAGPUR
18.00 | Annual comprehensive maintenance of 4.0 TR Cassette/Tower type airconditioners of different makes located at NIATAM including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing and also includes replacement of damage insulation, taping etc., painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions complete etc. as required.
18.01 | For 1st Year | 34.00 | Each per year |  | 60.00 | 2040.00 | 7000.00 | 238000.00 | 400.00 | 13600.00 | 2040.00 | M/s BHARAT ELECTRIC, NAGPUR
18.02 | For 2nd Year | 34.00 | Each per year |  | 60.00 | 2040.00 | 7500.00 | 255000.00 | 400.00 | 13600.00 | 2040.00 | M/s BHARAT ELECTRIC, NAGPUR
19.00 | Annual comprehensive maintenance of 3.0 TR Mega split/High wall/Tower type airconditioners of different makes located at NIATAM including replacement of faulty compressor and providing all necessary consumables and spares parts, carrying out monthly servicing and also includes replacement of damage insulation, taping etc., painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions complete etc. as required.
19.01 | For 1st Year | 4.00 | Each per year |  | 60.00 | 240.00 | 6000.00 | 24000.00 | 80.00 | 320.00 | 240.00 | M/s BHARAT ELECTRIC, NAGPUR
19.02 | For 2nd Year | 4.00 | Each per year |  | 60.00 | 240.00 | 6500.00 | 26000.00 | 80.00 | 320.00 | 240.00 | M/s BHARAT ELECTRIC, NAGPUR
20.00 | Annual comprehensive maintenance of 2.0 TR split airconditioners (Inverter and Non Inverter Type) of different makes located at NIATAM including replacement of faulty compressor and providing all necessary consumables and spares parts and also includes replacement of damage insulation, taping etc.carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions complete etc. as required.
20.01 | For 1st Year | 25.00 | Each per year |  | 60.00 | 1500.00 | 4000.00 | 100000.00 | 920.00 | 23000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
20.02 | For 2nd Year | 25.00 | Each per year |  | 60.00 | 1500.00 | 4500.00 | 112500.00 | 920.00 | 23000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
21.00 | Annual comprehensive maintenance of 1.5 TR split airconditioners (Inverter and Non Inverter Type) of different makes located at NIATAM including replacement of faulty compressor and providing all necessary consumables and spares parts and also includes replacement of damage insulation, taping etc.carrying out monthly servicing, painting of outdoor units once a year and fault rectification including gas charging, labour charges as required and as per special conditions complete etc. as required.
21.01 | For 1st Year | 46.00 | Each per year |  | 60.00 | 2760.00 | 3000.00 | 138000.00 | 440.00 | 20240.00 | 2760.00 | M/s BHARAT ELECTRIC, NAGPUR
21.02 | For 2nd Year | 46.00 | Each per year |  | 60.00 | 2760.00 | 3500.00 | 161000.00 | 440.00 | 20240.00 | 2760.00 | M/s BHARAT ELECTRIC, NAGPUR
22.00 | Shifting and Re-Installation of Split type Airconditioners of capacity of 1.5TR / 2.0TR including Gas changing, Pressure Testing and Commissioning etc. complete as required. | 5.00 | Each |  | 100.00 | 500.00 | 3000.00 | 15000.00 | 700.00 | 3500.00 | 500.00 | M/s BHARAT ELECTRIC, NAGPUR
23.00 | Shifting and Re-Installation of Split type Airconditioners of capacity of 4.0TR / 3.0TR including Gas changing, Pressure Testing and Commissioning etc. complete as required. | 2.00 | Each |  | 100.00 | 200.00 | 3500.00 | 7000.00 | 850.00 | 1700.00 | 200.00 | M/s BHARAT ELECTRIC, NAGPUR
24.00 | Supply and fixing 20mm dia rigid PVC pipes along with necessary accessories & insulation on surface / recess for drain water outlets of AC units etc. complete as required | 25.00 | Metre |  | 10.00 | 250.00 | 190.00 | 4750.00 | 30.00 | 750.00 | 250.00 | M/s BHARAT ELECTRIC, NAGPUR
25.00 | Supply and fixing of copper refrigerant piping of size 1/2" and 1/4" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps etc. complete as required. | 30.00 | Metre |  | 100.00 | 3000.00 | 650.00 | 19500.00 | 880.00 | 26400.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
26.00 | Supply and fixing of copper refrigerant piping of size 5/8" and 3/8" comprising suction and discharge pipes complete with nitrile rubber insulation sleeves, brazing including providing of clamps etc. complete as required. | 30.00 | Metre |  | 100.00 | 3000.00 | 650.00 | 19500.00 | 750.00 | 22500.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
27.00 | Dismantling of existing 4.0TR/3.0/2.0/1.5 TR Split AC Units with acceerious including loading and un loading complete etc. as required upto AAI store. | 5.00 | Each |  | 100.00 | 500.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 500.00 | M/s BHARAT ELECTRIC, NAGPUR
28.00 | Annual Comprehensive Periodical maintenance of Water cooler Units (Including compressor) of 40/80 ltr capacity, 1Ø, 230 V, 50 Hz, of different makes including stabilizer(if any) installed at different locations including providing all necessary consumable, refrigerant Gas and spares etc.
28.01 | For 1st Year | 11.00 | Each |  | 60.00 | 660.00 | 3500.00 | 38500.00 | 440.00 | 4840.00 | 660.00 | M/s BHARAT ELECTRIC, NAGPUR
28.02 | For 2nd Year | 11.00 | Each |  | 60.00 | 660.00 | 4000.00 | 44000.00 | 440.00 | 4840.00 | 660.00 | M/s BHARAT ELECTRIC, NAGPUR
29.00 | Annual Comprehensive maintenance contract of 1 No. U.V. water purifier (Make Hi-Tech) having flow rate 3 ltr per minute, comprising of U.V. lamps, Membrane Filter, Paper Filter, SMPS, etc. complete as required.
29.01 | For 1st Year | 11.00 | Each |  | 60.00 | 660.00 | 3000.00 | 33000.00 | 480.00 | 5280.00 | 660.00 | M/s BHARAT ELECTRIC, NAGPUR
29.02 | For 2nd Year | 11.00 | Each |  | 60.00 | 660.00 | 3500.00 | 38500.00 | 480.00 | 5280.00 | 660.00 | M/s BHARAT ELECTRIC, NAGPUR
30.00 | Annual Comprehensive maintenance contract of KENT RO (Model- Kent ACE) having storage capacity 7 Ltr., comprising of U.V. lamps, Carbon filter, Sediment Filter, Membrane Filter, Post Carbon Filter, Pre Carbon Filter, SMPS, CC Kit Pump etc. complete as required.
30.01 | For 1st Year | 8.00 | Each |  | 60.00 | 480.00 | 2000.00 | 16000.00 | 400.00 | 3200.00 | 480.00 | M/s BHARAT ELECTRIC, NAGPUR
30.02 | For 2nd Year | 8.00 | Each |  | 60.00 | 480.00 | 3000.00 | 24000.00 | 400.00 | 3200.00 | 480.00 | M/s BHARAT ELECTRIC, NAGPUR
| Total in Figures |  |  |  |  | 11805200.00 |  | 13662850.00 |  | 12438306.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(11805200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Bi-Annual Maintenance of E and M Installations and CMC of Split AC and Water Cooler etc. at NIATAM, Gondia for the year 2024-26. Tender ID: 2024_AAI_196985_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 11805200.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 12438306.00 | L2
| 3 | Manish Electricals | 13662850.00 | L3