## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 05-Jul-2024 02:50 PM Tender Title: Facility Management of E and M Installations of Terminal Buildings Technical Block Residential Colony Car Park Street Lights Water Supply Fire Fighting etc of Calicut International Airport during 2024_26 Tender ID: 2024_AAI_196993_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Facility management of Electrical and Mechanical Installations of Terminal Buildings, Technical block, Residential colony, Car Park, Street Lights, Water Supply, Fire Fighting etc. of Calicut International Airport during 2024-26
Contract No: <2024_AAI_196993_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Limited (GSTN-27AAACB4487D1ZS) BID ID -709950 |  | CHENNAI ENGINEERING SERVICES (GSTN-33AADFC4373K1ZH) BID ID -713102 |  | STERLING AND WILSON PRIVATE LIMITED(GSTN-NA)--712991 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--713035
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and periodic maintenance of all Electrical and Mechanical installations at different buildings/installations of airport such as Terminal building, Residential Colony, Pump Houses including but not limited to: operation of pumps for water supply and firefighting, lift, escalator, switchgears, Carpark/street lighting including rectifying defects/faults/breakdowns on round the clock shifts, on all days including Sundays and Holidays including preparation & maintenance of PMI activities, updating of associated log books and records etc., complete as required. | 24.00 | Month |  | 1112309.00 | 26695416.00 | 1530599.00 | 36734376.00 | 1022506.00 | 24540144.00 | 1044665.00 | 25071960.00 | 24540144.00 | STERLING AND WILSON PRIVATE LIMITED
2.00 | Engaging of skilled labour for carrying out electrical works like wiring, conduiting, electrification and other miscellaneous electrical works as per instructions from Engineering in charge ( 1 man /day = 8 hours of work). | 50.00 | Man/ Day |  | 1296.00 | 64800.00 | 1029.00 | 51450.00 | 1050.00 | 52500.00 | 862.00 | 43100.00 | 43100.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Engaging of unskilled labour for carrying out casual/unspecified works like clearing of site, shifting of inventory, and other miscellaneous works as per instructions from Engineering in charge ( 1 man/ day = 8 hours of work). | 50.00 | Man/ Day |  | 1186.00 | 59300.00 | 949.00 | 47450.00 | 900.00 | 45000.00 | 651.00 | 32550.00 | 32550.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. ( GROUP C) | 50.00 | Each |  | 1676.00 | 83800.00 | 799.00 | 39950.00 | 1400.00 | 70000.00 | 1069.00 | 53450.00 | 39950.00 | CHENNAI ENGINEERING SERVICES
5.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 500.00 | Meter |  | 275.00 | 137500.00 | 149.00 | 74500.00 | 130.00 | 65000.00 | 184.00 | 92000.00 | 65000.00 | STERLING AND WILSON PRIVATE LIMITED
6.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 300.00 | Meter |  | 285.00 | 85500.00 | 199.00 | 59700.00 | 160.00 | 48000.00 | 227.00 | 68100.00 | 48000.00 | STERLING AND WILSON PRIVATE LIMITED
7.00 | Wiring for circuit/submain wiring along with earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire. | 300.00 | Meter |  | 354.00 | 106200.00 | 249.00 | 74700.00 | 215.00 | 64500.00 | 258.00 | 77400.00 | 64500.00 | STERLING AND WILSON PRIVATE LIMITED
8.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 75.00 | Meter |  | 658.00 | 49350.00 | 399.00 | 29925.00 | 250.00 | 18750.00 | 338.00 | 25350.00 | 18750.00 | STERLING AND WILSON PRIVATE LIMITED
9.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Meter |  | 543.00 | 27150.00 | 399.00 | 19950.00 | 360.00 | 18000.00 | 413.00 | 20650.00 | 18000.00 | STERLING AND WILSON PRIVATE LIMITED
10.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 250.00 | Meter |  | 110.00 | 27500.00 | 99.00 | 24750.00 | 100.00 | 25000.00 | 78.00 | 19500.00 | 19500.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 1.5 sq. mm | 250.00 | Meter |  | 141.00 | 35250.00 | 149.00 | 37250.00 | 125.00 | 31250.00 | 94.00 | 23500.00 | 23500.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 250.00 | Meter |  | 161.00 | 40250.00 | 149.00 | 37250.00 | 155.00 | 38750.00 | 110.00 | 27500.00 | 27500.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 4 sq. mm | 150.00 | Meter |  | 242.00 | 36300.00 | 199.00 | 29850.00 | 215.00 | 32250.00 | 161.00 | 24150.00 | 24150.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 4 sq. mm | 100.00 | Meter |  | 276.00 | 27600.00 | 249.00 | 24900.00 | 250.00 | 25000.00 | 203.00 | 20300.00 | 20300.00 | ABHISHEK INTEGRATIONS LIMITED
15.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 5 x 4 \sq.mm | 50.00 | Meter |  | 377.00 | 18850.00 | 299.00 | 14950.00 | 315.00 | 15750.00 | 246.00 | 12300.00 | 12300.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 6 sq. mm | 50.00 | Meter |  | 340.00 | 17000.00 | 299.00 | 14950.00 | 275.00 | 13750.00 | 235.00 | 11750.00 | 11750.00 | ABHISHEK INTEGRATIONS LIMITED
17.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 6 sq. mm | 50.00 | Meter |  | 449.00 | 22450.00 | 349.00 | 17450.00 | 315.00 | 15750.00 | 299.00 | 14950.00 | 14950.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 20 mm | 500.00 | Meter |  | 157.00 | 78500.00 | 99.00 | 49500.00 | 60.00 | 30000.00 | 43.00 | 21500.00 | 21500.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 25 mm | 500.00 | Meter |  | 178.00 | 89000.00 | 129.00 | 64500.00 | 70.00 | 35000.00 | 54.00 | 27000.00 | 27000.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required. 1 or 2 Module (75mmX75mm) | 10.00 | Nos |  | 215.00 | 2150.00 | 199.00 | 1990.00 | 375.00 | 3750.00 | 92.00 | 920.00 | 920.00 | ABHISHEK INTEGRATIONS LIMITED
21.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required. 3Module (100mmX75mm) | 20.00 | Nos |  | 261.00 | 5220.00 | 249.00 | 4980.00 | 440.00 | 8800.00 | 119.00 | 2380.00 | 2380.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required. 4 Module (125mmX75mm) | 5.00 | Nos |  | 320.00 | 1600.00 | 299.00 | 1495.00 | 525.00 | 2625.00 | 140.00 | 700.00 | 700.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required. 6 Module (200mmX75mm) | 20.00 | Nos |  | 414.00 | 8280.00 | 399.00 | 7980.00 | 675.00 | 13500.00 | 197.00 | 3940.00 | 3940.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Supplying and fixing following size/ modules, GI box along with modular base & cover plate for modular switches in recess etc. as required. 8 Module (125mmX125mm) | 5.00 | Nos |  | 481.00 | 2405.00 | 499.00 | 2495.00 | 800.00 | 4000.00 | 245.00 | 1225.00 | 1225.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | Supplying and fixing following size/ modules, plastic surface box along with modular base & cover plate for modular switches in recess etc. as required. 1 or 2 Module (75mmX75mm) | 5.00 | Nos |  | 235.00 | 1175.00 | 179.00 | 895.00 | 375.00 | 1875.00 | 87.00 | 435.00 | 435.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Supplying and fixing following size/ modules, plastic surface box along with modular base & cover plate for modular switches in recess etc. as required. 3 Module (100mmX75mm) | 25.00 | Nos |  | 317.00 | 7925.00 | 199.00 | 4975.00 | 440.00 | 11000.00 | 113.00 | 2825.00 | 2825.00 | ABHISHEK INTEGRATIONS LIMITED
27.00 | Supplying and fixing following size/ modules, plastic surface box along with modular base & cover plate for modular switches in recess etc. as required. 4 Module (125mmX75mm) | 10.00 | Nos |  | 329.00 | 3290.00 | 249.00 | 2490.00 | 525.00 | 5250.00 | 129.00 | 1290.00 | 1290.00 | ABHISHEK INTEGRATIONS LIMITED
28.00 | Supplying and fixing following size/ modules, plastic surface box along with modular base & cover plate for modular switches in recess etc. as required. 6 Module (200mmX75mm) | 15.00 | Nos |  | 387.00 | 5805.00 | 399.00 | 5985.00 | 675.00 | 10125.00 | 180.00 | 2700.00 | 2700.00 | ABHISHEK INTEGRATIONS LIMITED
29.00 | Supplying and fixing following size/ modules, plastic surface box along with modular base & cover plate for modular switches in recess etc. as required. 8 Module (125mmX125mm) | 5.00 | Nos |  | 470.00 | 2350.00 | 449.00 | 2245.00 | 800.00 | 4000.00 | 227.00 | 1135.00 | 1135.00 | ABHISHEK INTEGRATIONS LIMITED
30.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 amps switch | 80.00 | Nos |  | 94.00 | 7520.00 | 149.00 | 11920.00 | 110.00 | 8800.00 | 35.00 | 2800.00 | 2800.00 | ABHISHEK INTEGRATIONS LIMITED
31.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 amp socket outlet | 30.00 | Nos |  | 157.00 | 4710.00 | 199.00 | 5970.00 | 160.00 | 4800.00 | 79.00 | 2370.00 | 2370.00 | ABHISHEK INTEGRATIONS LIMITED
32.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 15/16 amps switch | 30.00 | Nos |  | 157.00 | 4710.00 | 249.00 | 7470.00 | 190.00 | 5700.00 | 89.00 | 2670.00 | 2670.00 | ABHISHEK INTEGRATIONS LIMITED
33.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 6 pin 15/16 A socket | 30.00 | Nos |  | 249.00 | 7470.00 | 299.00 | 8970.00 | 210.00 | 6300.00 | 139.00 | 4170.00 | 4170.00 | ABHISHEK INTEGRATIONS LIMITED
34.00 | Supplying and fixing 32 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top along with 20 amps “C” curve, TPN MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet | 10.00 | Each |  | 4821.00 | 48210.00 | 3999.00 | 39990.00 | 3800.00 | 38000.00 | 3656.00 | 36560.00 | 36560.00 | ABHISHEK INTEGRATIONS LIMITED
35.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 20.00 | Each |  | 2274.00 | 45480.00 | 2999.00 | 59980.00 | 2500.00 | 50000.00 | 1363.00 | 27260.00 | 27260.00 | ABHISHEK INTEGRATIONS LIMITED
36.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 10.00 | Each |  | 353.00 | 3530.00 | 249.00 | 2490.00 | 220.00 | 2200.00 | 107.00 | 1070.00 | 1070.00 | ABHISHEK INTEGRATIONS LIMITED
37.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, ""C"" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Double pole | 10.00 | Each |  | 805.00 | 8050.00 | 399.00 | 3990.00 | 400.00 | 4000.00 | 357.00 | 3570.00 | 3570.00 | ABHISHEK INTEGRATIONS LIMITED
38.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Four Pole | 10.00 | Each |  | 1441.00 | 14410.00 | 1999.00 | 19990.00 | 1700.00 | 17000.00 | 1844.00 | 18440.00 | 14410.00 | Blue Star Limited
39.00 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enamelled white on both sides, and with inscription in single red colour on front side as required. | 10.00 | Each |  | 390.00 | 3900.00 | 1999.00 | 19990.00 | 400.00 | 4000.00 | 216.00 | 2160.00 | 2160.00 | ABHISHEK INTEGRATIONS LIMITED
40.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. .with charcoal/ coke and salt as required. | 5.00 | Set |  | 6301.00 | 31505.00 | 6499.00 | 32495.00 | 15000.00 | 75000.00 | 8089.00 | 40445.00 | 31505.00 | Blue Star Limited
41.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 5.00 | Set |  | 15641.00 | 78205.00 | 11499.00 | 57495.00 | 20000.00 | 100000.00 | 10411.00 | 52055.00 | 52055.00 | ABHISHEK INTEGRATIONS LIMITED
42.00 | Repairing of earth pits by dismantling the existing masonry enclosure and providing RCC enclosure of 1:2:4 grade (1 cement : 2 coarse sand : 4 graded stone) and reinforced with steel rods 8mm dia in a pattern approved by AAI, providing hinged MS cover of minimum 8 mm thickness with suitable locking system as per specifications including, painting the earth pit portion above ground and cover plate, numbering the same, providing and fixing suitable funnel, removing of debris etc. as per the direction of EIC. | 10.00 | Set |  | 5345.00 | 53450.00 | 4999.00 | 49990.00 | 14000.00 | 140000.00 | 3780.00 | 37800.00 | 37800.00 | ABHISHEK INTEGRATIONS LIMITED
43.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 200.00 | Meter |  | 47.00 | 9400.00 | 59.00 | 11800.00 | 40.00 | 8000.00 | 26.00 | 5200.00 | 5200.00 | ABHISHEK INTEGRATIONS LIMITED
44.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 80.00 | Meter |  | 195.00 | 15600.00 | 99.00 | 7920.00 | 170.00 | 13600.00 | 157.00 | 12560.00 | 7920.00 | CHENNAI ENGINEERING SERVICES
45.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Up to 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Meter |  | 68.00 | 6800.00 | 69.00 | 6900.00 | 50.00 | 5000.00 | 32.00 | 3200.00 | 3200.00 | ABHISHEK INTEGRATIONS LIMITED
46.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Meter |  | 135.00 | 6750.00 | 99.00 | 4950.00 | 70.00 | 3500.00 | 38.00 | 1900.00 | 1900.00 | ABHISHEK INTEGRATIONS LIMITED
47.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Up to 35 sq.mm (clamped with 1mm thick saddle) | 200.00 | Meter |  | 68.00 | 13600.00 | 69.00 | 13800.00 | 50.00 | 10000.00 | 32.00 | 6400.00 | 6400.00 | ABHISHEK INTEGRATIONS LIMITED
48.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 sq. mm and up to 95 sq. mm (clamped with 25x3mm MS flat clamp) | 100.00 | Meter |  | 135.00 | 13500.00 | 119.00 | 11900.00 | 70.00 | 7000.00 | 38.00 | 3800.00 | 3800.00 | ABHISHEK INTEGRATIONS LIMITED
49.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc. as required, but excluding sand cushioning and protective covering. Up to 35 sq. mm | 100.00 | Meter |  | 338.00 | 33800.00 | 399.00 | 39900.00 | 100.00 | 10000.00 | 248.00 | 24800.00 | 10000.00 | STERLING AND WILSON PRIVATE LIMITED
50.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc. as required, but excluding sand cushioning and protective covering. Above 35 sq. mm and up to 95 sq. mm | 50.00 | Meter |  | 474.00 | 23700.00 | 449.00 | 22450.00 | 100.00 | 5000.00 | 270.00 | 13500.00 | 5000.00 | STERLING AND WILSON PRIVATE LIMITED
51.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Up to 35 sq. mm | 100.00 | Meter |  | 47.00 | 4700.00 | 39.00 | 3900.00 | 100.00 | 10000.00 | 32.00 | 3200.00 | 3200.00 | ABHISHEK INTEGRATIONS LIMITED
52.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and up to 95 sq. mm | 100.00 | Meter |  | 66.00 | 6600.00 | 69.00 | 6900.00 | 100.00 | 10000.00 | 38.00 | 3800.00 | 3800.00 | ABHISHEK INTEGRATIONS LIMITED
53.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 7.00 | Set |  | 3353.00 | 23471.00 | 3999.00 | 27993.00 | 1800.00 | 12600.00 | 915.00 | 6405.00 | 6405.00 | ABHISHEK INTEGRATIONS LIMITED
54.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 25 sq. mm | 7.00 | Set |  | 3632.00 | 25424.00 | 3999.00 | 27993.00 | 2200.00 | 15400.00 | 915.00 | 6405.00 | 6405.00 | ABHISHEK INTEGRATIONS LIMITED
55.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 35 sq. mm | 7.00 | Set |  | 3688.00 | 25816.00 | 3999.00 | 27993.00 | 2700.00 | 18900.00 | 923.00 | 6461.00 | 6461.00 | ABHISHEK INTEGRATIONS LIMITED
56.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 25 sq. mm (28mm) | 10.00 | Job |  | 495.00 | 4950.00 | 349.00 | 3490.00 | 800.00 | 8000.00 | 257.00 | 2570.00 | 2570.00 | ABHISHEK INTEGRATIONS LIMITED
57.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5X 35 sq. mm (32mm) | 10.00 | Job |  | 585.00 | 5850.00 | 399.00 | 3990.00 | 9000.00 | 90000.00 | 341.00 | 3410.00 | 3410.00 | ABHISHEK INTEGRATIONS LIMITED
58.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5X 50 sq. mm (35mm) | 10.00 | Job |  | 654.00 | 6540.00 | 449.00 | 4490.00 | 1400.00 | 14000.00 | 413.00 | 4130.00 | 4130.00 | ABHISHEK INTEGRATIONS LIMITED
59.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width and lift up to 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 4.00 | CUM |  | 2235.00 | 8940.00 | 9999.00 | 39996.00 | 1200.00 | 4800.00 | 1312.00 | 5248.00 | 4800.00 | STERLING AND WILSON PRIVATE LIMITED
60.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone aggregate 20 mm nominal size) including form work etc. as required. | 4.00 | CUM |  | 9445.00 | 37780.00 | 4999.00 | 19996.00 | 7500.00 | 30000.00 | 8581.00 | 34324.00 | 19996.00 | CHENNAI ENGINEERING SERVICES
61.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) including form work etc. as required. | 4.00 | CUM |  | 9501.00 | 38004.00 | 5999.00 | 23996.00 | 6800.00 | 27200.00 | 7380.00 | 29520.00 | 23996.00 | CHENNAI ENGINEERING SERVICES
62.00 | Spray painting with two or more coat of synthetic PU enamel paint of approved brand, manufacturer and colour to give an even shade for distribution boards, Fire hydrant Pipes, Internal & External Electrical panels/ Junction boxes/feeder pillars, etc. provided in the Terminal Buildings, Technical Block and other Ancillary Buildings including cleaning the surface, applying two or more coats of primer wherever necessary, removing, shifting of installations from existing site to a suitable site for painting where ever required. Scope also includes re-lettering / new lettering of various distribution boards/ panels wherever required. | 250.00 | SQM |  | 387.00 | 96750.00 | 249.00 | 62250.00 | 360.00 | 90000.00 | 324.00 | 81000.00 | 62250.00 | CHENNAI ENGINEERING SERVICES
63.00 | Excavating trenches of required width for pipes, cables, etc., including excavation for sockets, depth up to 1.5 m, including getting out the excavated materials, returning the soil as required in layers not exceeding 20 cm in depth, including consolidating each deposited layers by ramming, watering etc., stacking serviceable material for measurements and disposal of unserviceable material as directed, within a lead of 50 m. (a) All kinds of soil for laying of pipes, cables etc., not exceeding 80 mm dia. | 5.00 | CUM |  | 2100.00 | 10500.00 | 9999.00 | 49995.00 | 1000.00 | 5000.00 | 2703.00 | 13515.00 | 5000.00 | STERLING AND WILSON PRIVATE LIMITED
64.00 | Cutting road/concrete including equipment, labour etc. and disposal of material as directed, within a lead of 50 m. | 1.00 | CUM |  | 2570.00 | 2570.00 | 9999.00 | 9999.00 | 1200.00 | 1200.00 | 3780.00 | 3780.00 | 1200.00 | STERLING AND WILSON PRIVATE LIMITED
65.00 | Hiring of crane of suitable capacity operating height of 30 meter (minimum) with working bucket, safety harness etc. for replacement of the steel wire rope of the 30.5 meter monumental National Flag Mast installed opposite to Terminal Building of the Calicut Intl. Airport. (Steel Rope and Labour for steel rope shall be provided by AAI.) | 1.00 | Job |  | 27946.00 | 27946.00 | 199999.00 | 199999.00 | 55000.00 | 55000.00 | 5400.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
66.00 | Hiring of crane of suitable capacity operating height of 30 meter (minimum) with working bucket, safety harness etc. for replacement of the aviation obstruction light of the 30.5 meter monumental National Flag Mast installed opposite to Terminal Building of the Calicut Intl. Airport. (Aviation Obstruction light and Labour shall be provided by AAI.) | 1.00 | Job |  | 27946.00 | 27946.00 | 199999.00 | 199999.00 | 55000.00 | 55000.00 | 5400.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
67.00 | Supply of Single Dome Integral LED Aviation Obstruction light comprising of aluminium housing with polycarbonate housing as per approved makes. | 4.00 | Each |  | 6691.00 | 26764.00 | 9999.00 | 39996.00 | 7000.00 | 28000.00 | 5940.00 | 23760.00 | 23760.00 | ABHISHEK INTEGRATIONS LIMITED
68.00 | Supply and installation of AISI 316 Grade 6 mm SS steel wire ropes suitable for 30.5 m monumental flag mast installed in Calicut Airport. The job includes the supply and installation of 6 mm rope on the 30.5 mtr monumental flag mast. including replacement of stainless steel thimbles, copper splicing, galvanized turnbuckle eye and bull dog grips including using suitable equipments , tools , safety harness etc. complete as required for replacement of the wire rope complete as required. The job also includes removal of existing wire ropes from the high mast. | 1.00 | Job |  | 18781.00 | 18781.00 | 299999.00 | 299999.00 | 35000.00 | 35000.00 | 36666.00 | 36666.00 | 18781.00 | Blue Star Limited
69.00 | Labour & Hire charges for providing decorative Lamps etc illumination on different locations like , facia of Terminal building , Garden , Trees and ancillary building etc. of Calicut International Airport. The work also include arrangement of ladders / scaffolding , tools , loading / unloading , transportation , fitting , installation and removal of the items etc. complete as required as per instructions of AAI. LED Flood Light Illumination with multiple Theme at the Entry Gate for both sides. LED Serial Light (40 to 48 LEDs Units) the colors scheme as per instructions from Engineer-in-Charge. (1000 NOS) Poles to be illuminated with LED Strip Light of various colors as per instructions from Engineer-in-Charge.The pole/pillar/pipe sturcture shall be tightly wrapped with minimum spacing between lights and should give a uniform light pattern. ( Height of total lighting shall be 3mtrs mimimum ) (30 POLES) LED PAR Flood Lights for canopy illumination , tree lighting etc with minimum 2 theme selectors at suitable locations as decided by AAI (100 JOBS) Lighting shall be provided for 3 days starting from night of 1st day to morning of 3rd day. | 5.00 | Job |  | 185291.00 | 926455.00 | 199999.00 | 999995.00 | 135000.00 | 675000.00 | 240000.00 | 1200000.00 | 675000.00 | STERLING AND WILSON PRIVATE LIMITED
70.00 | Extra for each Additional day of Illumination on one job of Item No.69 | 10.00 | Days |  | 14253.00 | 142530.00 | 74999.00 | 749990.00 | 25000.00 | 250000.00 | 40000.00 | 400000.00 | 142530.00 | Blue Star Limited
71.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) a) 12.50 HP Jockey Pump | 1.00 | Job |  | 3854.00 | 3854.00 | 34999.00 | 34999.00 | 3500.00 | 3500.00 | 1121.00 | 1121.00 | 1121.00 | ABHISHEK INTEGRATIONS LIMITED
72.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) b) 25.00 HP Jockey Pump | 1.00 | Job |  | 5855.00 | 5855.00 | 64999.00 | 64999.00 | 6000.00 | 6000.00 | 2803.00 | 2803.00 | 2803.00 | ABHISHEK INTEGRATIONS LIMITED
73.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) c) 75.00 HP Main Fire Pump | 1.00 | Job |  | 10892.00 | 10892.00 | 99999.00 | 99999.00 | 12000.00 | 12000.00 | 9807.00 | 9807.00 | 9807.00 | ABHISHEK INTEGRATIONS LIMITED
74.00 | Replacing the drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) d) 120.00 HP Main Fire Pump | 1.00 | Job |  | 15762.00 | 15762.00 | 249999.00 | 249999.00 | 20000.00 | 20000.00 | 14011.00 | 14011.00 | 14011.00 | ABHISHEK INTEGRATIONS LIMITED
75.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) a) 12.50 HP Jockey Pump | 1.00 | Job |  | 4069.00 | 4069.00 | 34999.00 | 34999.00 | 3000.00 | 3000.00 | 1121.00 | 1121.00 | 1121.00 | ABHISHEK INTEGRATIONS LIMITED
76.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) b) 25.00 HP Jockey Pump | 1.00 | Job |  | 6116.00 | 6116.00 | 64999.00 | 64999.00 | 6500.00 | 6500.00 | 2803.00 | 2803.00 | 2803.00 | ABHISHEK INTEGRATIONS LIMITED
77.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) c) 75.00 HP Main Fire Pump | 1.00 | Job |  | 10738.00 | 10738.00 | 99999.00 | 99999.00 | 13000.00 | 13000.00 | 9807.00 | 9807.00 | 9807.00 | ABHISHEK INTEGRATIONS LIMITED
78.00 | Replacing the non-drive end bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) d) 120.00 HP Main Fire Pump | 1.00 | Job |  | 15839.00 | 15839.00 | 249999.00 | 249999.00 | 15000.00 | 15000.00 | 14011.00 | 14011.00 | 14011.00 | ABHISHEK INTEGRATIONS LIMITED
79.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) a) 12.50 HP Jockey Pump | 1.00 | Job |  | 6387.00 | 6387.00 | 34999.00 | 34999.00 | 6000.00 | 6000.00 | 2242.00 | 2242.00 | 2242.00 | ABHISHEK INTEGRATIONS LIMITED
80.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) b) 25.00 HP Jockey Pump | 1.00 | Job |  | 10725.00 | 10725.00 | 64999.00 | 64999.00 | 12000.00 | 12000.00 | 5604.00 | 5604.00 | 5604.00 | ABHISHEK INTEGRATIONS LIMITED
81.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) c) 75.00 HP Main Fire Pump | 1.00 | Job |  | 21677.00 | 21677.00 | 99999.00 | 99999.00 | 30000.00 | 30000.00 | 19615.00 | 19615.00 | 19615.00 | ABHISHEK INTEGRATIONS LIMITED
82.00 | Replacing both the bearings of motor of following capacity and application including decoupling from the load side, dismantling from the foundation , loading , unloading transportation, labour charges, consumables, lubricants , tools , tackles , jigs and implements etc. complete as required including refixing, realignment, ensuring the design / required parameters etc. complete as required (Damaged Bearing need not be returned to AAI. Rate shall be quoted accordingly) d) 120.00 HP Main Fire Pump | 1.00 | Job |  | 28819.00 | 28819.00 | 249999.00 | 249999.00 | 40000.00 | 40000.00 | 28022.00 | 28022.00 | 28022.00 | ABHISHEK INTEGRATIONS LIMITED
83.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required a) 12.50 HP Jockey Pump | 1.00 | Job |  | 4325.00 | 4325.00 | 34999.00 | 34999.00 | 29000.00 | 29000.00 | 584.00 | 584.00 | 584.00 | ABHISHEK INTEGRATIONS LIMITED
84.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required b) 25.00 HP Jockey Pump | 1.00 | Job |  | 5858.00 | 5858.00 | 64999.00 | 64999.00 | 4500.00 | 4500.00 | 818.00 | 818.00 | 818.00 | ABHISHEK INTEGRATIONS LIMITED
85.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required c) 75.00 HP Main Fire Pump | 1.00 | Job |  | 10390.00 | 10390.00 | 99999.00 | 99999.00 | 12000.00 | 12000.00 | 1401.00 | 1401.00 | 1401.00 | ABHISHEK INTEGRATIONS LIMITED
86.00 | Replacing the damaged rubber bush of following capacity and application pump motor sets as listed below including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required d) 120.00 HP Main Fire Pump | 1.00 | Job |  | 15126.00 | 15126.00 | 249999.00 | 249999.00 | 12000.00 | 12000.00 | 2919.00 | 2919.00 | 2919.00 | ABHISHEK INTEGRATIONS LIMITED
87.00 | Lifting and lowering of submersible pump along with the installed pipe from bore well ( up to 400 feet max) including dismantling the defective submersible motor, pump set and installing the serviceable motor pump set with the existing pipe, arranging T&P and necessary consumables etc. complete as required a) Submersible pumps installed with HDPE/PVC Pipe | 5.00 | Job |  | 16198.00 | 80990.00 | 49999.00 | 249995.00 | 12000.00 | 60000.00 | 13702.00 | 68510.00 | 60000.00 | STERLING AND WILSON PRIVATE LIMITED
88.00 | Lifting and lowering of submersible pump along with the installed pipe from bore well ( up to 400 feet max) including dismantling the defective submersible motor, pump set and installing the serviceable motor pump set with the existing pipe, arranging T&P and necessary consumables etc. complete as required b)Submersible pumps installed with GI pipe with Sockets/ Flanges | 2.00 | Job |  | 25712.00 | 51424.00 | 74999.00 | 149998.00 | 20000.00 | 40000.00 | 14473.00 | 28946.00 | 28946.00 | ABHISHEK INTEGRATIONS LIMITED
89.00 | Lifting of defective submersible motor pump set from open well/sump and dismantling the same and installing the serviceable motor pump set arranging T&P and necessary consumables including lifting and lowering into sump/open well etc. complete as required (Serviceable Motor will be provided by AAI). | 15.00 | Job |  | 7824.00 | 117360.00 | 14999.00 | 224985.00 | 12000.00 | 180000.00 | 4490.00 | 67350.00 | 67350.00 | ABHISHEK INTEGRATIONS LIMITED
90.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Bore well) Above 2 HP and up to 5 HP | 3.00 | Job |  | 6148.00 | 18444.00 | 9999.00 | 29997.00 | 7500.00 | 22500.00 | 5747.00 | 17241.00 | 17241.00 | ABHISHEK INTEGRATIONS LIMITED
91.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Bore well) Above 5 HP and up to 10 HP | 1.00 | Job |  | 10285.00 | 10285.00 | 14999.00 | 14999.00 | 13000.00 | 13000.00 | 7181.00 | 7181.00 | 7181.00 | ABHISHEK INTEGRATIONS LIMITED
92.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/sump) Below 2 HP | 2.00 | Job |  | 3912.00 | 7824.00 | 9999.00 | 19998.00 | 6000.00 | 12000.00 | 4212.00 | 8424.00 | 7824.00 | Blue Star Limited
93.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/sump) Above 2 HP and up to 5 HP | 4.00 | Job |  | 5588.00 | 22352.00 | 9999.00 | 39996.00 | 10000.00 | 40000.00 | 5575.00 | 22300.00 | 22300.00 | ABHISHEK INTEGRATIONS LIMITED
94.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/sump) Above 5 HP and up to 10 HP | 10.00 | Job |  | 9200.00 | 92000.00 | 14999.00 | 149990.00 | 12000.00 | 120000.00 | 8021.00 | 80210.00 | 80210.00 | ABHISHEK INTEGRATIONS LIMITED
95.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/sump) Above 10 HP and up to 15 HP | 1.00 | Job |  | 13414.00 | 13414.00 | 24999.00 | 24999.00 | 15000.00 | 15000.00 | 11529.00 | 11529.00 | 11529.00 | ABHISHEK INTEGRATIONS LIMITED
96.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Open well/sump) Above 15 HP and up to 17.5 HP | 1.00 | Job |  | 16767.00 | 16767.00 | 29999.00 | 29999.00 | 17000.00 | 17000.00 | 16944.00 | 16944.00 | 16767.00 | Blue Star Limited
97.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Below 2 HP | 6.00 | Job |  | 3912.00 | 23472.00 | 9999.00 | 59994.00 | 5000.00 | 30000.00 | 3807.00 | 22842.00 | 22842.00 | ABHISHEK INTEGRATIONS LIMITED
98.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 2 HP and up to 5 HP | 1.00 | Job |  | 5588.00 | 5588.00 | 9999.00 | 9999.00 | 6000.00 | 6000.00 | 5113.00 | 5113.00 | 5113.00 | ABHISHEK INTEGRATIONS LIMITED
99.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 5 HP and up to 10 HP | 4.00 | Job |  | 8942.00 | 35768.00 | 14999.00 | 59996.00 | 12000.00 | 48000.00 | 5861.00 | 23444.00 | 23444.00 | ABHISHEK INTEGRATIONS LIMITED
100.00 | Rewinding of following type of motors with enamelled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc. and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 10 HP and up to 15 HP | 4.00 | Job |  | 13414.00 | 53656.00 | 24999.00 | 99996.00 | 18000.00 | 72000.00 | 11392.00 | 45568.00 | 45568.00 | ABHISHEK INTEGRATIONS LIMITED
101.00 | Servicing of the following capacity submersible (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Upto 2 HP Thrust bearing | 2.00 | Job |  | 3912.00 | 7824.00 | 2499.00 | 4998.00 | 5000.00 | 10000.00 | 1441.00 | 2882.00 | 2882.00 | ABHISHEK INTEGRATIONS LIMITED
102.00 | Servicing of the following capacity ubmersible (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Upto 2 HP Bushes | 2.00 | Job |  | 3353.00 | 6706.00 | 3999.00 | 7998.00 | 2000.00 | 4000.00 | 1032.00 | 2064.00 | 2064.00 | ABHISHEK INTEGRATIONS LIMITED
103.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pump including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Upto 2 HP Shaft sleeve | 2.00 | Job |  | 2794.00 | 5588.00 | 2999.00 | 5998.00 | 2500.00 | 5000.00 | 1353.00 | 2706.00 | 2706.00 | ABHISHEK INTEGRATIONS LIMITED
104.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pump including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Upto 2 HP Thrust plate | 2.00 | Job |  | 2235.00 | 4470.00 | 2499.00 | 4998.00 | 1500.00 | 3000.00 | 1136.00 | 2272.00 | 2272.00 | ABHISHEK INTEGRATIONS LIMITED
105.00 | Servicing of the following capacity submersible (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Thrust bearing | 6.00 | Job |  | 3300.00 | 19800.00 | 2499.00 | 14994.00 | 3000.00 | 18000.00 | 1441.00 | 8646.00 | 8646.00 | ABHISHEK INTEGRATIONS LIMITED
106.00 | Servicing of the following capacity ubmersible (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Bushes | 6.00 | Job |  | 2873.00 | 17238.00 | 5999.00 | 35994.00 | 4000.00 | 24000.00 | 2536.00 | 15216.00 | 15216.00 | ABHISHEK INTEGRATIONS LIMITED
107.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pump including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Shaft sleeve | 6.00 | Job |  | 2851.00 | 17106.00 | 2499.00 | 14994.00 | 4600.00 | 27600.00 | 1592.00 | 9552.00 | 9552.00 | ABHISHEK INTEGRATIONS LIMITED
108.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pump including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Thrust plate | 6.00 | Job |  | 2851.00 | 17106.00 | 2999.00 | 17994.00 | 3000.00 | 18000.00 | 1720.00 | 10320.00 | 10320.00 | ABHISHEK INTEGRATIONS LIMITED
109.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 5 HP and up to 10 HP Thrust bearing | 5.00 | Job |  | 4794.00 | 23970.00 | 3599.00 | 17995.00 | 3990.00 | 19950.00 | 2101.00 | 10505.00 | 10505.00 | ABHISHEK INTEGRATIONS LIMITED
110.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 5 HP and up to 10 HP Bushes | 5.00 | Job |  | 4449.00 | 22245.00 | 7999.00 | 39995.00 | 2500.00 | 12500.00 | 3752.00 | 18760.00 | 12500.00 | STERLING AND WILSON PRIVATE LIMITED
111.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 5 HP and up to 10 HP Shaft sleeve | 5.00 | Job |  | 3801.00 | 19005.00 | 2499.00 | 12495.00 | 4600.00 | 23000.00 | 2162.00 | 10810.00 | 10810.00 | ABHISHEK INTEGRATIONS LIMITED
112.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Open well/Bore well/sump) Above 5 HP and up to 10 HP Thrust plate | 5.00 | Job |  | 3801.00 | 19005.00 | 2499.00 | 12495.00 | 3600.00 | 18000.00 | 1925.00 | 9625.00 | 9625.00 | ABHISHEK INTEGRATIONS LIMITED
113.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP and up to 15 HP Thrust bearing | 1.00 | Job |  | 5339.00 | 5339.00 | 3599.00 | 3599.00 | 4300.00 | 4300.00 | 2556.00 | 2556.00 | 2556.00 | ABHISHEK INTEGRATIONS LIMITED
114.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP and up to 15 HP Bushes | 1.00 | Job |  | 5061.00 | 5061.00 | 7999.00 | 7999.00 | 3000.00 | 3000.00 | 4712.00 | 4712.00 | 3000.00 | STERLING AND WILSON PRIVATE LIMITED
115.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP and up to 15 HP Shaft sleeve | 1.00 | Job |  | 4751.00 | 4751.00 | 2499.00 | 2499.00 | 8000.00 | 8000.00 | 2281.00 | 2281.00 | 2281.00 | ABHISHEK INTEGRATIONS LIMITED
116.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP and up to 15 HP Thrust plate | 1.00 | Job |  | 4276.00 | 4276.00 | 2499.00 | 2499.00 | 4000.00 | 4000.00 | 2378.00 | 2378.00 | 2378.00 | ABHISHEK INTEGRATIONS LIMITED
117.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 15 HP and up to 20 HP Thrust bearing | 1.00 | Job |  | 6706.00 | 6706.00 | 3999.00 | 3999.00 | 4600.00 | 4600.00 | 4928.00 | 4928.00 | 3999.00 | CHENNAI ENGINEERING SERVICES
118.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 15 HP and up to 20 HP Bushes | 1.00 | Job |  | 6706.00 | 6706.00 | 9999.00 | 9999.00 | 3200.00 | 3200.00 | 7056.00 | 7056.00 | 3200.00 | STERLING AND WILSON PRIVATE LIMITED
119.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 15 HP and up to 20 HP Shaft sleeve | 1.00 | Job |  | 6706.00 | 6706.00 | 4999.00 | 4999.00 | 3500.00 | 3500.00 | 4453.00 | 4453.00 | 3500.00 | STERLING AND WILSON PRIVATE LIMITED
120.00 | Servicing of the following capacity Submersible Motor (Open well/Bore well/sump) pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 15 HP and up to 20 HP Thrust plate | 1.00 | Job |  | 6147.00 | 6147.00 | 4999.00 | 4999.00 | 6000.00 | 6000.00 | 4604.00 | 4604.00 | 4604.00 | ABHISHEK INTEGRATIONS LIMITED
121.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Below 2HP Bearing | 2.00 | Job |  | 2235.00 | 4470.00 | 3499.00 | 6998.00 | 1200.00 | 2400.00 | 1441.00 | 2882.00 | 2400.00 | STERLING AND WILSON PRIVATE LIMITED
122.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Below 2HP Bushes | 2.00 | Job |  | 3353.00 | 6706.00 | 3999.00 | 7998.00 | 2000.00 | 4000.00 | 1032.00 | 2064.00 | 2064.00 | ABHISHEK INTEGRATIONS LIMITED
123.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Below 2HP Shaft sleeve | 2.00 | Job |  | 2794.00 | 5588.00 | 3499.00 | 6998.00 | 1200.00 | 2400.00 | 1353.00 | 2706.00 | 2400.00 | STERLING AND WILSON PRIVATE LIMITED
124.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Bearing | 2.00 | Job |  | 3122.00 | 6244.00 | 2599.00 | 5198.00 | 1200.00 | 2400.00 | 1136.00 | 2272.00 | 2272.00 | ABHISHEK INTEGRATIONS LIMITED
125.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Bushes | 2.00 | Job |  | 3326.00 | 6652.00 | 2499.00 | 4998.00 | 2600.00 | 5200.00 | 1605.00 | 3210.00 | 3210.00 | ABHISHEK INTEGRATIONS LIMITED
126.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 2 HP and up to 5 HP Shaft sleeve | 2.00 | Job |  | 2851.00 | 5702.00 | 2999.00 | 5998.00 | 2600.00 | 5200.00 | 1703.00 | 3406.00 | 3406.00 | ABHISHEK INTEGRATIONS LIMITED
127.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 5 HP and up to 10 HP Bearing | 3.00 | Job |  | 4580.00 | 13740.00 | 2999.00 | 8997.00 | 3600.00 | 10800.00 | 2483.00 | 7449.00 | 7449.00 | ABHISHEK INTEGRATIONS LIMITED
128.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 5 HP and up to 10 HP Bushes | 3.00 | Job |  | 4276.00 | 12828.00 | 2999.00 | 8997.00 | 5000.00 | 15000.00 | 2168.00 | 6504.00 | 6504.00 | ABHISHEK INTEGRATIONS LIMITED
129.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 5 HP and up to 10 HP Shaft sleeve | 3.00 | Job |  | 4276.00 | 12828.00 | 3499.00 | 10497.00 | 2800.00 | 8400.00 | 2298.00 | 6894.00 | 6894.00 | ABHISHEK INTEGRATIONS LIMITED
130.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP Bearing | 2.00 | Job |  | 6147.00 | 12294.00 | 4499.00 | 8998.00 | 4000.00 | 8000.00 | 1949.00 | 3898.00 | 3898.00 | ABHISHEK INTEGRATIONS LIMITED
131.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP Bushes | 2.00 | Job |  | 5588.00 | 11176.00 | 4499.00 | 8998.00 | 1200.00 | 2400.00 | 3780.00 | 7560.00 | 2400.00 | STERLING AND WILSON PRIVATE LIMITED
132.00 | Servicing of the following capacity Monoblock Pump Motor including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Above 10 HP Shaft sleeve | 2.00 | Job |  | 5588.00 | 11176.00 | 3499.00 | 6998.00 | 10000.00 | 20000.00 | 2074.00 | 4148.00 | 4148.00 | ABHISHEK INTEGRATIONS LIMITED
133.00 | Repairing of Soft starter (Make: L&T, Model : EMX3-0145B-V4-C1-H) used for fire fighting main electric pump, including repair/ replacement of any components like SCR, control card, display etc. including testing and commissioning of the same. The cost shall include to and fro transport of the soft starter to the service location of the specialized agency/L&T authorized centre as the case may be. | 1.00 | Job |  | 24948.00 | 24948.00 | 29999.00 | 29999.00 | 22000.00 | 22000.00 | 5837.00 | 5837.00 | 5837.00 | ABHISHEK INTEGRATIONS LIMITED
134.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 600mm. Sweep air circulators | 10.00 | Job |  | 1336.00 | 13360.00 | 2499.00 | 24990.00 | 3000.00 | 30000.00 | 594.00 | 5940.00 | 5940.00 | ABHISHEK INTEGRATIONS LIMITED
135.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 450mm. Sweep air circulators | 10.00 | Job |  | 984.00 | 9840.00 | 2249.00 | 22490.00 | 2000.00 | 20000.00 | 540.00 | 5400.00 | 5400.00 | ABHISHEK INTEGRATIONS LIMITED
136.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 300/380mm. Sweep Exhaust fan 900rpm heavy duty | 5.00 | Job |  | 984.00 | 4920.00 | 3499.00 | 17495.00 | 2000.00 | 10000.00 | 486.00 | 2430.00 | 2430.00 | ABHISHEK INTEGRATIONS LIMITED
137.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 300mm. Sweep Exhaust fan 1400 rpm light duty | 5.00 | Job |  | 984.00 | 4920.00 | 3499.00 | 17495.00 | 1500.00 | 7500.00 | 486.00 | 2430.00 | 2430.00 | ABHISHEK INTEGRATIONS LIMITED
138.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 1200mm. Sweep ceiling fan | 10.00 | Job |  | 795.00 | 7950.00 | 1499.00 | 14990.00 | 1200.00 | 12000.00 | 486.00 | 4860.00 | 4860.00 | ABHISHEK INTEGRATIONS LIMITED
139.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 400 mm. sweep wall mounting fan | 5.00 | Job |  | 738.00 | 3690.00 | 1499.00 | 7495.00 | 1800.00 | 9000.00 | 486.00 | 2430.00 | 2430.00 | ABHISHEK INTEGRATIONS LIMITED
140.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc. and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 400 mm. sweep pedestal fan | 5.00 | Job |  | 738.00 | 3690.00 | 1799.00 | 8995.00 | 1500.00 | 7500.00 | 486.00 | 2430.00 | 2430.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 30778786.00 |  | 44158287.00 |  | 28526169.00 |  | 28645651.00
Lowest Amount Quoted BY: STERLING AND WILSON PRIVATE LIMITED(28526169.00)

## BOQ Summary
BOQ Summary Details Tender Title: Facility Management of E and M Installations of Terminal Buildings Technical Block Residential Colony Car Park Street Lights Water Supply Fire Fighting etc of Calicut International Airport during 2024_26 Tender ID: 2024_AAI_196993_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | STERLING AND WILSON PRIVATE LIMITED | 28526169.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 28645651.00 | L2
| 3 | Blue Star Limited | 30778786.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 44158287.00 | L4