## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 05-Jul-2024 02:56 PM Tender Title: Comprehensive Maintenance Contract for Fire Alarm and Gas Suppression System at Calicut International Airport during 2024-26 Tender ID: 2024_AAI_197174_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Comprehensive Maintenance Contract for Fire Alarm and Gas Suppression System at Calicut International Airport during 2024-26
Contract No: <2024_AAI_197174_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -712098 |  | Reimer Technologies.com(GSTN-NA)--707289
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive maintenance of Fire Alarm System at the following area detailed in the inventory list consisting of Fire Loop, Addressable Fire Alarm Panel, Fire Alarm Repeater Panel, Photo Electric Smoke Detectors, Multi detectors, Heat detectors, Beam Detector, Manual Call Point, Response Indicator, Fault Isolator, Hooter / Sounder, Control Relay Module, Monitor Module etc. as complete, by monthly servicing and attending breakdown repairs including replacement of defective component/devices, Corrections, re-installation, repair, replacement, modification, programming of PC if any, device configuration and ID assigning, firmware configuration, Panel including batteries, Auto dialler etc. complete as and when required, through specialist agency/ OEM/ manufacturer whenever required, also deploying one no. semi skiled manpower in one shift at all days including Sundays and holidays etc. ( Service for one month = 1 JOB) ( Except the supply of all types of detectors, all other components and devices are included in the scope of item) i) New International Arrival Building | 24.00 | JOB |  | 90000.00 | 2160000.00 | 81824.00 | 1963776.00 | 1963776.00 | Reimer Technologies.com
2.00 | Comprehensive maintenance of Fire Alarm System at the following area detailed in the inventory list consisting of Fire Loop, Addressable Fire Alarm Panel, Fire Alarm Repeater Panel, Photo Electric Smoke Detectors, Multi detectors, Heat detectors, Beam Detector, Manual Call Point, Response Indicator, Fault Isolator, Hooter / Sounder, Control Relay Module, Monitor Module etc. as complete, by monthly servicing and attending breakdown repairs including replacement of defective component/devices, Corrections, re-installation, repair, replacement, modification, programming of PC, device configuration and ID assigning, firmware configuration, Panel including batteries, Auto dialler etc. complete as and when required, through specialist agency/ OEM/ manufacturer whenever required, also deploying one no. semi skiled manpower in one shift at all days including Sundays and holidays etc. . The scope shall also include Comprehensive all inclusive (Hardware and OS) maintenance of computer system , installed with fire alarm detection and warning system including all connected devices such as CPU, keyboard, mouse, monitor, printer, UPS etc. ( Service for one month = 1 JOB) ( Except the supply of all types of detectors, all other components and devices are included in the scope of item) i) Departure Building and Domestic Arrival Hall | 24.00 | JOB |  | 90000.00 | 2160000.00 | 81824.00 | 1963776.00 | 1963776.00 | Reimer Technologies.com
3.00 | Comprehensive maintenance of Fire Alarm System at following area as detailed in the inventory list consisting of Fire Loop, Addressable and Conventional Fire Alarm Panel, Gas Release Panel, Photo Electric Smoke Detectors, Multi detectors, Heat detectors, Beam Detector, Manual Call Point, Response Indicator, Fault Isolator, Hooter / Sounder, Control Relay Module, Monitor Module etc. as complete, by monthly servicing and attending breakdown repairs including replacement of defective component/devices, Corrections, re-installation, repair, replacement, modification, programming of fire alarm component, fire alarm panel, device configuration and ID assigning, firmware configuration, Panel including batteries, Auto dialler etc. complete as and when required, through specialist agency/ OEM/ manufacturer whenever required, in addition to deploying one no. semi skiled manpower in one shift at all days including Sundays and holidays etc. ( Service for one month = 1 JOB) ( Except the supply of all types of detectors, all other components and devices are included in the scope of item) i) All NAVAIDs (Glide Path 10 & 28, Localizer 10 &28, DVOR and Technical Block | 24.00 | JOB |  | 50000.00 | 1200000.00 | 81824.00 | 1963776.00 | 1200000.00 | CENTRE TAP ENGINEERING
4.00 | Rectification of fire alarm system at DTB, ITB and Domestic Arrival of Calicut airport by checking all individual smoke/heat detectors/MCP/Beam detectors replacing the faulty ones, including making interconnections of the cable to the detectors, making all field devices of the fire alarm system serviceable in all respect, programming the fire alarm panel by including all devices which are not reflected in the panel, configuring the management software to show all new devices programmed, rectifying the GUI etc. to make the fire alarm system 100% serviceable and intact in all respect, complete to the satisfaction of the Engineer In Charge. The detectors/MCP/beam detectors/ cable for interconnection of detectors will be provided by AAI. | 1.00 | JOB |  | 50000.00 | 50000.00 | 1000000.00 | 1000000.00 | 50000.00 | CENTRE TAP ENGINEERING
5.00 | Supply of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). The item shall be suitable for integration to Edwards EST fire alarm control panel. | 25.00 | EACH |  | 3000.00 | 75000.00 | 3000.00 | 75000.00 | 75000.00 | Reimer Technologies.com, CENTRE TAP ENGINEERING
6.00 | Supply of ceiling mounted addressable, intelligent type rate of rise cum fixed temp type heat detectors/fixed temp. heat detector including all accessories and parts necessary for completing the installation as per specifications and reprogramming the existing fire control panel ( Honeywell Notifier) to incorporate the newly added detectors to the loop and panel, as required( Make as per approved make, compatible with existing fire alarm panel) | 25.00 | EACH |  | 3000.00 | 75000.00 | 3000.00 | 75000.00 | 75000.00 | Reimer Technologies.com, CENTRE TAP ENGINEERING
7.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). The item shall be suitable for integration to Edwards EST fire alarm control panel. | 25.00 | EACH |  | 3500.00 | 87500.00 | 3000.00 | 75000.00 | 75000.00 | Reimer Technologies.com
8.00 | Supply, installation, testing and commissioning of ceiling mounted addressable, intelligent type rate of rise cum fixed temp type heat detectors/fixed temp. heat detector including all accessories and parts necessary for completing the installation as per specifications and reprogramming the existing fire control panel ( Honeywell Notifier) to incorporate the newly added detectors to the loop and panel, as required( Make : Model as per approved make, compatible with existing fire alarm panel) | 25.00 | EACH |  | 3000.00 | 75000.00 | 3000.00 | 75000.00 | 75000.00 | Reimer Technologies.com, CENTRE TAP ENGINEERING
9.00 | Supply and laying of 2 x 1.5 sq.mm. FRLS armoured cable, 600 / 1000V rated with annealed copper conductor, as per applicable IS standards, on surface / recess/ on channel/ cable tray/above false ceiling. | 250.00 | METER |  | 150.00 | 37500.00 | 120.00 | 30000.00 | 30000.00 | Reimer Technologies.com
10.00 | Supplying, installation, testing & commissioning response indicator on surface/recess MS box having two LEDs metallic cover ( Make and model as per approved make, compatible with the existing fire alarm panel) complete with all connections etc. as required. | 20.00 | EACH |  | 300.00 | 6000.00 | 100.00 | 2000.00 | 2000.00 | Reimer Technologies.com
11.00 | Supplying, installation, testing & commissioning of addressable fire control module including all accessories and parts necessary for completing the installation as per specifications and reprogramming the existing fire control panel (Honey well Notifier) as required ( Make and model as per approved make, compatible with the existing fire alarm panel) complete as required. | 5.00 | EACH |  | 3000.00 | 15000.00 | 3900.00 | 19500.00 | 15000.00 | CENTRE TAP ENGINEERING
12.00 | Supplying, installation, testing & commissioning of addressable manual call point completing the installation as per specifications and suitable for reprogramming the existing fire control panel (Honey well Notifier or EST fire alarm panel) as required ( Make as per approved make, and model compatible with the existing fire alarm panel) complete as required. | 5.00 | EACH |  | 5000.00 | 25000.00 | 3900.00 | 19500.00 | 19500.00 | Reimer Technologies.com
13.00 | Supply, installation, testing and commissioning of manual call point as per specifications and suitable for reprogramming the existing conventional fire control panel as required ( Make as per approved make, and model compatible with the existing fire alarm panel) complete as required | 5.00 | EACH |  | 1000.00 | 5000.00 | 1200.00 | 6000.00 | 5000.00 | CENTRE TAP ENGINEERING
14.00 | Supply, installation, testing and commissioning of detector with sounder base and control module for completing the installation as per specifications and suitable for reprogramming with the existing EST fire alarm panel as required ( Make as per approved make, and model compatible with the existing fire alarm panel) complete as required. | 10.00 | EACH |  | 10000.00 | 100000.00 | 7500.00 | 75000.00 | 75000.00 | Reimer Technologies.com
15.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 37kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 111000.00 | 111000.00 | 85100.00 | 85100.00 | 85100.00 | Reimer Technologies.com
16.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 29kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 87000.00 | 87000.00 | 66700.00 | 66700.00 | 66700.00 | Reimer Technologies.com
17.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 27kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 1.00 | JOB |  | 81000.00 | 81000.00 | 62100.00 | 62100.00 | 62100.00 | Reimer Technologies.com
18.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius, including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 23kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 2.00 | JOB |  | 69000.00 | 138000.00 | 52900.00 | 105800.00 | 105800.00 | Reimer Technologies.com
19.00 | Filling of NOVEC™1230, HFC gas or any FK-5-1-12 agent in the existing seamless storage cylinder of 34 Litre capacity complete as required as per quantity given below, including filling up to nitrogen gas to maintain the cylinder system pressure of 25bar @ 21deg Celsius including transportation of the cylinder and bringing back to Calicut Intl, Airport as required. (Refilling Certificate from factory to be submitted). 17kg NOVEC™1230, HFC gas or any FK-5-1-12 agent | 2.00 | JOB |  | 51000.00 | 102000.00 | 39100.00 | 78200.00 | 78200.00 | Reimer Technologies.com
20.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 32 mm dia MS 'C ' Class Pipe | 100.00 | EACH |  | 1000.00 | 100000.00 | 900.00 | 90000.00 | 90000.00 | Reimer Technologies.com
21.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 1239 including welding, fittings like elbows, tees, flanges, tapers, nuts, bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required complete in all respects as required by the standard specifications. (For sprinkler system) 25 mm dia MS 'C ' Class Pipe | 100.00 | EACH |  | 800.00 | 80000.00 | 700.00 | 70000.00 | 70000.00 | Reimer Technologies.com
22.00 | Providing, fixing, testing & commissioning of 15mm size quartzoid bulb type sprinklers, of rating 68 degree C. pendent with required accessories etc. complete in all respects as required by the standard specifications. | 20.00 | EACH |  | 500.00 | 10000.00 | 2200.00 | 44000.00 | 10000.00 | CENTRE TAP ENGINEERING
23.00 | Providing, fixing, testing & commissioning of 15mm size quartzoid SIDE WALL sprinklers, of rating 68 degree C. pendent with required accessories etc. complete in all respects as required by the standard specifications. | 20.00 | EACH |  | 500.00 | 10000.00 | 2200.00 | 44000.00 | 10000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 6790000.00 |  | 7989228.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(6790000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract for Fire Alarm and Gas Suppression System at Calicut International Airport during 2024-26 Tender ID: 2024_AAI_197174_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 6790000.00 | L1
| 2 | Reimer Technologies.com | 7989228.00 | L2