## BoQ1
Government eProcurement System Created By: PALLIPPATTU RAVI HARI Created Date/Time: 04-Jul-2024 11:39 AM Tender Title: Provision of Odour control Unit including ancillary works for the 400 KLD STP at Calicut Airport Tender ID: 2024_AAI_197266_1
Tender Inviting Authority: Asst. General Manager Engg(Elect),Calicut Airport
Name of Work : Provision of Odour Control Unit including all ancilliary works for the 400 KLD STP at Calicut Airport
Contract No: <2024_AAI_197266_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M P ENGINEERS AND CONSULTANTS(GSTN-NA)--713696 |  | THERMOCHEM CORPORATION PVT LTD(GSTN-NA)--712133 |  | NEXTENG ENVIRO PVT. LTD.(GSTN-NA)--713047
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design,Supply, Installation, Testing and Commissioning of Odour Control unit of minimum capacity 1200m3/hr including following as required. a.Prefilter b.Suitable Centrifugal fan c.Special Regen Carbon Media d.OCU Vessel e.Control Panel f. H2S Monitoring Unit g. Any other accessories / components required for the Odour control system The agency shall visit the site and design the actual capacity requirements for all the existing tanks and no claim on additional requirements during execution will be accepted. The cost for any additional works involved shall be considered while quoting the item. | 1.00 | Job |  | 1716848.00 | 1716848.00 | 2010750.00 | 2010750.00 | 2355000.00 | 2355000.00 | 1716848.00 | M P ENGINEERS AND CONSULTANTS
2.00 | Design,Fabrication, Installation, testing and commissioning of Tank coverings and plumbing of tanks equlization tank, Grit chamber & Oil trap tank including necessary openings for day to day maintenance. Suitable lifting mechanism for the Grit chamber basket also need to be made available at site. The Details of fabrication as follows. a.Fabrication work with MS FRP coated Frames for supporting approximate 450 Sqft of FRP sheet. b.FRP sheets 6 mm solid checkered plate to cover 450 Sqft area. c.Trap doors as per site requirement for maintenance activity d.4 inch UPVC Pipes with proper supports supports for Air extraction from the mentioned tanks to OCU. e.Suitable Civil Foundation works for the blower units and other equipment. (3m x2.7mx 0.2m) f.Lifting Mechanism for the Grit Chamber basket. | 1.00 | Job |  | 842010.00 | 842010.00 | 839368.00 | 839368.00 | 765000.00 | 765000.00 | 765000.00 | NEXTENG ENVIRO PVT. LTD.
| Total in Figures |  |  |  |  | 2558858.00 |  | 2850118.00 |  | 3120000.00
Lowest Amount Quoted BY: M P ENGINEERS AND CONSULTANTS(2558858.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Odour control Unit including ancillary works for the 400 KLD STP at Calicut Airport Tender ID: 2024_AAI_197266_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M P ENGINEERS AND CONSULTANTS | 2558858.00 | L1
| 2 | THERMOCHEM CORPORATION PVT LTD | 2850118.00 | L2
| 3 | NEXTENG ENVIRO PVT. LTD. | 3120000.00 | L3