## BoQ1
Government eProcurement System Created By: Arun Kumar Majhi Created Date/Time: 08-Jul-2024 04:45 PM Tender Title: Works contract including operation and maintenance of E and M Installation related to ATS Complex, NSCBI Airport, Kolkata (2024 - 2025) Tender ID: 2024_AAI_197356_1
Tender Inviting Authority: <AIRPORTS AUTHORITY OF INDIA>
Name of Work: <Works contract including operation and maintenance of E&M Installation related to ATS Complex, NSCBI Airport, Kolkata. (2024 - 2025)>
Contract No: <2024_AAI_197356_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING (GSTN-18AGUPD0421A2ZX) BID ID -707592 |  | Voltas Limited (GSTN-19AAACV2809D1ZJ) BID ID -712891 |  | M/s CGPL ELECTROMECH PVT LTD (GSTN-07AAGCC8228F1ZO) BID ID -713097 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -713247 |  | Youngmen Traders (GSTN-19AEIPB6323B1ZZ) BID ID -713859 |  | SHREE GOURI ELECTRIC ENTERPRISE (GSTN-19ADDPB4683J1ZE) BID ID -713875 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--713819
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Round the clock Operation and maintenance of E&M installations i.e. LT panels, Fire Alarm System, power cables, pumps, ACs etc including breakdown maintenace, and ensure serviceability/ satisfactory working condition and maintaining all records as per PMI schedule as per the special conditions of contract and particular specifications, as per instruction of EIC. | 12.00 | Months |  | 837442.00 | 10049304.00 | 769511.82 | 9234141.84 | 762700.00 | 9152400.00 | 880000.00 | 10560000.00 | 825000.00 | 9900000.00 | 1021886.00 | 12262632.00 | 878894.00 | 10546728.00 | 9152400.00 | M/s CGPL ELECTROMECH PVT LTD
2.00 | Lifting and lowering of submerssible pump up to 10 HP from borewell by providing required arrangements including jointing of submerssible cable by providing new joint kit for submerssible cable etc complete as required as per site requirement | 2.00 | Job |  | 5000.00 | 10000.00 | 500.00 | 1000.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 2500.00 | 5000.00 | 18000.00 | 36000.00 | 1000.00 | Voltas Limited
3.00 | Supply of copper refrigerant pipe of size 1/4" with neoprene insulation for 1.5 TR /2.0 TR split AC units. | 80.00 | Mtr. |  | 100.00 | 8000.00 | 170.00 | 13600.00 | 450.00 | 36000.00 | 850.00 | 68000.00 | 1200.00 | 96000.00 | 100.00 | 8000.00 | 300.00 | 24000.00 | 8000.00 | EASTERN POWER ENGINEERING, SHREE GOURI ELECTRIC ENTERPRISE
4.00 | Supply of copper refrigerant pipe of size 5/8" with neoprene insulation for 1.5 TR /2.0 TR split AC units. | 80.00 | Mtr. |  | 300.00 | 24000.00 | 298.00 | 23840.00 | 500.00 | 40000.00 | 950.00 | 76000.00 | 1200.00 | 96000.00 | 250.00 | 20000.00 | 350.00 | 28000.00 | 20000.00 | SHREE GOURI ELECTRIC ENTERPRISE
5.00 | Supply of 25 mm flexible braided PVC pipe for drainage of condensate from indoor units to the nearest drain-port as per site requirement. | 80.00 | Mtr. |  | 20.00 | 1600.00 | 29.00 | 2320.00 | 95.00 | 7600.00 | 100.00 | 8000.00 | 175.00 | 14000.00 | 50.00 | 4000.00 | 100.00 | 8000.00 | 1600.00 | EASTERN POWER ENGINEERING
6.00 | Supply of Compressor used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 4.00 | Nos. |  | 6000.00 | 24000.00 | 8000.00 | 32000.00 | 5000.00 | 20000.00 | 10500.00 | 42000.00 | 15000.00 | 60000.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 16000.00 | SHREE GOURI ELECTRIC ENTERPRISE
7.00 | Supply of Condenser used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 4.00 | Nos. |  | 2800.00 | 11200.00 | 4800.00 | 19200.00 | 5000.00 | 20000.00 | 4500.00 | 18000.00 | 1650.00 | 6600.00 | 200.00 | 800.00 | 7000.00 | 28000.00 | 800.00 | SHREE GOURI ELECTRIC ENTERPRISE
8.00 | Supply of Evaporator used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 4.00 | Nos. |  | 3000.00 | 12000.00 | 8000.00 | 32000.00 | 3500.00 | 14000.00 | 4500.00 | 18000.00 | 2200.00 | 8800.00 | 4000.00 | 16000.00 | 7000.00 | 28000.00 | 8800.00 | Youngmen Traders
9.00 | Supply of Fan Blade of Indoor Unit used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 5.00 | Nos. |  | 1200.00 | 6000.00 | 500.00 | 2500.00 | 300.00 | 1500.00 | 1500.00 | 7500.00 | 800.00 | 4000.00 | 900.00 | 4500.00 | 3000.00 | 15000.00 | 1500.00 | M/s CGPL ELECTROMECH PVT LTD
10.00 | Supply of Fan Blade used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Nos. |  | 800.00 | 6400.00 | 500.00 | 4000.00 | 300.00 | 2400.00 | 1500.00 | 12000.00 | 1200.00 | 9600.00 | 900.00 | 7200.00 | 3000.00 | 24000.00 | 2400.00 | M/s CGPL ELECTROMECH PVT LTD
11.00 | Supply of Fan Motor used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Nos. |  | 2500.00 | 20000.00 | 1100.00 | 8800.00 | 1850.00 | 14800.00 | 3500.00 | 28000.00 | 3500.00 | 28000.00 | 1000.00 | 8000.00 | 3500.00 | 28000.00 | 8000.00 | SHREE GOURI ELECTRIC ENTERPRISE
12.00 | Supply of Fan Motor used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Nos. |  | 3000.00 | 24000.00 | 1200.00 | 9600.00 | 1850.00 | 14800.00 | 3500.00 | 28000.00 | 4000.00 | 32000.00 | 2250.00 | 18000.00 | 3500.00 | 28000.00 | 9600.00 | Voltas Limited
13.00 | Supply of PCB used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Nos. |  | 4000.00 | 32000.00 | 2300.00 | 18400.00 | 2500.00 | 20000.00 | 12000.00 | 96000.00 | 3600.00 | 28800.00 | 1500.00 | 12000.00 | 7000.00 | 56000.00 | 12000.00 | SHREE GOURI ELECTRIC ENTERPRISE
14.00 | Supply of Capacitor used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 20.00 | Nos. |  | 200.00 | 4000.00 | 180.00 | 3600.00 | 300.00 | 6000.00 | 950.00 | 19000.00 | 1800.00 | 36000.00 | 125.00 | 2500.00 | 500.00 | 10000.00 | 2500.00 | SHREE GOURI ELECTRIC ENTERPRISE
15.00 | Supply of Relay/Contractor used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 16.00 | Nos. |  | 260.00 | 4160.00 | 300.00 | 4800.00 | 400.00 | 6400.00 | 1850.00 | 29600.00 | 7500.00 | 120000.00 | 2000.00 | 32000.00 | 500.00 | 8000.00 | 4160.00 | EASTERN POWER ENGINEERING
16.00 | Repairing of PCB used for split type AC upto 2.0 TR as per sample for upto 2 TR upto 2 TR. | 10.00 | Job |  | 300.00 | 3000.00 | 150.00 | 1500.00 | 600.00 | 6000.00 | 13500.00 | 135000.00 | 3600.00 | 36000.00 | 500.00 | 5000.00 | 5000.00 | 50000.00 | 1500.00 | Voltas Limited
17.00 | Repairing of Fan Motor of Indoor Unit used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Job |  | 700.00 | 5600.00 | 900.00 | 7200.00 | 500.00 | 4000.00 | 3500.00 | 28000.00 | 3500.00 | 28000.00 | 350.00 | 2800.00 | 1500.00 | 12000.00 | 2800.00 | SHREE GOURI ELECTRIC ENTERPRISE
18.00 | Repairing of Fan Motor of Outdoor Unit used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Job |  | 1000.00 | 8000.00 | 1050.00 | 8400.00 | 700.00 | 5600.00 | 3500.00 | 28000.00 | 4000.00 | 32000.00 | 400.00 | 3200.00 | 1500.00 | 12000.00 | 3200.00 | SHREE GOURI ELECTRIC ENTERPRISE
19.00 | Repairing of Condenser used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Job |  | 1500.00 | 12000.00 | 200.00 | 1600.00 | 200.00 | 1600.00 | 2500.00 | 20000.00 | 1800.00 | 14400.00 | 500.00 | 4000.00 | 1500.00 | 12000.00 | 1600.00 | Voltas Limited, M/s CGPL ELECTROMECH PVT LTD
20.00 | Repairing of Evaporator used for split type AC upto 2.0 TR as per sample for upto 2 TR. | 8.00 | Job |  | 1200.00 | 9600.00 | 200.00 | 1600.00 | 500.00 | 4000.00 | 5000.00 | 40000.00 | 2200.00 | 17600.00 | 500.00 | 4000.00 | 1500.00 | 12000.00 | 1600.00 | Voltas Limited
21.00 | Scrubing, rubbing, cleaning & spray painting of LT Panels, metal frame, metal boxes, metal surface in different shape and in different location with 02 coat of synthetic enamel paint as per site requirement. | 200.00 | Sq.m |  | 300.00 | 60000.00 | 150.00 | 30000.00 | 120.00 | 24000.00 | 160.00 | 32000.00 | 375.00 | 75000.00 | 75.00 | 15000.00 | 350.00 | 70000.00 | 15000.00 | SHREE GOURI ELECTRIC ENTERPRISE
22.00 | Lettering with synthetic enamel paint as per the instructions of Engineer in Charge. | 1000.00 | Per letter per cm |  | 1.00 | 1000.00 | 2.00 | 2000.00 | 35.00 | 35000.00 | 25.00 | 25000.00 | 8.00 | 8000.00 | 2.00 | 2000.00 | 25.00 | 25000.00 | 1000.00 | EASTERN POWER ENGINEERING
23.00 | Supply of RED/YELLOW/BLUE/GREEN LED Indicator Lamp set for LT Panels of size inner Diameter 22.5 mm suitable to operate from 230V AC, 50Hz supply. | 20.00 | Set |  | 30.00 | 600.00 | 150.00 | 3000.00 | 120.00 | 2400.00 | 400.00 | 8000.00 | 175.00 | 3500.00 | 250.00 | 5000.00 | 450.00 | 9000.00 | 600.00 | EASTERN POWER ENGINEERING
24.00 | Overhauling and servicing of LT ACB's of various makes up to 1600 Amp as per OEM's recommendations | 8.00 | Job |  | 4000.00 | 32000.00 | 3500.00 | 28000.00 | 2500.00 | 20000.00 | 9850.00 | 78800.00 | 8500.00 | 68000.00 | 2500.00 | 20000.00 | 3000.00 | 24000.00 | 20000.00 | M/s CGPL ELECTROMECH PVT LTD, SHREE GOURI ELECTRIC ENTERPRISE
25.00 | Overhauling and servicing of ATS upto 1000 Amp as per OEM's recommendations | 1.00 | Job |  | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2500.00 | 2500.00 | 9876.00 | 9876.00 | 15000.00 | 15000.00 | 5000.00 | 5000.00 | 35000.00 | 35000.00 | 2500.00 | M/s CGPL ELECTROMECH PVT LTD
26.00 | Cleaning the surface (both sides) of MS chequered plates available at different sub-stations and painting with two coats of synthetic enamel black paint etc. as directed by Engineer in charge, | 50.00 | Sqm |  | 150.00 | 7500.00 | 160.00 | 8000.00 | 175.00 | 8750.00 | 160.00 | 8000.00 | 265.00 | 13250.00 | 25.00 | 1250.00 | 350.00 | 17500.00 | 1250.00 | SHREE GOURI ELECTRIC ENTERPRISE
27.00 | Supply and Fixing of FRP covers of suitable size of 10 mm thickness on existing opening of different earth pit/Manhole covers at various locations of substation as per instruction of E-I-C | 10.00 | sqm |  | 500.00 | 5000.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 955.00 | 9550.00 | 300.00 | 3000.00 | 750.00 | 7500.00 | 1500.00 | 15000.00 | 3000.00 | Youngmen Traders
28.00 | Supply and fixing of 6 mm thick chequered plates i/c. welding, painting etc. as required and as per direction of Engineer-in-Charge. | 20.00 | sqm |  | 500.00 | 10000.00 | 2950.00 | 59000.00 | 2100.00 | 42000.00 | 986.00 | 19720.00 | 4500.00 | 90000.00 | 3500.00 | 70000.00 | 1500.00 | 30000.00 | 10000.00 | EASTERN POWER ENGINEERING
29.00 | Supply and fixing of MS channel of size 75 x 40 mm (ISMC 75) of suitable lengths i/c grouting on the roof/wall, welding, painting etc. as required and as per direction of Engineer-in-Charge. | 10.00 | Mtr. |  | 650.00 | 6500.00 | 105.00 | 1050.00 | 570.00 | 5700.00 | 650.00 | 6500.00 | 800.00 | 8000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 1050.00 | Voltas Limited
30.00 | Supply and fixing of MS angle of size 50x50x6 mm i/c grouting on the roof/wall, welding, painting etc. as required and as per direction of Engineer-in-Charge. | 20.00 | Mtr. |  | 490.00 | 9800.00 | 340.00 | 6800.00 | 335.00 | 6700.00 | 450.00 | 9000.00 | 375.00 | 7500.00 | 375.00 | 7500.00 | 500.00 | 10000.00 | 6700.00 | M/s CGPL ELECTROMECH PVT LTD
31.00 | Repairing of damaged earth pits i/c massonary works, replacement of MS cover plate, funnel, terminal etc as required as per direction of engineer-in -charge | 6.00 | Job |  | 2000.00 | 12000.00 | 1050.00 | 6300.00 | 500.00 | 3000.00 | 3899.00 | 23394.00 | 800.00 | 4800.00 | 750.00 | 4500.00 | 3000.00 | 18000.00 | 3000.00 | M/s CGPL ELECTROMECH PVT LTD
32.00 | Annual Comprehensive Maintenance contract for Aquaguard multifunction Hot & Cold type water cooler cum purifier. Model No.:- Hot & Cold RO UV Water Purifier | 12.00 | months |  | 4000.00 | 48000.00 | 1850.00 | 22200.00 | 700.00 | 8400.00 | 10655.00 | 127860.00 | 15000.00 | 180000.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 8400.00 | M/s CGPL ELECTROMECH PVT LTD
33.00 | Annual Comprehensive Maintenance contract for Aquaguard storage cooler cum purifier. Model No.:- Aquaguard Enhance RO water Purifier | 12.00 | months |  | 4000.00 | 48000.00 | 350.00 | 4200.00 | 700.00 | 8400.00 | 11190.00 | 134280.00 | 6200.00 | 74400.00 | 500.00 | 6000.00 | 5000.00 | 60000.00 | 4200.00 | Voltas Limited
34.00 | Annual Comprehensive maintenance contract of Aquaguard Green Pure Chill 80 SS RO+UV (or Equvalent) water cooler at various Operational Units & offices at NSCBI Airport, Kolkata including providing and repairing / replacing of faulty component, consumable spares and compressors etc as required. Model No.:- AG. GR. PURE CHILL 80 SS-RO+UV | 12.00 | months |  | 4000.00 | 48000.00 | 4000.00 | 48000.00 | 500.00 | 6000.00 | 11265.00 | 135180.00 | 21000.00 | 252000.00 | 500.00 | 6000.00 | 5000.00 | 60000.00 | 6000.00 | M/s CGPL ELECTROMECH PVT LTD, SHREE GOURI ELECTRIC ENTERPRISE
35.00 | Water testing (input raw water and purified water = 1 job) from NABL approved lab. | 10.00 | Job |  | 500.00 | 5000.00 | 1350.00 | 13500.00 | 500.00 | 5000.00 | 2500.00 | 25000.00 | 2200.00 | 22000.00 | 500.00 | 5000.00 | 3600.00 | 36000.00 | 5000.00 | EASTERN POWER ENGINEERING, M/s CGPL ELECTROMECH PVT LTD, SHREE GOURI ELECTRIC ENTERPRISE
36.00 | DSR item ( Rate will be considered % above / below of or equal to 100% of DSR 2022 E&M rate). NOTE:- a) The execution of Delhi Schedule of Rates (E&M) 2022 Items as when required basis. b) Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR/DAR-2022. Example for quoting the rate:- (i)Agency Quoting ₹5,40,000‬.00 in the Rate stands for 10% below the Estimate amounting of ₹6,00,000.00 net amount will be ₹5,40,000‬.00 and payement will be made 10% below on DSR 2022 rate against items. (ii)Agency Quoting ₹6,60,000‬‬.00 in the Rate stands for 10% above the Estimate amounting of ₹6,00,000.00 net amount will be ₹6,00,000‬‬.00 and payement will be made 10% above on DSR 2022 rate against items. (iii) Agency Quoting ₹6,00,000‬‬.00 in the Rate stands same as Estimate amounting of ₹6,00,000‬‬.00 net amount will be ₹6,00,000‬‬.00 and payement will be made same as above on DSR 2022 rate against items. | 1.00 | Job |  | 400000.00 | 400000.00 | 420000.00 | 420000.00 | 450000.00 | 450000.00 | 540000.00 | 540000.00 | 540000.00 | 540000.00 | 312000.00 | 312000.00 | 510000.00 | 510000.00 | 312000.00 | SHREE GOURI ELECTRIC ENTERPRISE
| Total in Figures |  |  |  |  | 10971264.00 |  | 10095151.84 |  | 10028950.00 |  | 12457260.00 |  | 11952250.00 |  | 12931382.00 |  | 11990228.00
Lowest Amount Quoted BY: M/s CGPL ELECTROMECH PVT LTD(10028950.00)

## BOQ Summary
BOQ Summary Details Tender Title: Works contract including operation and maintenance of E and M Installation related to ATS Complex, NSCBI Airport, Kolkata (2024 - 2025) Tender ID: 2024_AAI_197356_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s CGPL ELECTROMECH PVT LTD | 10028950.00 | L1
| 2 | Voltas Limited | 10095151.84 | L2
| 3 | EASTERN POWER ENGINEERING | 10971264.00 | L3
| 4 | Youngmen Traders | 11952250.00 | L4
| 5 | ABHISHEK INTEGRATIONS LIMITED | 11990228.00 | L5
| 6 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 12457260.00 | L6
| 7 | SHREE GOURI ELECTRIC ENTERPRISE | 12931382.00 | L7