## BoQ1
Government eProcurement System Created By: Rajesh Wani Created Date/Time: 25-Jun-2024 04:34 PM Tender Title: Reconfiguration of Terminal Building at Aurangabad Airport. SH Provision of Partitions, Concessionaires cabins and other allied works at Aurangabad Airport Tender ID: 2024_AAI_197468_1
Tender Inviting Authority: Asst. General Manager (Engg-Civil) Airports Authority of India, Aurangabad Airport
Name of Work: Reconfiguration of Terminal Building at Aurangabad Airport. SH: Provision of Partitions, Concessionaires cabins and other allied works at Aurangabad Airport
Contract No: 2024_AAI_197468_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | B.R.ANAND(GSTN-NA)--709968 |  | D B Infratech(GSTN-NA)--708125 |  | Classicon Projects India Pvt. Ltd.(GSTN-NA)--709700
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material upto 1000 m lead within Airport premises as per directions of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 31.00 | cum | 100.00 | 300.00 | 9300.00 | 2500.00 | 77500.00 | 1500.00 | 46500.00 | 9300.00 | B.R.ANAND
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material upto 1000 m lead within Airport premises as per directions of Engineer-in-charge. - In cement mortar | 53.00 | cum | 100.00 | 300.00 | 15900.00 | 1400.00 | 74200.00 | 1200.00 | 63600.00 | 15900.00 | B.R.ANAND
3.00 | Dismantling stone slab flooring /granite/marble/tile work laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 1000 metres lead of Airport premises. | 189.00 | sqm | 100.00 | 59.00 | 11151.00 | 200.00 | 37800.00 | 100.00 | 18900.00 | 11151.00 | B.R.ANAND
4.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material within 1000 metres lead of Airport premises as directed by Engineer-incharge. | 488.00 | sqm | 100.00 | 50.00 | 24400.00 | 350.00 | 170800.00 | 100.00 | 48800.00 | 24400.00 | B.R.ANAND
5.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead within 1000 m lead of airport premises as directed by Engineer-in-charge. All kinds of soil | 37.00 | cum | 100.00 | 500.00 | 18500.00 | 350.00 | 12950.00 | 300.00 | 11100.00 | 11100.00 | Classicon Projects India Pvt. Ltd.
6.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes /Hot finished welded type tubes. | 12999.00 | kg | 100.00 | 109.00 | 1416891.00 | 130.00 | 1689870.00 | 120.00 | 1559880.00 | 1416891.00 | B.R.ANAND
7.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 2193.00 | kg | 100.00 | 109.00 | 239037.00 | 200.00 | 438600.00 | 100.00 | 219300.00 | 219300.00 | Classicon Projects India Pvt. Ltd.
8.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer’s specifications including preparation of surface, etc. complete. On steel work | 653.00 | sqm | 100.00 | 150.00 | 97950.00 | 290.00 | 189370.00 | 180.00 | 117540.00 | 97950.00 | B.R.ANAND
9.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 1409.00 | kg | 100.00 | 479.00 | 674911.00 | 550.00 | 774950.00 | 550.00 | 774950.00 | 674911.00 | B.R.ANAND
10.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately): For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) - Powder coated aluminium (minimum thickness of powder coating 50 micron) | 246.00 | kg | 100.00 | 479.00 | 117834.00 | 550.00 | 135300.00 | 580.00 | 142680.00 | 117834.00 | B.R.ANAND
11.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | 345.00 | sqm | 100.00 | 849.00 | 292905.00 | 1000.00 | 345000.00 | 1200.00 | 414000.00 | 292905.00 | B.R.ANAND
12.00 | Providing and fixing ACP partition panel (3 - 4 mm thick) , in panelling fixed in Aluminium doors, windows shutters and partition frames with all necessary fittings and fixtures all complete as per directions of Engineer-in-Charge. | 106.00 | sqm | 100.00 | 2100.00 | 222600.00 | 3100.00 | 328600.00 | 1500.00 | 159000.00 | 159000.00 | Classicon Projects India Pvt. Ltd.
13.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With toughened glass of 10 mm thickness | 318.00 | sqm | 100.00 | 2200.00 | 699600.00 | 2800.00 | 890400.00 | 1600.00 | 508800.00 | 508800.00 | Classicon Projects India Pvt. Ltd.
14.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 215.00 | sqm | 100.00 | 1000.00 | 215000.00 | 1600.00 | 344000.00 | 900.00 | 193500.00 | 193500.00 | Classicon Projects India Pvt. Ltd.
15.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-incharge.(Only weight of grill to be measured for payment). | 680.00 | kg | 100.00 | 470.00 | 319600.00 | 550.00 | 374000.00 | 400.00 | 272000.00 | 272000.00 | Classicon Projects India Pvt. Ltd.
16.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 60.00 | sqm | 100.00 | 4200.00 | 252000.00 | 6000.00 | 360000.00 | 7300.00 | 438000.00 | 252000.00 | B.R.ANAND
17.00 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 12.00 | each | 100.00 | 450.00 | 5400.00 | 3000.00 | 36000.00 | 750.00 | 9000.00 | 5400.00 | B.R.ANAND
18.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 38.00 | cum | 100.00 | 4800.00 | 182400.00 | 9500.00 | 361000.00 | 6300.00 | 239400.00 | 182400.00 | B.R.ANAND
19.00 | Cement Plaster in fine sand. 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 449.00 | sqm | 100.00 | 250.00 | 112250.00 | 550.00 | 246950.00 | 300.00 | 134700.00 | 112250.00 | B.R.ANAND
20.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/ making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete including scaffolding charges for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) GI Metal Ceiling Lay in perforated Tegular edge global white colour tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop; made of GI sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece. | 25.00 | sqm | 100.00 | 1500.00 | 37500.00 | 2100.00 | 52500.00 | 1200.00 | 30000.00 | 30000.00 | Classicon Projects India Pvt. Ltd.
21.00 | Providing and fixing GI Metal Ceiling Lay in perforated Tegular edge global white colour tiles of size 595x595 mm and 0.5 mm thick with 8 mm drop over existing framework; made of GI sheet having galvanizing of 100 gms/ sqm (both sides inclusive) and 20% perforation area with 1.8 mm dia holes and having NRC (Noise Reduction Coefficient ) of 0.5, electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending and perforation, and backed with a black Glass fiber acoustical fleece, in true horizontal level, all complete including scaffolding charges for all heights as per specifications, drawings and as directed by Engineer-in-charge. | 175.00 | sqm | 100.00 | 1350.00 | 236250.00 | 2150.00 | 376250.00 | 750.00 | 131250.00 | 131250.00 | Classicon Projects India Pvt. Ltd.
22.00 | Providing and fixing stainless steel work (Grade 304) made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge. | 1178.00 | kg | 100.00 | 490.00 | 577220.00 | 650.00 | 765700.00 | 540.00 | 636120.00 | 577220.00 | B.R.ANAND
23.00 | Providing and fixing panels of aluminium composite panel cladding in metalic sheet of approved colour, texture and shade made out of 4 mm thick aluminium composite panel material consisting of 3 mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5 mm thick). The aluminium composite panel cladding sheet shall be coil coated, with fluoropolymer resin coating of approved colour and shade on one face and polymer (Service) coating on other face as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. including cost of all material & labour component all complete , as per the directions of Engineer-in-Charge. For the purpose of payment, only the actual area on the external face of the component with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places.(Note: Base frame work for ACP cladding is payable under the relevant structural steel/ aluminium items) | 255.00 | sqm | 100.00 | 3200.00 | 816000.00 | 3100.00 | 790500.00 | 2600.00 | 663000.00 | 663000.00 | Classicon Projects India Pvt. Ltd.
24.00 | Providing and Fixing Opaque /Frosted Film of 3M India Ltd./Lumar/Garware/Avery Dennision or equivalent as per the manufacture Specification on glass including cleaning of glass etc. complete as per direction of Engineer-in-Charge. | 533.00 | sqm | 100.00 | 169.00 | 90077.00 | 1100.00 | 586300.00 | 400.00 | 213200.00 | 90077.00 | B.R.ANAND
25.00 | Providing & fixing commercial waterproof plywood of ISI approved brand and make to be fixed at any location with all necessary fixing accessories, painting of edges with primer complete as per the directions of Engineer-in-charge. a) 12 mm thick plywood | 1104.00 | sqm | 100.00 | 1000.00 | 1104000.00 | 900.00 | 993600.00 | 1300.00 | 1435200.00 | 993600.00 | D B Infratech
26.00 | Providing & fixing decorative cladding in Charcoal sheet of approved brand such as Gloirio, Ellvee, Ciscon, Euro Pratik, Vogue, Genoa, Cismic Decor of approved design, texture & shade to be fixed over frame (consising of plywood resting over MS/aluminum framework which is to be paid separately) , including cost of adhesive etc all complete as per the directions of Engineer-in-charge. | 1104.00 | sqm | 100.00 | 3650.00 | 4029600.00 | 3000.00 | 3312000.00 | 2400.00 | 2649600.00 | 2649600.00 | Classicon Projects India Pvt. Ltd.
27.00 | Providing & fixing commercial waterproof plywood of ISI approved brand and make to be fixed at any location with all necessary fixing accessories, painting of edges with primer complete as per the directions of Engineer-in-charge. a) 18 mm thick plywood | 121.00 | sqm | 100.00 | 2000.00 | 242000.00 | 1150.00 | 139150.00 | 1500.00 | 181500.00 | 139150.00 | D B Infratech
28.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality, including cost of adhesive of approved quality. 1.0 mm thick. | 221.00 | sqm | 100.00 | 650.00 | 143650.00 | 1200.00 | 265200.00 | 1200.00 | 265200.00 | 143650.00 | B.R.ANAND
29.00 | Providing and laying Polished Granite stone flooring in required design and patterns, in linear as well as curvilinear portions of the building all complete as per the architectural drawings with 18 mm thick stone slab over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with cement slurry and pointing with white cement slurry admixed with pigment of matching shade including rubbing, curing and polishing etc. all complete as specified and as directed by the Engineer-in-Charge. Polished Granite stone slab of colour Black, Cherry/Ruby Red or equivalent. | 100.00 | sqm | 100.00 | 3200.00 | 320000.00 | 4000.00 | 400000.00 | 3500.00 | 350000.00 | 320000.00 | B.R.ANAND
30.00 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having with water absorption less than 0.5% and conforming to IS:15622 of approved make in all colours and shades in for outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | 72.00 | sqm | 100.00 | 1400.00 | 100800.00 | 1800.00 | 129600.00 | 1500.00 | 108000.00 | 100800.00 | B.R.ANAND
31.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground upto 1000 m lead within Airport premises. | 119.00 | sqm | 100.00 | 30.00 | 3570.00 | 200.00 | 23800.00 | 100.00 | 11900.00 | 3570.00 | B.R.ANAND
32.00 | Dismantling and taking away doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. including disposal of unserviceable surplus material as directed by Engineer-in-charge - Of area 3 sq. metres and below | 23.00 | each | 100.00 | 100.00 | 2300.00 | 600.00 | 13800.00 | 300.00 | 6900.00 | 2300.00 | B.R.ANAND
33.00 | Dismantling tile work in floors and walls laid in cement mortar including stacking material upto 1000 m lead within Airport premises. (For thickness of tiles 10 mm to 25 mm ) | 534.00 | sqm | 100.00 | 40.00 | 21360.00 | 250.00 | 133500.00 | 100.00 | 53400.00 | 21360.00 | B.R.ANAND
34.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond initial lead, for all leads including all lifts involved. | 126.00 | cum | 100.00 | 100.00 | 12600.00 | 650.00 | 81900.00 | 750.00 | 94500.00 | 12600.00 | B.R.ANAND
35.00 | Dismantling W.C. Pan, Urinals, Wash basins of all sizes including disposal of dismantled materials within Airport premises i/c malba all complete as per directions of Engineer-in-Charge. | 54.00 | each | 100.00 | 80.00 | 4320.00 | 200.00 | 10800.00 | 175.00 | 9450.00 | 4320.00 | B.R.ANAND
36.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 Coarse sand derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) | 39.00 | cum | 100.00 | 5000.00 | 195000.00 | 8500.00 | 331500.00 | 6500.00 | 253500.00 | 195000.00 | B.R.ANAND
37.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 5in superstructure above plinth level up to floor V level : Cement mortar 1:3 (1 cement : 3 coarse sand) | 12.00 | sqm | 100.00 | 1000.00 | 12000.00 | 1250.00 | 15000.00 | 1000.00 | 12000.00 | 12000.00 | Classicon Projects India Pvt. Ltd., B.R.ANAND
38.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/ making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete including scaffolding charges for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | 187.00 | sqm | 100.00 | 1390.00 | 259930.00 | 2100.00 | 392700.00 | 1200.00 | 224400.00 | 224400.00 | Classicon Projects India Pvt. Ltd.
39.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 480.00 | sqm | 100.00 | 90.00 | 43200.00 | 60.00 | 28800.00 | 100.00 | 48000.00 | 28800.00 | D B Infratech
40.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour. - Two coats | 1142.00 | sqm | 100.00 | 99.00 | 113058.00 | 180.00 | 205560.00 | 150.00 | 171300.00 | 113058.00 | B.R.ANAND
41.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture fixed with cement based high polymer modified quickset adhesive of approved brand such as MYK Laticrete 320/315 or equivalent conforming to IS: 15477, in average 6 mm thickness, joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. | 469.00 | sqm | 100.00 | 3100.00 | 1453900.00 | 4000.00 | 1876000.00 | 4000.00 | 1876000.00 | 1453900.00 | B.R.ANAND
42.00 | Extra for fixing marble /granite stone, over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive, including cleaning etc. complete. | 93.00 | metre | 100.00 | 150.00 | 13950.00 | 600.00 | 55800.00 | 300.00 | 27900.00 | 13950.00 | B.R.ANAND
43.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. - Granite work | 93.00 | metre | 100.00 | 120.00 | 11160.00 | 80.00 | 7440.00 | 100.00 | 9300.00 | 7440.00 | D B Infratech
44.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 17.00 | each | 100.00 | 1500.00 | 25500.00 | 3000.00 | 51000.00 | 300.00 | 5100.00 | 5100.00 | Classicon Projects India Pvt. Ltd.
45.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length - 15 mm nominal bore | 20.00 | each | 100.00 | 200.00 | 4000.00 | 900.00 | 18000.00 | 150.00 | 3000.00 | 3000.00 | Classicon Projects India Pvt. Ltd.
46.00 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter | 6.00 | each | 100.00 | 3000.00 | 18000.00 | 10000.00 | 60000.00 | 800.00 | 4800.00 | 4800.00 | Classicon Projects India Pvt. Ltd.
47.00 | Constructing brick masonry road gully chamber 50x45x60 cm with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) including 500x450 mm pre-cast R.C.C. horizontal grating with frame complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 5. | 3.00 | each | 100.00 | 5900.00 | 17700.00 | 8500.00 | 25500.00 | 6000.00 | 18000.00 | 17700.00 | B.R.ANAND
48.00 | Providing and laying antiskid / matt finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) conforming to IS: 15622 with water absorption less than 0.08% of approved make such as Kajaria//Grancier/DonatoSomani or equivalent in all colours and shadeslaid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments, etc., complete. Size of Tile ranging from 500x500 mm -1200x1200 mm. | 187.00 | sqm | 100.00 | 1350.00 | 252450.00 | 1700.00 | 317900.00 | 1600.00 | 299200.00 | 252450.00 | B.R.ANAND
49.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make Kajaria/Grancier/Donato/Somani or equivalent, in all colours & shade, in walls, skirting, dado, riser of steps, with cement based high polymer modified quickset tile adhesive such as MYK Laticrete 307 or equivalent conforming to IS: 15477, in average 3mm thickness, including grouting the joint with white cement & matching pigments etc. complete. Size of tile ranging from 500x500 mm - 1200x1200 mm | 288.00 | sqm | 100.00 | 1350.00 | 388800.00 | 1700.00 | 489600.00 | 1650.00 | 475200.00 | 388800.00 | B.R.ANAND
50.00 | Providing and fixing in position factory made precast RCC door frame of minimum 110 mm width and 60 mm depth fixing with hold fast having excellent smooth finish, providing suitable arrangement for recieving sliding door bolts and tower bolt etc. all complete, as per the directions of Engineer-in-Charge. | 22.00 | metre | 100.00 | 250.00 | 5500.00 | 1200.00 | 26400.00 | 800.00 | 17600.00 | 5500.00 | B.R.ANAND
51.00 | Providing and fixing to existing door frames. 30 mm thick fiber flush door shutter in approved make and finish with all necessary fixing arrangements, hardware accessories such as SS coat hook, SS butt hinges, tower bolts and door bolts complete as per directions of Engineer-in-charge. | 9.00 | sqm | 100.00 | 2100.00 | 18900.00 | 3800.00 | 34200.00 | 3500.00 | 31500.00 | 18900.00 | B.R.ANAND
52.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 15 mm nominal dia Pipes | 100.00 | metre | 100.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 300.00 | 30000.00 | 25000.00 | D B Infratech
53.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 25 mm nominal dia Pipes | 70.00 | metre | 100.00 | 400.00 | 28000.00 | 450.00 | 31500.00 | 350.00 | 24500.00 | 24500.00 | Classicon Projects India Pvt. Ltd.
54.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 32 mm nominal dia Pipes | 170.00 | metre | 100.00 | 400.00 | 68000.00 | 600.00 | 102000.00 | 400.00 | 68000.00 | 68000.00 | Classicon Projects India Pvt. Ltd., B.R.ANAND
55.00 | Providing and fixing Unplasticized Polyvinyl Chloride (UPVC) pipe of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows and all other UPVC plain & brass threaded fittings. This includes jointing of pipes & fittings with UPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per directions of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. - 50 mm nominal dia Pipes | 50.00 | metre | 100.00 | 600.00 | 30000.00 | 900.00 | 45000.00 | 500.00 | 25000.00 | 25000.00 | Classicon Projects India Pvt. Ltd.
56.00 | Providing and fixing toilet cubicles of Merino Besco (Titan series), Greenlam Sturdo (Classique's Evergreen series) or equivalent, made of heat, bacteria, water, chemical, scratch, impact, anti-bacterial resistant 12 mm thick solid compact laminate panel board which includes doors, pilasters and intermediate panels finished with approved texture/shade as per the delailed drawings and as per IS 2046 (Indian Standards) and fire retardant BS-476/97 standards. This also includes providing and fixing in position necessary hardwares made out of SS (grade 304) as per manufacturer's specification and Engineer-in-Charge instructions like - (i) Door Knobs, (ii) Gravity Hinges, (iii) Thumb turn lockset with Occupancy indicators, (iv) Coat hooks with door stopper (v) U/F- channel, (vi) AdjusTaple foot/pedestal, (vii) Top rail with corner connector, (viii) Rubber noise deafening tape, (ix) Screws and wall plugs etc. The top fitting should consist of SS rectangular top rail which will get fixed with pilasters with SS panel tube holder, SS corner bend (connected with top rail) will be used on the corner of cubicle in absence of brick wall, SS wall fixing is used only on the wall which will hold the SS top rail. All screws shall be of 304 grade in Stainless steel with satin finish. All pilasters are supported by stainless steel bottom cladding. The base of the stainless steel bottom clading will be anchored to the door with a clearance height upto 150 mm. Size of each Cubical -(a) Plan area of cubicle varies from 1.50 to 2.00 Sqm (b) Height of cubicle is 1980 mm including bottom leg of 150 mm (c) Width of door is 600 mm. (The rates shall include providing and fixing of compact laminate panel board, fittings and fixtures, wastage, scaffolding, tools, plants, all cost of toilet cubicle and labour involved in all the operations described above including cartage lifts and all taxes excluding GST) | 12.00 | each | 100.00 | 35000.00 | 420000.00 | 55000.00 | 660000.00 | 23000.00 | 276000.00 | 276000.00 | Classicon Projects India Pvt. Ltd.
57.00 | Providing and fixing Urinal Partition system using 12 mm thick panel of Besco Merino (Urinal Modesty SS Series), Greenlam Sturdo or equivalent with each panel size 500 mm X 1200 mm, overall height of 1850 mm incuding botom gap of 650 mm, including fixing the panel at wall with fixtures, fitting and accessories such as SS Right angle brackets, scews , wall plugs, and of approved colour and shade as per site requirement as per specification and directions of Engineer-in-Charge. | 10.00 | each | 100.00 | 5000.00 | 50000.00 | 4500.00 | 45000.00 | 4000.00 | 40000.00 | 40000.00 | Classicon Projects India Pvt. Ltd.
58.00 | Providing and fixing white vitreous china flat back urinal of size 385x325X635 mm of make JAQUAR URS-WHT-13253N or Equivalent with fittings and standard accessories, standard size C.P. brass flush pipe, spreaders, waste coupling with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, waste trap with outlet grating and other couplings in C.P. brass, painting, fitting, cutting and making good the walls and floors wherever required as per satisfation of Engineer-in-Charge. | 10.00 | each | 100.00 | 5000.00 | 50000.00 | 8500.00 | 85000.00 | 7500.00 | 75000.00 | 50000.00 | B.R.ANAND
59.00 | Providing and fixing Under counter wash basin of size 605 x 430 x 200 mm and oval shape of Jaquar CNS-WHT-705 or Equivalent including waste coupling 32 mm size full threaded of Jaquar ALD-CHR-705 make or equivalent fixing,painting of fittings, cutting and making good the walls wherever required as per the directions of Engineer-in-Charge. | 8.00 | each | 100.00 | 2200.00 | 17600.00 | 5000.00 | 40000.00 | 3500.00 | 28000.00 | 17600.00 | B.R.ANAND
60.00 | Providing and fixing white rimless Wall hung type water closet pan of size 570 x 390 x 365 mm of JAQUAR VGS-WHT-81953UF make or Equivalent including UF seat cover with hinges, accessories, etc. all complete as per direction of Engineer-in-charge. | 12.00 | each | 100.00 | 14000.00 | 168000.00 | 8500.00 | 102000.00 | 14000.00 | 168000.00 | 102000.00 | D B Infratech
61.00 | Providing and fixing white Orissa pattern W.C. pan of size 440x575x250 mm of Essco Jaquar make ECS-WHT- 451 or Equivalent including all fixing accessories complete as per direction of Engineer-in-charge | 3.00 | each | 100.00 | 1800.00 | 5400.00 | 3500.00 | 10500.00 | 3000.00 | 9000.00 | 5400.00 | B.R.ANAND
62.00 | Providing and fixing Push Pillar cock with Auto-closing system and 65 mm extension body of Jaquar PRS-CHR-031L65 make or Equivalent including making connection, etc as per direction of Engineer-in-Charge. | 10.00 | each | 100.00 | 2400.00 | 24000.00 | 2500.00 | 25000.00 | 2800.00 | 28000.00 | 24000.00 | B.R.ANAND
63.00 | Providing and fixing Angular Stop Cock with wall flange of Jaquar CON-CHR-059KN make or equivalent as per direction of Engineer-in-charge. | 16.00 | each | 100.00 | 900.00 | 14400.00 | 2500.00 | 40000.00 | 800.00 | 12800.00 | 12800.00 | Classicon Projects India Pvt. Ltd.
64.00 | Providing and fixing bottle trap of 32 mm size of Jaquar ALD-CHR-769L300x190 make or Equivalent including 300 mm and 190 mm long wall connection pipes with wall flanges and making connection, etc. all complete as per direction of Engineer-in-charge | 10.00 | each | 100.00 | 1950.00 | 19500.00 | 2200.00 | 22000.00 | 1500.00 | 15000.00 | 15000.00 | Classicon Projects India Pvt. Ltd.
65.00 | Providing and fixing dual flow 32 mm concealed body metropole flush valve with exposed shut off provision & round flange (3 / 6 litres per flushing) for WC of Jaquar FLV-CHR-1085N make or Equivalent including making connection etc complete. as per direction of Engineer-in-charge | 12.00 | each | 100.00 | 3000.00 | 36000.00 | 2800.00 | 33600.00 | 4000.00 | 48000.00 | 33600.00 | D B Infratech
66.00 | Providing and fixing auto closing concealed urinal flush valve with built in control cock and wall flange of Jaquar (PRS-CHR-073) make or Equivalent including making connection etc complete as per direction of Engineer-in-Charge. | 10.00 | each | 100.00 | 2000.00 | 20000.00 | 2600.00 | 26000.00 | 3500.00 | 35000.00 | 20000.00 | B.R.ANAND
67.00 | Providing and fixing health faucet 8mm size of minimum length 1 metre of JAQUAR(ALD-CHR-573) make or Equivalent with 1 m long flexible connecting in chrome finish, wall hooks, etc. tube including making connection all complete as per direction of Engineer-in-charge | 12.00 | each | 100.00 | 1000.00 | 12000.00 | 2800.00 | 33600.00 | 1800.00 | 21600.00 | 12000.00 | B.R.ANAND
68.00 | Providing and Fixing tissue paper roll holder for toilets of Jaquar AKP-CHR-35751P make or equivalent and as per direction of Engineer-in-charge. | 12.00 | each | 100.00 | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 1000.00 | 12000.00 | 12000.00 | Classicon Projects India Pvt. Ltd., B.R.ANAND
69.00 | Providing & Fixing soap dispenser with metallic bottle of Jaquar ACN-CHR-1137N or make or equivalent etc. complete as per directions of Engineer in charge. | 10.00 | each | 100.00 | 2000.00 | 20000.00 | 1200.00 | 12000.00 | 3200.00 | 32000.00 | 12000.00 | D B Infratech
70.00 | Providing and fixing wall hung wash basin of Jaquar OPS-WHT-15305 or Equivalent of size 575 x 475 x 195 mm including waste coupling of Jaquar make or equivalent fixing accessories, painting of fittings, cutting and making good the walls wherever require as per direction of Engineer-in-charge | 2.00 | each | 100.00 | 3500.00 | 7000.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 7000.00 | B.R.ANAND
71.00 | Providing and fixing 2 way bib cock with wall flange of Jaquar VGP-CHR-81041 make or Equivalent including making connection, etc as per direction of Engineer-in-Charge. | 12.00 | each | 100.00 | 1700.00 | 20400.00 | 1250.00 | 15000.00 | 2000.00 | 24000.00 | 15000.00 | D B Infratech
72.00 | Providing and fixing mirror of superior glass minimum 4 mm thick of approved brand, quality and of required shape and size. Mirror to be fixed over framework consisting of Aluminum member minimum 50 mm x 20 mm x 2 mm along the borders, vertical members (one piece of 900 mm length per 1.2 metre length) minimum 50 mm x 10 mm x 2 mm on the backside of mirror with protective vinyl sheet on opposite (wall side) of mirror with necessary arrangement for screw holes to be fixed over screws over walls including all necessary fixing accesories and arrangements complete as per directions of Engineer-in-charge. | 14.00 | sqm | 100.00 | 1400.00 | 19600.00 | 3500.00 | 49000.00 | 5000.00 | 70000.00 | 19600.00 | B.R.ANAND
73.00 | Providing & Fixing PVC ball valve with lever of size 32 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 16.00 | each | 100.00 | 400.00 | 6400.00 | 800.00 | 12800.00 | 250.00 | 4000.00 | 4000.00 | Classicon Projects India Pvt. Ltd.
74.00 | Providing & Fixing PVC ball valve with lever of size 50 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 20.00 | each | 100.00 | 1000.00 | 20000.00 | 950.00 | 19000.00 | 500.00 | 10000.00 | 10000.00 | Classicon Projects India Pvt. Ltd.
75.00 | Providing & Fixing PVC ball valve with lever of size 75 mm nominal dia of make Astral/Supreme/Prince or equivalent all complete as per directions of Engineer in charge. | 20.00 | each | 100.00 | 2000.00 | 40000.00 | 1050.00 | 21000.00 | 900.00 | 18000.00 | 18000.00 | Classicon Projects India Pvt. Ltd.
76.00 | Providing and fixing bronze gate valve Zoloto or equivalent make 40 mm nominal bore of approved quality to existing pipeline as per the direction of Engineer-Incharge. | 13.00 | each | 100.00 | 3300.00 | 42900.00 | 1600.00 | 20800.00 | 2000.00 | 26000.00 | 20800.00 | D B Infratech
77.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions, traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 110 mm Dia. | 165.00 | metre | 100.00 | 300.00 | 49500.00 | 950.00 | 156750.00 | 500.00 | 82500.00 | 49500.00 | B.R.ANAND
78.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions,traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 75 mm Dia. | 165.00 | metre | 100.00 | 250.00 | 41250.00 | 850.00 | 140250.00 | 400.00 | 66000.00 | 41250.00 | B.R.ANAND
79.00 | Providing and fixing SWR PVC pipes confirming to IS Code 13592 having minimum working pressure 4kgf/sqcm of approved make such as Astral/Supreme/Prince/Kisan or equivalent including cost for bends, unions,traps, junctions, tees, elbows, etc. complete as per direction of Engineer In Charge - 50 mm Dia. | 165.00 | metre | 100.00 | 150.00 | 24750.00 | 750.00 | 123750.00 | 350.00 | 57750.00 | 24750.00 | B.R.ANAND
80.00 | Providing and fixing in position 30 mm thick machine cut Cuddapah stone for kitchen platform, shelves, venity counters, stand etc. complete at all levels as per the direction of Engineer-in-charge. | 22.00 | sqm | 100.00 | 700.00 | 15400.00 | 1800.00 | 39600.00 | 1500.00 | 33000.00 | 15400.00 | B.R.ANAND
81.00 | Providing and fixing Automatic Sliding doors of Dorma ES 200 Easy 4150/Hafele/Geze/Gilgen/Linox/Assa Abloy/Autoingers or equivalent make compliant with future European standards and produced according to the guidelines for power-operated windows, doors and gates, BGR 232, the UVV and the VDE regulations. TÜV design tested for durability of 1 Million Cycles, tested according to the low voltage guidelines, fulfils DIN 18650 standards, for framed glass door application with dormakaba or equivalent, both sliding & fixed panels with dormakaba or equivalent Operator & Frame Finish should be Silver Anodized E6/C0, with operator dimensions (H x D) : 100 x 180 mm and of length as required to suit the opening size given below. Operators should be of very sturdy design with Self balancing Panel suspension system and with Anti-Jump fitting. The track profile should be separate from the main profile for enabling reduction in vibration insulation, with backplate for easy installation. Microprocessor-controlled control unit, Self-learning, with adjustable parameters for opening and closing speed, hold-open time and opening and closing force, reversing when obstruction is encountered, with SMPS, Class of protection IP 20, with Electro magnetic lock and including fixing of minimum 18mm thick both side laminated door. The rate quoted shall be including Operator Profiles, Mechanical Components, Electrical Components, Basic Accessories. Plywood Clamping Rail - 1050 mm - 2 Nos, with accessories Nemo Motion + Nemo Dual ( Safety& Motion) with control switches outsde and inside for operating sliding door all complete as per the directions and to the satisfaction of Engineer-in -Charge. a) For clear opening of minimum 1.05 m x 1.95 m height | 2.00 | each | 100.00 | 150000.00 | 300000.00 | 230000.00 | 460000.00 | 225000.00 | 450000.00 | 300000.00 | B.R.ANAND
82.00 | Providing and fixing stainless steel jali (grating) with or without hole for waste pipe for floor / Nahani trap 100 mm diameter including sealing with white cement as per the direction of Engineer-in-charge | 31.00 | each | 100.00 | 100.00 | 3100.00 | 900.00 | 27900.00 | 200.00 | 6200.00 | 3100.00 | B.R.ANAND
83.00 | Providing and fixing Baby Diaper changing Station of Euronics EDC1 or equivalent. Size of changing station shall be minimum 800-900 mm in length & 500-600 mm in width having min weight capacity of 25 kgs. Rate shall be including installation, transportation, taxes etc, complete as per direction of Engineer - in - charge. | 2.00 | each | 100.00 | 14000.00 | 28000.00 | 8500.00 | 17000.00 | 13000.00 | 26000.00 | 17000.00 | D B Infratech
| Total in Figures |  |  |  |  | 17145124.00 |  | 21361740.00 |  | 17521020.00
Lowest Amount Quoted BY: B.R.ANAND(17145124.00)

## BOQ Summary
BOQ Summary Details Tender Title: Reconfiguration of Terminal Building at Aurangabad Airport. SH Provision of Partitions, Concessionaires cabins and other allied works at Aurangabad Airport Tender ID: 2024_AAI_197468_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | B.R.ANAND | 17145124.00 | L1
| 2 | Classicon Projects India Pvt. Ltd. | 17521020.00 | L2
| 3 | D B Infratech | 21361740.00 | L3