## BoQ1
Government eProcurement System Created By: Sumit Gupta Created Date/Time: 25-Jul-2024 05:29 PM Tender Title: ARMO of E and M Installations of Operational Area and GLF at R.B. Airport, Bhopal for the year 2024-26. Tender ID: 2024_AAI_197553_1
Tender Inviting Authority: Sr. Manager (E-E), AAI, R.B. Airport, Bhopal.
Name of Work: ARMO of E & M Installations of Operational Area & GLF at R.B. Airport, Bhopal for the year 2024-26
Contract No: AAI/BPL/ENGG(E)/NIT-02/2024-25
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -713420 |  | M/s CGPL ELECTROMECH PVT LTD (GSTN-07AAGCC8228F1ZO) BID ID -714735 |  | NATIONAL SAFETY ENGINEERS (GSTN-07ADCPT3599E3Z6) BID ID -714803 |  | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -715053 |  | Rajpati Construction (GSTN-23AAPFR1193J1ZX) BID ID -715195 |  | M/s BHARAT ELECTRIC, NAGPUR (GSTN-27ALSPP1335N1ZG) BID ID -714992 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--715369 |  | RD INFRATECH ENGINEERS PRIVATE LIMITED(GSTN-NA)--710844
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation of 320 KVA D.G.Set of Old Power House & 2 Nos. 750 KVA DG Set of ESS block at new ATS complex and Maintenance of Electrical & Mechanical installations of Old Power House, ESS Block, ATC Building, Fire Station, MT Workshop, Nav-Aids, GLF Installations, Perimeter lighting etc. by deploying adequate manpower as per special conditions of contract. | 24.00 | Month |  | 900000.00 | 21600000.00 | 880700.00 | 21136800.00 | 890000.00 | 21360000.00 | 865125.00 | 20763000.00 | 783000.00 | 18792000.00 | 850000.00 | 20400000.00 | 839417.00 | 20146008.00 | 820000.00 | 19680000.00 | 18792000.00 | Rajpati Construction
2.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Hi-Skilled | 50.00 | Hours |  | 200.00 | 10000.00 | 120.00 | 6000.00 | 118.50 | 5925.00 | 125.00 | 6250.00 | 119.00 | 5950.00 | 120.00 | 6000.00 | 79.00 | 3950.00 | 15.00 | 750.00 | 750.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
3.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Skilled | 50.00 | Hours |  | 250.00 | 12500.00 | 110.00 | 5500.00 | 107.75 | 5387.50 | 115.00 | 5750.00 | 108.00 | 5400.00 | 110.00 | 5500.00 | 72.00 | 3600.00 | 10.00 | 500.00 | 500.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
4.00 | Provision of additional hour required for operations due to delay in flight, emergency, major maintenance works. Beyond the scope of item no. 1 on daily basis. Un-skilled | 50.00 | Hours |  | 180.00 | 9000.00 | 90.00 | 4500.00 | 81.38 | 4069.00 | 90.00 | 4500.00 | 82.00 | 4100.00 | 85.00 | 4250.00 | 54.00 | 2700.00 | 5.00 | 250.00 | 250.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
5.00 | Inspection, servicing and testing of 3 Pole, 1250A, 33 KV, HT Vaccum circuit Breakers (4 Nos. VCB ) (Make: ABB) installed at ESS Block at new ATS complex Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 2.00 | JOB |  | 40000.00 | 80000.00 | 6500.00 | 13000.00 | 56000.00 | 112000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 17600.00 | 35200.00 | 5000.00 | 10000.00 | 10000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
6.00 | Calibration of 33 KV HT panel of relays of C&S make (01 Over current relay + 01 Earth fault relay + 01 Master trip relay) complete by digital relay testing set of the Airport ESS Block including relay co-ordination etc. - 4 Nos. | 2.00 | JOB |  | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 12000.00 | 24000.00 | 20000.00 | 40000.00 | 5000.00 | 10000.00 | 7375.00 | 14750.00 | 13200.00 | 26400.00 | 5000.00 | 10000.00 | 4000.00 | M/s CGPL ELECTROMECH PVT LTD
7.00 | Inspection, servicing and testing of 3 Pole, 800A, 11KV, HT Vaccum circuit Breakers (2 Nos. VCB ) (Make: Crompton Greaves) installed at Old power house at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 2.00 | JOB |  | 20000.00 | 40000.00 | 6000.00 | 12000.00 | 28000.00 | 56000.00 | 12000.00 | 24000.00 | 8500.00 | 17000.00 | 12000.00 | 24000.00 | 8800.00 | 17600.00 | 5000.00 | 10000.00 | 10000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
8.00 | Calibration of 11 KV HT panel of relays of Crompton Greaves make (01 Over current relay + Earth fault relay, type-CGI 14 N) complete by digital relay testing set of the Airport power house including relay co-ordination etc. - 2 Nos. | 2.00 | JOB |  | 10000.00 | 20000.00 | 1500.00 | 3000.00 | 6000.00 | 12000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 4400.00 | 8800.00 | 5000.00 | 10000.00 | 3000.00 | M/s CGPL ELECTROMECH PVT LTD
9.00 | Inspection, servicing and testing of 4 Pole, 1250A, 440V, LT Air circuit Breakers (5 Nos. ACB ) (Make: L&T) installed at ESS Block at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 2.00 | JOB |  | 25000.00 | 50000.00 | 2000.00 | 4000.00 | 47000.00 | 94000.00 | 15000.00 | 30000.00 | 3000.00 | 6000.00 | 25000.00 | 50000.00 | 11000.00 | 22000.00 | 5000.00 | 10000.00 | 4000.00 | M/s CGPL ELECTROMECH PVT LTD
10.00 | Inspection, servicing and testing of 4 Pole, 1250A, 440V, LT Air circuit Breakers (4 Nos. ACB ) (Make: ABB) installed at ESS Block at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 2.00 | JOB |  | 20000.00 | 40000.00 | 2500.00 | 5000.00 | 18000.00 | 36000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 20000.00 | 40000.00 | 8800.00 | 17600.00 | 5000.00 | 10000.00 | 5000.00 | M/s CGPL ELECTROMECH PVT LTD
11.00 | Inspection, servicing and testing of 4 Pole, 2500A, 440V, LT Air circuit Breakers (2 Nos. ACB ) (Make: ABB) installed at ESS Block at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 2.00 | JOB |  | 10000.00 | 20000.00 | 2500.00 | 5000.00 | 24000.00 | 48000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 12000.00 | 24000.00 | 4400.00 | 8800.00 | 5000.00 | 10000.00 | 5000.00 | M/s CGPL ELECTROMECH PVT LTD
12.00 | Inspection, servicing and testing of 4 Pole, 4000A, 440V, LT Air circuit Breakers (1 Nos. ACB ) (Make: ABB) installed at ESS Block at Bhopal Airport, including carrying out the following tests & preventive maintenance alongwith submission of the test reports. (a) General inspection (b) Wiring check including control circuit and indications. (c) IR test between poles to poles, between poles to earth in closed condition and between pole to pole in open condition. (d) Continuity of power contacts. (e) Continuity of auxiliary contacts. (f) Resistance measurement of tripping coil. (g) Closing, tripping and inter- locking testing. (h) Tripping through relay operation. | 2.00 | JOB |  | 5000.00 | 10000.00 | 2500.00 | 5000.00 | 15000.00 | 30000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 2200.00 | 4400.00 | 5000.00 | 10000.00 | 4400.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Dehydration and filtration of transformer oil at AAI site including testing the BDV before and after testing and submission of test reports etc. as required for following Transformers. 500 KVA Transformer (Make: Voltamp) | 2.00 | JOB |  | 35000.00 | 70000.00 | 6000.00 | 12000.00 | 12000.00 | 24000.00 | 7000.00 | 14000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 9900.00 | 19800.00 | 7000.00 | 14000.00 | 12000.00 | M/s CGPL ELECTROMECH PVT LTD
14.00 | Dehydration and filtration of transformer oil at AAI site including testing the BDV before and after testing and submission of test reports etc. as required for following Transformers. 630 KVA Transformer (Make: Voltamp) | 2.00 | JOB |  | 40000.00 | 80000.00 | 6500.00 | 13000.00 | 15000.00 | 30000.00 | 7000.00 | 14000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 12474.00 | 24948.00 | 8000.00 | 16000.00 | 13000.00 | M/s CGPL ELECTROMECH PVT LTD
15.00 | Supply and topping of transformer oil (Tested). | 100.00 | Litre |  | 200.00 | 20000.00 | 120.00 | 12000.00 | 200.00 | 20000.00 | 165.00 | 16500.00 | 100.00 | 10000.00 | 120.00 | 12000.00 | 121.00 | 12100.00 | 150.00 | 15000.00 | 10000.00 | Rajpati Construction
16.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. 50 mm Gl pipe pole of length not exceeding 3 Mt. | 480.00 | Each |  | 600.00 | 288000.00 | 200.00 | 96000.00 | 700.00 | 336000.00 | 130.00 | 62400.00 | 180.00 | 86400.00 | 50.00 | 24000.00 | 55.00 | 26400.00 | 100.00 | 48000.00 | 24000.00 | M/s BHARAT ELECTRIC, NAGPUR
17.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. 75 mm Gl pipe pole of length not exceeding 3 Mt. | 150.00 | Each |  | 800.00 | 120000.00 | 300.00 | 45000.00 | 900.00 | 135000.00 | 150.00 | 22500.00 | 300.00 | 45000.00 | 100.00 | 15000.00 | 72.00 | 10800.00 | 100.00 | 15000.00 | 10800.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. Tubular street light poles of length not exceeding 11 Mt. | 170.00 | Each |  | 1500.00 | 255000.00 | 450.00 | 76500.00 | 1400.00 | 238000.00 | 600.00 | 102000.00 | 450.00 | 76500.00 | 200.00 | 34000.00 | 605.00 | 102850.00 | 300.00 | 51000.00 | 34000.00 | M/s BHARAT ELECTRIC, NAGPUR
19.00 | Spray Painting of sheet metal enclosures of electrical panels inside the power house, Pump room & ATC building & terminal building including cleaning the surface and one coats of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 60.00 | Square Meter |  | 1000.00 | 60000.00 | 175.00 | 10500.00 | 150.00 | 9000.00 | 225.00 | 13500.00 | 75.00 | 4500.00 | 50.00 | 3000.00 | 55.00 | 3300.00 | 100.00 | 6000.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
20.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pillars, distribution boards, electrical panel, frame etc. including cleaning the surface and one coat of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 30.00 | Square Meter |  | 1000.00 | 30000.00 | 175.00 | 5250.00 | 200.00 | 6000.00 | 225.00 | 6750.00 | 75.00 | 2250.00 | 50.00 | 1500.00 | 55.00 | 1650.00 | 100.00 | 3000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
21.00 | Carrying out /Making in-field measurement/testing of intensity, beam spread/coverage, orientation, chromaticity, luminous factor, setting of field alignment, toeing angle, elevation angle as per the requirement of site & ICAO/Civil Aviation Requirement (CAR) Section-4 Aerodrome standard & licensing series ‘B’ Part-I, for inset/ elevated type approach(CAT-I /CAT-II), runway edge, runway end, threshold, PAPI, Touch down zone lights (TDZ), Rwy centre line lights & operational area signage board etc. airfields ground lights at R.B. Airport Bhopal, by using suitable/standard Testing Equipment system / frame Reader, submission of test reports etc. complete as required as per technical specification. (Test will be conducted on every 6 months or as instructed by E-I-C) (Approx. qty. of fittings: Rwy Edge Light (Elevated) - 162 Nos., Rwy Edge Light (Inset) - 20 Nos., Threshold light 30 - 36 Nos., Threshold light 12 - 12 Nos., End light 30 - 12 Nos., End light 12 - 12 Nos., Rwy centre line lights - 182 Nos., Rwy TDZ lights - 180 Nos., Approach light 30 - 194 Nos., Approach light 12 - 17 Nos., PAPI 30 - 4 Nos., PAPI 12 - 4 Nos., Signages - 55 Nos.) | 4.00 | JOB |  | 40000.00 | 160000.00 | 175000.00 | 700000.00 | 120000.00 | 480000.00 | 375000.00 | 1500000.00 | 190000.00 | 760000.00 | 225000.00 | 900000.00 | 322000.00 | 1288000.00 | 155000.00 | 620000.00 | 160000.00 | CENTRE TAP ENGINEERING
22.00 | CPWD Schedule of rates DSR-2022 (Electrical) items of Rs. 4,00,000/- - Chapter 01 to 10 & 14 The rate shall be quoted for this item as per examples given below- • Please refer clause 43 of GTT page No. GTT-10 before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2022 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR- 2022 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR- 2022 (E & M), then bidder has to quote 0.90 in the rate column. | 400000.00 | Percentage (%) |  | 1.00 | 400000.00 | .65 | 260000.00 | .90 | 360000.00 | .90 | 360000.00 | .45 | 180000.00 | .70 | 280000.00 | .80 | 320000.00 | .40 | 160000.00 | 160000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 23394500.00 |  | 22434050.00 |  | 23425381.50 |  | 23075150.00 |  | 20153100.00 |  | 21952000.00 |  | 22106906.00 |  | 20709500.00
Lowest Amount Quoted BY: Rajpati Construction(20153100.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations of Operational Area and GLF at R.B. Airport, Bhopal for the year 2024-26. Tender ID: 2024_AAI_197553_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rajpati Construction | 20153100.00 | L1
| 2 | RD INFRATECH ENGINEERS PRIVATE LIMITED | 20709500.00 | L2
| 3 | M/s BHARAT ELECTRIC, NAGPUR | 21952000.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 22106906.00 | L4
| 5 | M/s CGPL ELECTROMECH PVT LTD | 22434050.00 | L5
| 6 | Techno Electricals | 23075150.00 | L6
| 7 | CENTRE TAP ENGINEERING | 23394500.00 | L7
| 8 | NATIONAL SAFETY ENGINEERS | 23425381.50 | L8