## BoQ1
Government eProcurement System Created By: Jyoti Prakash chauhan Created Date/Time: 12-Jul-2024 04:27 PM Tender Title: Provision of ILS RTS and NDB at CATC Prayagraj. SH- Electrical Works. Tender ID: 2024_AAI_197924_1
Tender Inviting Authority:- Asstt. Gen. Manager (Engg-E), Airports Authority of India, Engineering Section, CATC, Prayagraj
Name of Work:- Provision of ILS RTS and NDB at CATC, Prayagraj. SH: Electrical Works.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Genesis (GSTN-09AGAPJ4118N1ZA) BID ID -714960 |  | Avion industries (GSTN-09AFZPJ4337F1ZZ) BID ID -715580 |  | Awasthi Electric Works (GSTN-09ABAPA1866D1Z5) BID ID -715931 |  | TITCO ELECTRICALS(GSTN-NA)--714927 |  | GVD ENGINEERS & CONTRACTOR(GSTN-NA)--715680 |  | Shiva Enterprises(GSTN-NA)--715814
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, manufacture, supply, installation, testing and commissioning of Main LT Panel, as per IEC 61439, cubicle & modular type, made of 2 mm thick electro galvanized steel/CRCA sheets for frame work and covers, 3mm thick for gland plates, totally enclosed, IP 54, free standing, floor mounting, dust and vermin proof, indoor, compartmentalised, including cleaning & finishing complete with all process, powder coated, painting, with front face having openable transparent tempered glass door with PU gasket complete with handle and gasket, suitable for operation on 3 Phase and neutral, 415v, 50 Hz AC system with Al.busbars extensible on both sides, fabrication shall be done in transportation sections, entire panel shall have a common earth bar of suitable size at the rear with 2 nos. earth stud, control wiring with FRLS. PVC insulated copper conductor, cable allays, cable gland plates in two half, interconnections including supply & installation of following items and as per detailed technical specification. | 1.00 | Each | 10.00 | 550000.00 | 550000.00 | 585000.00 | 585000.00 | 645000.00 | 645000.00 | 550000.00 | 550000.00 | 650000.00 | 650000.00 | 460000.00 | 460000.00 | 460000.00 | Shiva Enterprises
2.00 | INCOMER
3.00 | 2 Nos. of 400 A, TP, Ics=Icu=36 kA, MCCB with Microprocessor based release having adjustable over load and adjustable short circuit.
4.00 | 96 mm square flush pattern digital Voltmeter(0-500 V), accuracy class 1, suitable range for 3 phase, 4 wire operation with LED display and built-in selector switch along with 3 nos. of 2 Amp SP MCBs.- 1 set
5.00 | 96 mm sq. Flush pattern Digital Type Ammeter of suitable range (to measure 0-500A), for 3 phase 4 wire operation with LED display and selector switch with 3 numbers of class 1.0 accuracy, 15 VA burden & suitable range CTs.- 1 set.
6.00 | 1 Set of Indication Lamps, LED type, R,Y,B each with 2 Amp. SP MCB for protection.
7.00 | 1 no. Intelligent multi function digital meter to read V, A, KVA, KW, KVAR, PF, Hz etc with communication facility (RS485 module) and LED display with CTs 500A/5A/5A, 15 VA burden, class 0.5 accuracy for metering and control circuit wiring with 2 Amp. SP MCBs for protection.
8.00 | BUSBARS
9.00 | 1 set of high conductivity Aluminium electrolytic grade, bus bars of minimum 500 Amps capacity, TPN with heat shrinkable colored sleeves andnon-combustible, non-hygroscopic, high strength SMC/ DMC/Polymer material bus bars supports at required intervals.
10.00 | ACCESSORIES FOR ELECTRICAL & MECHANICAL INTERLOCKING
11.00 | Electrical & mechanical interlocking arrangement as per specifications among 2 nos. Incomers including interconnections etc. as required.
12.00 | BUS COUPLER
13.00 | 1 Nos. of 400 A, TP, Ics=Icu=36 kA, MCCB with Microprocessor based release having adjustable over load and adjustable short circuit.
14.00 | OUTGOING
15.00 | 6 Nos. of 100 A, FP, 36 KA, MCCB with thermal magnetic based release having adjustable over load and adjustable short circuit
16.00 | 8 Nos. of 63A, FP, 25 KA, MCCB with thermal magnetic release having adjustable over load and adjustable short circuit protection
17.00 | Note- 1. All MCCBs should have (i) Ics = Icu at 415 V (ii) Rotary operating mechanism and terminal extension / spreaders (iii) ON/OFF Indication (iv) All MCCBs shall be current limiting type.
18.00 | Supply of following sizes of 1.1 KV grade, XLPE insulated, PVC sheathed, armoured, aluminium conductor power cable confirms to IS 7098(part -1) with up to date amendments etc complete as required.
19.00 | 4C X 10 Sqmm | 50.00 | Meter | 10.00 | 92.00 | 4600.00 | 200.00 | 10000.00 | 150.00 | 7500.00 | 200.00 | 10000.00 | 145.00 | 7250.00 | 136.00 | 6800.00 | 4600.00 | Genesis
20.00 | 4C X 16 Sqmm | 50.00 | Meter | 10.00 | 100.00 | 5000.00 | 230.00 | 11500.00 | 165.00 | 8250.00 | 300.00 | 15000.00 | 160.00 | 8000.00 | 164.00 | 8200.00 | 5000.00 | Genesis
21.00 | 4C X 25 Sqmm | 50.00 | Meter | 10.00 | 132.00 | 6600.00 | 280.00 | 14000.00 | 185.00 | 9250.00 | 300.00 | 15000.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 6600.00 | Genesis
22.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated PVC sheathed aluminium conductor cable of 1.1 kV grade as required.
23.00 | 4 X 10 sq. mm (25mm) | 6.00 | Each | 10.00 | 200.00 | 1200.00 | 190.00 | 1140.00 | 180.00 | 1080.00 | 300.00 | 1800.00 | 100.00 | 600.00 | 290.00 | 1740.00 | 600.00 | GVD ENGINEERS & CONTRACTOR
24.00 | 4 X 16 sq. mm (28mm) | 6.00 | Each | 10.00 | 240.00 | 1440.00 | 210.00 | 1260.00 | 180.00 | 1080.00 | 300.00 | 1800.00 | 100.00 | 600.00 | 310.00 | 1860.00 | 600.00 | GVD ENGINEERS & CONTRACTOR
25.00 | 4 X 25 sq. mm (28mm) | 6.00 | Each | 10.00 | 260.00 | 1560.00 | 230.00 | 1380.00 | 215.00 | 1290.00 | 300.00 | 1800.00 | 250.00 | 1500.00 | 362.00 | 2172.00 | 1290.00 | Awasthi Electric Works
26.00 | 3.5 X 120 sq. mm (45mm) | 2.00 | Each | 10.00 | 500.00 | 1000.00 | 850.00 | 1700.00 | 445.00 | 890.00 | 500.00 | 1000.00 | 550.00 | 1100.00 | 640.00 | 1280.00 | 890.00 | Awasthi Electric Works
27.00 | 3.5 X 185 sq. mm (57mm) | 4.00 | Each | 10.00 | 700.00 | 2800.00 | 900.00 | 3600.00 | 700.00 | 2800.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 712.00 | 2848.00 | 2000.00 | TITCO ELECTRICALS
28.00 | 3.5 X 240 sq. mm (62mm) | 4.00 | Each | 10.00 | 900.00 | 3600.00 | 1100.00 | 4400.00 | 950.00 | 3800.00 | 1000.00 | 4000.00 | 950.00 | 3800.00 | 810.00 | 3240.00 | 3240.00 | Shiva Enterprises
29.00 | Laying and fixing of one number PVC insulated and PVC Sheated / XLPE power cable of 1.1 KV grade of following size on wall surface / Cable tray as required.
30.00 | Upto 35 Sq.mm (Clamped with 1 mm thick saddle) | 125.00 | Meter | 10.00 | 100.00 | 12500.00 | 10.00 | 1250.00 | 125.00 | 15625.00 | 20.00 | 2500.00 | 30.00 | 3750.00 | 50.00 | 6250.00 | 1250.00 | Avion industries
31.00 | Laying of one number PVC insulated PVC sheathed /XLPE power cable of 1.1 KV grade of following sizes in the existing masonry open duct as required.
32.00 | Upto 35 Sq.mm | 25.00 | Meter | 10.00 | 20.00 | 500.00 | 10.00 | 250.00 | 40.00 | 1000.00 | 20.00 | 500.00 | 30.00 | 750.00 | 35.00 | 875.00 | 250.00 | Avion industries
33.00 | SITC of Digital Grounding Device, 240 kA 3 phase 4 wire portable type with built in surge suppressor, Low Impedance equipment Grounding provides 100% protection against Lightning Surges, static charge, Noises etc. and eliminates abnormal electrical disturbances which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0 Volt, self health visual status indicator in a Pre-wired pulverulent body painted metal enclosure to be connected in parallel to the power supply circuit, Conforming to relevant IEC, CE Marked, CPRI/NABL tested etc complete as required. | 1.00 | Each | 10.00 | 160000.00 | 160000.00 | 190000.00 | 190000.00 | 61500.00 | 61500.00 | 190000.00 | 190000.00 | 10001.00 | 10001.00 | 100000.00 | 100000.00 | 10001.00 | GVD ENGINEERS & CONTRACTOR
34.00 | SITC of Inverter type Spilt A/C Units wall mounting type of 5 Star Rating 2.0 TR capacity consisting of non ductable single type room unit (fan coil) with cordless remote control and one number outdoor condensing unit comprising of sealed compressor suitable for operation single phase, 230 V, 50Hz supply, including fixing the outdoor unit on a raised platform as per manufacturers recommendation and fixing of room (fanc Cu coil) unit, providing and making interconnection between room & condenser up to standard length (3 mtrs), comprising of 1" dia drain PVC pipe, refrigerant copper piping, electrical cabling from power plug, etc complete as required. | 10.00 | Each | 10.00 | 45000.00 | 450000.00 | 60000.00 | 600000.00 | 50000.00 | 500000.00 | 40000.00 | 400000.00 | 55000.00 | 550000.00 | 73000.00 | 730000.00 | 400000.00 | TITCO ELECTRICALS
35.00 | Supply of suitable stand made of MS angle iron, iron bars of suitable size and height or as per OEM standard for mounting of ODU of ACs i/c nut bolts and washers and painting etc. complete as required. | 10.00 | Each | 10.00 | 980.00 | 9800.00 | 1200.00 | 12000.00 | 1800.00 | 18000.00 | 1000.00 | 10000.00 | 2000.00 | 20000.00 | 3200.00 | 32000.00 | 9800.00 | Genesis
36.00 | Extra for refrigerant piping for making interconnection between Indoor Unit to Outdoor Unit etc. complete as required. | 20.00 | Meter | 10.00 | 700.00 | 14000.00 | 800.00 | 16000.00 | 1250.00 | 25000.00 | 700.00 | 14000.00 | 1200.00 | 24000.00 | 1500.00 | 30000.00 | 14000.00 | TITCO ELECTRICALS, Genesis
37.00 | Supply, installation, testing and commissioning of Analogue Addressable type Optical Smoke Detector complete with all accessories like base. base box, etc. to be installed under/above false ceiling/ceiling/concealed space, etc. interconnecting to loop cable complete as required. | 5.00 | Each | 10.00 | 5440.00 | 27200.00 | 4500.00 | 22500.00 | 1950.00 | 9750.00 | 6000.00 | 30000.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 9000.00 | GVD ENGINEERS & CONTRACTOR
38.00 | Supplying, installation, testing & commissioning of response indicator on surface/recessed MS Box having two LED, metallic cover complete with all connections etc as required. | 3.00 | Each | 10.00 | 4400.00 | 13200.00 | 500.00 | 1500.00 | 350.00 | 1050.00 | 500.00 | 1500.00 | 150.00 | 450.00 | 400.00 | 1200.00 | 450.00 | GVD ENGINEERS & CONTRACTOR
39.00 | Supplying, installation, testing & commisssioning of intelligent addressable programmable sounder complete as required. | 3.00 | Each | 10.00 | 10000.00 | 30000.00 | 3500.00 | 10500.00 | 4950.00 | 14850.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 3800.00 | 11400.00 | 10500.00 | Avion industries
40.00 | Supplying, installation, testing & commissioning of fault isolator complete with base as required. | 3.00 | Each | 10.00 | 7600.00 | 22800.00 | 4100.00 | 12300.00 | 3350.00 | 10050.00 | 4000.00 | 12000.00 | 2500.00 | 7500.00 | 2200.00 | 6600.00 | 6600.00 | Shiva Enterprises
41.00 | Supplying, installation, testing & commissioning of intelligent addressable thermal detector with rate of rise cum fixed tempreature thermistor complete with base as required. | 3.00 | Each | 10.00 | 6666.00 | 19998.00 | 4200.00 | 12600.00 | 2350.00 | 7050.00 | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 2100.00 | 6300.00 | 6300.00 | Shiva Enterprises
42.00 | SITC of two loop micro processor based intelligent addressable fire alarm control panel complete with loop cards, auto dialer, battery backup etc complete as per site requirement. | 1.00 | Each | 10.00 | 70800.00 | 70800.00 | 18000.00 | 18000.00 | 108000.00 | 108000.00 | 180000.00 | 180000.00 | 150000.00 | 150000.00 | 65000.00 | 65000.00 | 18000.00 | Avion industries
43.00 | Supplying, installation, testing & commissioning of addressable manual call point complete as required. | 3.00 | Each | 10.00 | 8500.00 | 25500.00 | 4000.00 | 12000.00 | 3750.00 | 11250.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 2900.00 | 8700.00 | 8700.00 | Shiva Enterprises
44.00 | Supplying & laying of 2x1.5 sqmm fire survival armoured cable, 600/1000V rated with annealed copper conductor having glass mica fire barrier tape covered by an extruded layer of Cross Linkable Ethylene Propylene Rubber (EPR) insulation and LSZH inner bedding, steel wire armouring & LSZH outer sheath complete as required. | 50.00 | Meter | 10.00 | 180.00 | 9000.00 | 200.00 | 10000.00 | 255.00 | 12750.00 | 200.00 | 10000.00 | 50.00 | 2500.00 | 160.00 | 8000.00 | 2500.00 | GVD ENGINEERS & CONTRACTOR
45.00 | Supplying & laying of 2x1.5 sqmm fire alarm armoured cable, 600/1000V rated with annealed copper conductor having XLPE insulation, steel wire armouring & FRLS outer sheath complete as required. | 50.00 | Meter | 10.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 240.00 | 12000.00 | 1200.00 | 60000.00 | 80.00 | 4000.00 | 160.00 | 8000.00 | 4000.00 | GVD ENGINEERS & CONTRACTOR
46.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
47.00 | 20 MM | 100.00 | Meter | 10.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 160.00 | 16000.00 | 200.00 | 20000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 15000.00 | Avion industries, Shiva Enterprises
48.00 | Supply of ISI marked fire extinguishers of ABC Dry Chemical powder type 6 Kg capacity (Map 50 based portable stored pressure) each made of high pressure steel cylinder complete with allaccessories with ABC powder etc complete as required. | 6.00 | Each | 10.00 | 14600.00 | 87600.00 | 4500.00 | 27000.00 | 4850.00 | 29100.00 | 4500.00 | 27000.00 | 1500.00 | 9000.00 | 1800.00 | 10800.00 | 9000.00 | GVD ENGINEERS & CONTRACTOR
49.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 20.00 | Each | 10.00 | 1458.00 | 29160.00 | 900.00 | 18000.00 | 1200.00 | 24000.00 | 1500.00 | 30000.00 | 1500.00 | 30000.00 | 1705.00 | 34100.00 | 18000.00 | Avion industries
50.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 50.00 | Meter | 10.00 | 400.00 | 20000.00 | 300.00 | 15000.00 | 310.00 | 15500.00 | 400.00 | 20000.00 | 380.00 | 19000.00 | 244.00 | 12200.00 | 12200.00 | Shiva Enterprises
51.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 75.00 | Meter | 10.00 | 530.00 | 39750.00 | 500.00 | 37500.00 | 500.00 | 37500.00 | 450.00 | 33750.00 | 580.00 | 43500.00 | 280.00 | 21000.00 | 21000.00 | Shiva Enterprises
52.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 25.00 | Meter | 10.00 | 300.00 | 7500.00 | 220.00 | 5500.00 | 250.00 | 6250.00 | 300.00 | 7500.00 | 350.00 | 8750.00 | 130.00 | 3250.00 | 3250.00 | Shiva Enterprises
53.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLSont on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 15.00 | Each | 10.00 | 450.00 | 6750.00 | 450.00 | 6750.00 | 540.00 | 8100.00 | 600.00 | 9000.00 | 150.00 | 2250.00 | 548.00 | 8220.00 | 2250.00 | GVD ENGINEERS & CONTRACTOR
54.00 | Supply of recessed mounted 4 Ft 36W LED luminaire with CRC housing with integrated LED driver complete as required eqyuivalent to SKYLUX GX Model of Bajaj Make. | 15.00 | Each | 10.00 | 1300.00 | 19500.00 | 450.00 | 6750.00 | 1700.00 | 25500.00 | 300.00 | 4500.00 | 8500.00 | 127500.00 | 3200.00 | 48000.00 | 4500.00 | TITCO ELECTRICALS
55.00 | Supply of recessed mounted 2Ft X 2 Ft 36W LED luminaire, 5700K, 100 lm/W with CRCA housing with integrated LED driver complete as required eqyuivalent to SKYLUX GLADDEN Model of Bajaj Make. | 50.00 | Each | 10.00 | 2750.00 | 137500.00 | 1600.00 | 80000.00 | 1800.00 | 90000.00 | 3500.00 | 175000.00 | 1800.00 | 90000.00 | 2500.00 | 125000.00 | 80000.00 | Avion industries
56.00 | Supply of wall/ceiling mounted 18 Watt Cool daylight LED INVERTER Batten Luminaire (4 Feet) for multipurpose application made from polycorbonated housing and diffuser with integrated LED driver, built-in battery backup for emergency lighting purpose etc. complete as required. | 6.00 | Each | 10.00 | 200.00 | 1200.00 | 900.00 | 5400.00 | 1150.00 | 6900.00 | 1000.00 | 6000.00 | 450.00 | 2700.00 | 365.00 | 2190.00 | 1200.00 | Genesis
57.00 | Supply of portable handheld type 3W rechargeable LED lantern complete with Li-ion Battery, Light weight, high brightness and long backup time for emergency lighting purpose etc. complete as required. | 4.00 | Each | 10.00 | 1200.00 | 4800.00 | 350.00 | 1400.00 | 2850.00 | 11400.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 1450.00 | 5800.00 | 1400.00 | Avion industries
58.00 | Supply of 40 Watt LED street light Luminaire with aluminium PDC housing and toughened glass cover with IP66 protection with integrated LED driver and 1 mtr. GI pipe of suitable size for cross arm etc. complete as required. | 10.00 | Each | 10.00 | 1500.00 | 15000.00 | 1850.00 | 18500.00 | 1800.00 | 18000.00 | 3000.00 | 30000.00 | 1900.00 | 19000.00 | 2600.00 | 26000.00 | 15000.00 | Genesis
59.00 | SITC of following sizes of wall mounted fan, with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 230 V/240 V 50 HZ, AC supply confirms to IS 374/1979 as required complete equivalent to Model-Wind Pro Wall 80 of Orient Make. 400 mm sweep- 1350 rpm | 15.00 | Each | 10.00 | 2200.00 | 33000.00 | 3400.00 | 51000.00 | 2800.00 | 42000.00 | 3000.00 | 45000.00 | 2800.00 | 42000.00 | 2500.00 | 37500.00 | 33000.00 | Genesis
60.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/ LED type fitting of all types, complete with all accessories etc. directly on ceiling/ wall/bracket, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 100.00 | Each | 10.00 | 100.00 | 10000.00 | 140.00 | 14000.00 | 200.00 | 20000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 122.00 | 12200.00 | 10000.00 | TITCO ELECTRICALS, Genesis
61.00 | Supplying and fixing following way prewired Per Phase Isolation (PPI) Vertical- 4 Tier with phase segregation and separation between incomer and outgoings type TPN MCB distribution Board of steel sheet for 415 volts on surface/ recess complete with loose wire Cable End Box, terminal connectors for all incoming and outgoing circuits, with per phase neutral and earth bar, duly prewired with suitable size FRLS PVC insulated copper conductor up to terminal blocks, tinned copper bus bar,neutral link, earth bar, din bar, detachable gland plate, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator)
62.00 | 2+6 way (I/C- 4+6; O/G-18) | 3.00 | Each | 10.00 | 8444.00 | 25332.00 | 8000.00 | 24000.00 | 10500.00 | 31500.00 | 15000.00 | 45000.00 | 3500.00 | 10500.00 | 14200.00 | 42600.00 | 10500.00 | GVD ENGINEERS & CONTRACTOR
63.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
64.00 | 6 way (8 + 18), Double door | 3.00 | Each | 10.00 | 4500.00 | 13500.00 | 3400.00 | 10200.00 | 3500.00 | 10500.00 | 2500.00 | 7500.00 | 5500.00 | 16500.00 | 9860.00 | 29580.00 | 7500.00 | TITCO ELECTRICALS
65.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required
66.00 | Single pole | 25.00 | Each | 10.00 | 220.00 | 5500.00 | 110.00 | 2750.00 | 175.00 | 4375.00 | 200.00 | 5000.00 | 160.00 | 4000.00 | 170.00 | 4250.00 | 2750.00 | Avion industries
67.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 6.00 | Each | 10.00 | 12.00 | 72.00 | 10.00 | 60.00 | 25.00 | 150.00 | 2.00 | 12.00 | 80.00 | 480.00 | 18.00 | 108.00 | 12.00 | TITCO ELECTRICALS
68.00 | Supplying and fixing following rating, double pole, 240 V, MCB isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required
69.00 | 40 Amps | 3.00 | Each | 10.00 | 375.00 | 1125.00 | 400.00 | 1200.00 | 450.00 | 1350.00 | 300.00 | 900.00 | 850.00 | 2550.00 | 1940.00 | 5820.00 | 900.00 | TITCO ELECTRICALS
70.00 | 63 Amps | 1.00 | Each | 10.00 | 400.00 | 400.00 | 900.00 | 900.00 | 550.00 | 550.00 | 500.00 | 500.00 | 900.00 | 900.00 | 2390.00 | 2390.00 | 400.00 | Genesis
71.00 | Supplying and fixing following rating, four pole, 415 V, MCB isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required
72.00 | 63 Amps | 2.00 | Each | 10.00 | 900.00 | 1800.00 | 800.00 | 1600.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | 2500.00 | 5000.00 | 6730.00 | 13460.00 | 200.00 | TITCO ELECTRICALS
73.00 | 100 Amps | 1.00 | Each | 10.00 | 1000.00 | 1000.00 | 1100.00 | 1100.00 | 1200.00 | 1200.00 | 1200.00 | 1200.00 | 5000.00 | 5000.00 | 11370.00 | 11370.00 | 1000.00 | Genesis
74.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 10.00 | Each | 10.00 | 1300.00 | 13000.00 | 1000.00 | 10000.00 | 1400.00 | 14000.00 | 1500.00 | 15000.00 | 850.00 | 8500.00 | 1780.00 | 17800.00 | 8500.00 | GVD ENGINEERS & CONTRACTOR
75.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | 2.00 | Each | 10.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 9000.00 | 18000.00 | 3500.00 | 7000.00 | 7000.00 | 14000.00 | 14600.00 | 29200.00 | 7000.00 | TITCO ELECTRICALS
76.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 25.00 | Meter | 10.00 | 240.00 | 6000.00 | 150.00 | 3750.00 | 210.00 | 5250.00 | 200.00 | 5000.00 | 280.00 | 7000.00 | 140.00 | 3500.00 | 3500.00 | Shiva Enterprises
77.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 25.00 | Meter | 10.00 | 200.00 | 5000.00 | 10.00 | 250.00 | 28.00 | 700.00 | 40.00 | 1000.00 | 45.00 | 1125.00 | 70.00 | 1750.00 | 250.00 | Avion industries
78.00 | Supply of 500 mm sweep 3-speed switch control pedestal fan suitable for 230 V/240 V 50 HZ, AC supply complete as required and equivalent to Model-FARATA FT-01 of Orient Make. | 5.00 | Each | 10.00 | 3200.00 | 16000.00 | 2000.00 | 10000.00 | 3200.00 | 16000.00 | 4000.00 | 20000.00 | 4000.00 | 20000.00 | 4590.00 | 22950.00 | 10000.00 | Avion industries
79.00 | SITC of following sizes of exhaust fan suitable for 230 V/240 V 50 HZ, AC supply confirms to IS 374/1979 and suitable size louvers etc complete as required and equivalent to Model-300 mm Air Flow of Orient Make, 300 mm sweep. | 2.00 | Each | 10.00 | 1400.00 | 2800.00 | 2200.00 | 4400.00 | 2500.00 | 5000.00 | 2600.00 | 5200.00 | 2500.00 | 5000.00 | 2390.00 | 4780.00 | 2800.00 | Genesis
80.00 | Supply of 20Watt 4000K WHT LED type surface spotligtht with aluminium structure with adjustable engine to achieve the desired illumination angle with integrated LED driver complete as required. | 10.00 | Each | 10.00 | 500.00 | 5000.00 | 1100.00 | 11000.00 | 2300.00 | 23000.00 | 1800.00 | 18000.00 | 250.00 | 2500.00 | 3570.00 | 35700.00 | 2500.00 | GVD ENGINEERS & CONTRACTOR
81.00 | Dismantling of existing 415 volt, 50Hz LT panel and other Electrical materials with all other accessories from NAV-AIDS Switch Room by disconnecting electrical connections, earthing connections of panels and transporting upto AAI store by engaging skilled and unskilled manpower, mechanical means with required T & P etc complete as required. | 2.00 | Job | 10.00 | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 4000.00 | 8000.00 | 5400.00 | 10800.00 | 40000.00 | 80000.00 | 18000.00 | 36000.00 | 8000.00 | Awasthi Electric Works
| Total in Figures |  |  |  |  | 1996887.00 |  | 1978890.00 |  | 1980640.00 |  | 2124962.00 |  | 2122356.00 |  | 2144983.00
Lowest Amount Quoted BY: Avion industries(1978890.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of ILS RTS and NDB at CATC Prayagraj. SH- Electrical Works. Tender ID: 2024_AAI_197924_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Avion industries | 1978890.00 | L1
| 2 | Awasthi Electric Works | 1980640.00 | L2
| 3 | Genesis | 1996887.00 | L3
| 4 | GVD ENGINEERS & CONTRACTOR | 2122356.00 | L4
| 5 | TITCO ELECTRICALS | 2124962.00 | L5
| 6 | Shiva Enterprises | 2144983.00 | L6