## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 23-Sep-2024 05:47 PM Tender Title: Annual Operation and Maintenance Contract for the E and M Installations at C.E. Bhuj for the year 2024-26 Tender ID: 2024_AAI_198100_1
Tender Inviting Authority: Asst.General Manager (E-E)
Name of Work:“Annual Operation & Maintenance Contract for the E & M Installations at C.E. Bhuj for the year 2024-26"
Contract No: 2024_AAI_198100_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals (GSTN-24AAGFT9086M1ZG) BID ID -734298 |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED (GSTN-07ABDCS2796Q1ZH) BID ID -739527 |  | SWASTIK ELECTROTECH PRIVATE LIMITED (GSTN-07AANCS9215R1ZF) BID ID -740535 |  | CENTRE TAP ENGINEERING (GSTN-24AGPPP8172K1ZP) BID ID -740650 |  | INTEGER INFRATECH PRIVATE LIMITED (GSTN-24AADCI9972R1ZN) BID ID -741186 |  | Rudraksha Enterprise (GSTN-24AANFR7954B1Z1) BID ID -741200 |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED (GSTN-36AACCJ7269H1Z9) BID ID -741244 |  | Manish Electricals (GSTN-23ABLPM9012E1ZW) BID ID -741357 |  | M K ENTERPRISES (GSTN-27AMDPK7085L1ZJ) BID ID -741411 |  | vardhman Airport solutions pvt. Ltd.(GSTN-NA)--741367 |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)--741401
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of Electrical & Mechanical Installations including Operation & Maintenance of Pumps, DG Sets, Conveyors in three shifts on all working days, RO plant, VRF AC system etc. as per specification & condition attached, attending to complaints/ faults/ breakdowns, ensuring serviceability and satisfactory working condition of the system, performing preventive maintenance, maintenance of records/ documentation/ attendance records using biometric authentication etc. as per the detailed specifications, terms & conditions covered under this contract, on all days including Sundays and holidays and also as & when required basis. (Highly Skilled-2 ; Skilled-5; Semi-skilled-5; Un-Skilled-4). | 24.00 | month |  | 340388.00 | 8169312.00 | 355550.00 | 8533200.00 | 397675.00 | 9544200.00 | 330000.00 | 7920000.00 | 367468.00 | 8819232.00 | 393000.00 | 9432000.00 | 349746.00 | 8393904.00 | 321786.00 | 7722864.00 | 343915.00 | 8253960.00 | 366150.00 | 8787600.00 | 340917.00 | 8182008.00 | 7722864.00 | Manish Electricals
2.00 | Inspection, servicing and Testing of following Electrical Installations and performing preventive maintenance checks and submission of reports to AAI. For VCB and ACB, the activities shall be carried out through the authorized service dealer of the OEM. For power transformer, the activities shall be carried out through OEM/authorized service dealer of OEM or any specialized/licensed agencies with suitable experience for the work.
2.01 | 11 KV VCB (Make: Crompton Greaves, Model: 12V X 12 XL, Rating: 400 A) | 6.00 | Job |  | 4500.00 | 27000.00 | 3500.00 | 21000.00 | 35000.00 | 210000.00 | 5000.00 | 30000.00 | 6000.00 | 36000.00 | 10000.00 | 60000.00 | 14500.00 | 87000.00 | 6000.00 | 36000.00 | 10000.00 | 60000.00 | 8560.00 | 51360.00 | 2500.00 | 15000.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
2.02 | Current Transformer of VCB (a set of three) ( Rating: 60-30/5+5A,15 VA/CL.1.0/5P10) | 12.00 | Set |  | 1500.00 | 18000.00 | 1500.00 | 18000.00 | 13000.00 | 156000.00 | 1500.00 | 18000.00 | 3000.00 | 36000.00 | 5000.00 | 60000.00 | 7500.00 | 90000.00 | 2000.00 | 24000.00 | 10000.00 | 120000.00 | 5350.00 | 64200.00 | 1500.00 | 18000.00 | 18000.00 | Techno Electricals, S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, CENTRE TAP ENGINEERING, ABHISHEK INTEGRATIONS LIMITED
2.03 | 11 KV Potential Transformer ( Rating 11000 /110 V, 100 VA/CL 1.0) (1 Nos. x 2 years = 2 JOB) | 2.00 | Job |  | 1300.00 | 2600.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 3745.00 | 7490.00 | 1500.00 | 3000.00 | 2600.00 | Techno Electricals
2.04 | Distribution Transformer 11KV/433V, 500KVA ( Make: Crompton Greaves) | 4.00 | Job |  | 4500.00 | 18000.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 5000.00 | 20000.00 | 15000.00 | 60000.00 | 6420.00 | 25680.00 | 2500.00 | 10000.00 | 4000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
2.05 | Air Circuit Breaker 800 Amp,400 V ( Make: L & T, Model: CN-CS 800 S) (8 nos. x 2 years = 16 JOB) | 16.00 | Job |  | 2500.00 | 40000.00 | 3000.00 | 48000.00 | 3000.00 | 48000.00 | 2000.00 | 32000.00 | 2000.00 | 32000.00 | 2500.00 | 40000.00 | 6000.00 | 96000.00 | 3500.00 | 56000.00 | 5000.00 | 80000.00 | 3210.00 | 51360.00 | 1500.00 | 24000.00 | 24000.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Inspection, servicing, calibration and testing of Electrical metering and safety device, performing relay co-ordination of the relays, including submission of reports on the related calculations for relay setting etc. as required. The activity shall be carried out through specialized agencies/licensed agencies with appropriate licenses and experiences. (A) IDMT relays (2OC & EF) - 7 nos and (B) Auxiliary and tripping relays (Type-VAA21Z98501FCH)-4 Nos. (Details as per tender Document) | 2.00 | Job |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 20000.00 | 40000.00 | 12000.00 | 24000.00 | 15000.00 | 30000.00 | 2000.00 | 4000.00 | 9600.00 | 19200.00 | 5000.00 | 10000.00 | 17000.00 | 34000.00 | 5350.00 | 10700.00 | 9900.00 | 19800.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
4.00 | Dehydration and filtration of transformer oil including testing the BDV and acidity before and after testing and submission of test reports , replacement of Silica Gel etc. as required for following Transformers - 500 KVA Transformer (App. 420Ltr.) | 4.00 | Job |  | 8000.00 | 32000.00 | 10000.00 | 40000.00 | 90000.00 | 360000.00 | 6000.00 | 24000.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 31200.00 | 124800.00 | 9000.00 | 36000.00 | 15000.00 | 60000.00 | 16050.00 | 64200.00 | 11500.00 | 46000.00 | 24000.00 | CENTRE TAP ENGINEERING
5.00 | Supply of tested transformer oil for toping up the transformer as required. | 100.00 | Ltr |  | 165.00 | 16500.00 | 90.00 | 9000.00 | 300.00 | 30000.00 | 90.00 | 9000.00 | 125.00 | 12500.00 | 150.00 | 15000.00 | 170.00 | 17000.00 | 170.00 | 17000.00 | 150.00 | 15000.00 | 135.00 | 13500.00 | 121.00 | 12100.00 | 9000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, CENTRE TAP ENGINEERING
6.00 | Rewinding of the 3 phase/ Single phase 50 Hz AC Electric motor pumps i/c dismantling, transportation to workshop & back to site , of following Capacity :-
6.01 | Monobloc pumps of 1 HP capacity | 1.00 | Job |  | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1.00 | 1.00 | 300.00 | 300.00 | 6000.00 | 6000.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 2140.00 | 2140.00 | 1650.00 | 1650.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
6.02 | Submersible pump of 0.5 HP capacity | 1.00 | Job |  | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 1.00 | 1.00 | 300.00 | 300.00 | 7200.00 | 7200.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 2675.00 | 2675.00 | 1100.00 | 1100.00 | 1.00 | INTEGER INFRATECH PRIVATE LIMITED
6.03 | Submersible pump of 5 HP (i/c Lowering & Lifting) | 3.00 | Job |  | 3500.00 | 10500.00 | 1000.00 | 3000.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 1.00 | 3.00 | 300.00 | 900.00 | 7800.00 | 23400.00 | 5000.00 | 15000.00 | 7500.00 | 22500.00 | 16050.00 | 48150.00 | 2750.00 | 8250.00 | 3.00 | INTEGER INFRATECH PRIVATE LIMITED
7.00 | Rewinding of the following type fans i/c dismantling, transportation to workshop & back to site.
7.01 | Ceiling fan of all makes and models. | 20.00 | Job |  | 500.00 | 10000.00 | 350.00 | 7000.00 | 450.00 | 9000.00 | 500.00 | 10000.00 | 1.00 | 20.00 | 100.00 | 2000.00 | 600.00 | 12000.00 | 480.00 | 9600.00 | 1000.00 | 20000.00 | 749.00 | 14980.00 | 400.00 | 8000.00 | 20.00 | INTEGER INFRATECH PRIVATE LIMITED
7.02 | Exhaust Fan of sweep upto 300mm of all makes & model | 5.00 | Job |  | 700.00 | 3500.00 | 350.00 | 1750.00 | 800.00 | 4000.00 | 500.00 | 2500.00 | 1.00 | 5.00 | 100.00 | 500.00 | 600.00 | 3000.00 | 700.00 | 3500.00 | 1000.00 | 5000.00 | 749.00 | 3745.00 | 450.00 | 2250.00 | 5.00 | INTEGER INFRATECH PRIVATE LIMITED
7.03 | Wall Fan of size up to 450mm.of all makes & model | 10.00 | Job |  | 800.00 | 8000.00 | 350.00 | 3500.00 | 1200.00 | 12000.00 | 500.00 | 5000.00 | 1.00 | 10.00 | 100.00 | 1000.00 | 600.00 | 6000.00 | 750.00 | 7500.00 | 1000.00 | 10000.00 | 535.00 | 5350.00 | 450.00 | 4500.00 | 10.00 | INTEGER INFRATECH PRIVATE LIMITED
8.00 | Spray painting of sheet metal enclosures/LT panels/Feeder Pillars/DG exhaust pipes/ Control panel with two coats of synthetic/enamel paint of grey or any other colour as approved by AAI, including cleaning the surface , rewriting the identification of the circuit. The electrical accessories shall be covered and protected from dust during painting as required. | 50.00 | sq.mtr |  | 186.00 | 9300.00 | 50.00 | 2500.00 | 950.00 | 47500.00 | 100.00 | 5000.00 | 350.00 | 17500.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 350.00 | 17500.00 | 214.00 | 10700.00 | 100.00 | 5000.00 | 2500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Decoration of Terminal building, main gate facia with LED serial lighting and RGB pattern lighting on special occassions/ nationally important days/ festivals as per the requirements shown below. (a) Minimum no. of LED serial lighting - not less than 10000 LED lights. (b) RGB pattern lighting for pillars of terminal building 25 Nos. ( RGB PAR lights shall be used) (c) Pixel Chaser light batten ( with minimum 12 colour combinations) running linearly on the top of the building for a length of not more than 400 m.
9.01 | Independence day ( Starting from 18.00 hrs on day before independence day to 06.00 hrs on the day after independence day) Each occasion in an year shall be treated as one JOB. | 2.00 | Job |  | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 70000.00 | 140000.00 | 15000.00 | 30000.00 | 25000.00 | 50000.00 | 8000.00 | 16000.00 | 60000.00 | 120000.00 | 21000.00 | 42000.00 | 35000.00 | 70000.00 | 6955.00 | 13910.00 | 35000.00 | 70000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.02 | Diwali ( Four days - Starting from 18.00 hrs. on day before Diwali, Diwali day, Gujarati New year day and Bhai dhooj day , till 06.00 hrs on day after Bhai dhooj day) Each occasion in an year shall be treated as one JOB. | 2.00 | Job |  | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 70000.00 | 140000.00 | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 8000.00 | 16000.00 | 60000.00 | 120000.00 | 23000.00 | 46000.00 | 35000.00 | 70000.00 | 16050.00 | 32100.00 | 60000.00 | 120000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.03 | Republic day ( Starting from 18.00 hrs on day before republic day to 06.00 hrs on the day after republic day) Each occasion in an year shall be treated as one JOB. | 2.00 | Job |  | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 70000.00 | 140000.00 | 15000.00 | 30000.00 | 25000.00 | 50000.00 | 8000.00 | 16000.00 | 60000.00 | 120000.00 | 23000.00 | 46000.00 | 35000.00 | 70000.00 | 16050.00 | 32100.00 | 35000.00 | 70000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.04 | AAI foundation day ( Starting from 18.00 hrs on day before foundation day to 06.00 hrs on the day after foundation day) | 2.00 | Job |  | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 15000.00 | 30000.00 | 20000.00 | 40000.00 | 8000.00 | 16000.00 | 60000.00 | 120000.00 | 23000.00 | 46000.00 | 35000.00 | 70000.00 | 12840.00 | 25680.00 | 35000.00 | 70000.00 | 10000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Painting of HT structure including fencing (Approximate 6 Sq.mtr.), with two coats of aluminium /enamel paint including cleaning, scraping and applying approved steel primer where ever required similar to the existing colours and shade complete as required. | 2.00 | Job |  | 9000.00 | 18000.00 | 1000.00 | 2000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 3500.00 | 7000.00 | 5000.00 | 10000.00 | 1605.00 | 3210.00 | 1800.00 | 3600.00 | 2000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, INTEGER INFRATECH PRIVATE LIMITED
11.00 | Comprehensive maintenance contract for Automatic sliding door double leaf type for overall opening up to 3650 mm and clear passage height up to 2600 with DC motor , microcontroller , infrared sensor & safety light barriers including Air curtain integrated with the Automatic sliding door as per SCC..(Make Security technocrats) Location 1 : Arrival Area Entry Location 2 : Arrival Area Exit Location 3 : Boarding Gate - 1 Location 4 : Boarding Gate - 2 Location 5 : Checkin Area Entry - 1 Location 6 : Checkin Area Entry - 2 | 144.00 | per set per month |  | 1200.00 | 172800.00 | 7000.00 | 1008000.00 | 2000.00 | 288000.00 | 1000.00 | 144000.00 | 3500.00 | 504000.00 | 500.00 | 72000.00 | 350.00 | 50400.00 | 2200.00 | 316800.00 | 1200.00 | 172800.00 | 1070.00 | 154080.00 | 2500.00 | 360000.00 | 50400.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
12.00 | Execution of Complete items from CPWD Delhi schedule of rates (Electrical) 2022. [Up to a Ceiling limit of Rs.50000 ex GST]. The materials used for executing the DSR items shall be as per the preferred make list of AAI, as enclosed with the tender document. | 50000.00 | Excess (+) | 0.00 | .05 | 47500.00 | .50 | 25000.00 | .10 | 55000.00 | .00 | 50050.00 | .00 | 49950.00 | .20 | 40000.00 | .10 | 45000.00 | .25 | 37500.00 | .05 | 47500.00 | .20 | 40000.00 | .20 | 40000.00 | 25000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
| Total in Figures |  |  |  |  | 8810512.00 |  | 9772950.00 |  | 11285200.00 |  | 8450550.00 |  | 9843222.00 |  | 9901000.00 |  | 9550904.00 |  | 8520764.00 |  | 9296760.00 |  | 9464910.00 |  | 9094258.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(8450550.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance Contract for the E and M Installations at C.E. Bhuj for the year 2024-26 Tender ID: 2024_AAI_198100_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 8450550.00 | L1
| 2 | Manish Electricals | 8520764.00 | L2
| 3 | Techno Electricals | 8810512.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 9094258.00 | L4
| 5 | M K ENTERPRISES | 9296760.00 | L5
| 6 | vardhman Airport solutions pvt. Ltd. | 9464910.00 | L6
| 7 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 9550904.00 | L7
| 8 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 9772950.00 | L8
| 9 | INTEGER INFRATECH PRIVATE LIMITED | 9843222.00 | L9
| 10 | Rudraksha Enterprise | 9901000.00 | L10
| 11 | SWASTIK ELECTROTECH PRIVATE LIMITED | 11285200.00 | L11